# Invitation to bid No: 2020-034 Medical Equipment “Framework Agreement for Two Year”

The Lebanese Red Cross Society (LRCS) hereby invites sealed bids from manufacturers/reputed firms/ registered suppliers for the supply of the following supplies/ services:

|  |  |  |  |
| --- | --- | --- | --- |
| **Lot No.** | **Lot description** | **Number of Items per each lot**  | **Delivery Site** |
| **Lot 1** | **Airway management, Thoracentesis and Resus Products** | **10** | **Spears, Hazmieh, Jounieh, Saida, Baabda, Tyre , Antelias, Jbeil, Tripoli, Halba, Zahle, Betadine, Nabatieh, Rashaya, Gemmayzeh** |
| **Lot 2** | **Anesthetic Oxygen & Humidification - Equipment & Accessories** | **5** |
| **Lot 3** | **Vital Signs, Diagnostics & Monitoring** | **17** |
| **Lot 4** | **Diagnostics - Scopes & specula & accessories** | **4** |
| **Lot 5** | **Laboratory Equipment Furniture** | **18** |
| **Lot 6** | **Manikins & simulators** | **8** |
| **Lot 7** | **Cardiopulmonary Resuscitation** | **4** |
| **Lot 8** | **Medical Furniture** | **10** |
| **Lot 9** | **Cleaning Equipment** | **1** |
| **Lot 10** | **Orthotic Products** | **18** |
| **Lot 11** | **Surgical Instruments** | **8** |
| **Lot 12** | **Urology - Urological catheters & valves** | **3** |
| **Lot 13** | **Walking Aids** | **7** |
| **Lot 14** | **Bags** | **3** |
| **Lot 15** | **Child Transport Equipment** | **2** |
| **Lot 16** | **Lifting & Moving** | **20** |
| **Lot 17** | **Cervical collar** | **3** |
| **Lot 18** | **Transportation System**  | **5** |

ITENDER DETAILS

The Tender details are as follows:

|  |  |
| --- | --- |
| INCOTERMS | DDP – Beirut Delivery Duty Paid |
| Delivery address | Spears |
| ITB Published | Wednesday 11 November 2020 |

All documents can be downloaded from <http://www.redcross.org.lb/> (Please select “Tender” from the menu at the top right of the page). Tenderers are advised to check the website regularly as any changes or additional information related to this tender will be updated via the website.

Tenders must be submitted in a sealed envelope

|  |  |
| --- | --- |
| Mailing address | Lebanese Red Cross Head Quarters,Spears Street, Kantari, Beirut, Lebanon**Please submit your bid in a SEALED Envelope to FINANCE DEPARTMENT at second floor.** |
| **Tender deadline** | **Date: Monday 14 December 2020****Time: 5:00:00 PM** PLEASE NOTE: NO BIDS WILL BE ACCEPTED AFTER THE ABOVE CLOSING TIME AND DATE |
| Bids to be marked | “Tender reference: 2020-034. Do not open before Monday 14 December 2020” |
| Deadline for questions | Date: Monday 07 December, 2020Time: 5:00:00 PM  |
|  | **BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***  |

IMPORTANT INFORMATION REGARDING THIS ITB:

**- BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***

**- Bidder can bid in three different Payment methods “Cheque USD, Wire Transfer from Lebanon to the company’s account outside, or fresh to fresh account in lebanon”**

**- If any of the payment methods is no applicable, bidders must mentioned that in a clear way. “*Please check page 60”***

I. SELECTION AND AWARD CRITERIA

This tender will be awarded to the lowest cost technically compliant bid. The technical evaluation criteria are as per Annex 3 of Detailed Specifications.

A. Administrative Evaluation

A bid shall pass the administrative evaluation stage before being considered for technical and financial evaluation. Bids thatare deemed administratively non-compliant may be rejected. Documents listed below shall be submitted with your bid.

|  |  |  |  |
| --- | --- | --- | --- |
| #  | Annex  | Document  | Instructions |
| 1 | Annex 1 | LRCS Supplier Registration Form | Complete ALL sections in full, sign, stamp and submitMandatory. |
| 2 | Annex 2  | Bid Form  | Complete ALL sections in full, sign, stamp and submitMandatory. |
| 3 | Annex 4 | Past Performance & Bidder References: Minimum 2 proofs of similar working experience with an international, NGO, national NGO, private, or public sector Provide 2 references (phone and mail) | Mandatory , sign, stamp and submitProof of experience shall be a copy of contract/purchase order signed or copy of Job Completion.Note that the notification of contract award is not aProof of experience for LRCS. |
| 4 | Annex 5 | Tender Award and Acknowledge Certificate | Mandatory , sign, stamp and submit |
| 5 |  |  Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية  | Mandatory |
| 6 |  | Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة | Mandatory |
| 7 |  | Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة  | Mandatory |
| 8 |  | اذاعة تجارية | Mandatory |
| 9 |  | *In case your payment terms is wire transfer, you need to submit the documents mentioned in page 21* |  |

B. Technical Evaluation

To be technically acceptable, the bid shall meet or exceed the stipulated requirements and specifications in the ITB.

A Bid is deemed to meet the criteria if it confirms that it meets all mandatory conditions, procedures and specifications in the ITB without substantially departing from or attaching restrictions with them. If a Bid does not technically comply with the ITB, it will be rejected.

c. All bids that pass the Technical Evaluation will proceed to the Financial Evaluation. Bids that are deemed technically noncompliant will not be financially evaluated.

II. TENDER PROCESS

The following processes will be applied to this Tender:

 Tender Period

 Tender Closing

 Tender Opening

 Administrative Evaluation

 Technical Evaluation

 Financial Evaluation

 Contract Award

 Notification of Contract Award

# Instructions to bidders

Tenderers must meet all the requirements specified in the tender documents and therefore advised to go through the tender documents carefully before submission and be certain that they are able to comply with the specified terms & conditions.

1. **Bidding in lots:**

If the tender is divided into lots bidders should make every effort to bids for all items within the lot they are interested in. If bidders fail to complete all items within the lot LRCS reserves the right not to award the lot to the bidder. Bidders must complete at least one lot to be considered eligible. Bidders can bid for as many lots as they wish.

1. **Items and Quantity:**

LRCS reserves the right to split up the order between suppliers.

1. **Specifications:**

 The detailed specification in respect of each item with packing, marking/ labelling instructions etc. are given in **Annex 3 - Detailed Specifications** which tenderers must adhere to.

**Eligibility:**

* 1. Bidders are solely responsible for ensuring that the full bid is received by LRCS in accordance with the ITB requirements, prior to the specified date and time mentioned above. LRCS will consider only those portions of the bids received prior to the closing date and time.
	2. All responsive Bids shall be Typed on the LRCS Bid Form.
	3. Bids submitted are at the Bidders risk and LRCS takes no responsibility for the receipt of such Bids.
	4. Bidders are solely responsible for ensuring that the full Bid is received by LRCS, in accordance with the ITB requirements:

**Hard Copy:**

Bid shall be placed in an outer sealed envelope, addressed and delivered to:

“Tender reference: 2020-034. Do not open before Monday 09 November 2020”

Failure to comply with the above may disqualify the Bid.

* 1. Tenderer(s) must be Manufacturers, accredited Wholesalers, Traders / Suppliers, Agents in their registered country.
	2. Any unsealed tenders and tenders received after the submission deadline will not be accepted.
	3. Tenderer(s) should have the capacity and capability to supply the items in accordance with the specifications within the prescribed delivery time and the terms & conditions mentioned herein.
	4. Contracts can be awarded individually or jointly.
1. **Price:**
	1. Price should be best and final offer
	2. Include discounts for early payment, if any
	3. All prices should be denominated in the currency that is specified in the **Addendum** attached.
	4. Applicable VAT/duty rates should be clearly stated per item in the offer as to facilitate any tax/ duty exemptions/ reimbursement

4.

1. **INCOTERMS:**

DDP INCOTERMS©2010 as defined by the International Chamber of Commerce will be used to govern the terms of delivery/ contract.

1. **Delivery Destinations:**

Details of the consignee and necessary details for the paperwork will be agreed at the time of signing contract with successful Tenderer/s. Tenderer(s) shall be responsible for all costs arising from packing, forwarding and delivering of goods to actual points of delivery including loading, unloading, transport and insurance and clearance costs as per the stated INCOTERMS.

1. **Delivery/Readiness Period:**

The delivery/readiness must be within the agreed timeframe after the of signing the contract by both parties and all the items/quantities must be delivered at the delivery destinations within a maximum period as agreed on the signing of the contract. The successful Tenderer will be required to agree to the Delivery Schedule (as stated, in tranches so they meet the requirements of our consignee)

1. **Packaging:**

All goods must be appropriately packed (if applicable – refer **Annex 3 - Detailed Specifications**) suitable for sea/road transportation and loading/unloading including rough handling to final destinations.

1. **Marking/Labelling:**

Marking / labelling instructions are provided in **Annex 3 - Detailed Specifications**

1. **Presentations:**

Bids should be clearly legible. Prices entered in lead pencil will not be considered. All erasures, amendments, or alterations shall be initialed by the signatory to the Bid. Do not submit blank pages of the Bid Form and/or schedules, which are unnecessary for your offer. All documentation shall be written in English. All Bids shall be signed by a duly authorized

1. **Language:**

 The documents submitted will be accepted in English language only. The certificate, etc. from local government or local authorities (if applicable) could be provided in actual language All markings and labelling should appear in English only.

1. **Samples:**

Please refer to the **Addendum** if samples are required with the bid submission or not. If required samples of all the items must be submitted together with your Tender documents. Samples must meet the required specifications as per **Annex 3 - Detailed Specifications**. Each sample must be clearly labelled. LRCS reserves the right to reject bids where Tender documents are not accompanied by the samples.

1. **Validity Period:**

Bids shall be valid for at least the minimum number of days specified in the Addendum, and from the date of Bid closure. LRCS reserves the right to determine, at its sole discretion, the validity period in respect of Bids, which do not specify any such maximum or minimum limitation.

 If the bid is successful and contracted, the bid will remain valid for the duration of the contract.

1. **Your offer should clearly state the following:**
	1. Country of origin of the goods
	2. Place of manufacture and place of despatch
	3. Unit prices / Total prices, etc. as per **Annex 2 - Bid Form**
	4. Price should be net after deduction of any discount and should be compatible with the appropriate INCOTERMS specified in the **Addendum**.
	5. Firm dates for starting and completion of delivery at delivery points.
	6. Confirmation to comply with the specifications as per **Annex 3 - Detailed Specifications**, if you can meet the specifications. If not, state clearly.
	7. Confirmation to agree to accept the terms and condition as per this tender document and the general terms and conditions, stated within Annex 5 Tender and Award Acknowledge Certificate.
	8. Full packing details (contents, weight and volume)
2. **Award of Contracts:**

This ITB does not commit LRCS to award a contract or pay any costs incurred in the preparation or submission of Bids, or costs incurred in making necessary studies for the preparation thereof, or to procure or contract for services or goods. The Bidder of an offer made by LRCS will regard as an offer made by the Bidder and not as an acceptance any bid submitted.

No contractual relationship will exist except pursuant to a written contract document signed by a duly authorized official of LRCS and the successful Bidder.

LRCS may award contracts for part quantities or individual items. LRCS will notify successful Bidders of its decision with respect to their Bids as soon as possible after the Bids are opened.

LRCS reserves the right to cancel any ITB, to reject any or all Bids in completely or in part, and to award any contract.

Suppliers who do not comply with the contractual terms and conditions including delivering different products and of different origin than stipulated in their Bid and covering contract may be excluded from future LRCS ITBs.

1. Acceptance:

LRCS reserves the right, at its sole discretion, to consider as invalid or unacceptable any Bid which is a) not clear; b) incomplete in any material detail such as specification, terms delivery, quantity etc.; or c) not presented on the Bid Form – and to accept or reject any amendments, withdraws and/or supplementary information submitted after the time and date of the ITB closure.

1. CONFIDENTIALITY:

This ITB or any part hereof, and all copies hereof shall be returned to LRCS upon request. This ITB is confidential and proprietary to LRCS, contains privileged information, part of which may be copyrighted, and is communicated to and received by Bidders on the condition that no part thereof, or any information concerning it may be copied, exhibited, or furnished to

Others without the prior written consent of LRCS, except that Bidders may exhibit the specifications to prospective subcontractors for the sole purpose of obtaining offers from them. Notwithstanding the other provisions of the ITB, Bidders will be bound by the contents of this paragraph whether or not their company submits a Bid or responds in any other way to this ITB.

1. COLLUSIVE BIDDING AND ANTI-COMPETITIVE CONDUCT

Bidders and their employees, officers, advisers, agent or sub-contractors shall not engage in any collusive bidding or other anti-competitive conduct or any other similar conduct, in relations to:

 The preparation of submission of Bids,

 The clarification of Bids,

 The conduct and content of negotiations,

 Including final contract negotiations,

In respect of this ITB or procurement process, or any other procurement process being conducted by LRCS in respect of any of its requirements.

For the purpose of this clause, collusive bidding, other anti-competitive conduct, or any other similar conduct may include, among other things, the disclosure to, exchange or clarification with, any other Bidder, person or entity, of information (in any form), whether or not such information is commercial information confidential to LRCS, any other Bidder, person or entity in order to alter the results of a solicitation exercise in such a way that would lead to an outcome other than that which would have been obtained through a competitive process.

1. IMPROPER ASSISTANCE

Bids that, in the sole opinion of LRCS, have been compiled:

- With the assistance of current or former employees of LRCS, or current or former contractors of LRCS in violation of confidentially obligations or by using information not otherwise available to the general public or which would provide a non-competitive benefit,

- With the utilization of confidential and/or internal LRCS information not made available to the public or to the other Bidders,

In breach of an obligation of confidentially to LRCS, or contrary to these terms and conditions for submission of a Bid, shall be excluded from further consideration Without limiting the operation of the above clause, a Bidder shall not, in the absence of prior written approval from LRCS, permit a person to contribute to, or participate in, any process relating to the preparation of a Bid or the procurement process, if the person has at any time during the 6 months immediately preceding the date of issue of this ITB was an official, agent, functionary, or employee of, or otherwise engaged by LRCS and was engaged directly, or indirectly, in the planning or performance of the requirement, project, or activity to which this ITB relates.

1. CORRUPT PRACTICES

LRCS has zero tolerance for corruption. The Bidder represents and warrants that neither it nor any of its potential subcontractors are engaged in any form of corruption, defined by LRCS as the misuse of entrusted power for private gain.

This definition is not limited to interactions with public officials and covers both attempted and actual corruption, as well as monetary and non-monetary corruption. The definition includes, but is not limited to, corruption in the form of: facilitation payments, bribery, gifts constituting an undue influence, kickbacks, favoritism, cronyism, nepotism, extortion, embezzlement, misuse of confidential information, theft, and various forms of fraud, such as forgery or falsification of documents, and financial or procurement fraud. No offer, payment, consideration or benefit of any kind, which could be regarded as an illegal or corrupt practice, shall be made, promised, sought or accepted – directly or indirectly – as an inducement or reward in relation to activities funded by LRCS, including tendering, award or execution of core serves the right, without prejudice to any other right or remedy available to it, according to any violation of this clause to immediately reject the submitted offer, and to take such additional action, civil and/or criminal, as may be appropriate.

The Bidder agrees to accurately communicate LRCS policy with regards to Anti- Corruption to Third Parties. The Bidder furthermore, agrees to inform LRCS immediately of any suspicion or information it receives from any source alleging a violation of this policy to the contact details of the specific LRCS country operations

1. CONFLICT OF INTEREST

A Bidder shall not, and shall ensure that its employees, officers, advisers, agents or subcontractors do not place themselves in a position that may, or does, give rise to an actual, potential or perceived conflict of interest between the interests of LRCS and the Bidder’s interests during the procurement process.

If during any stage of the procurement process or performance of any LRCS contract a conflict of interest arises, or appears likely to arise, the Bidder shall notify LRCS immediately in writing, setting out all relevant details of the situation, including those cases in which the interests of the Bidder conflict with the interests of LRCS, or cases in which any LRCS official, employee or person under contract with LRCS may have, or appear to have, an interest of any kind in the Bidder’s business or any kind of economic ties with the Bidder. The Bidder shall take steps as LRCS may reasonably require, to resolve or otherwise deal with the conflict to the satisfaction of LRCS.

1. WITHDRAWAL/MODIFICATION OF BIDS

Requests to withdraw a Bid after the Bid closure time shall not be honored.

Withdrawal of a Bid may result in your suspension or removal from the LRCS suppliers List.

A Bidder may modify its Bid prior to the ITB closure. Any such modification shall be submitted in writing and in a sealed envelope, marked with the original Bid number. No modification shall be allowed after the ITB closure.

1. LATE BIDS

All Bids received after the ITB closure will be rejected.

1. OPENING OF THE ITB

The Tender Opening will take place at the time and location stated within Addendum.

Any attempt by a Bidder to influence the Evaluation Committee in the process of examination, clarification, evaluation and comparison of tenders, to obtain information on how the procedure is progressing or to influence LRCS in its decision concerning the award of the contract will result in the immediate rejection of the tender.

1. CONDITIONS OF CONTRACT

All Bidders shall acknowledge that the LRCS General Conditions, or the Special Conditions of Contract, as applicable, are acceptable.

1. CANCELLATION OF THE ITB

In the event of an ITB cancellation, Bidders will be notified by LRCS. If the ITB is cancelled before the outer envelope of any Bid has been opened, the sealed envelopes will be returned, unopened, to the Bidders.

The ITB may be cancelled in the following situations:

-where no qualitatively or financially worthwhile Bid has been received or there has been no response at all;

-the economic or technical parameters of the project have been fundamentally altered;

- Exceptional circumstances or force majeure renders normal performance of the project impossible;

- All technically compliant Bids exceed the financial resources available; or there have been irregularities in the procedure, in particular where these have prevented fair competition.

LRCS shall not be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of an ITB, even if LRCS has been advised of the possibility of damages. The publication of a procurement notice does not commit LRCS to implement the programme or project announced.

1. QUERIES ABOUT THIS ITB

For queries on this ITB, please contact the Procurement, on the following email: Hoda.fakih@redcross.org.lb

All questions regarding this ITB shall be submitted in writing to the above. On the subject line, please indicate the ITB number.

Bids shall not be sent to the above email.

All questions during the tender period, as well as the associated answers, will be shared with all invited bidders.

1. ITB DOCUMENTS

This ITB document contains the following:

1. This Invitation to Bid.

2. Addendum

3. Annex 1: LRCS Supplier Registration Form.

4. Annex 2: LRCS Bid Form.

5. Annex 3: Detailed Specifications.

6. Annex 4: Past Performance and Reference Check.

7. Annex 5: Tender and Contract Award Acknowledgement Certificate.

8. Annex 6: General Conditions of Procurement Contract.

9. Bidder Checklist.

Bidders shall observe the highest standard of ethics during the procurement and execution Of such contracts. LRCS will reject a Bid if it determines that the Bidder recommended for award, has engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing, the Contract.

Yours sincerely

# Addendum

|  |  |  |
| --- | --- | --- |
| **Bidders Instructions :** | **Item:** | **Specifications:** |
| Price | Currency | USD  |
|  | Exchange rate  | For evaluation purposes, we will use the following exchange rate: 1USD = LBP1,507.5No other currencies are acceptable.**Regarding the payment terms and as mentioned in the Tender Documents LRC is 45 days from the date of invoice and In case of payment in LBP, the value of the Lebanese Pound shall be determined according to the exchange of the US dollar issued by the Beirut Stock Exchange, on the payment's date** |
| INCOTERMS© | Terms of delivery | DDP – Beirut Delivery Duty Paid |
| Tender delivery | Delivery address | Lebanese Red Cross Society Finance office- 2nd FloorHead QuarterSpears Street,KantariBeirut, Lebanon |
|  | Delivery email |  |
| Goods/ services delivery period | Start period |  |
|  | Delivery deadline |  |
| Marking/ labelling |  | 2020-034 |
| 0Language | Tender document language | English |
| Samples | Samples to be delivered with bids? | * **Samples should be submitted with the bids or after 5 days from the closing date**
 |
| Bid validity | Offer to be valid for | 120 calendar days |
| Liquidated damages | Damages per calendar day of delay | 0.5% of contract value  |
|  | Maximum delay damages | 5% of contract value |
| Payment | Invoice to be raised on delivery of | Each batch/ final delivery |
|  | Payment terms | 45 calendar days after the submission of all required documentation |
|  | **Tender deadline** | **Date: 14 December 2020****Time: 5:00:00 PM** |
|  | Bids to be marked | “Tender reference: 2020-034. Do not open before 14/12/2020” |
|  | Deadline for questions | Date: 07 December 2020Tim0e: 5:00:00 PM |

**Annex 1 Supplier Registration Form (Must be signed and stamped)**

Please fill in this questionnaire in order to register. Information given in this questionnaire will be handled confidentially. Please attach all other documents requested in the questionnaire. All bidders should completely fill up this form. If found blank then the bidder's tender shall not be included in the Final Evaluation

|  |  |
| --- | --- |
| 1. NAME OF COMPANY:
 |  |
| Mailing Address |  |
| Country: |
| Contact Person (s)  |  |
| Telephone No | Fax:  |
| Email |  |
| Website |  |
| Owner(s) Name(s): |  |
|  |
| Nationality: |  |
| VAT Number |  |
| Date of Registration of VAT |  |
| 1. ORGANISATION REGISTRATION:
 | Year Established: Under the laws of: |
| 1. SIZE OF BUSINESS
 | No. of Employees: No. of Branches:  |
| No. of International Offices:  |
| Location of Factories:  |
| No. of Plants:  |
| No. of Warehouses |
| 1. AFFILIATED/HOLDING/ SUBSIDIARY COMPANIES:
 | Name Address Nature of Affiliation |
|  |
|  |

## Annex 2 - Bid Form (Must be signed and stamped)

* **LRCS will award Framework Agreement to One Bidder or More. Per items of by lot**
* **This Below quantity is just an estimated one based on the foreseen current needs and it is subject to change (increase or decrease), in other words, LRCS does not guarantee any volume of orders under Framework Agreements, as all purchases will be based on the needs and activities of LRCS.**
* **Payment can by Paid by Cheque USD, Wire Transfer from Lebanon to Outside, OR Fresh to Fresh account in Lebanon – CASH IS NOT APPLICABLE, other wise please advise**
* **BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***
* **Samples should be submitted with the bids or after 5 days from the closing date**
1. **Please Specify your Payment method: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |
| --- |
| **Lot 1: Airway management, Thoracentesis and Resus Products** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **1.1** | **Ambu Bag - Adult** | - Should have silicon rubber bellow to withstand autoclave at 134 deg. C- Should be provided with autoclavable face mask & Oxygen connecting tube.- Should be supplied with a carry pouch.- It should have a bag volume of 1700 ml. and a variation of ± 100ml. will be accepted.- Should have an expiratory resistance of 2.2cms of water- Should have an inspiratory resistance of 3.3cms of water- It should have controlled flow rates and ventilation, and with reduced airway pressure- Should have a port in the bag to connect oxygen with reservoir bag | Kit | **20** |   |   |   |  ------ Kit/ --------Days  |
| **1.2** | **Ambu Bag - Child** | Should have silicon rubber bellow to withstand autoclave at 134 deg. C- Should be provided with autoclavable face mask & Oxygen connecting tube- Should be supplied with a carry pouch- It should have a bag volume of 500 ml. and a variation of ± 100ml. will be accepted.- Should have an expiratory resistance of 2.2cms of water- Should have an inspiratory resistance of 3.3cms of water- It should have controlled flow rates and ventilation, and with reduced airway pressure- Should have a port in the bag to connect oxygen with reservoir bag | Kit | **20** |   |   |   |  ------ Kit/ --------Days |
| **1.3** | **CPR Pocket Mask with O2 port** | High efficiency and low resistance one-way valve minimizing the possibility of cross-contamination- 15mm O.D. connector can be attached to any standard ventilation and oxygen equipment.- For use on adults, and inverted for infants/children- Ergonomically shaped mask with soft-air cushion for leak-free performance, easy grasp, and patient comfort- Disposable valve to avoid cross contamination- Elastic green strap to keep mask in place on patient- Latex-free- Operating instructions, disposable latex-free gloves, and alcohol wipe included- Pocket storage case. | Kit | **50** |   |   |   |  ------ Kit/ --------Days |
| **1.4** | **Adult BVM kit** | SIZE: Adult- surface for secure handling in stressful environments- Fast recoil time allows for rapid ventilation- Easy attachment of manometer and PEEP valve- Unique single-shutter valve system for reliable functionality- Swivel between valve and mask permits 360° positioning in relation to the patient- Thin-walled compression bag allows for lung compliance and “feel”- Extremely low valve resistance for unimpeded airflow- Soft splashguard for user safety | Piece | **60** |   |   |   |  ------ Piece/ --------Days |
| **1.5** | **Child/infant BVM kit** | SIZE: Child/Infant- surface for secure handling in stressful environments- Fast recoil time allows for rapid ventilation- Easy attachment of manometer and PEEP valve- Unique single-shutter valve system for reliable functionality- Swivel between valve and mask permits 360° positioning in relation to the patientSIZE: Child/Infant- surface for secure handling in stressful environments- Fast recoil time allows for rapid ventilation- Easy attachment of manometer and PEEP valve- Unique single-shutter valve system for reliable functionality- Swivel between valve and mask permits 360° positioning in relation to the patient- Thin-walled compression bag allows for lung compliance and “feel”- Extremely low valve resistance for unimpeded airflow- Soft splashguard for user safety | Piece | **60** |   |   |   |  ------ Piece/ --------Days |
| **1.6** | **CPR board** | Provides a firm surface that helps to properly position a patient to ensure a constant, open airway.The head cup maintains proper alignment of a patient’s head, whilst the contoured sides make lifting the patient easier.Length x Width = 59 cm x 44 cm. Load Limit = 2 KG | Piece | **20** |   |   |   |  ------ Piece/ --------Days |
| **1.7** | **Portable pneumatic resuscitator (ventilator)** | Oxygen powered resuscitator.-automatic and manual trigger.-suitable for adults and children.-Automatic flow rate (L/min): 43.2 to 21.6- Automatic tidal volume (L): 1.2 to 0.3- Automatic oxygen concentration V/V: 100% or 50%- Automatic I:E ratio: 1:02- Automatic frequency (per minute): 12 to 24- Manual flow rate (L/min): 40- Pressure relief valve with audible warning limits maximum attainable delivery pressure (kPa):4.5- Expiratory resistance (kPa) <0.5 | Piece | **1** |   |   |   |  ------ Piece/ --------Days |
| **1.8** | **Respirator kit** | Includes three pouches/and 02 bag Oxygen access through outside pocket.Tuck-away backpack harness system.Should contain:Resuscitation Face mask 5 (Adult).Resuscitation Face mask 4 (Small Adult).Resuscitation Face mask 3 (Child).Head harness.Hook ring.Oxygen cylinder 2L 200 bar .Oxygen regulator, pin index, therapy, 1BS schraeder outlet. | Kit | **1** |   |   |   |  ------ Kit / --------Days |
| **1.9** | **Manual airway suction unit** | Vacuum (max): 450mmhg- Peak Free airflow: > 20L/min- Disposable container volume: 300ml- External Diameter if cap: 17mm- Dimensions: 180\*220\*80 mm | Piece | **120** |   |   |   |  ------ Piece/ --------Days |
| **1.10** | **Portable electrical suction unit**  | 230/12V BR Suction unit - 230V 50Hz, 12V RECH, Battery, 1X1000 ML JAR- Max vacuum: 0.75 Bar, 75 kPa, 563 mmHg- Max free air flow rate: 16 l/min- Noise level: 63.0 dB- Indicative Size to fit on the ambulance shelf: 35x21x18 cm-Duty cycle: Non-stop operation | Piece | **25** |   |   |   |  ------ Piece/ --------Days |

|  |
| --- |
| **Lot 2: Anaesthetic Oxygen & Humidification - Equipment & Accessories** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **2.1** | **Oxygen regulator - BAR readings** | Aluminum body, gold anodizedRegulated pressure: nominal 58 psigTwo DISS male high flow (170 LPM) outlet ports (with check valves inside the DISS fitting).Barb fitting outlet for constant flow selection: OFF, ¼, ½, 1, 2, 3, 4, 6, 8, 10, 15 and 25 LPM870 pin index yoke (pins are stainless steel)T-handle: Stainless Steel cross bar., T-Handle bushing incorporated into yoke body.Aluminum Flow Control knob.International Gauge: PSIG/kpa scale | Piece | **30** |   |   |   | ---- Pc/----Days |
| **2.2** | **Oxygen Regulator for Respirator** | Aluminum body, gold anodizedregulated pressure : nominal 58 psigtwo DISS male high flow 170 lpm outlets ports flow section 1/4, 1/2, 1,2,3,4,6,8,10, 15 and 25 lpm | Piece | **150** |   |   |   | ---- Pc/----Days |
| **2.3** | **Aluminum D size Oxygen cylinder** | 425 Liters, 2000PSI/139BAR, Length 20 Inch, Cylinder 4.38Inch, Weight 2.41 KGs | Piece | **35** |   |   |   | ---- Pc/----Days |
| **2.4** | **Aluminum E size Oxygen cylinder** | 680 Liters, 2000PSI/139BAR, Length29Inch, Cylinder 4.38Inch, Weight 3.58 KGs | Piece | **25** |   |   |   | ---- Pc/----Days |
| **2.5** | **Aluminum M size Oxygen cylinder** | 3452 Liters, 2216PSI/153BAR, Length 36.3 Inch, Cylinder 8Inch, Weight 39.5 KGs | Piece | **10** |   |   |   | ---- Pc/----Days |

|  |
| --- |
| **Lot 3: Vital Signs, Diagnostics & Monitoring** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **3.1** | **Glucometer Machine** | Glucometer Machine, compatible with OneTouch Strips & Needles, 350 result memory, results can be downloaded to a PC, battery easy to replace, results in 5 seconds.  | Piece | **30** |   |   |   |  ---- Pc/----Days |
| **3.2** | **Ultrasonic Fetal Doppler (A 100D)**  | Portable fetal heart beat detector | lightweight | Frequency : 2.0Mhz/2.5 Mhz | Intensity: 5m W/cm or less | Piece | **10** |   |   |   |  ---- Pc/----Days |
| **3.3** | **Electrocardiograph - ELI 230** | 12 lead 12 channel simultaneous 10 second resting- recording :3,6,12 channel and 1 channel (60 sec)- sensitivity: 5,10,20, auto mm/mV- Heart rate PR,QRS,QT/QTc,P-R-T axis- thermal printer : Vertical 8 dots/mm Horizontal 16dot/mm- backup battery. | Piece | **5** |   |   |   | ---- Pc/----Days |
| **3.4** | **Finger pulse oximeter** | Single unit finger pulse oximeter- For pediatric and adult patients- Oxygen saturation display range: 0-100% SpO2- Pulse rate display range: 18-320BPM- Oxygen saturation declared accuracy range: 70-100% SpO2 ± 2 digits- Long life Battery- With carrying case  | Piece | **100** |   |   |   | ---- Pc/----Days |
| **3.5-1** | **Digital Sphygmomanometer with pulse instrument**  | Digital Sphygmomanometer to measure arterial blood pressure | Piece | **5** |   |   |   | ---- Pc/----Days |
| **3.5-2** | **Digital Blood Pressure Monitor - BTS** | - Easy Use, with just the touch of one button, the monitor auto inflates for quick, easy measurements.- High resolution, large LCD display panel shows readings of blood pressure, pulse rate and pulse regularity simultaneously.- Equipment alarms required: cuff leak, cuff disconnect, failure to take successful reading, low-battery notice- Measurement Method: Oscillometry- Measurement Position: Upper Arm- Power Supply: Alkaline Battery or optional AC/DC Adapter- Accuracy and precision: Blood Pressure PulseMeasurement Range 0~290mmHg 40~240bpm Measurement Accuracy ± 3 mmHg ± 3%**Ⅱ- Training:**Demonstration and continued comprehensive training for lab staff and support services until familiarity with the system.**Ⅲ- Documents to be delivered:**- Product certifications.- Warranty- Should provide electronic and hard copies of User Manual (English), Service manual (English) and Complete construction details with respect to material specifications.**Ⅳ- Accessories required:**- Adult cuff- Power supply**Ⅴ – Transport, installation, and setup Assured by the company.** |   |  |   |   |   |  ---- Pc/----Days |
| **3.6** | **Blood pressure cuffs** | Set of Cuffs for Sphygmomanometer, 3 sizes, Infant, Child, Adult | Piece | **70** |   |   |   | ---- Pc/----Days |
| **3.7** | **Sphygmomanometer** | Portable Sphygmomanometer with set of 3 cuffs, Adult, Child, Infant | Piece | **80** |   |   |   | ---- Pc/----Days |
| **3.8** | **Wall-mounted ambulance sphygmomanometer** | Stable wall mounting made of glass-fiber reinforced plastic and an exceptionally sturdy casing made of ABS plastic. Total swivel radius 130°, i.e. 65° to the left and 65° to the right. Includes screws and wall plugs | Piece | **10** |   |   |   | ---- Pc/----Days |
| **3.9** | **Digital thermometer with cover disposable**  | * Fast and easy to use: quickly captures oral accurate readings

(4 to 6 seconds oral).* Large LCD displays temperatures in Fahrenheit or Celsius
* Convenient storage for 25 probe covers
* Last temperature recall button
* Takes approximately 6,000 readings on 3 AA batteries
* Interchangeable, removable probe cover to help reduce the risk of cross-contamination

**Ⅱ- Training:** Demonstration and continued comprehensive training for lab staff and support services until familiarity with the system.**Ⅲ- Documents to be delivered:*** User Manual
* Certificate of calibration
* Warranty

**Ⅳ- Accessories required:*** Removable Probe covers.

**Ⅴ – Transport, installation, and setup**Assured by the company. | Piece | **5** |   |   |   | ---- Pc/----Days |
| **3.10** | **Contactless Infrared Electronic Thermometer** | Non-contact infrared measuring thermometerNo contact requiredHard case Optical / visual focusing red lamps for correct reading distanceAccuracy level (in instrumental tests according to ASTM E 1965-98 (2009) standard): from 36 to 39°C (96.8/102.2°F) = +/-0.2°C (+/-0.4°F) from 34 to 35.9°C (93.2/96.6°F) = +/-0.3°C (+/-0.5°F) from 39.1 to 42.5°C (102.4/108.5°F) = +/-0.3°C (+/-0.5°F)Resolution 0.1°C (0.1°F)Forehead measuring range 34.0/42.5°C (93.2/108.5°F)Measurement time 1 sec. | Piece | **50** |   |   |   | --- Pc/----Days |
| **3.11** | **Vital signs monitor for ambulances**  | A battery operated vital signs monitor that is specifically made for use in an ambulance during transport. Certified by manufacturer for ambulance transportBattery operated with more than 8 hours battery life Car power adaptor Shockproof and waterproofAnti-defibrillator and anti-electrosurgical interferenceNumeric LED display Vital signs: pulse, respiration, NIBP, temperature, SpO2, EtCO2, 5 lead ECGAudible and visual programmable alarms Suitable for adults, pediatrics and neonates | Piece | **5** |   |   |   | ---- Pc/----Days |
| **3.12** | **Stethoscope** | Latex Free tubing, Convenient 30” overall length, 22” tube length, Durable chrome-plated binaural.Extra ear tips and diaphragm included | Aluminum chest piece. | Piece | **50** |   |   |   | ---- Pc/----Days |
| **3.13** | **Wall temperature Panel** | Room Wall temperature panel, low battery consumption | Piece | **50** |   |   |   | ---- Pc/----Days |
| **3.14** | **Industrial wall temperature Panel** | Smart temperature panel, to be used in warehouses | Piece | **5** |   |   |   | ---- Pc/----Days |
| **3.15** | **Probes for Refrigerators and Freezers**  | Cobalt 2 data Logger with External Probe-Temperature -40C/+80C | Piece | 15 |   |   |   | ---- Pc/----Days |
| **3.16** | **Probes for Lab Rooms**  | Cobalt 2 data Logger with External Probe-Temperature +10C/+50C | Piece | 2 |   |   |   | ---- Pc/----Days |
| **3.17** | **Receiver Antenna**  | Cobalt 2 868MHZ TCP/IP Receiver Anthenna  | Piece | 3 |   |   |   |  ---- Pc/----Days |

|  |
| --- |
| **Lot 4: Diagnostics - Scopes & specula & accessories** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **4.1** | **Gynecological lamp** | Mild steal stump adjustable with 4 casters - lamp: 220 volts - 50-60 Hertz - 8 watt- fluorescent  | Piece | **2** |   |   |   | ---- Pc/----Days |
| **4.2** | **Head mirror with light** | Adjustable headband with a circular concave mirror with a Chrome lamp - | Piece | **2** |   |   |   | ---- Pc/----Days |
| **4.3** | **Mini Light-pen** | Chrome body corresponding to 2 batteries - 1.5 V | Piece | **50** |   |   |   | ---- Pc/----Days |
| **4.4** | **Diagnostic set** | Set consists in the examination of the ears, nose and throatOphthalmoscope with correction lens wheelsOtoscope with 2 aural speculaChromium plated nose nasal speculaLaryngeal and post-nasal mirrors (sizes 3 & 4)Metal tongue depressorBent arm throat lampSpare bulb | set | **10** |   |   |   | ---- Pc/----Days |

|  |
| --- |
| **Lot 5: Laboratory Equipment Furniture** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **5.1** | **Blood bank refrigerator** |  **Annex 5.1** Upright Blood bank Refrigerator | Piece | **4** |   |   |   | --- Pc/----Days |
| **5.2** | **Freezer for Plasma Storage** |  **Annex 5.2** Freezer for Plasma Storage | Piece | **4** |   |   |   | --- Pc/----Days |
| **5.3** | **Bench Top centrifuge digital** |  **Annex 5.3** Bench Top Centrifuge | Piece | **2** |   |   |   | --- Pc/----Days |
| **5.4** | **Blood mixer with sealer and barcode reader** |  **Annex 5.4** -Blood Mixers with sealing function | Piece | **6** |   |   |   | --- Pc/----Days |
| **5.5** | **High Frequency Tube Sealing**  | **Annex 5.5** TOR-E-High acTube Sealing For Blood Product Bags | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.6** | **Electronic Blood measuring scale** | Technigal specification: Input supply 220 to 240 V 50 Hz can be connected to barcode reader for transfert of data to computer and to blood bank software /Weight range: up to 1kg / Resolution 1 Gm / Zero set provision to account for weight of the empty bag / Alarm when then programmed volume is reached /provisions for six keyboard for power on/off; weight/Volume conversion zero set / Led indicators for zero set and volume measurement.  | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.7** | **Electronic Blood Measuring Scale - BTS**  |  **Annex 5.6 -** ElectronicBlood Scale |   |  |   |   |   | --- Pc/----Days |
| **5.8** | **Hemoglobin testing machine portable** | **Annex 5.7** Hemoglobin testing device | Piece | **6** |   |   |   | --- Pc/----Days |
| **5.9** | **Plasma expressor manual**  |  **Annex 5.8** Manual Plasma Expresser | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.10** | **Refrigerated blood processing centrifuge floor standing model - Swing out rotor (max 8 bags)** |  **Annex** **5.10-11** Refrigerated Centrifuge | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.11** | **Refrigerated blood processing centrifuge floor standing model - Swing out rotor (max 4bags)** | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.12** | **Fully Automated Immunohematology Analyzer**  |  **Annex 5.12** Fully Automated Immnohematology Analyzer | Piece | **2** |   |   |   | --- Pc/----Days |
| **5.13** | **Eye Wash and Eye Face Wash Stations** |  **Annex 5.13** Eye wash station | Piece | **13** |   |   |   | --- Pc/----Days |
| **5.14** | **Pipettes** | The Pipette has an accurate volume settings Covering a volume range of 10ul to 100ul and 100ul to 1000ul  | Piece | **2** |   |   |   | --- Pc/----Days |
| **5.15** | **ID- Pipette**  | **Annex 5.15** ID Pipette | Piece | **2** |   |   |   | --- Pc/----Days |
| **5.16** | **Blast Plasma Freezer**  | **Annex 5.16** Blast Plasma Freezer | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.17** | **Waste Refrigerator** | **Annex 5.17** Waste refrigerator | Piece | **1** |   |   |   | --- Pc/----Days |
| **5.18** | **Working Station** | **Ⅰ- Specifications:**- The Working station is a complete solution for manual work with ID-Cards. Designed for 12 samples/24 ID-Cards. It is convenient for right- or left-handed use.- Dimensions (complete, w/h/d): 33 cm / 5 cm / 33 cmDimensions (ID-Card module, w/h/d): 18 cm / 5 cm / 33 cmDimensions (tube module, w/h/d): 15 cm / 3 cm / 33 cm**Ⅱ- Training:**• Not required**Ⅲ- Documents to be delivered:**• None**Ⅳ- Accessories required:**• None**Ⅴ – Transport, installation, and setu**p Assured by the company. | Piece | **1** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 3: Vital Signs, Diagnostics & Monitoring** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **6.1** | **Advanced Adult CPR training Manikin - Full body** | CPR adult manikin with advanced airway head for use with feedback device. Includes feedback device, hard case and mat | Piece | **5** |   |   |   | --- Pc/----Days |
| **6.2** | **Blood pressure training arm**  | Lifelike, adult blood pressure training arm, Palpable brachial and radial pulse, LCD guided operation, Systolic, diastolic, heart rate and auscultatory gap are programmable, Representation of both systolic and diastolic pressures, Indication of gauge reading as pressure is increased or decreased, Adjustable volume. It Includes: Adult arm, blood pressure trainer, cuff, 9-volt battery, trainer controller and carry case | Piece | **5** |   |   |   | --- Pc/----Days |
| **6.3** | **Childbirth simulator manikin and kit** | Features:· Normal vaginal delivery· Complete, frank, and footling breech birth· C-section delivery· Ritgen’s maneuver· Episiotomy· Vertex presentation· Intrauterine manipulation· Vertex/vertex, vertex/breech, breech/vertex, or breech/breechpresentation in multiple birth· Prolapse of umbilical cord· Demonstration of placenta previa: total, partial, and marginal· Normal delivery of umbilical cord and placenta· Palpation of fetal fontanelles Features· Removable diaphragm end plate for manual positioning of fetal baby/babies· Removable stomach cover for positioning fetus· Life-size pelvic cavity with major anatomic landmarks· Hand-painted outline of the bony pelvis· Three soft vulval inserts for episiotomy exercises· One baby boy and one baby girl, each with umbilical cord and placenta· Anatomically accurate backbone and fontanelles on fetal baby/babies· One skin-tone stomach cover· Four extra umbilical cords· Two umbilical clamps· Talcum powder· Instruction manual· Soft carrying bag | Piece | **5** |   |   |   | --- Pc/----Days |
| **6.4** | **CPR adult training manikin kit - Torso**  | Non-Advanced Airway Torso Anne used for teaching basic First Aid. It includes 4 Torso annes with carry case and 4 Airway replacement  | Kit | **20** |   |   |   | --- Pc/----Days |
| **6.5** | **CPR infant training manikin kit**  | Non-Advanced Airway Baby Anne used for teaching basic First Aid. It includes 4 Baby annes with carry case and 6 Airway replacement, 10 foreign body practice objects, and directions for use  | Kit | **20** |   |   |   | --- Pc/----Days |
| **6.6** | **Head section (simple airway model)**  | A simple model to demonstrate how a correct head tilt/chin lift opens the airway and enables air administration when performing CPR.  | Piece | **50** |   |   |   | --- Pc/----Days |
| **6.7** | **Wound care simulation manikin + kit** | Manikin with realistic wound types to be treated (burn, stitches, surgery, ulcers… etc)wound care kit including: scissors, tweezers, straight foreceps and box for sterile gauze swabs | Piece | **5** |   |   |   | --- Pc/----Days |
| **6.8** | **Moulage kit** | Contains the necessary moulage make-up supplies to create bruises, cuts, bloody contusions, blisters, broken bones, pallor… etc. all manner of accident-related theatrical training effects on live participants | Piece | **5** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 7: Cardiopulmonary Resuscitation** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **7.1** |  **Automated External Defibrillator** | Automatic with ECG monitoring - Large LCD screen displaying graphics and text for quick reference - Energy Sequence: User configurable, 150 joules–360 joules. - No rechargeable battery pack- Can accept Infant/Child Reduced Energy Defibrillation Electrodes- Low battery indication | Piece | **11** |   |   |   | --- Pc/----Days |
| **7.2** | **AED case** | AED heavy duty case with handle  | Piece | **1** |   |   |   | --- Pc/----Days |
| **7.3** | **AED trainer**  | Provides realistic training for defibrillator users. It utilizes the same screen messages, audible tones and voice prompts as those found in the defibrillator to guide users-in-training through simulated analysis, energy delivery and prompted CPR intervals.  | Piece | **1** |   |   |   | --- Pc/----Days |
| **7.4** | **AED trainer for Public training** | LOW-COST AED for laypeople training. Provides realistic training for defibrillator users. It utilizes the same audible tones and voice prompts in two languages (English & French) as those found in ANY real defibrillator, to guide users-in-training through simulated analysis,energy delivery and prompted CPR intervals. The AED should include a metronome, volume control, and a scenario button. Comes in packs of 4 AEDs, for Adult and Child. | Piece | **55** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 8: Medical Furniture** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **8.1** | **Chariot Medical** | Equipped with 2 trays of Dimensions: 60 x 80 cm - Height of the upper shelf = 75 cm - Frame mounted on wheels - Material: Stainless Steel | Piece | **5** |   |   |   | --- Pc/----Days |
| **8.2** | **Examination table** | Examination table - 2 sections - Dimensions: 193 X 60 - Paper roll holder - upholstery with 50mm thick foam paddingBack rest adjustable by crank mechanism - Mounted on square stumps mild steal | Piece | **5** |   |   |   | --- Pc/----Days |
| **8.3** | **Gynecological table**  | Gynecological examination table - steel square tube - Three sections - upholstery with 50mm thick foam padding - Single hand operated adjustable head and foot sections - Paper roll holder -Adjustable poles for leg supports - Dimension: 185 X 60 | Piece | **2** |   |   |   | --- Pc/----Days |
| **8.4** | **Screen** | Screen 3 panels - mild steal frame mounted on wheels - panels washable - Dimensions 100 X 42 X 167 cm - not plastic not glass - kind of textile | Piece | **5** |   |   |   | --- Pc/----Days |
| **8.5** | **Stairs**  | 2 steps - steel square tube - Dimensions: 40 X 40 X 40 cm approx. | Piece | **5** |   |   |   | --- Pc/----Days |
| **8.6** | **Blood donor chairs fixed**  |  **Annex 8.6** Provision of Blood products collection Chairs in fixed Sites | Piece | **7** |   |   |   | --- Pc/----Days |
| **8.7** | **Blood Donor Chairs for Mobile Blood Drives** |  **Annex 8.7** Provision of Blood products collection Chairs in Mobile Sites | Piece | **2** |   |   |   | --- Pc/----Days |
| **8.8** | **Mechanical Bathroom Scale**  | Mechanical scale - lightweight with a platform of metal 10 X 10 inch for the foot - adjusted with a cog - can carry up to 150 KG | Piece | **20** |   |   |   | --- Pc/----Days |
| **8.9** | **Scale Baby Digital 20 Kgs**  | Tray dimensions are 20.6 W x 10.5 D x 4 H inch (524 W x 267 D x 102 H mm). Display options include date and time as well as storage of previous weight on a large 1 inch (25 mm) high LCD screen. 44 lb x 0.5 oz / 20 kg x 10 g capacity.  | Piece | **2** |   |   |   | --- Pc/----Days |
| **8.10** | **Scale Beam W/ height ROD**  | Capacity 180kg - Readability 100g - Pan Size 10 1/2" x 14 1/2" / 267mm x 368mmHeight Rod Measures 30" - 78" / 76cm - 198cm - Scale Height 59" / 1.5mScale Weight 39lbs / 17.6kg | Piece | **2** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 9: Cleaning Equipment** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **9.1** | **Autoclave - Sterilizer** | Autoclave , 18 LITER | Piece | **3** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 10: Orthotic Products** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **10.1** | **Finger flexible splint roll** | Finger splint (4.5cm x 10 cm) - Waterproof- Reusable- Lightweight and compact- Radiolucent - Fastens in place with tape or wrap of choice.- Easy cleaning and disinfection.  | Piece | **50** |   |   |   | --- Pc/----Days |
| **10.2** | **Small flexible splint roll** | 9-inch Wrist splint (Overall size: 4.25” x 9”) - Waterproof- Reusable- Lightweight and compact- Radiolucent - Fastens in place with tape or wrap of choice.easy cleaning and disinfection. | Piece | **50** |   |   |   | --- Pc/----Days |
| **10.3** | **Long flexible splint roll** | 36-inch Splint• Lightweight (4 oz. for 4.25w = 36w splint).• Waterproof.• Radiolucent. You can x-ray through it.• Foam padded for comfort.• Reusable. Easily cleaned and disinfected• Cuts easily with regular scissors.• Fastens in place with tape or wrap. | Piece | **50** |   |   |   | --- Pc/----Days |
| **10.4** | **Medium flexible splint roll** | Splint 18 inch Junior flat (Overall size: 45.7cm x 10.8cm) - Waterproof- Reusable- Lightweight and compact- Radiolucent - Fastens in place with tape or wrap of choice. - Closed-cell foam allows easy cleaning and disinfection. | Piece | **50** |   |   |   | --- Pc/----Days |
| **10.5** | **Extrication device**  | Should provide horizontal flexibility and vertical rigidity for maximum support of the spine, neck, and head during extrication. -Built-in handles  -Adapts to a hip and pelvic splint by simple inversion -Adjustable, fold-back sides  -Can be used for multiple patient sizes, including children and pregnant women -Color-coded straps -Sewn-in securing straps and snaplock buckles | Piece | **10** |   |   |   | --- Pc/----Days |
| **10.6** | **Adult Cervical Collar** | 16" size in one collar - Flat storage - Radio translucent, CAT & MRI compatible | Piece | **220** |   |   |   | --- Pc/----Days |
| **10.7** | **Pediatric cervical collar** | 12" sizes in one collar - Flat storage - Radio translucent, CAT & MRI compatible  | Piece | **120** |   |   |   | --- Pc/----Days |
| **10.8** | **Pelvic belt** | Pelvic Sling stabilize pelvic fractures. - Buckle maintains correct force;- Standard size fits 98% of population.-“Click” provides clear feedback to confirm correct application.- Pulling gradually and symmetrically increases sling tension and reduces the pelvis,.-Low friction posterior slider facilitates transfers.-Front of Sling is narrow and tapered to facilitate urinary catheterization, interventional radiology, external fixation and abdominal surgery.- Fabric does not stretch and cleans for reuse - Radiolucent (allowing for X-rays and CT-scans without removal).- Velcro on strap and sling - Reusable, not a onetime use device.- Latex free | Piece | **25** |   |   |   | --- Pc/----Days |
| **10.9** | **Rigid splints set of 3** | They do not need to be removed for X-rays and CAT scan investigations. The kit should contain splint size S (735 x 640 mm)([28.93 x 25.19 in]) splint size M (1100 x 695 mm) ([43.30 x 27.36 in]) splint size L (1300 x 720 mm) ([51.18 x 28.34 in])Includes carrying bag | Piece | **55** |   |   |   | --- Pc/----Days |
| **10.10** | **Vacuum mattress with vacuum head immobiliser** | Multi-chamber technology vacuum mattressOffers excellent rigidity and supportX-ray, CRT and MRI compatibleUtilises a proven, robust low profile valveColourfast, easy to clean and repairManufactured without the use of PVCManufactured in accordance with ISO 9001Supplied with 4 carrying handles 4 patient securing straps and 1 head strap150kg load capacityWorking temperature of -40§C to +100§CDimensions 198 X 89 x 4cm, weighs 6kgIncludes pump and carrying bag complete with backpack style straps | Piece | **30** |   |   |   | --- Pc/----Days |
| **10.11** | **Vacuum splint kit** | Improved valve and more robust. Fully welded without any open seams or textiles, making hygienic cleaning easy. Most suction devices fit directly into the valve, no adapters are needed.X-rays may be taken with the splints in place and highly flexible. Flame retardant and easy to clean – fully welded without open seams or textiles. | Piece | **25** |   |   |   | --- Pc/----Days |
| **10.12** | **Traction splint** | Provides in-line mechanical traction to relieve pain and reduce the possibility of further vascular and nerve damage -Simple adjustable wrap-around ankle hitch designed to allow EMTs to check pedal pulses• Eliminates the need to roll the patient or raise the leg during application• The absence of an ischial bar eliminates problems of needless pressure• Allows to work around hip or groin• Small enough to be carried in a first aid kit• Adjusts to adult and pediatric sizes• Can be applied above boots  | Piece | **106** |   |   |   | --- Pc/----Days |
| **10.13** | **Burn Kit** | Burn Dressings, Burn Wrap/Fire Blankets, and Burn Jel -Burn Wrap 91 x 76 cm (1)-Face Mask 30 x 40 cm (1)-Hand Dressing 20 x 55 cm (1)-Dressings 20 x 45 cm (1)-Dressings 10 x 40 cm (2)-Conforming Bandages (4)-First-Aid Scissors (1) | Piece | **15** |   |   |   | --- Pc/----Days |
| **10.15** | **Junctional Tourniquets** | Control Severe Bleeding in Inguinal and Axilla Areas-Autostop Buckle-Precision Strap-Control Pump-Target Compression Device-TCD Extender-Auxiliary Strap-Radiolucent Material | Piece | **100** |   |   |   | --- Pc/----Days |
| **10.16** | **Vacuum Mattress Pump** | Multi-functional valve & Has a foot-rest for extra stability when in use.Should be compatible with the above/chosen vacuum mattress | Piece | **15** |   |   |   | --- Pc/----Days |
| **10.17** | **28 cot Mattress** | Stretcher Mattress compatible with Ferno 28 cot | Piece | **15** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 11: Surgical Instruments** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **11.1** | **Plastic container "haricot"** | Kidney Basin, 6" or 8", made of stainless steel, with round edges. | Piece | **50** |   |   |   | --- Pc/----Days |
| **11.2** | **Stainless bowl** | Aluminum Stainless for patient care | Piece | **50** |   |   |   | --- Pc/----Days |
| **11.3** | **Stainless container** | Aluminum Stainless for band gaz | Piece | **50** |   |   |   | --- Pc/----Days |
| **11.4** | **Stainless gauze container** | Aluminum Stainless for sterilized gauze roll | Piece | **50** |   |   |   | --- Pc/----Days |
| **11.5** | **Cloth scissors** | BLADE TYPE Serrated HPIS CLASSIFICATION 710\_660\_10\_0 Handle Material Plastic INSTRUMENT FAMILY Universal INSTRUMENT GRADE German Grade Stainless Steel Latex Free Yes Length 15 cm Length Inches 6 in SPECIALTY USE General Use TYPE OF INSTRUMENT Bandage Scissors Tip Type Angled  | Piece | **200** |   |   |   | --- Pc/----Days |
| **11.6** | **Curved forceps** | 5.5-Inch, curved forceps Made of stainless steel – Autoclavable | Piece | **150** |   |   |   | --- Pc/----Days |
| **11.7** | **Scissors** | Medical 5.5 inches bandage scissor is made of stainless steel. Autoclavable. | Piece | **150** |   |   |   | --- Pc/----Days |
| **11.8** | **Tweezers** | Straight, serrated forceps is excellent for removing surgical dressings or for other detail work requiring a precision tweezer.Ideal for use in medical applicationsMade of stainless steelMeasures 5 1/2 inches long | Piece | **150** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 12: Urology - Urological catheters & valves** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **12.1** | **Bassin Urinary plastic device** | • Contoured, molded plastic for adults • Cleans with standard household cleaners • Length - 12 3/4"• Width - 9 1/2"• Height - 1"- 3"• Comfortable low tapered front• Back grip for easy handling• 47.3 fl oz capacity | Piece | **50** |   |   |   | --- Pc/----Days |
| **12.2** | **Male Urinary plastic device** | Prevent spills with the snap-on lid• Sturdy grip• Lightweight, durable • Graduated marks to measure outputReusable, translucent, Can fit up to 1000cc | Piece | **50** |   |   |   | --- Pc/----Days |
| **12.3** | **Female urinary plastic Device** | • Sturdy grip• Lightweight, durable • Graduated marks to measure outputReusable, translucent, Can fit up to 1000cc | Piece | **50** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 13: Walking Aids** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications**  | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **13.1** | **Aluminum Crutches - Large** | Size: 52-66" - Lightweight aluminum with rubber cushions and handgrips - adjustable - anti-slip rubber tip | Piece | **500** |   |   |   | --- Pc/----Days |
| **13.2** | **Aluminum Crutches - Medium** | Size: 44-52" - Lightweight aluminum with rubber cushions and handgrips - adjustable - anti-slip rubber tip | Piece | **600** |   |   |   | --- Pc/----Days |
| **13.3** | **Elbow crutches mobile - Large** | Size: 93cm/116cm -single - adjustable- with PVC handles and cuff - lightweight aluminum - closed mobile cuff -Angled neck- contoured hand grip - anti-slip rubber tip | Piece | **400** |   |   |   | --- Pc/----Days |
| **13.4** | **Elbow crutches mobile - Medium** | Size: 87cm/110cm - single- adjustable- with PVC handles and cuff - lightweight aluminum - closed mobile cuff - angled neck- contoured hand grip - anti-slip rubber tip | Piece | **400** |   |   |   | --- Pc/----Days |
| **13.5** | **Stick** | Lightweight aluminum - adjustment range between 75-100cm - PVC handle - anti-slip rubber tip  | Piece | **200** |   |   |   | --- Pc/----Days |
| **13.6** | **Tetrapod** | Lightweight aluminum - 4 legs - adjustment range between 72-100 cm max - PVC handle - with anti-slip rubber tip | Piece | **250** |   |   |   | --- Pc/----Days |
| **13.7** | **Tripod** | Lightweight aluminum - 3 legs - adjustment range between 72-100 cm max - PVC handle - with anti-slip rubber tip | Piece | **150** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 14: Bags** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **14.1** | **Oxygen bag**  | “D” and “Jumbo D” compatible, Outside pocket organized with pouch and elastic loops.- Includes three pouches/and bag for oxygen cylinder-Oxygen access through outside pocket.- Tuck-away backpack harness system. | Piece | **60** |   |   |   | --- Pc/----Days |
| **14.2** | **Trauma Bag** | Trauma Bag has easy access to various external pockets that are configured with elastic loops and multiple internal pouches for first response supplies. - The layout of the main internal body compartment can be customized quickly.- A low profile back also keeps the kit close to the attendant minimizing pressure on the spine when transporting a fully loaded kit.- non-slip shoulder strap plus a concealed backpack harness system.- Red color with reflector strips- L 57 cm W 31 cm H 37 cm. | Piece | **60** |   |   |   | --- Pc/----Days |
| **14.3** | **Vacuum Mattress Bag** | Mesh/Leather Vaccum Mattress Bag,Size: 90x50x30. Heavy duty ZipperIncluding an internal pouch for the pump and tapeOptional: Water Proof/Resistant  | Piece | **10** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 15: Child Transport Equipment** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **15.1** | **Transport incubator** | Exothermic gel mattress provides a constant 38°C (100˚F) temperature for up to two hours.Weight: 9.5kg (21lbs) and is intended for infants up to 8 kilograms allowing a single person to easily lift and maneuver the pod.Infant Weight Limit: 2-8kg (4.4-17.6lbs)Dimensions: 1000 x 430 x 300mm (L x W x H)Weight: 9.5kg (21lbs) without patientMaterials: Carbon/CompositeIntegrated ventilation support | Front-mounted controls |Internal tank storage | Auxiliary flow meterAir compressor optionOther key advantages:Facilities for fluid delivery and vital signs monitoringStrain relief blocks to prevent accidental extubationCapacity for recharging auxiliary support equipment batteriesA choice of standsOptional second battery | Piece | **1** |   |   |   | --- Pc/----Days |
| **15.2** | **Child immobilization device** | Provide cervical neutral alignment for infants and children ranging from 5 to 27 KgCrescent shaped compressible head blocks allow access and visual monitoring of the ears while maintaining immobilizationVersatile strap configurations with the adjustable three-point harnessRolls into self-contained carrying case to store in ambulance compartment, drawers or under bench seats. | Piece | **1** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 16: Lifting & Moving** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications (Annex 3)** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **16.1** | **Emergency Stretcher with Strips** | Aluminum Alloy Folding Stretcher: Light weight, stretcher folding, made of strong aluminum poles.The stretcher is foldable widthwise with the help of lockable stainless steel cross bars.The stretcher is also foldable halfway lengthwise on Stainless Steel hinges.The stretcher is fitted with four Stainless Steel machine bent stumps.Material used is Corrosion resistant. Fitted with strong, washable, P.V.C. coated nylon fabric (orange or green color), provided with Two Fastening belts, Utility Pocket to store the optional carry bag, patient record, cushion etc.Comes with Zippered carry bag made of washable Nylon/Synthetic fabric with double shoulder slings.Overall, Open Size: 200(L) x 55(W) x 18(H) cm. | Stretcher Surface: 180(L) x 55(W) cm. | Folded Length: 100 cm. | Piece | **10** |   |   |   | --- Pc/----Days |
| **16.2** | **Ambulance chair**  | Includes floor fastener - two rear folding handles with anti slip plastic coating- two front telescoping handles with anti slip plastic coating- telescoping footrest with padded, foldable calf rest- Length of handle extended: 1.470 mm- Length ready to use: 800 mm- Length folded: 1.000 mm- Width: 550 mm- Height ready to use; 1.190 mm- Height folded: 500 mm- Seat height: 550 mm- Weight: 23 Kg | Piece | **1** |   |   |   | --- Pc/----Days |
| **16.3** | **Ambulance roll in stretcher** | -Stretcher can be used and locked in the fastener on the ambulance floor without the Transporter.-Lift-off stretcher- Reversible loading- Wheels easily roll over any terrain.-Foot-end swivel-lock wheels and head-end fixed wheels with wheel locks.-Adjustable backrest with different positions up to 90°.- The Length of stretcher should be less than 2300 mm and width less than 600 mm. -the Weight of Stretcher should be less than 20KG and the weight of transporter should be less than 25 KG. -The Load Limit should me more than 250 KG. | Piece | **10** |   |   |   | --- Pc/----Days |
| **16.4** | **Backboard** | Backboard should be compatible with head immobilizer, spider straps & Speed clips. -Should have central slot in the lower half of board for immobilizing a patient's legs independently.Capable of floating 57 KG.The load limit should be more than 200 KG. | Piece | **10** |   |   |   | --- Pc/----Days |
| **16.5** | **Foldable stretcher** | With lightweight aluminum poles for easy lifting-Non-slip plastic carrying handles-Spreader bars provide additional support-Vinyl fabric is impervious to stains and mildew for easy care and maintenance-Stirrup feet raise the casualty off the ground-Folds in both length and width to an extremely compact size-Combines collapsible spreader bars with low profile stretcher pole hinges for quick, easy deployment.-Length: 2060 mm-Length folded: 1140 mmWidth open: 550 mm , Width folded: 110 mm-Weight: 6 Kg , Load capacity: 159 Kg | Piece | **10** |   |   |   | --- Pc/----Days |
| **16.6** | **Metallic belts (scoop straps)** | Scoop Straps set of 3 pcs, Two-piece restraints | Metallic belts  | Piece | **30** |   |   |   | --- Pc/----Days |
| **16.7** | **Nonmetallic scoop stretcher** | Oval profile and angled handles Twin-Safety-Lock mechanism smooth locking and unlocking.Head section is recessed for proper cervical alignment.Easy-to clean surface is impervious to fluids.X-ray translucent.Folds to 1194mm (7 inch) for compact storage. | Piece | **10** |   |   |   | --- Pc/----Days |
| **16.9** | **Stair evacuation chair with tracks** | Evacuation Stair Chair glides 227KGs loads down stairs without carrying or lifting Height = 95 cm, Weight = 25.6 kg, Load Limit = 227 kg, Width = 52 cm.With restraints and locking handles Head Rest, Wall Bracket , IV Pole | Piece | **5** |   |   |   | --- Pc/----Days |
| **16.10** | **25 Stretcher** | Should be Simple to use roll-in cot with two levels of height adjustment: fully elevated or ground level Independent folding legs Two stationary and two 360 degrees swivel wheels Adjustable backrest angles from 0 to 75 degrees Includes two roll-out wheels at operator end | Piece | **5** |   |   |   | --- Pc/----Days |
| **16.11** | **28 Stretcher** |  Wheels easily roll over any terrain.-Foot-end swivel-lock wheels and head-end fixed wheels with wheel locks.-Adjustable backrest with different positions up to 90°.- The Length of stretcher should be less than 2300 mm and width less than 600 mm. -the Weight of Stretcher should be less than 20KG and the weight of transporter should be less than 25 KG. -The Load Limit should me more than 250 KG. | Piece | **5** |   |   |   | --- Pc/----Days |
| **16.12** | **Metallic speed clips** | Two-piece restraint made of 51mm nylon-polyester webbing with quick-release, automotive-type, coated metal buckle. -Swivel speed-clips for quick attachment to backboard or scoop stretcher with pins.- 1524 mm or 5 ft. long | Piece | **50** |   |   |   | --- Pc/----Days |
| **16.13** | **Spider belt for spine board** | Quick Restraint 10-point, six-strap system is used to quickly secure patients to backboards and other devices. The Fastrap system is compatible with backboards and Scoop stretchers. Size is adjustable from adult to pediatric. | Piece | **30** |   |   |   | --- Pc/----Days |
| **16.14** | **Spine board Head Immobilizer** | Head Immobilizer Composed of two plastic-coated, closed-cell foam head supports, one universal attachment base and two durable head straps. -Head Supports can be used on standard backboards, or turned around for use on the Scoop Stretcher.-Minimal interference with X-ray-Waterproof coating makes it easy to clean. | Piece | **40** |   |   |   | --- Pc/----Days |
| **16.15** | **Stretcher Chair** | Brand & Model: Ferno 107 stretcher chair, Fixed head-end posts are suppport legs, fixed posts are in position when chair is unfold. Fixed foot-end wheels allow easy maneuvering, folding foot-end handles provide excellent grip, can be used with model 385-F carrying case, includes two 1524mm quick-release patient restraints. | Piece | **15** |   |   |   | --- Pc/----Days |
| **16.16** | **Quad cane pyramid base** | Chrome plated steel – diameter approx. 410mm - Pyramid base - Lightweight approx. 1kg - Height adjustable 74 – 97cm – 10 holes or more - Base measurement approx 220-200mm - Anodized aluminum neck with plastic grip handle – for right and left handed users - Quad stick base depth approx. 225mm - Rubber ferrule on each leg - ISO certificate | Piece | **250** |   |   |   | --- Pc/----Days |
| **16.17** | **Mechanical Bathroom scale** | Analogue weight display - non-slip surface - weight graduation till 130Kg. - approx dimension 30X27X5 cm - Iso certficate | Piece | **15** |   |   |   | --- Pc/----Days |
| **16.18** | **Wheel Chair - pneumatic tires** | Light Weight - Removable wheelchair arms - Soft padded washable upholstery - Detachable swing away wheelchair foot rest - Pneumatic wheelchair tires - Wheels 21’’ + (60cm) in diameter - Locking brakes on each wheel - Detachable wheelchair arms -Folding Back - Overall width: 64cm - Seat width: 45-55cm - Seat depth: 40cm - ISO certificate | Piece | **50** |   |   |   | --- Pc/----Days |
| **16.19** | **Wheel Chair - Solid tires** | Light Weight - Removable wheelchair arms - Soft padded washable upholstery - Detachable swing away wheelchair foot rest - Solid tires - Wheels 21’’ + (60cm) in diameter - Locking brakes on each wheel -Folding Back - Overall width: 64cm - Seat width: 45-55 cm - Seat depth: 40cm - ISO certificate | Piece | **50** |   |   |   | --- Pc/----Days |
| **16.20** | **Ez-Glide Mount** | Ambulance MountLock for Ez-glide | Piece | **10** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 17: Cervical collar** |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications**  | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **17.1** | **Cervical collar 13"** | Soft foam, 33 compression rating 2.5'' width, 13'' length, medium size, hand washable  |   | **150** |   |   |   | --- Pc/----Days |
| **17.2** | **Cervical collar 17"** | Soft foam, 33 compression rating 2.5'' width, 17'' length, large size, hand washable  |   | **150** |   |   |   | --- Pc/----Days |
| **17.3** | **Cervical collar 21"** | Firm foam, 50 compression rating 3'' width, 21'' length, hand washable  |   | **150** |   |   |   | --- Pc/----Days |

|  |
| --- |
| **Lot 18: Transportation System**  |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications – We need to Install the Transportation System that contain the below items. Please Provide us with a Data Sheet that includes all the Technical Details, numbers of each item, installation and training mechanism.** | **Required Unit of Measurement**  | **Estimated Quantity**  | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY**  | **Unit Price in USD, inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Training, installation, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** |
| **18.1** | **Indexor System Standard** | Ⅰ- Specifications:Can be used to assist in the organization of pre and post analytical areas, allowing tubes to be registered, distributed to various laboratory areas, and archived for long-term storage. managing tubes from collection sites to the lab in line with ISO 15189 and UN3373 Category B standards.Ø Uses Radio-frequency identification (RFID) to automatically identify and track samples from collection to physical disposalØ Facilitates sample handling from the point of collection to the laboratory and transport between labs: 1. Collection: Allow electronic registration of tubes (with date and time of the action and user identification) in an easy and fast way and without the use of software. System placed at the collection site, requires only AC Power and no IT infrastructure or network connectivity. Users simply scan a tube and place it into any position in the rack. 2. Check out: Allow an automatic and fast check out to begin transport phase with possibility to identify the personnel involved. 3. Transport: Samples should be well conditioned and stable during transportation. Provides for sample transport monitoring without the need for any additional procedures by the user (racks, transport boxes, temperature monitoring devices, cooling elements), and in accordance with international sample transport standards. Automatically records data with easy access, such as temperature conditions, duration of transport, The transport containers carry racks of tubes at UN3373 Category B standard, with web tools showing the status and last location of any tube.During transport, the system records a temperature every 5 minutes and can detect excessive impacts.4. Check in: Assures an automatic, easy and fast check-in, with pre-defined alerts On arrival in the lab, once the racks are removed from the case and loaded onto the system the transport phase ends.The system removes most of the manual steps from the specimen reception process accelerating the time from lab arrival to the analyzer.The data from the RFID tag is downloaded onto the system and analyzed for problems such as extended transport time, missing tubes, or temperature variances. Can receive orders from the LIS and organize tests into user-defined worklists so that urgent and special tubes can be found quickly.Ø Post analytical phase: Once the samples are completed, it can be easily stored by closing the racks and sending samples to the storage for archiving.Possibility to define for different archive duration for different sample types.The system database should keep track of every sample, to assure full traceability.Locating tubes in storage in a fast, accurate and easy way.Ø Can be connected via local network (collection sites and testing site)Ø Expandable to workload sizeØ Provide dashboards and analytics to optimize the pre-analytical processesⅡ- Training:Demonstration and continued comprehensive training for lab staff and support services until familiarity with the system.Ⅲ- Documents to be delivered:- Calibration certificates - Warranty- Installation qualification - Should provide electronic and hard copies of User Manual (English), Service manual (English) and Complete construction details with respect to material specification.Ⅳ- Accessories required:1. Racks: - Unbreakable Material, shock resistant- Stackable- Suitable for 16 mm and 13 mm tubes- Comes with easy lock cover - Can go down to -80 degrees2. Transport Box and - Temperature logging to RFID- Register transport time- Transport compliant with UN3373 - Isothermic- Up to 24h temperature logging- Gel pads for containing and absorbing leaks- Impact sensor3. Other Accessories:The list of spare and wearing parts and their frequency of replacement shall be provided in the offer for illustrative purposes.Their provision must be guaranteed for a period of ten years as of the date of installation of the devices.The supplier shall propose a maintenance solution and its cost in their offer. | LS | **1** |   |   |   |
| **18.2** | **Mini Indexor System** |   |   |   |
| **18.3** | **Ilogger Case** |   |   |   |
| **18.4** | **Data Analytics BI ( 1 for every unit Mini Standard- Spot)** |   |   |   |
| **18.5** | **IRACK with 60 Positions for 13 mm Diamater Tube** |   |   |   |
| **Total Price for Installing the whole system (USD- TTC)** |  ----------------------- USD |
| **Lead Time of Delivery for installing the system** |  --------------------------- Days |

## All the details are mentioned in the above table. And Annexed Datasheets

##

## Annex 4 – Past Performance & Bidder References (Must be signed and stamped)

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Description** | **Customer** | **Unit** | **Quantity** | **Contract date** | **Contract value (USD)** |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

Please provide the details of minimum two companies for your reference check. For these companies it is compulsory to attach a scan either / photo copy of the Contract/ Purchase order/ Completion certificate/ or Reference letters as proof.

|  |  |
| --- | --- |
| **Reference 1** |  |
| Company name |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |
| **Reference 2** |  |
| Company name |  |
|  |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |

## Annex 5 Tender and Award Acknowledge Certificate

## This attachment shall be signed and submitted with the Bid (Must be signed and stamped)

|  |  |
| --- | --- |
| 1. In compliance with the ITB Instructions and General Conditions of Procurement Contract, we the undersigned, offer to furnish some or all of the quoted for, at the prices entered in the attached LRCS Bid Form No [ITB/2020/034 delivered to the destination specified therein.2. We accept the terms and conditions set forth in the ITB Letter, and the following requirements have been noted and will be complied with where applicable:a. That unless otherwise stated, the Bids per each line item shall be on a DDP- Beirut (Incoterms 2010) basis.b. We confirm that for any offer made where thedelivery destination is not as requested in the ITB, item shall be on a DDP- Beirut (Incoterms 2010) basis.c. That conditional Bid cannot be accepted.d. That the currency of the Bid should be in USD, or LEB, no other currencies will be accepted.e. LRCS reserves the right, at its own discretion:i. To award a contract for a lesser or greaterquantity than the total quantity Bid for.ii. To reject any or all Bids and/or enter a contract with a Bidder other than the lowest Bidder.f. Successful Bidders who are awarded contracts will be notified by the receipt of the original Purchase Order/Contract and acknowledgement copy. In case of urgency, successful Bidders(s) may also be notified by email.g. Any samples requested, either with the Bid, or at a later date, will be in accordance with thespecifications of the required item(s). Failure tocomply with this may result in the Bid not being consideredh. We confirm that the validity of this offer is for 90 **calendar days from the date of the ITB closure** | i. We agree to the terms and conditions set in the LRCS General Conditions of Procurement Contract j. We certify that the below mentioned company has not engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing any contract.k. We agree to abide by the LRCS Addendum,3. We note that LRCS is not bound to proceed with this ITB and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.We agree to the above terms and conditions.Submitted by:Company Name-----------------------------------------Place-------------------------------------------------------Date--------------------------------------------------------Title/Position--------------------------------------------Print Name----------------------------------------------Signature-------------------------------------------------A duly authorized company representative **any Stamp** |

**Annex 6: General conditions of Procurement Contract.**

**Article 1. Terms & conditions on purchasing**

**1.1. Acceptance:** No purchase order shall become effective and no contract shall exist until the

LRCS has received from the Supplier their written acceptance of the conditions which

govern the PO or contract. This can be accomplished by return of the signed Letter of

Authorization and Acknowledgment Form attached.

**1.2. Tax Exemption:** The Supplier’s price shall reflect any tax exemption to which the LRCS is

entitled by reason of any immunities which it enjoys. If it is subsequently determined that

any taxes which have been included in the price are not required to be paid, the LRCS shall

deduct the amount from the contract price or, if it has paid any such taxes, it shall be

refunded.

**1.3. Discount:** Time in connection with any discounts offered will be computed from the date of

receipt by the LRCS of full documentation as specified by the Purchase Order, contract or

Annex thereto.

**1.4. Warranty:** The Supplier warrants the goods or services furnished under this Purchase Order

/ Contract to be fit for their intended use, free from defects in workmanship or materials,

and indemnifies the LRCS against any claims resulting there from. This warranty is without

prejudice to any further guarantees that the Supplier provides to the Purchaser; such

guarantees shall apply to the subject goods of this Purchase Order / Contract.

**1.5. Inspection:** The duly accredited representatives of the LRCS shall have the right to inspect

the goods or services called for under this Purchase Order / Contract at the Supplier’s

stores, during manufacture, in the ports or at places of shipment, and the Supplier shall

cooperate and provide all facilities for such an inspection. The LRCS may issue a written

waiver of inspection at its discretion. Any inspection carried out by representatives of the

LRCS or any waiver thereof shall not prejudice the implementation of any other relevant

provisions of this Purchase Order / Contract concerning obligations subscribed by the

Supplier, such as warranty or specifications.

**1.6. Packing:** The Supplier shall pack all goods appropriately and with every care in accordance

with normal commercial standards of export packing for the type of goods specified herein.

Such packing materials used must be adequate to safeguard the goods while in transit. The

Supplier shall be responsible for any damage or loss which can be shown to have resulted

from faulty or inadequate packing.

**1.7. Export License:** The Purchase Order / Contract is subject to the obtaining of any export

license or other governmental authorization which may be required. It shall be the

responsibility of the Supplier to inform the LRCS beforehand of such restrictions and obtain

such license or authorization, but the LRCS will use its best endeavors to assist. In the

event of refusal thereof, the Purchase Order / Contract will be annulled and all claims

between the parties automatically waived.

**1.8. Force Majeure:** Force majeure, as used herein, shall mean acts of God (involuntary and

unexpected acts), laws or regulations, industrial disturbances, acts of war, explosions and

any other similar cause of equivalent force not caused by, nor within the control of either

party, and which neither party is able to overcome. As soon as possible after the

occurrence of the force majeure and within not more than 15 days, the supplier shall give

notice and full particulars in writing to the LRCS of such force majeure if the Supplier is

thereby rendered unable, wholly or in part, to perform his obligations and meet his

responsibilities under this Purchase Order / Contract. The LRCS shall then have the right to

terminate the Purchase Order / Contract by giving in writing seven days’ notice of

termination to the Supplier, and the Supplier shall return any deposit paid by the LRCS.

**1.9. Default:** In case of default by the Supplier, including but not limited to failure or refusal to

make deliveries within the time limit specified, the LRCS may procure the goods or services

from other sources and hold the Supplier responsible for any excess costs occasioned

thereby. Furthermore, the LRCS may by written notice terminate the right of the Supplier

to proceed with the deliveries, or such parts thereof as to which there has been default.

**1.10. Conformity with Specifications:** In the case of goods purchased on the basis of

specifications the Supplier warrants their conformity. The LRCS shall have the right to reject

the goods or any part thereof if they do not conform to specifications. Any supplies not

found to be in accordance with the specification and requirements will not be accepted and

in that eventuality the supplier shall replace the goods and bear the inspection cost and/or

other losses caused to LRCS, if any, by replacement of the items non–conforming to the

requirements/specification.

**1.11. Liquidated Damages:** Arrival of goods/ completion of services after agreed delivery

schedule will be subject to deduction of damages

**1.12. Disputes-Arbitration:** Any claim or controversy arriving out of this Purchase Order /

Contract, or to the breach, termination or invalidity thereof the parties agree to attempt to

settle it amicably via direct negotiations between the two sides within seven days. In case

of any dispute that cannot be settled in such way, the Lebanese law shall be applicable and

the Lebanese courts will settle any litigation in this regards that was not solved amicably

**1.13. Privileges and Immunities:** Nothing contained in this Purchase Order / Contract

shall be deemed a waiver, express or implied, of any privilege or immunity which the LRCS

may enjoy, whether pursuant to existing conventions or agreements.

**1.14. Assignment:** The Supplier shall not assign, transfer, pledge or make other

disposition of this Purchase Order / Contract or any part thereof or of any of the Supplier’s

rights, claims or obligations under this Purchase Order / Contract except with the prior

written consent of the LRCS.

**1.15. Bankruptcy:** Should the Supplier file any petition for bankruptcy, or should the

Supplier make a general assignment for the benefit of its creditors, or should a receiver be

appointed on account of the Supplier’s insolvency, the LRCS may under the terms of this

Purchase Order / Contract, terminate the same forthwith by giving the Supplier written

notice of such termination.

**1.16. Advertising:** Unless authorized in advance in writing by the LRCS, the Supplier shall

not advertise or otherwise make public the fact that he is a Supplier to the LRCS and / or

any National Red Cross or Red Crescent Society, or use the name, emblem or official seal of

the LRCS and / or any National Red Cross or Red Crescent Society, or any abbreviation of

the name of the LRCS and / or any National Red Cross or Red Crescent Society for

advertising purposes or any other purposes.

**1.17. Officials Not to Benefit:** The supplier represents and warrants that no official of the

LRCS has been, or shall be, admitted by the supplier to any direct or indirect benefit arising

from this contract or the award thereof. The supplier agrees that breach of this provision is

a breach of an essential term of this contract.

**1.18. Amendments:** No changes or modifications to this Purchase Order / Contract shall

be valid unless mutually agreed between both parties and confirmed by an official

amendment.

**1.19. Notice:** Service of any notice shall be deemed to be good if sent by registered mail,

or email to the addresses of both parties, set out in the heading of this Purchase Order /

Contract.

**1.20. Jurisdiction:** This Contract is considered to be concluded as defined in the attached

Addendum.

**Article 2. Labour standards**

**2.1. Employment is freely chosen:** There is no forced, bonded or involuntary prison labour.

Workers are not required to lodge `deposits’ or their identity papers with the employer and

are free to leave their employer after reasonable notice.

**2.2. Freedom of association and the right to collective bargaining are respected:** Workers,

without distinction, have the right to join or form trade unions of their own choosing and to

bargain collectively. The employer adopts an open attitude towards the legitimate activities

of trade unions. Workers representatives are not discriminated against and have access to

carry out their representative functions in the workplace. Where the right to freedom of

association and collective bargaining is restricted under law, the employer facilitates, and

does not hinder, the development of parallel means for independent and free association

and bargaining.

**2.3. Working conditions are safe and hygienic:** A safe and hygienic working environment shall

be provided, bearing in mind the prevailing knowledge of the industry and of any specific

hazards. Adequate steps shall be taken to prevent accidents and injury to health arising out

of, associated with, or occurring in the course of work, by minimising, so far as is reasonably

practicable, the causes of hazards inherent in the working environment. Workers shall

receive regular and recorded health and safety training, and such training shall be repeated

for new or reassigned workers. Access to clean toilet facilities and potable water and, if

appropriate, sanitary facilities for food storage shall be provided. Accommodation, where

provided, shall be clean, safe, and meet the basic needs of the workers. The company

observing the standards shall assign responsibility for health and safety to a senior

management representative.

**2.4. Child Labour shall not be used:** There shall be no new recruitment of child labour.

Companies shall develop or participate in and contribute to policies and programmes,

which provide for the transition of any child found to be performing child labour to enable

her/him to attend and remain in quality education until no longer a child. Children and

young people under 18 years of age shall not be employed at night or in hazardous

conditions. These policies and procedures shall conform to the provisions of the relevant

International Labour Organisation (ILO) standards.

**2.5. Living wages are paid:** Wages and benefits paid for a standard working week meet, at a

minimum, national legal standards or industry benchmarks. In any event wages should

always be high enough to meet basic needs and to provide some discretionary income. All

workers shall be provided with written and understandable information about their

employment conditions in respect to wages before they enter employment, and about the

particulars of their wages for the pay period concerned each time that they are paid.

Deductions from wages as a disciplinary measure shall not be permitted nor shall any

deductions from wages not provided for by national law be permitted without the express

and informed permission of the worker concerned. All disciplinary measures should be

recorded.

**2.6. Working hours are not excessive:** Working hours comply with national laws and benchmark

industry standards, whichever affords greater protection. In any event, workers shall not on

a regular basis be required to work in excess of the local legal working hours. Overtime shall

be voluntary, shall not exceed local legal limits, shall not be demanded on a regular basis

and shall always be compensated at a premium rate.

**2.7. No discrimination is practised:** There is no discrimination in hiring, compensation, access to training, promotion, termination or retirement based on race, caste, national origin,

religion, age, disability, gender, marital status, sexual orientation, union membership or

political affiliation.

**2.8. Regular employment is provided:** To every extent possible work performed must be on the basis of a recognised employment relationship established through national law and

practice. Obligations to employees under labour or social security laws and regulations

arising from the regular employment relationship shall not be avoided through the use of

labour-only contracting, sub-contracting or home-working arrangements, or through

apprenticeship schemes where there is no real intent to impart skills or provide regular

employment, nor shall any such obligations be avoided through the excessive use of fixedterm

contracts of employment.

basis of a recognised employment relationship established through national law and

practice. Obligations to employees under labour or social security laws and regulations

arising from the regular employment relationship shall not be avoided through the use of

labour-only contracting, sub-contracting or home-working arrangements, or through

apprenticeship schemes where there is no real intent to impart skills or provide regular

employment, nor shall any such obligations be avoided through the excessive use of fixedterm

contracts of employment.

**2.9. No harsh or inhumane treatment is allowed:** Physical abuse or discipline, the threat of

physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation

shall be prohibited.

**Article 3. Corporate social responsibility & other requirements**

**3.1. Business ethics:** Suppliers are expected to maintain the highest degree of business ethics

when working or seeking to work with the LRCS.

**3.2. Transparency of information provision:** Suppliers shall not be involved in any fraudulent

activities, misrepresent information or facts for the purpose of influencing the selection and

contract-awarding process in their favour.

**3.3. Fair competition:** Suppliers shall not be involved in any corrupt, collusive or coercive

practices.

**3.4. Conflict of interest:** The supplier shall represent and warrants that no official/

representative/ staff member of the LRCS has been, or shall be, admitted by the supplier to

any direct or indirect benefit arising from the award of the contract.

**3.5. Adherence to IFRC principles:** When performing on behalf of or at any time representing

the LRCS, the supplier and all individuals assigned by it to perform works or services, shall

act in a manner consistent with the fundamental principles of the International Red Cross

and Red Crescent Movement.

**3.6. Misrepresentation:** By participating in the tender, submitting the bid and having being

selected as a Supplier, the supplier acknowledges their acceptance of the above stated

requirements and shall be held responsible and liable for the consequences of any false or

misrepresented information provided

**Article 4. Environmental and carbon reduction policy**

**4.1.** Suppliers should as a minimum comply with all statutory and other legal requirements

relating to the environmental impacts of their business. Detailed performance standards

are a matter for suppliers, but should address at least the following:

**4.1.1. Waste Management:** Waste is minimised and items recycled whenever this is

practicable. Effective controls of waste in respect of ground, air, and water pollution

are adopted. In the case of hazardous materials, emergency response plans are in

place.

**4.1.2. Packaging and Paper:** Undue and unnecessary use of materials is avoided, and

recycled materials used whenever appropriate.

**4.1.3. Conservation:** Processes and activities are monitored and modified as necessary to

ensure that conservation of scarce resources, including water, flora and fauna and

productive land in certain situations.

**4.1.4. Energy Use:** All production and delivery processes, including the use of heating,

ventilation, lighting, IT systems and transportation, are based on the need to maximise

efficient energy use and to minimise harmful emissions.

**4.1.5. Safety precautions for transport and cargo handling:** All transport and cargo

handling processes are based on the need to maximise safety precautions and to

minimise potential injuries to the environment, beneficiaries and staff as well as the

suppliers’ employees or those of its subcontractors.

**Article 5. Ethical procurement**

**5.1.** Supplier’s core business (over 20% turnover) should not:

**5.1.1.** Manufacture or sell arms.

**5.1.2.** Manufacture or sell tobacco

**5.1.3.** Damage the reputation of the Red Cross name and/or emblem

**5.2.** Legal requirements: Suppliers should always work within the laws of their country

**Article 6. Payment.**

6.1. Payment will be made upon approval by LRCS of a completed milestone/deliverable, and receipt of verified original invoice submitted by Contractor to LRCS, within 45 days, and will be new and unused, free from material defects in quality, material, and design under normal use, and free from any right of claim by any third party, including claims of infringement of any intellectual property rights.

**Article 7.** **Tenderers shall be excluded from participation in a procurement procedure if:**

**7.1** They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations. However, tenderers in this situationmay be eligible to participate insofar as the Grant Recipient is able to purchase supplies on particularly advantageous terms from either a supplier which is definitively winding up its business activities, or the receivers or liquidators of a bankruptcy, through an arrangement with creditors, or through a similar procedure under national law;

**7.2** They or persons having powers of representation, decision-making or control over them have been convicted of an offence concerning their professional conduct by a final judgment;

**7.3** They have been guilty of grave professional misconduct; proven by any means which the Grant Recipient can justify;

**7.4** They have not fulfilled obligations relating to the payment of social security contributions or taxes in accordance with the legal provisions of the country in which they are established, or with those of the country of the Grant Recipient or those of the country where the contract is to be performed

**7.5** They or persons having powers of representation, decision-making or control over them have been convicted for fraud, corruption, involvement in a criminal organization or money laundering by a final judgment

**7.6** they make use of child labor or forced labor and/or practice discrimination, and/or do not respect the right to freedom of association and the right to organize and engage in collective bargaining pursuant to the core conventions of the International Labor Organization (ILO).

**For WIRE TRANSFER PAYMENT METHOD, PLEASE SUBMIT THE BELOW DOCUMENTS:**

1. A letter signed by all the partners (present on the official papers of the company) stating that all the partners are requesting a transfer to the specific account (include all its details) to cover LRC due invoices
2. A letter from the bank showing the bank details
3. Copy of all the official papers
4. After each payment a statement of account should be provided
5. A receipt from the company should be provided

**For Fresh to Fresh Account, PLEASE SUBMIT THE BANK DETAILS DOCUMENTS**

# Bidder’s checklist

|  |  |  |
| --- | --- | --- |
| **Description** | **To be filled by bidder** | To be filled by LRCS committee |
|  | **Included?** | Present & complete? | Comments |
| Step/ document to be submitted **with** tender | **Yes** | **No** | Yes | No |  |
| **Complete tender package** delivered before the deadline specified - **Compulsory** |  |  |  |  |  |
| **Annex 1** – LRCS Supplier Registration Form – completed, signed & stamped (if it was not submitted before) – **Compulsory** |  |  |  |  |  |
| **Annex 2** - Bid Form – completed, signed & stamped – **Compulsory**  |  |  |  |  |  |
| **Annex 4** – Past performance & Bidder references – completed, signed & stamped **Compulsory** |  |  |  |  |  |
| **Annex 5** - Tender Award and Acknowledge Certificate – signed & stamped – **Compulsory** |  |  |  |  |  |
| **Supporting documents (Mandatory):** |
| Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية **Compulsory**  |  |  |  |  |  |
| Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة – **Compulsory** |  |  |  |  |  |
| Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة – **Compulsory (if VAT registered)** |  |  |  |  |  |
| **اذاعة تجارية** |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **To be filled in by LRCS –Tender Opening Committee ONLY** | **Eligible** | **Ineligible** |
| Outcome of administrative check. |  |  |