**Invitation to bid No: 2020-042 Medical Consumables “Framework**

**Agreement for Two Year”**

The Lebanese Red Cross Society (LRCS) hereby invites sealed bids from manufacturers/reputed firms/ registered suppliers for the supply of the following supplies/ services:

|  |  |  |  |
| --- | --- | --- | --- |
| **Lot No.** | **Lot description** | **Number of Items per each lot** | **Delivery Site** |
| **Lot 1** | **raw Sheet & Blankets** | 6 | Spears, Jounieh, Hazmieh, Saida, Baabda |
| **Lot 2** | **Diagnostic Imaging & Radiotherapy Consumables** | 1 |
| **Lot 3** | **Sanitary & Hygiene Consumables** | **8** |
| **Lot 4** | **Gloves & Syringes** | 14 |
| **Lot 5** | **Dressings** | 26 |
| **Lot 6** | **Laboratory & Pathology Consumables & Equipment** | 26 |
| **Lot 7** | **Hematological Cells & Reagents** | 57 |
| **Lot 8** | **Defibrillators consumables & Electrodes** | 3 |
| **Lot 9** | **Oxygen Masks & Nasal Cannula** | 9 |
| **Lot 10** | **Oropharyngeal Airway** | 9 |
| **Lot 11** | **Containers** | 3 |
| **Lot 12** | **Medical & Surgical Equipment** | 10 |
| **Lot 13** | **Examination tools** | 7 |
| **Lot 14** | **First Aid Kits** | 3 |
| **Lot 15** | **Bags** | 6 |
| **Lot 16** | **Additional items of Consumables** | 41 |

ITENDER DETAILS

The Tender details are as follows:

|  |  |
| --- | --- |
| INCOTERMS | DDP – Beirut Delivery Duty Paid |
| Delivery address | Spears |
| ITB Published | Wednesday 11 November 2020 |

All documents can be downloaded from <http://www.redcross.org.lb/>(Please select “Tender” from the menu at the top right of the page). Tenderers are advised to check the website regularly as any changes or additional information related to this tender will be updated via the website.

Tenders must be submitted in a sealed envelope

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Mailing address | Lebanese Red Cross Head Quarters,  Spears Street, Kantari, Beirut, Lebanon  **Please submit your bid in a SEALED Envelope to FINANCE DEPARTMENT at second floor.** | | | |
| **Tender deadline** | **Date: Monday 14 December 2020**  **Time: 5:00:00 PM** PLEASE NOTE: NO BIDS WILL BE  ACCEPTED AFTER THE ABOVE CLOSING TIME AND DATE | | | |
| Bids to be marked | “Tender reference: 2020-042. Do not open before  Monday 14 December 2020” | | | |
| Deadline for questions | Date: Monday 07 December, 2020 Time: 5:00:00 PM | | | |
|  |  | **BID SHOULD BE SUBMITTED TYPING AND NOT HAND** | |  |
| **WRITTEN *(written by hand bids will be considered as*** | |
| ***ineligible)*** |  |

IMPORTANT INFORMATION REGARDING THIS ITB:

* **BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***
* **Bidder can bid in three different Payment methods “Cheque USD, Wire Transfer from Lebanon to the company’s account outside, or fresh to fresh account in lebanon”**
* **If any of the payment methods is no applicable, bidders must mentioned that in a clear way. “*Please check page 50”***

I. SELECTION AND AWARD CRITERIA

This tender will be awarded to the lowest cost technically compliant bid. The technical evaluation criteria are as per Annex 3 of Detailed Specifications.

A. Administrative Evaluation

A bid shall pass the administrative evaluation stage before being considered for technical and financial evaluation. Bids thatare deemed administratively non-compliant may be rejected. Documents listed below shall be submitted with your bid.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| # | Annex | Document | Instructions | | | | |
| 1 | Annex 1 | LRCS Supplier Registration Form | Complete ALL sections in full, and submit  Mandatory. | | sign, stamp | |  |
|  | |
| 2 | Annex 2 | Bid Form | Complete ALL sections in full, and submit  Mandatory. | | sign, stamp | |  |
|  | |
| 3 | Annex 4 | Past Performance & Bidder References: Minimum 2 proofs of similar working experience with an international,  NGO, national NGO, private, or public sector  Provide 2 references (phone and mail) | Mandatory , Proof of exp contract/pur of Job Compl Note that th award is not Proof of exp | sign, stamp and submit | | of opy  t | |
| erience shall be a copy chase order signed or c etion.  e notification of contrac a erience for LRCS. | |
| 4 | Annex 5 | Tender Award and Acknowledge Certificate | Mandatory , | sign, stamp and submit | |  | |
| 5 |  | Copy of company registration – (Ministry of Justice)- )شهادة تسجيل شركة تجارية ( وزارة العدل | Mandatory | | | | |
| 6 |  | Copy of tax registration (Ministry of Finance( )شهادة تسجيل الشركة )وزارة المالية | Mandatory | | | | |
| 7 |  | Copy of VAT registration (Ministry of Finance) شهادة تسجيل في الضريبة على القيمة المضافة )وزارة المالية( | Mandatory | | | | |
| 8 |  | اذاعة تجارية | Mandatory | | | | |
| 9 |  | *In case your payment terms is wire transfer, you need to submit the documents mentioned in page 21* |  | | | | |

B. Technical Evaluation

To be technically acceptable, the bid shall meet or exceed the stipulated requirements and specifications in the ITB.

A Bid is deemed to meet the criteria if it confirms that it meets all mandatory conditions, procedures and specifications in the ITB without substantially departing from or attaching restrictions with them. If a Bid does not technically comply with the ITB, it will be rejected.

c. All bids that pass the Technical Evaluation will proceed to the Financial Evaluation. Bids that are deemed technically noncompliant will not be financially evaluated.

II. TENDER PROCESS

The following processes will be applied to this Tender:

Tender Period



Tender Closing

Tender Opening

Administrative Evaluation

Technical Evaluation

Financial Evaluation

Contract Award

Notification of Contract Award

# Instructions to bidders

Tenderers must meet all the requirements specified in the tender documents and therefore advised to go through the tender documents carefully before submission and be certain that they are able to comply with the specified terms & conditions.

**Article 1. Bidding in lots:**

If the tender is divided into lots bidders should make every effort to bids for all items within the lot they are interested in. If bidders fail to complete all items within the lot LRCS reserves the right not to award the lot to the bidder. Bidders must complete at least one lot to be considered eligible. Bidders can bid for as many lots as they wish. **Article 2. Items and Quantity:**

LRCS reserves the right to split up the order between suppliers.

**Article 3. Specifications:**

The detailed specification in respect of each item with packing, marking/ labelling instructions etc. are given in **Annex 3 - Detailed Specifications** which tenderers must adhere to.

**Eligibility:**

**3.1.** Bidders are solely responsible for ensuring that the full bid is received by LRCS in accordance with the ITB requirements, prior to the specified date and time mentioned above. LRCS will consider only those portions of the bids received prior to the closing date and time.

**3.2.** All responsive Bids shall be Typed on the LRCS Bid Form.

**3.3.** Bids submitted are at the Bidders risk and LRCS takes no responsibility for the receipt of such Bids.

**3.4.** Bidders are solely responsible for ensuring that the full Bid is received by LRCS, in accordance with the ITB requirements:

**Hard Copy:**

Bid shall be placed in an outer sealed envelope, addressed and delivered to:

“Tender reference: 2020-042. Do not open before Monday 09 November 2020”

Failure to comply with the above may disqualify the Bid.

**3.5.** Tenderer(s) must be Manufacturers, accredited Wholesalers, Traders / Suppliers, Agents in their registered country.

**3.6.** Any unsealed tenders and tenders received after the submission deadline will not be accepted.

**3.7.** Tenderer(s) should have the capacity and capability to supply the items in accordance with the specifications within the prescribed delivery time and the terms & conditions mentioned herein.

**3.8.** Contracts can be awarded individually or jointly.

**Article 4. Price:**

**4.1.** Price should be best and final offer

**4.2.** Include discounts for early payment, if any

**4.3.** All prices should be denominated in the currency that is specified in the **Addendum** attached.

**4.4.** Applicable VAT/duty rates should be clearly stated per item in the offer as to facilitate any tax/ duty exemptions/ reimbursement

4.

**Article 5. INCOTERMS:**

DDP INCOTERMS©2010 as defined by the International Chamber of Commerce will be used to govern the terms of delivery/ contract.

**Article 6. Delivery Destinations:**

Details of the consignee and necessary details for the paperwork will be agreed at the time of signing contract with successful Tenderer/s. Tenderer(s) shall be responsible for all costs arising from packing, forwarding and delivering of goods to actual points of delivery including loading, unloading, transport and insurance and clearance costs as per the stated INCOTERMS.

**Article 7. Delivery/Readiness Period:**

The delivery/readiness must be within the agreed timeframe after the of signing the contract by both parties and all the items/quantities must be delivered at the delivery destinations within a maximum period as agreed on the signing of the contract. The successful Tenderer will be required to agree to the Delivery Schedule (as stated, in tranches so they meet the requirements of our consignee)

**Article 8. Packaging:**

All goods must be appropriately packed (if applicable – refer **Annex 3 - Detailed Specifications**) suitable for sea/road transportation and loading/unloading including rough handling to final destinations.

**Article 9. Marking/Labelling:**

Marking / labelling instructions are provided in **Annex 3 - Detailed Specifications**

**Article 10. Presentations:**

Bids should be clearly legible. Prices entered in lead pencil will not be considered. All erasures, amendments, or alterations shall be initialed by the signatory to the Bid. Do not submit blank pages of the Bid Form and/or schedules, which are unnecessary for your offer. All documentation shall be written in English. All Bids shall be signed by a duly authorized

**Article 11. Language:**

The documents submitted will be accepted in English language only. The certificate, etc. from local government or local authorities (if applicable) could be provided in actual language All markings and labelling should appear in English only.

**Article 12. Samples:**

Please refer to the **Addendum** if samples are required with the bid submission or not. If required samples of all the items must be submitted together with your Tender documents. Samples

must meet the required specifications as per **Annex 3 - Detailed Specifications**. Each sample must be clearly labelled. LRCS reserves the right to reject bids where Tender documents are not accompanied by the samples.

**Article 13. Validity Period:**

Bids shall be valid for at least the minimum number of days specified in the Addendum, and from the date of Bid closure. LRCS reserves the right to determine, at its sole discretion, the validity period in respect of Bids, which do not specify any such maximum or minimum limitation.

If the bid is successful and contracted, the bid will remain valid for the duration of the contract. **Article 14. Your offer should clearly state the following:**

**14.1.** Country of origin of the goods

**14.2.** Place of manufacture and place of despatch

**14.3.** Unit prices / Total prices, etc. as per **Annex 2 - Bid Form**

**14.4.** Price should be net after deduction of any discount and should be compatible with the appropriate INCOTERMS specified in the **Addendum**.

**14.5.** Firm dates for starting and completion of delivery at delivery points.

**14.6.** Confirmation to comply with the specifications as per **Annex 3 - Detailed Specifications**, if you can meet the specifications. If not, state clearly.

**14.7.** Confirmation to agree to accept the terms and condition as per this tender document and the general terms and conditions, stated within Annex 5 Tender and Award Acknowledge Certificate.

**14.8.** Full packing details (contents, weight and volume)

**Article 15. Award of Contracts:**

This ITB does not commit LRCS to award a contract or pay any costs incurred in the preparation or submission of Bids, or costs incurred in making necessary studies for the preparation thereof, or to procure or contract for services or goods. The Bidder of an offer made by LRCS will regard as an offer made by the Bidder and not as an acceptance any bid submitted.

No contractual relationship will exist except pursuant to a written contract document signed by a duly authorized official of LRCS and the successful Bidder.

LRCS may award contracts for part quantities or individual items. LRCS will notify successful Bidders of its decision with respect to their Bids as soon as possible after the Bids are opened.

LRCS reserves the right to cancel any ITB, to reject any or all Bids in completely or in part, and to award any contract.

Suppliers who do not comply with the contractual terms and conditions including delivering different products and of different origin than stipulated in their Bid and covering contract may be excluded from future LRCS ITBs.

**Article 16.** Acceptance:

LRCS reserves the right, at its sole discretion, to consider as invalid or unacceptable any Bid which is a) not clear; b) incomplete in any material detail such as specification, terms delivery, quantity etc.; or c) not presented on the Bid Form – and to accept or reject any amendments, withdraws and/or supplementary information submitted after the time and date of the ITB closure.

**Article 17.** CONFIDENTIALITY:

This ITB or any part hereof, and all copies hereof shall be returned to LRCS upon request. This ITB is confidential and proprietary to LRCS, contains privileged information, part of which may be copyrighted, and is communicated to and received by Bidders on the condition that no part thereof, or any information concerning it may be copied, exhibited, or furnished to

Others without the prior written consent of LRCS, except that Bidders may exhibit the specifications to prospective subcontractors for the sole purpose of obtaining offers from them. Notwithstanding the other provisions of the ITB, Bidders will be bound by the contents of this paragraph whether or not their company submits a Bid or responds in any other way to this ITB.

**Article 18.**  COLLUSIVE BIDDING AND ANTI-COMPETITIVE CONDUCT

Bidders and their employees, officers, advisers, agent or sub-contractors shall not engage in any collusive bidding or other anti-competitive conduct or any other similar conduct, in relations to:

The preparation of submission of Bids,



The clarification of Bids,

The conduct and content of negotiations,

Including final contract negotiations,

In respect of this ITB or procurement process, or any other procurement process being conducted by LRCS in respect of any of its requirements.

For the purpose of this clause, collusive bidding, other anti-competitive conduct, or any other similar conduct may include, among other things, the disclosure to, exchange or clarification with, any other Bidder, person or entity, of information (in any form), whether or not such information is commercial information confidential to LRCS, any other Bidder, person or entity in order to alter the results of a solicitation exercise in such a way that would lead to an outcome other than that which would have been obtained through a competitive process.

**Article 19.** IMPROPER ASSISTANCE

Bids that, in the sole opinion of LRCS, have been compiled:

* With the assistance of current or former employees of LRCS, or current or former contractors of LRCS in violation of confidentially obligations or by using information not otherwise available to the general public or which would provide a non-competitive benefit,

* With the utilization of confidential and/or internal LRCS information not made available to the public or to the other Bidders,

In breach of an obligation of confidentially to LRCS, or contrary to these terms and conditions for submission of a Bid, shall be excluded from further consideration Without limiting the operation of the above clause, a Bidder shall not, in the absence of prior written approval from LRCS, permit a person to contribute to, or participate in, any process relating to the preparation of a Bid or the procurement process, if the person has at any time during the 6 months immediately preceding the date of issue of this ITB was an official, agent, functionary, or employee of, or otherwise engaged by LRCS and was engaged directly, or indirectly, in the planning or performance of the requirement, project, or activity to which this ITB relates.

**Article 20.** CORRUPT PRACTICES

LRCS has zero tolerance for corruption. The Bidder represents and warrants that neither it nor any of its potential subcontractors are engaged in any form of corruption, defined by LRCS as the misuse of entrusted power for private gain.

This definition is not limited to interactions with public officials and covers both attempted and actual corruption, as well as monetary and non-monetary corruption. The definition includes, but is not limited to, corruption in the form of: facilitation payments, bribery, gifts constituting an undue influence, kickbacks, favoritism, cronyism, nepotism, extortion, embezzlement, misuse of confidential information, theft, and various forms of fraud, such as forgery or falsification of documents, and financial or procurement fraud. No offer, payment, consideration or benefit of any kind, which could be regarded as an illegal or corrupt practice, shall be made, promised, sought or accepted – directly or indirectly – as an inducement or reward in relation to activities funded by LRCS, including tendering, award or execution of core serves the right, without prejudice to any other right or remedy available to it, according to any violation of this clause to immediately reject the submitted offer, and to take such additional action, civil and/or criminal, as may be appropriate.

The Bidder agrees to accurately communicate LRCS policy with regards to Anti- Corruption to Third Parties. The Bidder furthermore, agrees to inform LRCS immediately of any suspicion or information it receives from any source alleging a violation of this policy to the contact details of the specific LRCS country operations

**Article 21.**  CONFLICT OF INTEREST

A Bidder shall not, and shall ensure that its employees, officers, advisers, agents or subcontractors do not place themselves in a position that may, or does, give rise to an actual, potential or perceived conflict of interest between the interests of LRCS and the Bidder’s interests during the procurement process.

If during any stage of the procurement process or performance of any LRCS contract a conflict of interest arises, or appears likely to arise, the Bidder shall notify LRCS immediately in writing, setting out all relevant details of the situation, including those cases in which the interests of the Bidder conflict with the interests of LRCS, or cases in which any LRCS official, employee or person under contract with LRCS may have, or appear to have, an interest of any kind in the Bidder’s business or any kind of economic ties with the Bidder. The Bidder shall take steps as LRCS may reasonably require, to resolve or otherwise deal with the conflict to the satisfaction of LRCS.

**Article 22.** WITHDRAWAL/MODIFICATION OF BIDS

Requests to withdraw a Bid after the Bid closure time shall not be honored.

Withdrawal of a Bid may result in your suspension or removal from the LRCS suppliers List. A Bidder may modify its Bid prior to the ITB closure. Any such modification shall be submitted in writing and in a sealed envelope, marked with the original Bid number. No modification shall be allowed after the ITB closure.

**Article 23.** LATE BIDS

All Bids received after the ITB closure will be rejected.

**Article 24.** OPENING OF THE ITB

The Tender Opening will take place at the time and location stated within Addendum. Any attempt by a Bidder to influence the Evaluation Committee in the process of examination, clarification, evaluation and comparison of tenders, to obtain information on how the procedure is progressing or to influence LRCS in its decision concerning the award of the contract will result in the immediate rejection of the tender.

**Article 25.** CONDITIONS OF CONTRACT

All Bidders shall acknowledge that the LRCS General Conditions, or the Special Conditions of Contract, as applicable, are acceptable.

**Article 26.**  CANCELLATION OF THE ITB

In the event of an ITB cancellation, Bidders will be notified by LRCS. If the ITB is cancelled before the outer envelope of any Bid has been opened, the sealed envelopes will be returned, unopened, to the Bidders.

The ITB may be cancelled in the following situations:

-where no qualitatively or financially worthwhile Bid has been received or there has been no response at all;

-the economic or technical parameters of the project have been fundamentally altered;

- Exceptional circumstances or force majeure renders normal performance of the project impossible; - All technically compliant Bids exceed the financial resources available; or there have been irregularities in the procedure, in particular where these have prevented fair competition.

LRCS shall not be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of an ITB, even if LRCS has been advised of the possibility of damages. The publication of a procurement notice does not commit LRCS to implement the programme or project announced.

**Article 27.** QUERIES ABOUT THIS ITB

For queries on this ITB, please contact the Procurement, on the following email: Hoda.fakih@redcross.org.lb

All questions regarding this ITB shall be submitted in writing to the above. On the subject line, please indicate the ITB number.

Bids shall not be sent to the above email.

All questions during the tender period, as well as the associated answers, will be shared with all invited bidders.

**Article 28.** ITB DOCUMENTS

This ITB document contains the following:

1. This Invitation to Bid.
2. Addendum
3. Annex 1: LRCS Supplier Registration Form.
4. Annex 2: LRCS Bid Form.
5. Annex 3: Detailed Specifications.
6. Annex 4: Past Performance and Reference Check.
7. Annex 5: Tender and Contract Award Acknowledgement Certificate.
8. Annex 6: General Conditions of Procurement Contract.
9. Bidder Checklist.

Bidders shall observe the highest standard of ethics during the procurement and execution Of such contracts. LRCS will reject a Bid if it determines that the Bidder recommended for award, has engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing, the Contract.

Yours sincerely

# Addendum

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Bidders Instructions :** | **Item:** | **Specifications:** | | | | | | | | | | | |
| Price | Currency | USD | | | | | | | | | | | |
|  | Exchange rate | For evaluation purposes, we will use the following exchange rate: 1USD = LBP1,507.5 No other currencies are acceptable. | | | | | | | | | | | |
|  | **Regarding the payment terms and as mentioned in** | | | | | | | | |  | |
| **the Tender Documents LRC is 45 days from the date** | | | | | | | | | |  |
| **of invoice and In** | | | | **case of payment in LBP, the value** | | | | |  |
| **of the Lebanese Pound shall be determined** | | | | | |  | | |
| **according to the exchange of the US dollar issued** | | | | | | | |  |
| **by the Beirut Stock Exchange, on the payment's** | | | | | | |  |
| **date** | |  | | | | |
| INCOTERMS© | Terms of delivery | DDP – Beirut Delivery Duty Paid | | | | | | | | | | | |
| Tender delivery | Delivery address | Lebanese Red Cross Society  Finance office- 2nd Floor  Head Quarter  Spears Street,  Kantari  Beirut, Lebanon | | | | | | | | | | | |
| Marking/ labelling |  | 2020-042 | | | | | | | | | | | |
| 0Language | Tender document language | English | | | | | | | | | | | |
| Samples | Samples to be delivered with bids? |  | | - **Samples should be submitted with the bids or** | | | | | | |  | | |
|  | | **after 5 days from the closing date** | |  | | |
|  | | | | | | | | |  |
| Bid validity | Offer to be valid for | 120 calendar days | | | | | | | | | | | |
| Liquidated damages | Damages per calendar day of delay | 0.5% of contract value | | | | | | | | | | | |
|  | Maximum delay damages | 5% of contract value | | | | | | | | | | | |
| Payment | Invoice to be raised on delivery of | Each batch/ final delivery | | | | | | | | | | | |
|  | Payment terms | 45 calendar days after the submission of all required documentation | | | | | | | | | | | |
|  | **Tender deadline** | **Date: 14 December 2020 Time: 5:00:00 PM** | | | | | | | | | | | |
|  | Bids to be marked | “Tender reference: 2020-042. Do not open before  14/12/2020” | | | | | | | | | | | |
|  | Deadline for questions | Date: 07 December 2020 Tim0e: 5:00:00 PM | | | | | | | | | | | |

**Annex 1 Supplier Registration Form (Must be signed and stamped)**

Please fill in this questionnaire in order to register. Information given in this questionnaire will be handled confidentially. Please attach all other documents requested in the questionnaire. All bidders should completely fill up this form. If found blank then the bidder's tender shall not be included in the Final Evaluation

|  |  |
| --- | --- |
| 1. NAME OF COMPANY: |  |
| Mailing Address |  |
| Country: |
| Contact Person (s) |  |
| Telephone No | Fax: |
| Email |  |
| Website |  |
| Owner(s) Name(s): |  |
|  |
| Nationality: |  |
| VAT Number |  |
| Date of Registration of VAT |  |
| 2. ORGANISATION REGISTRATION: | Year Established: Under the laws of: |
| 3. SIZE OF BUSINESS | No. of Employees: No. of Branches: |
| No. of International Offices: |
| Location of Factories: |
| No. of Plants: |
| No. of Warehouses |
| 4. AFFILIATED/HOLDING/  SUBSIDIARY COMPANIES: | Name Address Nature of Affiliation |
|  |
|  |

**Annex 2 - Bid Form** (Must be signed and stamped)

* **LRCS will award Framework Agreement to One Bidder or More. Per items of by lot**
* **This Below quantity is just an estimated one based on the foreseen current needs and it is subject to change (increase or decrease), in other words, LRCS does not guarantee any volume of orders under Framework Agreements, as all purchases will be based on the needs and activities of LRCS.**
* **Payment can by Paid by Cheque USD, Wire Transfer from Lebanon to Outside, OR Fresh to Fresh account in Lebanon – CASH IS NOT APPLICABLE, other wise please advise**
* **BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***
* **Samples should be submitted with the bids or after 5 days from the closing date**

**I. Please Specify your Payment method: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Lot 1: Draw Sheet & Blankets** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **1.1** | **Draw sheet / Alaise** | **Draw sheet / Alaise  Size: 60cm(W)x90cm(L)** | **Piece** | **25000** |  |  |  | **----- pc /---- Day** |
| **1.2** | **Draw Sheet** | **Sheet Moister proof - 40X72 Inch - Non sterile** | **Piece** | **5000** |  |  |  | **----- pc /---- Day** |
| **1.3** | **Blue Cloth sheet / Thin Blanket** | **Blue cloth sheet Custom made to cover patients length : 220 cm width : 100 cm  with the logo of the red cross on the top** | **Piece** | **12530** |  |  |  | **----- pc /---- Day** |
| **1.4** | **Survival Blanket** | **Radiant heat reflectance over 90% | Made of Foil | Size: 1.5m(W)x2.1m(L)** | **Piece** | **500** |  |  |  | **----- pc /---- Day** |
| **1.5** | **Thick Winter Blanket** | **160 cm x 220 cm Winter Blankets** | **15/pack** | **2500** |  |  |  | **----- pc /---- Day** |
| **1.6** | **Fire Blanket** | **Fire blanket made of fiberglass fabric, can effectively put out small fire. Specific features: Low storage space required The straps on the lower side allow a quick extraction from the case The eyelet on the top allows to hang the device The instructions with symbols on the package allow a simple and intuitive use. Technical data Dimensions opened 1,2 x 1,2 m Dimensions packaged 280x150x35 mm Weight 750 ± 20g Operating temperature 550 °C Chemical composition (%) SiO2: 54.1±0.5 Al2O3:14.6±0.4 CaO: 16.6±0.3 MgO:4.6±0.3 B2O3: 8.8±0.5 R2O< 0.8 Fe2O3<0.57 Case material Nylon Single use device/ WITH SOFT HOLDER** | **Piece** | **25** |  |  |  | **----- pc /---- Day** |
| **Lot 2: Diagnostic Imaging & Radiotherapy Consumables** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **2.1** | **Ultrasound Gel** | **Volume: 250ml Hypoallergenic - Water Soluble - for professional use only** | **250ML/ Bottle** | **1000** |  |  |  |  |
| **Lot 3: Sanitary & Hygiene Consumables** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **3.1** | **Disinfectant for Surfaces** | **Surface Disinfectant,Gallon of 5L, Both options are considered (ready or not ready to use), Pump should be included** | **5L Gallon** | **1250** |  |  |  | **----- pc /---- Day** |
| **3.2** | **Disinfectant for Surfaces (Spray)** | **Bottle sprayer of 1L, ready to use.** | **1L Bottle** | **2100** |  |  |  | **----- pc /---- Day** |
| **3.3** | **Disinfectant for instruments** | **Pre Disinfection / Cleaning, Enzymatic cleaner for instruments, Pump Should be included.** | **5L Gallon** | **200** |  |  |  | **----- pc /---- Day** |
| **3.4** | **Detergent of Floor** | **Detergent disinfection of floors and surfaces medical equipment and non-invasive medical devices bactericidal in 30 mn,composition:N-(3aminopropy)-N-dodecylpropane-1.3-diamine,didecyldimethlammonium chloride ,excipients.** | **5L Gallon** | **954** |  |  |  | **----- pc /---- Day** |
| **3.5** | **Hand Sanitizers** | **Hydro Alcoholic Solution, Bottle of 1L, Liquid or Gel. Pump/wall mount should be included** | **1L** | **6500** |  |  |  | **----- pc /---- Day** |
| **3.6** | **Portable Hand gel sanitizer** | **Volume: 250ml Hypoallergenic - Water Soluble - for professional use only** | **250ML Bottle** | **40000** |  |  |  | **----- pc /---- Day** |
| **3.7** | **Disinfectant for Surface/Equipment** | **EPA-registered hospital disinfectants with label claims against non-enveloped viruses (e.g., norovirus, rotavirus, adenovirus, poliovirus) are broadly antiviral and capable of inactivating both enveloped and non-enveloped viruses. Product should be mentioned on this list: http://www.epa.gov/oppad001/list-l-ebola-virus.html** | **5L Gallon** | **1275** |  |  |  | **----- pc /---- Day** |
| **3.8** | **hand Gel for Sensor Machines** | **Advanced instant hand sanitizer, 70% ethanol that can fit the Machine PURELL LTX-12** | **1200ml Bottle** | **598** |  |  |  | **----- pc /---- Day** |
| **Lot 4: Gloves & Syringes** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **4.1** | **High Risk Nitrile Gloves S** | **Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers** | **50/pack** | **24** |  |  |  | **----- pack /---- Day** |
| **4.2** | **High Risk Nitrile Gloves M** | **50/pack** | **81000** |  |  |  | **----- pack /---- Day** |
| **4.3** | **High Risk Nitrile Gloves L** | **50/pack** | **85000** |  |  |  | **----- pack /---- Day** |
| **4.4** | **High Risk Nitrile Gloves XL** | **50/pack** | **45000** |  |  |  | **----- pack /---- Day** |
| **4.5** | **Latex Glove Large** | **Natural Rubber Latex, Ambidextrous, Powdered, Non-Sterile-Single use only** | **100/pack** | **400** |  |  |  | **----- pack /---- Day** |
| **4.6** | **Latex Glove Medium** | **100/pack** | **400** |  |  |  | **----- pack /---- Day** |
| **4.7** | **Latex Glove Small** | **100/pack** | **400** |  |  |  | **----- pack /---- Day** |
| **4.8** | **Nitrile Gloves Small** | **Hypoallergenic | Premium quality | Resist Fuel & Solvant | Powder free. NFPA certified | Medical grade (not industrial) | Superior strength with better puncture resistance. Single use / Non-sterile | Extended cuffs | Thickness 11mm | Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 | EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10** | **100/pack** | **6900** |  |  |  | **----- pack /---- Day** |
| **4.9** | **Nitrile Gloves Medium** | **100/pack** | **10800** |  |  |  | **----- pack /---- Day** |
| **4.10** | **Nitrile Gloves Large** | **100/pack** | **10800** |  |  |  | **----- pack /---- Day** |
| **4.11** | **Nitrile Gloves X-Large** | **100/pack** | **3800** |  |  |  | **----- pack /---- Day** |
| **4.12** | **Syringe 1ML** | **Single use ETO gas sterilisation Non-Toxic/Non-Pyrogenic Latex free Individual packed in blister pocked For vaccination** | **Piece** | **25000** |  |  |  | **----- pc /---- Day** |
| **4.13** | **Syringe 3ML** | **Single use ETO gas sterilisation Non-Toxic/Non-Pyrogenic Latex free Individual packed in blister pocked Extremely fine graduation Smoothly sliding plunger for critical injection High precision grinded needle for safe puncture Double plunger-stop - for vaccination** | **Piece** | **15000** |  |  |  | **----- pc /---- Day** |
| **4.14** | **Syringe 5ML** | **Extremely fine graduation Smoothly sliding plunger for critical injection High precision grinded needle for safe puncture Double plunger-stop** | **Piece** | **15000** |  |  |  | **----- pc /---- Day** |
| **Lot 5: Dressings** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **5.1** | **Abdominal Bandages (Identical or similar to OLAES modular bandage)** | **For haemorrhage control for abdominal and large extremity wounds in prehospital emergency care Details: Sterile, oversized 12” x 12” non-stick pad suitable for applying immediate pressure Easy-open white tear notches for quick access Intermittent hook and loop to prevent pressure dressing from unrolling during application Vacuum sealed to minimize cubic space Bandage: L 70” x W 6” Packaged: L 5 ¼” x W 6” x D 1 ½” For reference, bandages similar to the one found on this link will be accepted: http://www.tytekmedical.com/trauma-bandage** | **Piece** | **3300** |  |  |  | **----- pc /---- Day** |
| **5.2** | **Absorbent Gauze roll** | **Size: 91.44cm (W)x91.44m (L) - Non-Sterile OR 36" X 100 Yards - 4ply - Mesh 19x15 - 1.5 KG/Roll** | **91.44mm Roll** | **3300** |  |  |  | **----- Roll /---- Day** |
| **5.3** | **Cotton Swab** | **Cotton Swab used in weekly maintenance for Lab equipment** | **100/pack** |  |  |  |  | **----- pack /---- Day** |
| **5.4** | **Applicator sticks/ Cotton Swabs** | **Cotton swab for OB/GYN - Length 203mm max -handle: wood - Round Cotton Tip material - non sterile** | **100/pack** | **1060** |  |  |  | **----- pack /---- Day** |
| **5.6** | **Chest Seal** | **Used to seal open chest wounds.  1- One-Way valve 2- Sterile  3- Fast & easily applied 4- Strong adhesion in the presence of blood, sweat , water & hair  5- Water resistant  6- Works under extreme weather conditions 7- Comes in a waterproof pack 8- Large enough to cover an area of ≈ 30 cm2 Approximate dimensions: 20.00cm x 15.00cm Weight 20.50g** | **Piece** | **5400** |  |  |  | **----- pc /---- Day** |
| **5.7** | **Compressive bandage** | **Viscose non-woven bandage | High absorbency of 2,000 g/m² | Hydrophilic PP anti-adhesive non-woven fabric on both sides. | Bandage 4 m x 8 cm | Compress 8 x 10 cm.  Sterile Individually wrapped** | **Piece** | **35500** |  |  |  | **----- pc /---- Day** |
| **5.8** | **Elastic roll - Large** | **Size: 10.16cm (W)X4.5m(L) with elastic clips** | **4.5M roll** | **14000** |  |  |  | **----- Roll /---- Day** |
| **5.9** | **Elastic roll - Small** | **Size: 5.8cm (W)X4.5m(L) with elastic clips** | **4.5M roll** | **24000** |  |  |  | **----- Roll /---- Day** |
| **5.10** | **Elastic roll – Medium** | **Size: 7.62cm (W)X4.5m(L) with elastic clips** | **4.5M roll** | **20000** |  |  |  | **----- Roll /---- Day** |
| **5.11** | **Hypoallergenic Adhesive Tape – Medium** | **Size: 5cm(W)x 9.14m(L) | Hypoallergenic** | **Piece** | **22200** |  |  |  | **----- pc /---- Day** |
| **5.12** | **Hypoallergenic Adhesive Tape – Small** | **Size: 2.5cm(W)x 9.14m(L) | Hypoallergenic** | **12/pack** | **18400** |  |  |  | **----- pack /---- Day** |
| **5.13** | **Duct Tape** | **Polyethylene over cloth tape with high tack rubber adhesive that sticks well to many surfaces**  **Indoor and outdoor applications, Tear easily by hand, Water repellent, High tensile strength**  **Roll Thickness: 0.2 mm**  **Roll Length: 25 m and 50 m**  **Color: Silver or Black** | **Piece** | **2200** |  |  |  | **----- pc /---- Day** |
| **5.14** | **Prep pads – Alcohol** | **Antiseptic | Single pad saturated with 70% isopropyl alcohol | For skin preparation prior to injection | 1-ply | Size: 6cm(L)x3cm(W)** | **100/pack** | **7800** |  |  |  | **----- pack /---- Day** |
| **5.15** | **Prep pads - Providence iodine** | **Size: 3cm(W)x6cm(L) | Antiseptic | Single pad saturated with 1% titratable iodine | For skin preparation prior to injection | Latex free** | **100/pack** | **5900** |  |  |  | **----- pack /---- Day** |
| **5.16** | **Self-Adhering Elastic Bandage** | **Provides support and compression. Will not loosen or slip. Thin, lightweight, breathable material. Supports, secures and protects sprains, strains, splints and compresses. Secures dressings, catheters and cold or heat therapy products. Helps protect sensitive skin. Can be cut to desired length. Dimensions: 7.5 CM** | **Piece** | **8500** |  |  |  | **----- pc /---- Day** |
| **5.17** | **Sterilization Paper for Sterile Gauze** | **Size: 60cm(W)x60cm(L) | Blue sterilization paper | Pack of 500 sheet** | **Piece** | **60000** |  |  |  | **----- pc /---- Day** |
| **5.18** | **Paraffin Gauze** | **Provide medium oxygen concentrations of 40-60%, with between 8-10 litres per minute flow of oxygen. Disposable and individually wrapped. Constructed of transparent medical grade material.** | **100/pack** | **5000** |  |  |  | **----- pack /---- Day** |
| **5.19** | **Sterile Gauze 4"x4" 10cm** | **Sterile Gauze 16 ply Size: 10cm(W)x10cm(L)** | **Box of 100** | **25800** |  |  |  | **----- box /---- Day** |
| **5.2** | **Sterile Gauze 4"x4" 5cm** | **Sterile Gauze 16 ply Size: 5cm(W)x5cm(L)** | **Box of 100** | **2700** |  |  |  | **----- box /---- Day** |
| **5.20** | **Swabs Gauze - Non X-ray Detectable** | **Size: 10cm(W)x10cm(L)Sterile Paraffin impregnated Antibiotics impregnated** | **Box of 100** | **12000** |  |  |  | **----- box /---- Day** |
| **5.21** | **Gauze Band – Large** | **Size: 10.16cm(W)x4m(L)** | **Box of 12** | **19000** |  |  |  | **----- box /---- Day** |
| **5.22** | **Gauze Band – Medium** | **Size: 7.62cm(W)x4m(L)** | **Box of 12** | **16000** |  |  |  | **----- box /---- Day** |
| **5.23** | **Gauze Band - Small** | **Size: 5.08cm(W)x4m(L)** | **Box of 12** | **14000** |  |  |  | **----- box /---- Day** |
| **5.24** | **Triangular Bandage / Foulard Triangular** | **Piece of cloth triangular shape Made of bleached white calico cotton (or similar cloths can be washed and re-used. Overlocked to reduce fraying sufficient strength to withstand pressure exerted by a resting arm. the bandages are individually wrapped  Color : white  90 cm \* 90 cm \* 130 Cm** | **15/pack** | **6100** |  |  |  | **----- pack /---- Day** |
| **5.26** | **Combat Gauze** | **High-Performance Hemostatic, designed to stop lethal bleeding rapidly. Works independently from the body's normal clotting processes.  -Tear anywhere packaging - 4in x 4in** | **Piece** | **350** |  |  |  | **----- pc /---- Day** |
| **Lot 6: Laboratory & Pathology Consumables & Equipment** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **6.1** | **Para films** | **Size: 10.16cm(W)x38.1m(L)  Flexible/ mouldable Self-sealing Odourless Moisture resistant Thermoplastic** | **4''X125 ft. Roll** | **20** |  |  |  | **----- Roll /---- Day** |
| **6.2** | **Pasteur transfer Pipette up to 1ml** | **Length 145mm 1ml transfer pipette** | **500/pack** | **500** |  |  |  | **----- pack /---- Day** |
| **6.3** | **Plastic Test Tube 5ml** | **Volume: 5ml  Dimensions: 0.12cm(W)x075cm(L) Material: PS** | **500/pack** | **500** |  |  |  | **----- pack /---- Day** |
| **6.4** | **serum tube vacutainer** | **Vacutainer Serum tube 6ml Dimensions:0.13(W)x1cm(L) With Clot Activator Red hemogard closure Non-ridged** | **Piece** | **83500** |  |  |  | **----- pc /---- Day** |
| **6.5** | **EDTA tube 3 ml** | **Vacutainer EDTA Tube 3ml, 13x75mm, K2EDTA with translucent lavender hemogard closure non-ridged** | **piece** | **97500** |  |  |  | **----- pc /---- Day** |
| **6.6** | **Sterile Blood Lancets** | **Sterile Single-use lancing devise. Used for obtaining capillary blood from the fingerprint or from heel.  Diameter of the needle 0.36 mm, 28G** | **200/pack** | **470** |  |  |  | **----- pack /---- Day** |
| **6.7** | **Safety blood collection sets** | **Annex 6.7: Safety Blood Collection Sets Item should be compatible with 6.5 &6.6** | **set** | **7500** |  |  |  | **----- Set /---- Day** |
| **6.8** | **Glucometer Strips** | **Provide accurate results in just 5 seconds Require a very small blood sample - 1 μL** | **Box of 50** | **2000** |  |  |  | **----- Box /---- Day** |
| **6.9** | **Glucometer Needles (box of 200)** | **Sterile, single use lancing devices  Number of depth settings: 1 Protrusion depth: 2.0 mm Needle Diameter: 0.63 mm (23 G) Special Needle Cut: 3 facets, similar to Softclix Sterile: Gamma radiation Automatic retraction of the needle Weight: Max 4 g Lancing time into air: Max. 3 thousandths of a second Material: All comply with relevant ISO standards Needle: Stainless steel Coating of needle: Silicone Dow Corning Medical Fluid Trigger button, sterility cap, casing: Polypropylene Springs: Polypropylene** | **Box of 200** | **2000** |  |  |  | **----- Box /---- Day** |
| **6.10** | **Cover for plastic tubes 5 cc** | **Cover for plastic tubes 5 cc** | **piece** | **83500** |  |  |  | **----- pc /---- Day** |
| **6.11** | **Yellow tips 100-1000 ul** | **Yellow tips 100-1000ul  Rnase and Dnase free Polypropylene Autoclavable Graduated For laboratory use** | **1000/pack** | **10** |  |  |  | **----- pack /---- Day** |
| **6.12** | **Alcohol de menthe** | **80% vol for dizziness** | **50ML Bottle** | **120** |  |  |  | **----- pc /---- Day** |
| **6.13** | **Slides 25\*75 mm ,clear glass** | **Size: 0.25cm(W)x0.75cm(L) Clear glass slides** | **50/pack** |  |  |  |  | **----- pack /---- Day** |
| **6.14** | **Wooden Applicator 6"** | **wooden stick without head DIA 2.5x150mm** | **1000/pack** | **100** |  |  |  | **----- pack /---- Day** |
| **6.15** | **Ice Pack** | **Double wall plastic bag that measures 15cm(W)x15cm(L) Comprised of sodium nitrate and water Remain cold for a minimum of 30 minutes at 2oC** | **Piece** | **3400** |  |  |  | **----- pc /---- Day** |
| **6.16** | **ID- Internal Quality Control-Immunohematology** | **ID-Internal Quality Control contains 5 vials of 4 mL human red cell reagents from single donors, prepared as a 3–5% suspension in a buffered medium, and 3 vials of 3 mL serum of human origin. To ensure the accuracy and safety of blood group serological results, transfusion guidelines recommend regular checking of test materials, test methods, personnel working procedures and automated equipment and instruments. The control sample should always have the same characteristics as a patient sample and therefore be treated identically.  ID-Internal Quality Control (Set)** | **Kit** | **200** |  |  |  | **----- Kit /---- Day** |
| **6.17** | **Serum Saline** | **Each 100 ml contains 0.9g Sodium Chloride USP QS Water for Injection USP pH(4.5-7.0) mEq/L: Sodium 154- Chloride 154 Osmolarity 308 mOsmol/L Isotonic- Sterile- Non Pyrogenic** | **Bag of 1L** | **75** |  |  |  | **-----bag /---- Day** |
| **6.18** | **Cuvettes for Hemoglobin testing Device** | **Exclusive from Fresenius Kabi- Compatible with Compolab TM- Available in LRC BTS- micro-cuvettes for Hemoglobin, closed system compatible with hemocue** | **Piece** | **110000** |  |  |  | **----- pc /---- Day** |
| **6.19** | **Cuvettes for Low Plasma Hemoglobin Testing Device** | **Exclusive from Hemocue, Compatible with HEMOCUE PLASMA-LowHB, Available in LRC BTS** | **Piece** | **2400** |  |  |  | **----- pc /---- Day** |
| **6.20** | **Blood Lancets (used for Blood Confirmation)** | **\*Fine gauge \*Sterile \*tri-bevel tip for virtually painless sampling \*Disposable  \*Consistent Depth Penetration** | **100/pack** | **420** |  |  |  | **----- pack /---- Day** |
| **6.21** | **Tube Eppendorf** | **Eppendorf tubes are single use tubes made from polypropylene for mixing, preparing and centrifuging, transporting and storing solid and liquid samplers and reagents. Capacity: 1.5 ml** | **1000/pack** | **100** |  |  |  | **----- pack /---- Day** |
| **6.22** | **Internal Quality Control-Serology** | **Human serum based Non-reactive for multiple analytes to allow for product consolidation long shelf life at 2–8c Available in multiple configurations and fill sizes HBsAg Anti-HIV-1/2 Anti-HBc Anti-HCV Treponema pallidum (Syphilis) Total** | **Kit** | **12** |  |  |  | **----- Kit /---- Day** |
| **6.23** | **Internal Quality Control-Immunohematology** | **ID-Internal Quality Control contains 5 vials of 4 mL human red cell reagents from single donors, prepared as a 3–5% suspension in a buffered medium, and 3 vials of 3 mL serum of human origin. To ensure the accuracy and safety of blood group serological results, transfusion guidelines recommend regular checking of test materials, test methods, personnel working procedures and automated equipment and instruments. The control sample should always have the same characteristics as a patient sample and therefore be treated identically.  ID-Internal Quality Control (Set)  Other Brand than Biorad (6.16)** | **Kit** | **12** |  |  |  | **----- Kit /---- Day** |
| **6.24** | **Syphilis TP Reagent** | **Annex 6.24 Syphilis Reagent** | **Kit** | **1085** |  |  |  | **----- Kit /---- Day** |
| **6.25** | **Syphilis TP Cal** | **Annex 6.25 Syphilis cal** | **Kit** | **30** |  |  |  | **----- Kit /---- Day** |
| **6.26** | **Syphilis TP Ctrl** | **Annex 6.26 Syphilis cont** | **Kit** | **72** |  |  |  | **----- Kit /---- Day** |
| **Lot 7: Haematological Cells & Reagents** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **7.1** | **Anti-A monoclonal antibody** | **Anti-A contains monoclonal, IgM antibody for slide and tube testing.** | **10ML Vial** | **1100** |  |  |  | **----- pc /---- Day** |
| **7.2** | **Anti B monoclonal antibody** | **Anti-B contains monoclonal, IgM antibody for slide and tube testing.** | **10ML Vial** | **1100** |  |  |  | **----- pc /---- Day** |
| **7.3** | **Anti Human Globulin IgG+C3d** | **Coombs-Serum Green contains polyvalent, anti-IgG (rabbit) with anti-C3d (monoclonal).** | **10ML Vial** | **40** |  |  |  | **----- pc /---- Day** |
| **7.4** | **ANTI-A,B monoclonal antibody** | **Anti-AB contains monoclonal, IgM antibody for slide and tube testing.** | **10ML Vial** | **1100** |  |  |  | **----- pc /---- Day** |
| **7.5** | **ANTI-D (RHI) TOTEM** | **Anti-D contains monoclonal, IgG and IgM antibodies, DVI-,  for slide and tube testing.** | **10ML Vial** | **1100** |  |  |  | **----- pc /---- Day** |
| **7.6** | **ID Diacell A1,B Cells** | **ll ID-DiaCell ABO test cell reagents are of human origin, in a buffered suspension medium at 0.8% (+/- 0.1%). Isoagglutinins (natural occurring antibodies, anti-A, anti-B) are cold reactive antibodies which react best at 4°C. However, they are also reactive at room temperature and may react at 37°C. They involve a mixture of IgM and IgG, with the largest proportion belonging to the IgM class.** | **kit** | **1080** |  |  |  | **----- Kit /---- Day** |
| **7.7** | **Immutrep RPR 100t (VDRL)** | **IMMUTREP RPR is for use in the non-treponemal flocculation test for the qualitative and semi-quantitative determination of reagin antibodies in serum or plasma. For professional use only.  IMMUTREP RPR should contain carbon particles to improve the visual reading of the result. When binding occurs between cholesterol/ cardiolipin/ lecithin in the reagent and the reagin antibodies in the sample, the results can be seen macroscopically in the form of black clumps.  No visual flocculation indicates a negative result.   Test has been calibrated to WHO Reference Serum for Serodiagnostic tests for Treponemal Infections.  Test should include both negative and positive controls.** | **Kit** | **640** |  |  |  | **----- Kit /---- Day** |
| **7.8** | **ID-Card Diaclon ABO/D+Reverse Grouping- Gel technique** | **The ID-Card DiaClon ABO/D + Reverse Grouping for Donors allows combined testing of forward and reverse grouping as well as RhD determination for confirmation of previously fully tested samples with established blood group status. The monoclonal anti-D used has been selected so as to react with DVI variant. ID-Card (Id-n°: 51090): Configuration: A, B, DVI+, ctl/A1, B  Cell lines: A: A5, B: G1/2, D: ESD-1M, 175-2** | **card** | **110000** |  |  |  | **----- pc /---- Day** |
| **7.9** | **ID-Card Diaclon Rh-Subgroups + K - Monoclonal - Gel technique** | **This ID-Card offers a complete profiling of the Rh phenotype including K-typing. Besides the RhD antigen, other important antigens of the Rh system are: C, E, c and e. According to Issit, their frequencies in the Caucasian population are as follows: C: 70% / c: 80% / E: 30% / e: 98% Approximately 9% of the Caucasian population are K positive. The K antigen is strongly immunogenic. Anti-K has been reported as the cause of hemolytic transfusion reactions, both immediate and delayed, and hemolytic disease of the newborn. ID-Card (Id-n°: 50110): Configuration: C, c, E, e, K, ctl Cell lines: C: MS-24 / c: MS-33 / E: MS-260 e: MS-16, MS-21, MS-63, K: MS-56** | **card** | **10000** |  |  |  | **----- pc /---- Day** |
| **7.10** | **ID-Card Liss Coombs Anti-IgG- gel technique** | **The most important function of the polyspecific AHG reagent is to detect the presence of IgG. The importance of anti-complement in the AHG reagent is debatable since antibodies detectable only by their ability to bind complement are rather rare. However, anti-C3d activity is important for the DAT in the investigation of autoimmune hemolytic anemia (AIHA). ID-Card (Id-n°: 50531): Available in a selection of package sizes Configuration: 6 x AHG (Anti-IgG + C3d) tests C3d: cell line C139-9** | **card** | **18350** |  |  |  |  |
| **7.11** | **ID Card Coombs Anti IgG Anti Rabbit - gel technique** | **The ID-Card Coombs Anti-IgG consists of 6 microtubes containing anti-human globulin anti-IgG (rabbit), within the gel matrix. Some laboratories prefer to use anti-IgG AHG serum because there is no interference from complement components, which may be non-specifically bound to the red cell. ID Card (Id-n°: 50540): Available in a selection of package sizes Configuration: 6 x AHG (Anti-IgG, rabbit) tests** | **card** | **5580** |  |  |  | **----- pc /---- Day** |
| **7.12** | **ID-DIACELL POOL-1\*10 ml** | **ID-DiaCell Pool contains two pooled cells for IAT test donor screening. Vial (Id-n°: 06070): Configuration: R1R1,R2R2** | **10ML Vial** | **600** |  |  |  | **----- pc /---- Day** |
| **7.13** | **Reagent red cells for antibody identification ( 11 cells)- gel technique - Internal Quality Control 5\*4 ml red cells & 3\*3 ml sera** | **The ID-DiaPanel is an excellent primary panel containing a set of 11 (4 mL) vials for IAT and NaCl testing. It features a fixed Rh phenotype pattern and assured presence of cells possessing double-dose antigens throughout. Five cc.ee cells are carefully selected to assure double-dose of significant blood group antigens. It has been tested by serology for HLA Class I antigens.** | **Kit of 11 vials  of 4 ml each** | **24** |  |  |  | **-----Kit /---- Day** |
| **7.14** | **ID Diluent 2 - gel technique** | **ID-Diluent 2 is a modified, low-ionic strength solution made for the ID-System. It is used for preparing 5% red cell suspensions for blood grouping as well as 0.8% red cell suspensions for crossmatching, autocontrol, direct anti-human globulin test, blood grouping of newborns and test cells prepared in the laboratory.** | **bottle of 500 ml** | **100** |  |  |  | **----- pc /---- Day** |
| **7.15** | **Anti A1 Lectin - 1\*5 ml -gel technique** | **Anti-A1 lectin for slide and tube testing (Id-n°: 11810)** | **Vial of 5 ml** | **12** |  |  |  | **----- pc /---- Day** |
| **7.16** | **ID Diaclon Anti D -1\*5 ml- gel technique** | **ID-DiaClon-Anti-D, for confirmation of Dweak by IAT, contains monoclonal IgG anti-D and is supplied as a ready-to-use reagent in vials of 5 mL. The increasing use of monoclonal anti-D from different cell lines can create problems in the interpretation of D antigen testing, in particular the differentation of weak D and partial D.** | **Vial of 5 ml** | **156** |  |  |  | **----- pc /---- Day** |
| **7.17** | **ID Card Antigen Profile I** | **In the ID-Cards ID-Antigen Profile I, the gel suspensions contain the corresponding antibodies, requiring only the addition of the red cell suspension (in ID-Diluent 1). ID-Card (Id-n°: 50371): Configuration: P1, Lea, Leb, Lua, Lub, ctl Cell lines: P1: 650, Lea: P3N20V3+LM112/161, Leb: LM129/181 Lua/Lub human antibodies** | **Card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.18** | **ID Card Antigen Profile II** | **In the ID-Cards ID-Antigen Profile II, the gel suspensions contain the corresponding antibodies, requiring only the addition of the red cell suspension (in ID-Diluent 1). ID-Card (Id-n°: 50380): Configuration: k, Kpa, Kpb, Jka, Jkb, ctl Cell lines: Jka: MS-15, Jkb: MS-8 k/Kpa/Kpb human antibodies** | **Card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.19** | **ID Card Antigen Profile III & Anti Sera for Profile III** | **ID-Card: M, N, S, s, Fya, Fyb (Id-n°: 50390) Test serum ID-M, N, S, s, Fya, Fyb test sera (Id-n°: 45140) Test serum ID-M, N, S, s, Fya, Fyb test sera (Id-n°: 45460) M/N monoclonal antibodies: Cell lines: M: LM110/140 (LM-1), N: 1422 C7 S/s/Fya/Fyb human antibodies** | **card for the ID card  and 6 vilas of 1.4 ml each for the Anti Sera Profile III** | **2** |  |  |  | **----- pc /---- Day** |
| **7.2** | **Diacell I, II, III** | **ID-DiaCell I-II-III is a 3-cell screening for patients. It contains a set of 3 vials for IAT and NaCl testing, including two RhD positive cells (CCDee, Cw+, ccDEE) and one cell RhD negative (cc.ee), a double dose for Fya, Fyb, Jka, Jkb, M, S and s, and at least one cell positive for K, Lea, Leb, P1 and N. It has been tested by serology for HLA Class I antigens. Vials (Id-n°: 45184): Set of 3 vials for IAT and NaCl test (3 x 10 mL) Configuration: R1WR1, R2R2, rr** | **3 vials of  10 ML each** | **24** |  |  |  | **----- pc /---- Day** |
| **7.21** | **ID Diluent 1 - gel technique** | **ID-Diluent 1 is a modified Bromelin solution in which the enzyme activity is stabilized for a long period and specially prepared for the ID-System. ID-Diluent 1 is used for preparing suspensions of red cells for blood grouping and as a additive for enzyme tests with untreated red cells for antibody detection and crossmatching. Atom Company** | **bottle of 100 ml** | **6** |  |  |  | **----- pc /---- Day** |
| **7.22** | **Anti Sera K** | **The ID-Cards Anti-K and Anti-k can be used to determine the antigen status of donor blood prior to crossmatching, for confirmation of the antigen after antibody identification, or for paternal/fetal antigen typing in allo-immunised pregnancies. The antibodies of the Kell system have been associated with transfusion reactions and hemolytic disease of the newborn (HDN). The clinical importance of anti-K has resulted in the systematic determination of the K and Cellano antigens in both donors and patients. ID-Card (Id-n°: 50260): Human Configuration: 6 x k** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.23** | **Anti Sera C** | **DiaClon Anti-C contains monoclonal, IgM antibody for slide and tube testing. Vial (Id-n°: 10600):** | **Vial of 10 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.24** | **Anti Sera E** | **DiaClon Anti-E contains monoclonal, IgM antibody for slide and tube testing.** | **Vial of 10 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.25** | **Anti Sera c** | **DiaClon Anti-c contains monoclonal, IgM antibody for slide and tube testing. Vial (Id-n°: 10610):** | **Vial of 10 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.26** | **Anti Sera e** | **DiaClon Anti-e contains monoclonal, IgM antibody for slide and tube testing** | **Vial of 10 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.27** | **Anti Sera S** | **Bio-Rad provides Anti-S, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.28** | **Anto Sera s** | **Bio-Rad provides Anti-S, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.29** | **Anti-Fyₐ** | **Bio-Rad provides Anti-Fya, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.3** | **Anti-Fyꙺ** | **Bio-Rad provides Anti-Fyb, for anti-human globulin test** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.31** | **Anti-Kpₐ** | **Bio-Rad provides Anti-Kpa, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.32** | **Anti-Kpꙺ** | **Bio-Rad provides Anti-Kpb, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.33** | **Anti-Jka** | **Bio-Rad provides Anti-Jka, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.34** | **Anti-Jkꙺ** | **Bio-Rad provides Anti-Jkb, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.35** | **Anti-Luₐ** | **Bio-Rad provides Anti-Lua, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.36** | **Anti-Luꙺ** | **Bio-Rad provides Anti-Lub, for anti-human globulin test.** | **Vial of 1 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.37** | **DiaClon Anti-M** | **M (MNS1) and N (MNS2) antigenic determinants are carried on glycophorin A (GPA), one of the major sialic acid containing structure of the red cell membrane. ID-Card (Id-n°: 50212)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.38** | **DiaClon Anti-N** | **M (MNS1) and N (MNS2) antigenic determinants are carried on glycophorin A (GPA), one of the major sialic acid containing structure of the red cell membrane. ID-Card (Id-n°: 50221)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.39** | **DiaClon Anti-P1** | **DiaClon Anti-P1 monoclonal (6 x P1) ID-Card (Id-n°: 51180)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.4** | **DiaClon Anti-Leₐ** | **Lewis antigens are absent or only poorly expressed on red cells from newborns. ID-Card (Id-n°: 50242)** | **Card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.41** | **DiaClon Anti-Leꙺ** | **Lewis antigens are absent or only poorly expressed on red cells from newborns. ID-Card (Id-n°: 50250)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.42** | **DiaClon Anti-Jkₐ** | **The antibodies of the Kidd system are often associated with severe hemolytic transfusion reactions (HTRs), notably delayed reactions. The transfusion of compatible blood in the Kidd system, where antibodies have previously been detected (or are suspected), is therefore important. ID-Card (Id-n°: 50270)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.43** | **DiaClon Anti-Jkꙺ** | **The antibodies of the Kidd system are often associated with severe hemolytic transfusion reactions (HTRs), notably delayed reactions. The transfusion of compatible blood in the Kidd system, where antibodies have previously been detected (or are suspected), is therefore important. ID-Card (Id-n°: 50280)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.44** | **Anti-Kpₐ** | **Kpa (KEL3), Kpb (KEL4) and Kpc (KEL21) are part of the Kell system (ISBT, number 006). Kpa is present in approximately 2% of the Caucasian population while Kpb is a high frequency (public) antigen. The Kpc antigen has an occurrence of less than 0.01% but up to 0.32% in Japanese. Anti-Kpa and anti-Kpb are less common than anti-K but have similar serological characteristics and are considered to be clinically significant. They may occur after transfusion or by feto-maternal immunization. ID-Card (Id-n°: 50290)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.45** | **Anti-Kpꙺ** | **Kpa (KEL3), Kpb (KEL4) and Kpc (KEL21) are part of the Kell system (ISBT, number 006). Kpa is present in approximately 2% of the Caucasian population while Kpb is a high frequency (public) antigen. The Kpc antigen has an occurrence of less than 0.01% but up to 0.32% in Japanese. Anti-Kpa and anti-Kpb are less common than anti-K but have similar serological characteristics and are considered to be clinically significant. They may occur after transfusion or by feto-maternal immunization. ID-Card (Id-n°: 50300)** | **Card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.46** | **Anti-Luₐ** | **Antibodies against antigens in the Lutheran system are not often encountered. The antigen-antibody reaction produces small and loose agglutinates in a characteristic mixed-field appearance. The antigens are poorly developed at birth. Allo anti-Lua has not been implicated in transfusion reactions and only rarely as causing mild haemolytic disease of the fetus and newborn (HDFN). Allo anti-Lub has been implicated in mild to moderate transfusion reactions and mild HDFN. ID-Card (Id-n°: 50310)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.47** | **Anti-Luꙺ** | **Antibodies against antigens in the Lutheran system are not often encountered. The antigen-antibody reaction produces small and loose agglutinates in a characteristic mixed-field appearance. The antigens are poorly developed at birth. Allo anti-Lua has not been implicated in transfusion reactions and only rarely as causing mild hemolytic disease of the fetus and newborn (HDFN). Allo anti-Lub has been implicated in mild to moderate transfusion reactions and mild HDFN. ID-Card (Id-n°: 50320)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.48** | **ID-Card S** | **Bio-Rad provides testing products for Antigens S and s. The antigens S (MNS3) and s (MNS4) are carried on the human glycophrin B (GPB) molecule and are part of the MNS system. Ss antibodies are not frequently encountered, however, they have both been implicated in rare cases of severe haemolytic disease ot the newborn and rare cases of mild to moderate haemolytic transfusion reactions, and are therefore clinically important. Antigen typing of paternal or fetal/neonatal or donor bloods may also be appropriate, according to the clinical situation. ID-Card S (Id-n°: 50330)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.49** | **ID-Card s** | **Bio-Rad provides testing products for Antigens S and s. The antigens S (MNS3) and s (MNS4) are carried on the human glycophrin B (GPB) molecule and are part of the MNS system. Ss antibodies are not frequently encountered, however, they have both been implicated in rare cases of severe haemolytic disease ot the newborn and rare cases of mild to moderate haemolytic transfusion reactions, and are therefore clinically important. Antigen typing of paternal or fetal/neonatal or donor bloods may also be appropriate, according to the clinical situation. ID-Card s (Id-n°: 50340)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.5** | **ID-Card Fyₐ** | **Bio-Rad provides testing products for Antigen Fya. Both Duffy antigens are fully developed at birth. Fya frequently causes immunisation while Fyb is rarely the cause of immunisation. Anti-Fya and anti-Fyb are practically always of immune origin. They both cause hemolytic transfusion reactions and can, although not frequently, cause hemolytic disease of the newborn (HDN). ID-Card Fya (Id-n°: 50350)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.51** | **ID-Card Fyꙺ** | **Bio-Rad provides testing products for Antigen Fya and Fyb. Both Duffy antigens are fully developed at birth. Fya frequently causes immunisation while Fyb is rarely the cause of immunisation. Anti-Fya and anti-Fyb are practically always of immune origin. They both cause haemolytic transfusion reactions and can, although not frequently, cause haemolytic disease of the newborn (HDN). ID-Card Fyb (Id-n°: 50360)** | **card** | **2** |  |  |  | **----- pc /---- Day** |
| **7.52** | **DiaClon Coombs-Serum** | **Bio-Rad provides DiaClon Coombs-Serum Uncolored for use with conventional test techniques. It contains polyvalent, anti-IgG (rabbit) with anti-C3d (monoclonal). Vial (Id-n°: 14070) C3d: cell line C139-9** | **Vial of 10 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.53** | **Coombs-Control IgG** | **Coombs-Control IgG in a suspension of 4% for use with conventional techniques. Vial (Id-n°: 16070)** | **Vial of 10 ml** | **2** |  |  |  | **----- pc /---- Day** |
| **7.54** | **Control for the Hemoglobin Testing Machine - Hemocue** | **The Control HBT is used in the verification of the precision and accuracy of Compolab Hemoglobin machine and Compolab Hemoglobin Cuvettes.  - The CE marked DiaSpect Control HBT complies with the IVDD 98/79/EC and applicable US FDA regulations.  - DiaSpect Control HBT is a non-biological quality control material with pre-determined optical density corresponding with assayed levels of human hemoglobin.  - Reagents The DiaSpect Control HBT is produced in three concentrations that correspond to three levels of human hemoglobin.  - Each vial contains 1.9 mL of a solution of a red dye (Rhodamine) in purified water.  - The reagent does not contain any material of human or animal origin.  - Package configurations of DiaSpect Control HBT   DiaSpect Control HBT1: 3 x DiaSpect Control HBT-Low (to be purchased)  DiaSpect Control HBT2: 3 x DiaSpect Control HBT-Medium  DiaSpect Control HBT3 3 x DiaSpect Control HBT-High (to be purchased)** | **3 Vials  1.9 ml/ each** | **26** |  |  |  | **----- pc /---- Day** |
| **7.55** | **Eurotrol Control for the low plasma Hemoglon machine- Hemocue** | **Plasma /Low Hb Control '1.0'** | **2 Vials of 1.0 ml each** | **8** |  |  |  | **----- pc /---- Day** |
| **7.56** | **Plasmodium Elisa IGG** | **Annex 7.56 Capita Malaria** | **Kit** | **48** |  |  |  | **----- Kit /---- Day** |
| **7.57** | **Elisa Tremponema Palladium** | **Annex 7.57 Elisa Tremponema** | **Kit** | **6** |  |  |  | **----- Kit /---- Day** |
| **Lot 8: Defibrillators consumables & Electrodes** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **8.1** | **AED patches Quick Combo\*** | **LifePak 500/1000, length of wire 1.5m** | **Piece** | **3040** |  |  |  | **----- pc /---- Day** |
| **8.2** | **AED Training electrodes\*** | **LifePak 500/1000 Product code: 11101-000004** | **Set of 5 Pairs** | **40** |  |  |  | **----- pc /---- Day** |
| **8.3** | **Replacement pads for PERSTAN AED** | **Brand/Model: PP-UTPAD-4, PRESTAN ULTRA AED TRAINER ADULT/CHILD PADS, 4-PACK** | **Pack** | **50** |  |  |  | **----- pack /---- Day** |
| **Lot9: Oxygen Masks & Nasal Cannula** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **9.1** | **Adult Simple Oxygen Mask** | **Adjustable nose clip assures comfortable fit, 100% latex free, include oxygen tubing that meets the standard, Sterile by EO, single use. Provide medium oxygen concentrations of 40-60%, with between 8-10 litres per minute flow of oxygen. Disposable and individually wrapped. Constructed of transparent medical grade material. Adult standard size (more than 14cm length)** | **Piece** | **21100** |  |  |  | **----- pc /---- Day** |
| **9.2** | **Non-Rebreather Adult oxygen mask** | **Adult elongated size (10 cm or 11 cm length) with adjustable nose clip -Constructed of transparent medical grade material (100% latex free) - Include oxygen tubing & Reservoir - Sterile by EO - Single use (Disposable and individually wrapped) - Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen** | **Piece** | **31000** |  |  |  | **----- pc /---- Day** |
| **9.3** | **Non-rebreather pediatric oxygen mask** | **Child elongated size (10 cm or 11 cm length) with adjustable nose clip -Constructed of transparent medical grade material (100% latex free) - Include oxygen tubing & Reservoir - Sterile by EO - Single use (Disposable and individually wrapped) - Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen** | **Piece** | **5200** |  |  |  | **----- pc /---- Day** |
| **9.4** | **Paediatric Simple Oxygen Mask** | **Adjustable nose clip assures comfortable fit, 100% latex free , include oxygen tubing that meets the standard, Sterile by EO, single use.** | **Piece** | **10300** |  |  |  | **----- pc /---- Day** |
| **9.5** | **Oxygen Tubing / Rallonge** | **7 Feet tube constructed of crush resistant, kink-free plastic, disposable, outside diameter of tube is 5mm. Vinyl tipped to facilitate connection with oxygen delivery supply and delivery device adult standard size. Able to ensure unimpeded oxygen flow to the patient.** | **Piece** | **2000** |  |  |  | **----- pc /---- Day** |
| **9.6** | **Nasal Cannula Adult** | **7 feet tube constructed of crush resistant, kink-free plastic, disposable, outside diameter of tube is 5mm, Vinyl tipped to facilitate connection with oxygen delivery supply and delivery device adult standard size, Able to ensure unimpeded oxygen flow to the patient Adult standard size** | **Piece** | **10100** |  |  |  | **----- pc /---- Day** |
| **9.7** | **Nasal Cannula Child** | **7 feet tube constructed of crush resistant, kink-free plastic, disposable, outside diameter of tube is 5mm, Vinyl tipped to facilitate connection with oxygen delivery supply and delivery device adult standard size, Able to ensure unimpeded oxygen flow to the patient Child's standard size** | **Piece** | **5000** |  |  |  | **----- pc /---- Day** |
| **9.8** | **O ring for oxygen regulator** | **O ring for oxygen regulator** | **Piece** | **3000** |  |  |  | **----- pc /---- Day** |
| **9.9** | **Oxygen Mask Adult - with oxygen reservoir** | **Adult elongated size (10 cm or 11 cm length) with adjustable nose clip -Constructed of transparent medical grade material (100% latex free) - Include oxygen tubing & Reservoir - Sterile by EO - Single use (Disposable and individually wrapped) - Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen** | **Piece** | **100** |  |  |  | **----- pc /---- Day** |
| **9.9** | **Oxygen Mask Paediatric - with oxygen reservoir** | **Child elongated size (10 cm or 11 cm length) with adjustable nose clip -Constructed of transparent medical grade material (100% latex free) - Include oxygen tubing & Reservoir - Sterile by EO - Single use (Disposable and individually wrapped) - Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen** | **Piece** | **100** |  |  |  | **----- pc /---- Day** |
| **Lot 10: Oropharyngeal Airway** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **10.1** | **Airway Cannula 100 mm** | **1- Made of PVC and siliconized (Gudel) 2- Semi Rigid 3- Sizes: 40, 50, 60, 70, 80, 90 and 100 mm marked on the flange or identified by color 4- Comes in a sterile single unit package** | **Piece** | **3050** |  |  |  | **----- pc /---- Day** |
| **10.2** | **Airway Cannula 110 mm** | **Piece** | **3050** |  |  |  | **----- pc /---- Day** |
| **10.3** | **Airway Cannula 40 mm** | **Piece** | **1550** |  |  |  | **----- pc /---- Day** |
| **10.4** | **Airway Cannula 50 mm** | **Piece** | **1550** |  |  |  | **----- pc /---- Day** |
| **10.5** | **Airway Cannula 60 mm** | **Piece** | **1550** |  |  |  | **----- pc /---- Day** |
| **10.6** | **Airway Cannula 70 mm** | **Piece** | **2050** |  |  |  | **----- pc /---- Day** |
| **10.7** | **Airway Cannula 80 mm** | **Piece** | **2050** |  |  |  | **----- pc /---- Day** |
| **10.8** | **Airway Cannula 90 mm** | **Piece** | **3050** |  |  |  | **----- pc /---- Day** |
| **10.9** | **Set of 7 Colored Cannula with Carrying Case** | **Constructed of pliable, transparent non-latex medical grade material with a buccal end (flanged end) – the end of the airway that is flanged and is expected to fit between the teeth or gums. The pharyngeal end – the end of the airway that is intended to be inserted into the patient’s pharynx; • The oropharyngeal airways should have sufficient rigidity to keep the base of the tongue in a forward position while the airway is in use; • The oropharyngeal airway shall have sufficient rigidity at the buccal (flanged) end (by use of an insert, if necessary) to prevent collapse when bitten by the patient. • Be of one-piece design, in various sizes, based on length and internal tube diameter. Be available in infant (50 or 55 mm), small child (60 mm), child (70 mm), small adult (80 mm), adult (100 mm) and large adult (115 mm) sizes; • Be single (Gudel) or double lumen (Berman) type; • The oropharyngeal airway shall be packaged as sterile in properly sealed packages capable of maintaining the sterile integrity of the airway under normal conditions of shipping and storage. The word “Sterile” shall be readily apparent on examination;** | **Set of 7 Pieces** | **250** |  |  |  | **----- set /---- Day** |
| **Lot 11: Containers** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **11.1** | **Sharps Container 3 Litre** | **Contaminated sharps container for clinical waste Yellow colour with biohazard/ clinical waste warnings printed on container** | **Piece** | **1300** |  |  |  | **----- pc /---- Day** |
| **11.2** | **Sharps Container 10 Litre** | **Piece** | **150** |  |  |  | **----- pc /---- Day** |
| **11.3** | **Sharps Container 22 Litre** | **Piece** | **450** |  |  |  | **----- pc /---- Day** |
| **Lot 12: Medical & Surgical Equipment** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **12.1** | **Obstetrics Kit** | **Kit with carrying bag for out of hospital birth 1 under bottock with pouch  2 Under pad 4 Sterile gloves  4 Sterile disposable sheets (1 m X 1 m) 4 Sterile gauze pads 10 Sterile gauze 2 Sterile disposable gown 2 Sterile umbilical clamps 2 Trash bag (pink) 1 Sterile disposable bulb syringe  1 Sterile blanket 1 Isothermic blanket 2 Sterile clamp 1 Sterile scissors** | **Kit** | **100** |  |  |  | **----- Kit /---- Day** |
| **12.2** | **CPR Manikin face shields** | **CPR face shield for trianing on a Manikin  Single use  Comes with a Barrier  Item: Mask Material: PVC  Certificate: FDA & CE Type: Disposable shield comes with a low resistance filter that fits over manikin face. (image attached) Use: Protection for students from dirt & germ risks when they’re sharing a manikin in a CPR training.** | **36/pack** | **400** |  |  |  | **-----Pack /---- Day** |
| **12.3** | **Tourniquet** | **Individual packed in blister pocked** | **Piece** | **100** |  |  |  | **-----Pack /---- Day** |
| **12.4** | **Tourniquet - military grade\*** | **Extremely fine graduation, : Either CAT Tourniquet or Soft TW or SAM XT or Equivalent** | **Piece** | **410** |  |  |  | **-----Pc /---- Day** |
| **12.5** | **Protective glasses** | **Single use Light colours Thumb/ finger loops to anchor sleeves in place  Quality compliant with: Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent** | **Piece** | **300** |  |  |  | **-----Pc /---- Day** |
| **12.6** | **Mask N95/FFP2/FFp3** | **N95 standard or above Clear Vision Lightweight Maintenance free Contour Fit Easy Breathing/Speaking Single Use Dust & Filter Mask Shape that will not collapse easily Fluid resistance: minimum 80 mmHg pressure based on ASTM F1862, IH3SO 22609, or equivalent  Quality compliant with standards for surgical N95 respirator: · NIOSH N95, EN 149 FFP2, or equivalent** | **Piece** | **16000** |  |  |  | **-----Pc /---- Day** |
| **12.7** | **KN95** |  | **Piece** | **14000** |  |  |  | **-----Pc /---- Day** |
| **12.8** | **Gown** | **Fluid resistant disposable medical gown, non-sterile Long sleeves, knit cuffs, Tie waste, full back FDA/AAMI Level 3 moderate risk** | **Piece** | **120520** |  |  |  | **-----Pc /---- Day** |
| **12.9** | **Surgical adhesive drape** | **Surgical adhesive drape protective sterile film with transparent surface adheres to the skin, it allows the skin to breathe Size: 35cm x 35 cm** | **Piece** | **50** |  |  |  | **-----Pc /---- Day** |
| **12.10** | **Surgical Mask** | **Minimum 95% filtration rate | Differential pressure less than 4.0 Fluid resistance to synthetic blood 80mmHg | Flammability Class 1 Elastic tie, fixed behind ears | Good breathability  Internal and external faces should be clearly identified  Structured design that does not collapse against the mouth (e.g. duckbill, cup shape)  Quality compliant with standards: EN 14683 Type IIR performance | ASTM F2100 level 2 or level 3** | **Box of 50** | **29806** |  |  |  | **-----Box /---- Day** |
| **Lot 13: Examination tools** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **13.1** | **Vaginal speculum large** | **Large plastic Speculum for gynaecological examination - Sterile - Single use - individual pack** | **Piece** | **1000** |  |  |  | **-----Pc /---- Day** |
| **13.2** | **Vaginal speculum medium** | **Medium plastic Speculum for gynaecological examination - Sterile - Single use - individual pack** | **Piece** | **1000** |  |  |  | **-----Pc /---- Day** |
| **13.3** | **Vaginal speculum small** | **Small plastic Speculum for gynaecological examination - Sterile - Single use - individual pack** | **Piece** | **1000** |  |  |  | **-----Pc /---- Day** |
| **13.4** | **Exam paper roll** | **Size: 50cm (W)X80m(L); Material: paper; Color: White; Non-sterile** | **Roll** | **12000** |  |  |  | **-----Roll /---- Day** |
| **13.5** | **Disposable Thermometer** | **Disposable, Used on forehead, Individually wrapped, Estimated result time <30 Seconds. - polyester support 1/10 mm - size cm 9,6 x 2 - 5 temperatures (N-37-38-39--40) - 2 standard colours printing ( N-37 pantone ref. 298 Blue / check 38-39-40 pantone ref. 185 Red) - CE mark printed on the backside - horizontal - not adhesive** | **100/pack** | **10000** |  |  |  | **-----Pack /---- Day** |
| **13.6** | **Tongue Depressors** | **Wood, flat, thin, smoothed and rounded at both ends, single use, non-sterile, Length: max 155mm** | **100/pack** | **10100** |  |  |  | **-----Pack /---- Day** |
| **13.7** | **Consumables for Digital Temperature** | **Compatabile to Plus 692** | **25/pack** | **3350** |  |  |  | **-----Pack /---- Day** |
| **Lot 14: First Aid Kits** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **14.1** | **First Aid Kit - Small** | **Vehicle First Aid kit in Nylon Case Contents: First Aid Guidance Leaflet x 1  Wash proof Plasters x 20  First Aid Dressings, Assorted x 2  Triangular Bandages x 2 /  Safety Pins x 12 / Disposable Gloves (Pair) x 1 / Micro porous Tape (2.5x2.5cm) x 1 / Foil Blanket x 1 / Self Seal Waste Bags x 2 / Non Adherent Dressings, Assorted x 2** | **Set** | **2050** |  |  |  | **-----Set /---- Day** |
| **14.2** | **First Aid Kit – Medium** | **Deluxe First Aid Kit 8599 Compliant Contents: First Aid Guidance Leaflet x 1 / First Aid Dressings (12x12cm)x 6 / First Aid Dressing (18x18) x 2 / Triangular Bandages x 3 / Safety Pins x 12 / Eye Dressings x 3 / Wash proof Plasters x 60 / Micro porous Tape (2.5x2.5cm) x 1 / Nitrile Gloves (Pair) x 9 / Finger Dressings x 3 / Face Shields x 1 / Foil Blankets x 2 / Clothing Cutters x 1 / Conforming Bandages, 7.5cm x 2** | **Set** | **100** |  |  |  | **-----Set /---- Day** |
| **14.3** | **First Aid Kit – Large** | **Haversack First Aid Kit BS 8599 Compliant Contents: First Aid Guidance Leaflet x 1 / First Aid Dressings (12x12cm) x 8 / First Aid Dressings (18x18cm) / Triangular Bandages x 4 / Safety Pins x 24 / Eye Dressings x 4 / Micro porous Tape (2.5x2.5cm) x 1 / Nitrile Gloves (Pair) x 12 / Finger Dressings x 4 / Face Shields x 2 / Foil Blankets x 3/ Clothing Cutters x 1 / Conforming Bandages, 7.5cm x** | **Set** | **550** |  |  |  | **-----Set /---- Day** |
| **Lot 15: Bags** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **15.1** | **Waste bags yellow - Large (20L)** | **waste bags ,yellow color ,25\*35 inch ,logo of clinical waste on the bag   Marked biohazard/ clinical waste** | **Piece** | **600** |  |  |  | **-----Pc /---- Day** |
| **15.2** | **Waste bags yellow - Medium (7L)** | **waste bags ,yellow color ,19\*24 inch ,logo of clinical waste on the bag  Marked biohazard/ clinical waste** | **Piece** | **32000** |  |  |  | **-----Pc /---- Day** |
| **15.3** | **Vomiting Bag** | **Nylon transparent bags | Volume: 1Litre (Should be able to hold the liquid well without leakage)** | **Piece** | **10000** |  |  |  | **-----Pc /---- Day** |
| **15.4** | **Zip lock bags 60\*80** | **Small zip lock bag - 60X80cm - non sterile** | **100/Bag** | **5000** |  |  |  | **-----Bag /---- Day** |
| **15.5** | **Zip lock bags 70\*100** | **Small zip lock bag - 70X100 - non sterile** | **100/Bag** | **5000** |  |  |  | **-----Bag /---- Day** |
| **15.6** | **Body Bag** | **Adult size body bag Size: 91.44cm(W)x228.6cm(L)x0.12cm(T) At least 6 x carrying handles 3 x toe tags Leak resistant Individually bagged in clear poly bags Envelope style easy zipper opening Comply with OSHA regulation 3130** | **Piece** | **3200** |  |  |  | **-----Pc /---- Day** |
| **Lot 16: Additional items of Consumables** | | | | | | | | |
| **Item #** | **Item/Milestone Required** | **Detailed Specifications** | **Required Unit of Measurement** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Unit Price in USD, inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Total inclusive VAT packaging, Labor and Delivery fees to LRC Braches WITH ANY QUANTITY** | **Lead time of Delivery** |
| **16.1** | **Glucose Gel** | **Raise Blood Sugar FAST, without chewing!** | **Tube of 15 gm** | **1550** |  |  |  | **-----Pc /---- Day** |
| **16.2** | **Distilled Water** | **Distilled Water** | **1L** | **100** |  |  |  | **-----Pc /---- Day** |
| **16.3** | **Pair of Shoe Cover** | **Singe use | Fluid resistant** | **Piece** | **18700** |  |  |  | **-----Pc /---- Day** |
| **16.4** | **Protective Coverall with Hood L** | **Single use | Fluid resistant | Adjustable and immovable once adjusted | Facial opening constructed without elastic, reaching the upper part of the gown or coverall** | **Piece** | **6000** |  |  |  | **-----Pc /---- Day** |
| **16.5** | **Protective Coverall with Hood M** | **Piece** | **3500** |  |  |  | **-----Pc /---- Day** |
| **16.6** | **Protective Coverall with Hood XS** | **Piece** | **2500** |  |  |  | **-----Pc /---- Day** |
| **16.7** | **Protective Coverall with Hood S** | **Piece** | **2500** |  |  |  | **-----Pc /---- Day** |
| **16.8** | **Protective Coverall with Hood XL** | **Piece** | **5000** |  |  |  | **-----Pc /---- Day** |
| **16.9** | **Protective Coverall with Hood XXL** | **Piece** | **5500** |  |  |  | **-----Pc /---- Day** |
| **16.20** | **Protective Coverall with Hood XXXL** | **Piece** | **2500** |  |  |  | **-----Pc /---- Day** |
| **16.21** | **Band Aid (Box of 100)** | **Waterproof /Hypoallergenic, Antiseptic, Breathe freely adhesive plaster Sterile size:1 inch** | **Box** | **3700** |  |  |  | **-----Box /---- Day** |
| **16.22** | **Foldable Walker** | **Lightweight aluminum frame - Height Adjustable - Dual-Release allows sides to be folded independently - push button to release - width 58 cm hight 82cm approx -** | **Piece** | **300** |  |  |  | **-----Pc /---- Day** |
| **16.23** | **Digital ear thermometer** | **Infrared sensor -14cm L x 26 mm W x 20 mm H approx - Beeper power switch - Disposable lens filters - Memory function - Batteries -warm tip is optional.** | **Piece** | **100** |  |  |  | **-----Pc /---- Day** |
| **16.24** | **Medical Trolley** | **Stainless steel frame with rounded corners - 2 shelves minimum - 1 drawer with handle - 4 castors 75mm approx -minimum 2 of the castors with break - 730 x 420 x 800 mm approx** | **Piece** | **25** |  |  |  | **-----Pc /---- Day** |
| **16.25** | **Safety Glasses** | **Covers the eyes, Fog resistant, adjustable arms, side and top protection shields** | **Piece** | **2000** |  |  |  | **-----Pc /---- Day** |
| **16.26** | **ID-Tips** | **disposable, with sharp points, suitable for ID-Pipetors** | **Piece** | **220** |  |  |  | **-----Pc /---- Day** |
| **16.27** | **3M steri strips 1/4''** | **Reinforced Adhesive skin closures - sterile non invasive - 1/4"** | **Piece** | **300** |  |  |  | **-----Pc /---- Day** |
| **16.28** | **3M steri strips 1/2''** | **Reinforced Adhesive skin closures - sterile non invasive - 1/2"** | **Piece** | **300** |  |  |  | **-----Pc /---- Day** |
| **16.37** | **Disposable Face Shield** | **Made of clear plastic and provides good visibility to both the EMT and the patient | Adjustable band to attach firmly around the head and fit snuggly against the forehead |Fog resistant | Completely covers the sides and length of the face | Quality compliant with standards: EU standard directive 86/686/EEC, EN 166/2002** | **Piece** | **8700** |  |  |  | **-----Pc /---- Day** |
| **16.38** | **Chart Recorder for frimed Refrigerators and freezers** | **Refrigerators: Model AF70V & AF70E Freezers: Model CV6 Diameter: 12.5 cm  52 disk per pack** | **pack of 52 Disk** | **100** |  |  |  | **-----Pack /---- Day** |
| **16.39** | **Inkless Chart Recorder papers for Thermo Refrigerators and freezers** | **Seven-day chart recorders Diamater: 15.2 cm Ultra-Low Temperature Freezers** | **Pack of 50 Disk** | **20** |  |  |  | **-----Pack /---- Day** |
| **16.40** | **Pen for Chart Recorder- Frimed Refrigerators and freezers** | **Pen used for the chart Recorder Refrigerators: Model AF70V & AF70E Freezers: Model CV6** | **Piece** | **100** |  |  |  | **-----Pc /---- Day** |
| **16.41** | **Eppendorf Tube Racks** | **Plastic Tube Rack used for Tube Eppendorf Storage capacity 60 Tubes** | **Piece** | **130** |  |  |  | **-----Pc /---- Day** |

## All the details are mentioned in the above table. And Annexed Datasheets

**Annex 4 – Past Performance & Bidder References** (Must be signed and stamped)

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Description** | **Customer** | **Unit** | **Quantity** | **Contract date** | **Contract value (USD)** |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

Please provide the details of minimum two companies for your reference check. For these companies it is compulsory to attach a scan either / photo copy of the Contract/ Purchase order/ Completion certificate/ or Reference letters as proof.

|  |  |
| --- | --- |
| **Reference 1** |  |
| Company name |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |
| **Reference 2** |  |
| Company name |  |
|  |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |

**Annex 5 Tender and Award Acknowledge Certificate**

**This attachment shall be signed and submitted with the Bid** (Must be signed and stamped)

|  |  |
| --- | --- |
| 1. In compliance with the ITB Instructions and General Conditions of Procurement Contract, we the undersigned, offer to furnish some or all of the quoted for, at the prices entered in the attached LRCS Bid Form No [ITB/2020/042 delivered to the destination specified therein. 2. We accept the terms and conditions set forth in the ITB Letter, and the following requirements have been noted and will be complied with where applicable: 3. That unless otherwise stated, the Bids per each line item shall be on a DDP- Beirut (Incoterms 2010) basis. 4. We confirm that for any offer made where the   delivery destination is not as requested in the ITB, item shall be on a DDP- Beirut (Incoterms 2010) basis.   1. That conditional Bid cannot be accepted. 2. That the currency of the Bid should be in USD, or LEB, no other currencies will be accepted. 3. LRCS reserves the right, at its own discretion: 4. To award a contract for a lesser or greater quantity than the total quantity Bid for. 5. To reject any or all Bids and/or enter a contract with a Bidder other than the lowest Bidder. 6. Successful Bidders who are awarded contracts will be notified by the receipt of the original Purchase   Order/Contract and acknowledgement copy. In case of urgency, successful Bidders(s) may also be notified by email.   1. Any samples requested, either with the Bid, or at a later date, will be in accordance with the specifications of the required item(s). Failure to comply with this may result in the Bid not being considered 2. We confirm that the validity of this offer is for 90 **calendar days from the date of the ITB closure** | 1. We agree to the terms and conditions set in the LRCS General Conditions of Procurement Contract 2. We certify that the below mentioned company has not engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing any contract. 3. We agree to abide by the LRCS Addendum,     3. We note that LRCS is not bound to proceed with this ITB and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.      We agree to the above terms and conditions.    Submitted by:    Company Name-----------------------------------------  Place------------------------------------------------------- Date--------------------------------------------------------  Title/Position--------------------------------------------  Print Name----------------------------------------------  Signature-------------------------------------------------    A duly authorized company representative **any**  **Stamp** |

**Annex 6: General conditions of Procurement Contract.**

**Article 1. Terms & conditions on purchasing**

**1.1. Acceptance:** No purchase order shall become effective and no contract shall exist until the LRCS has received from the Supplier their written acceptance of the conditions which govern the PO or contract. This can be accomplished by return of the signed Letter of Authorization and Acknowledgment Form attached.

**1.2. Tax Exemption:** The Supplier’s price shall reflect any tax exemption to which the LRCS is entitled by reason of any immunities which it enjoys. If it is subsequently determined that any taxes which have been included in the price are not required to be paid, the LRCS shall deduct the amount from the contract price or, if it has paid any such taxes, it shall be refunded.

**1.3. Discount:** Time in connection with any discounts offered will be computed from the date of receipt by the LRCS of full documentation as specified by the Purchase Order, contract or Annex thereto.

**1.4. Warranty:** The Supplier warrants the goods or services furnished under this Purchase Order / Contract to be fit for their intended use, free from defects in workmanship or materials, and indemnifies the LRCS against any claims resulting there from. This warranty is without prejudice to any further guarantees that the Supplier provides to the Purchaser; such guarantees shall apply to the subject goods of this Purchase Order / Contract.

**1.5. Inspection:** The duly accredited representatives of the LRCS shall have the right to inspect the goods or services called for under this Purchase Order / Contract at the Supplier’s stores, during manufacture, in the ports or at places of shipment, and the Supplier shall cooperate and provide all facilities for such an inspection. The LRCS may issue a written waiver of inspection at its discretion. Any inspection carried out by representatives of the LRCS or any waiver thereof shall not prejudice the implementation of any other relevant provisions of this Purchase Order / Contract concerning obligations subscribed by the Supplier, such as warranty or specifications.

**1.6. Packing:** The Supplier shall pack all goods appropriately and with every care in accordance with normal commercial standards of export packing for the type of goods specified herein. Such packing materials used must be adequate to safeguard the goods while in transit. The Supplier shall be responsible for any damage or loss which can be shown to have resulted from faulty or inadequate packing.

**1.7. Export License:** The Purchase Order / Contract is subject to the obtaining of any export license or other governmental authorization which may be required. It shall be the responsibility of the Supplier to inform the LRCS beforehand of such restrictions and obtain such license or authorization, but the LRCS will use its best endeavors to assist. In the event of refusal thereof, the Purchase Order / Contract will be annulled and all claims between the parties automatically waived.

**1.8. Force Majeure:** Force majeure, as used herein, shall mean acts of God (involuntary and unexpected acts), laws or regulations, industrial disturbances, acts of war, explosions and any other similar cause of equivalent force not caused by, nor within the control of either party, and which neither party is able to overcome. As soon as possible after the occurrence of the force majeure and within not more than 15 days, the supplier shall give

notice and full particulars in writing to the LRCS of such force majeure if the Supplier is thereby rendered unable, wholly or in part, to perform his obligations and meet his responsibilities under this Purchase Order / Contract. The LRCS shall then have the right to terminate the Purchase Order / Contract by giving in writing seven days’ notice of termination to the Supplier, and the Supplier shall return any deposit paid by the LRCS.

**1.9. Default:** In case of default by the Supplier, including but not limited to failure or refusal to make deliveries within the time limit specified, the LRCS may procure the goods or services from other sources and hold the Supplier responsible for any excess costs occasioned thereby. Furthermore, the LRCS may by written notice terminate the right of the Supplier to proceed with the deliveries, or such parts thereof as to which there has been default. **1.10. Conformity with Specifications:** In the case of goods purchased on the basis of specifications the Supplier warrants their conformity. The LRCS shall have the right to reject the goods or any part thereof if they do not conform to specifications. Any supplies not found to be in accordance with the specification and requirements will not be accepted and in that eventuality the supplier shall replace the goods and bear the inspection cost and/or other losses caused to LRCS, if any, by replacement of the items non–conforming to the requirements/specification.

**1.11. Liquidated Damages:** Arrival of goods/ completion of services after agreed delivery schedule will be subject to deduction of damages

**1.12. Disputes-Arbitration:** Any claim or controversy arriving out of this Purchase Order / Contract, or to the breach, termination or invalidity thereof the parties agree to attempt to settle it amicably via direct negotiations between the two sides within seven days. In case of any dispute that cannot be settled in such way, the Lebanese law shall be applicable and the Lebanese courts will settle any litigation in this regards that was not solved amicably **1.13. Privileges and Immunities:** Nothing contained in this Purchase Order / Contract shall be deemed a waiver, express or implied, of any privilege or immunity which the LRCS may enjoy, whether pursuant to existing conventions or agreements.

**1.14. Assignment:** The Supplier shall not assign, transfer, pledge or make other disposition of this Purchase Order / Contract or any part thereof or of any of the Supplier’s rights, claims or obligations under this Purchase Order / Contract except with the prior written consent of the LRCS.

**1.15. Bankruptcy:** Should the Supplier file any petition for bankruptcy, or should the Supplier make a general assignment for the benefit of its creditors, or should a receiver be appointed on account of the Supplier’s insolvency, the LRCS may under the terms of this Purchase Order / Contract, terminate the same forthwith by giving the Supplier written notice of such termination.

**1.16. Advertising:** Unless authorized in advance in writing by the LRCS, the Supplier shall not advertise or otherwise make public the fact that he is a Supplier to the LRCS and / or any National Red Cross or Red Crescent Society, or use the name, emblem or official seal of the LRCS and / or any National Red Cross or Red Crescent Society, or any abbreviation of the name of the LRCS and / or any National Red Cross or Red Crescent Society for advertising purposes or any other purposes.

**1.17. Officials Not to Benefit:** The supplier represents and warrants that no official of the LRCS has been, or shall be, admitted by the supplier to any direct or indirect benefit arising

from this contract or the award thereof. The supplier agrees that breach of this provision is a breach of an essential term of this contract.

**1.18. Amendments:** No changes or modifications to this Purchase Order / Contract shall be valid unless mutually agreed between both parties and confirmed by an official amendment.

**1.19. Notice:** Service of any notice shall be deemed to be good if sent by registered mail, or email to the addresses of both parties, set out in the heading of this Purchase Order / Contract.

**1.20. Jurisdiction:** This Contract is considered to be concluded as defined in the attached Addendum.

**Article 2. Labour standards**

**2.1. Employment is freely chosen:** There is no forced, bonded or involuntary prison labour. Workers are not required to lodge `deposits’ or their identity papers with the employer and are free to leave their employer after reasonable notice.

**2.2. Freedom of association and the right to collective bargaining are respected:** Workers, without distinction, have the right to join or form trade unions of their own choosing and to bargain collectively. The employer adopts an open attitude towards the legitimate activities of trade unions. Workers representatives are not discriminated against and have access to carry out their representative functions in the workplace. Where the right to freedom of association and collective bargaining is restricted under law, the employer facilitates, and does not hinder, the development of parallel means for independent and free association and bargaining.

**2.3. Working conditions are safe and hygienic:** A safe and hygienic working environment shall be provided, bearing in mind the prevailing knowledge of the industry and of any specific hazards. Adequate steps shall be taken to prevent accidents and injury to health arising out of, associated with, or occurring in the course of work, by minimising, so far as is reasonably practicable, the causes of hazards inherent in the working environment. Workers shall receive regular and recorded health and safety training, and such training shall be repeated for new or reassigned workers. Access to clean toilet facilities and potable water and, if appropriate, sanitary facilities for food storage shall be provided. Accommodation, where provided, shall be clean, safe, and meet the basic needs of the workers. The company observing the standards shall assign responsibility for health and safety to a senior management representative.

**2.4. Child Labour shall not be used:** There shall be no new recruitment of child labour. Companies shall develop or participate in and contribute to policies and programmes, which provide for the transition of any child found to be performing child labour to enable her/him to attend and remain in quality education until no longer a child. Children and young people under 18 years of age shall not be employed at night or in hazardous conditions. These policies and procedures shall conform to the provisions of the relevant International Labour Organisation (ILO) standards.

**2.5. Living wages are paid:** Wages and benefits paid for a standard working week meet, at a minimum, national legal standards or industry benchmarks. In any event wages should always be high enough to meet basic needs and to provide some discretionary income. All workers shall be provided with written and understandable information about their employment conditions in respect to wages before they enter employment, and about the

particulars of their wages for the pay period concerned each time that they are paid. Deductions from wages as a disciplinary measure shall not be permitted nor shall any deductions from wages not provided for by national law be permitted without the express and informed permission of the worker concerned. All disciplinary measures should be recorded.

**2.6. Working hours are not excessive:** Working hours comply with national laws and benchmark industry standards, whichever affords greater protection. In any event, workers shall not on a regular basis be required to work in excess of the local legal working hours. Overtime shall be voluntary, shall not exceed local legal limits, shall not be demanded on a regular basis and shall always be compensated at a premium rate.

**2.7. No discrimination is practised:** There is no discrimination in hiring, compensation, access to training, promotion, termination or retirement based on race, caste, national origin, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.

**2.8. Regular employment is provided:** To every extent possible work performed must be on the basis of a recognised employment relationship established through national law and practice. Obligations to employees under labour or social security laws and regulations arising from the regular employment relationship shall not be avoided through the use of labour-only contracting, sub-contracting or home-working arrangements, or through apprenticeship schemes where there is no real intent to impart skills or provide regular employment, nor shall any such obligations be avoided through the excessive use of fixedterm contracts of employment. basis of a recognised employment relationship established through national law and practice. Obligations to employees under labour or social security laws and regulations arising from the regular employment relationship shall not be avoided through the use of labour-only contracting, sub-contracting or home-working arrangements, or through apprenticeship schemes where there is no real intent to impart skills or provide regular employment, nor shall any such obligations be avoided through the excessive use of fixedterm contracts of employment.

**2.9. No harsh or inhumane treatment is allowed:** Physical abuse or discipline, the threat of physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation shall be prohibited.

**Article 3. Corporate social responsibility & other requirements**

**3.1. Business ethics:** Suppliers are expected to maintain the highest degree of business ethics when working or seeking to work with the LRCS.

**3.2. Transparency of information provision:** Suppliers shall not be involved in any fraudulent activities, misrepresent information or facts for the purpose of influencing the selection and contract-awarding process in their favour.

**3.3. Fair competition:** Suppliers shall not be involved in any corrupt, collusive or coercive practices.

**3.4. Conflict of interest:** The supplier shall represent and warrants that no official/ representative/ staff member of the LRCS has been, or shall be, admitted by the supplier to any direct or indirect benefit arising from the award of the contract.

**3.5. Adherence to IFRC principles:** When performing on behalf of or at any time representing the LRCS, the supplier and all individuals assigned by it to perform works or services, shall act in a manner consistent with the fundamental principles of the International Red Cross and Red Crescent Movement.

**3.6. Misrepresentation:** By participating in the tender, submitting the bid and having being selected as a Supplier, the supplier acknowledges their acceptance of the above stated requirements and shall be held responsible and liable for the consequences of any false or misrepresented information provided

**Article 4. Environmental and carbon reduction policy**

**4.1.** Suppliers should as a minimum comply with all statutory and other legal requirements relating to the environmental impacts of their business. Detailed performance standards are a matter for suppliers, but should address at least the following:

**4.1.1. Waste Management:** Waste is minimised and items recycled whenever this is practicable. Effective controls of waste in respect of ground, air, and water pollution are adopted. In the case of hazardous materials, emergency response plans are in place.

**4.1.2. Packaging and Paper:** Undue and unnecessary use of materials is avoided, and recycled materials used whenever appropriate.

**4.1.3. Conservation:** Processes and activities are monitored and modified as necessary to ensure that conservation of scarce resources, including water, flora and fauna and productive land in certain situations.

**4.1.4. Energy Use:** All production and delivery processes, including the use of heating, ventilation, lighting, IT systems and transportation, are based on the need to maximise efficient energy use and to minimise harmful emissions.

**4.1.5. Safety precautions for transport and cargo handling:** All transport and cargo handling processes are based on the need to maximise safety precautions and to minimise potential injuries to the environment, beneficiaries and staff as well as the suppliers’ employees or those of its subcontractors.

**Article 5. Ethical procurement**

**5.1.** Supplier’s core business (over 20% turnover) should not:

**5.1.1.** Manufacture or sell arms.

**5.1.2.** Manufacture or sell tobacco

**5.1.3.** Damage the reputation of the Red Cross name and/or emblem

**5.2.** Legal requirements: Suppliers should always work within the laws of their country

**Article 6. Payment.**

6.1. Payment will be made upon approval by LRCS of a completed milestone/deliverable, and receipt of verified original invoice submitted by Contractor to LRCS, within 45 days, and will be new and unused, free from material defects in quality, material, and design under normal use, and free from any right of claim by any third party, including claims of infringement of any intellectual property rights.

**Article 7.** **Tenderers shall be excluded from participation in a procurement procedure if:**

**7.1** They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations. However, tenderers in this situationmay be eligible to participate insofar as the Grant Recipient is able to purchase supplies on particularly advantageous terms from either a supplier which is definitively winding up its business activities, or the receivers or liquidators of a bankruptcy, through an arrangement with creditors, or through a similar procedure under national law;

**7.2** They or persons having powers of representation, decision-making or control over them have been convicted of an offence concerning their professional conduct by a final judgment; **7.3** They have been guilty of grave professional misconduct; proven by any means which the Grant Recipient can justify;

**7.4** They have not fulfilled obligations relating to the payment of social security contributions or taxes in accordance with the legal provisions of the country in which they are established, or with those of the country of the Grant Recipient or those of the country where the contract is to be performed

**7.5** They or persons having powers of representation, decision-making or control over them have been convicted for fraud, corruption, involvement in a criminal organization or money laundering by a final judgment

**7.6** they make use of child labor or forced labor and/or practice discrimination, and/or do not respect the right to freedom of association and the right to organize and engage in collective bargaining pursuant to the core conventions of the International Labor Organization (ILO).

**For WIRE TRANSFER PAYMENT METHOD, PLEASE SUBMIT THE BELOW DOCUMENTS:**

1. A letter signed by all the partners (present on the official papers of the company) stating that all the partners are requesting a transfer to the specific account (include all its details) to cover LRC due invoices
2. A letter from the bank showing the bank details
3. Copy of all the official papers
4. After each payment a statement of account should be provided
5. A receipt from the company should be provided

**For Fresh to Fresh Account, PLEASE SUBMIT THE BANK DETAILS DOCUMENTS**

# Bidder’s checklist

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Description** | | | | | | | | | | | | | | **To be filled by bidder** | | To be filled by LRCS committee | | |
| **Included?** | | Present & complete? | | Comments |
| Step/ document to be submitted **with** tender | | | | | | | | | | | | | | **Yes** | **No** | Yes | No |  |
| **Complete tender package** delivered before the | | | | | | | | | | | | | |  |  |  |  |  |
| deadline specified - | | | | | **Compulsory** | | |  | | | | | |
| **Annex 1** – LRCS Supplier Registration Form – completed, signed & stamped (if it was not | | | | | | | | | | | | | |  |  |  |  |  |
| submitted before) – | | | | | **Compulsory** | | | |  | | | | |
| **Annex 2** - Bid Form – completed, signed & | | | | | | | | | | | | | |  |  |  |  |  |
| stamped – | | | **Compulsory** | | |  | | | | | | | |
| **Annex 4** – Past performance & Bidder references | | | | | | | | | | | | | |  |  |  |  |  |
| – completed, signed & stamped | | | | | | | | **Compulsory** | | | |  | |
| **Annex 5** - Tender Award and Acknowledge | | | | | | | | | | | | | |  |  |  |  |  |
| Certificate – signed & stamped – | | | | | | | | | | **Compulsory** | | |  |
| **Supporting documents (Mandatory):** | | | | | | | | | | | | | |  | |  | | |
| Copy of company registration – (Ministry of Justice)- )شهادة تسجيل شركة تجارية ( وزارة العدل | | | | | | | | | | | | | |  |  |  |  |  |
|  | **Compulsory** | | |  | | | | | | | | | |
| Copy of tax registration (Ministry of Finance( | | | | | | | | | | | | | |  |  |  |  |  |
| – شهادة تسجيل الشركة )وزارة المالية( | | | | | | | **Compulsory** | | | |  | | |
| Copy of VAT registration (Ministry of Finance) شهادة تسجيل في الضريبة على القيمة المضافة )وزارة المالية( | | | | | | | | | | | | | |  |  |  |  |  |
| – | | **Compulsory (if VAT registered)** | | | | | | |  | | | | |
| **اذاعة تجارية** | | | | | | | | | | | | | |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **To be filled in by LRCS –Tender Opening Committee ONLY** | **Eligible** | **Ineligible** |
| Outcome of administrative check. |  |  |