**Invitation to bid No: 2022-030 Primary Health Medical Items “Framework Agreement for Two Years”**

The Lebanese Red Cross (LRC) hereby invites sealed bids from manufacturers/reputed firms/ registered suppliers for the supply of the following supplies/ services:

|  |  |  |  |
| --- | --- | --- | --- |
| Lot No. | Item description | Items Per Lot | Delivery of PO |
| Lot 1 | Medical Heath Items | 25 | Roumieh (Arsal – Akkar) |

ITENDER DETAILS

The Tender details are as follows:

|  |  |
| --- | --- |
| INCOTERMS | DDP – Beirut Delivery Duty Paid |
| Delivery address of the Bid | Spears – Lebanese Red Cross HQ – Finance Department |
| ITB Published | Friday 08 July 2022 |

*All documents can be downloaded from* [*http://www.redcross.org.lb/*](http://www.redcross.org.lb/) *(Please select “Tender” from the menu at the top right of the page). Tenderers are advised to check the website regularly as any changes or additional information related to this tender will be updated via the website.*

**Tenders must be submitted in a sealed envelope**

|  |  |
| --- | --- |
| **Mailing address for bid submission** | Lebanese Red Cross Head Quarters,  Spears Street, Kantari, Beirut, Lebanon  **Please submit your bid in a SEALED Envelope to FINANCE DEPARTMENT at 1st floor.** |
| **Tender deadline** | **Date: Friday 29 July 2022**  **Time: 3:00:00 PM** PLEASE NOTE: NO BIDS WILL BE ACCEPTED AFTER THE ABOVE CLOSING TIME AND DATE |
| **Bids to be marked** | “Tender reference: **2022-030** Do not open before **Friday 29 July 2022**” |
| **Deadline for questions** | Date: **Friday 22 July 2022**,  Time: 4:00:00 PM |

IMPORTANT INFORMATION REGARDING THIS ITB:

**- BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***

**- Please SIGN AND STAMP all the mentioned documents below**

**-**For queries on this ITB, please contact the Procurement, on the following email: [**Hoda.fakih@redcross.org.lb**](mailto:Hoda.fakih@redcross.org.lb)

**I. SELECTION AND AWARD CRITERIA**

This tender will be awarded to the lowest cost technically compliant bid. The technical evaluation criteria are as per Annex 3 of Detailed Specifications.

**A. Administrative Evaluation (Sign and Stamp)**

A bid shall pass the administrative evaluation stage before being considered for technical and financial evaluation. Bids thatare deemed administratively non-compliant may be rejected. .

|  |  |  |
| --- | --- | --- |
| **LRC Requirements** | **Is bid compliant?** Bidder to complete | **Details - Please insert your comments** |
| Awarded Bidder(s) must commit to Two Years Framework Agreement | ☐ Yes ☐ No |  |
| Validity of bids for the awarded bidders after finalizing the evaluation should be Two Years | ☐ Yes ☐ No |  |
| The quantity of the needed items is variable and unforeseeable regardless of this the unit price are fixed for the duration of the agreement | ☐ Yes ☐ No |  |
| The mentioned Quantities are estimated, could be increase of decrease depend on the needs and availability of the budget | ☐ Yes ☐ No |  |
| advanced down payments are not applicable | ☐ Yes ☐ No |  |
| LRC payments terms are 30-45 days from the date of GRN ( Good Received Note) | ☐ Yes ☐ No |  |
| LRC will pay in Fresh Transfer USD, but VAT amount will be paid in Cheque LBP | ☐ Yes ☐ No |  |
|  |  |  |
| Supplier should submit the after sales and maintenance quote for each item | ☐ Yes ☐ No |  |
| Items should be Brand New | ☐ Yes ☐ No |  |
| Datasheet of each item should be marked and submitted in a separate sealed envelope with the bid | ☐ Yes ☐ No |  |
| Price of Spare Parts for each item should be quoted | ☐ Yes ☐ No |  |
| **We need the Delivery of the items after 10 Days from the date of PO (if no please mention your lead time in the bidding below table)** | ☐ Yes ☐ No |  |

**Documents listed below shall be submitted with your bid.**

|  |  |  |  |
| --- | --- | --- | --- |
| # | Annex | Document | Instructions |
| 1 | Annex 1 | LRCS Supplier Registration Form | Complete ALL sections in full, sign, stamp and submit  Mandatory. |
| 2 | Annex 2 | Bid Form | Complete ALL sections in full, sign, stamp and submit  Mandatory. |
| 3 | Annex 4 | Past Performance & Bidder References: Minimum 2 proofs of similar working  experience with an international,  NGO, national NGO, private, or public sector  Provide 2 references (phone and mail) | Mandatory , sign, stamp and submit  Proof of experience shall be a copy of contract/purchase order signed or copy of Job Completion.  Note that the notification of contract award is not a  Proof of experience for LRCS. |
| 4 | Annex 5 | Tender Award and Acknowledge Certificate | Mandatory , sign, stamp and submit |
| 5 |  | Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية | Mandatory |
| 6 |  | Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة | Mandatory |
| 7 |  | Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة | Mandatory |
| 8 |  | اذاعة تجارية | Mandatory |
| 9 |  | IBAN official Document | Mandatory |

**B. Technical Evaluation**

To be technically acceptable, the bid shall meet or exceed the stipulated requirements and specifications in the ITB.

A Bid is deemed to meet the criteria if it confirms that it meets all mandatory conditions, procedures and specifications in the ITB without substantially departing from or attaching restrictions with them. If a Bid does not technically comply with the ITB, it will be rejected.

c. All bids that pass the Technical Evaluation will proceed to the Financial Evaluation. Bids that are deemed technically noncompliant will not be financially evaluated.

II. TENDER PROCESS

The following processes will be applied to this Tender:

 Tender Period

 Tender Closing

 Tender Opening

 Administrative Evaluation

 Technical Evaluation

 Financial Evaluation

 Contract Award

 Notification of Contract Award

# Instructions to bidders

Tenderers must meet all the requirements specified in the tender documents and therefore advised to go through the tender documents carefully before submission and be certain that they are able to comply with the specified terms & conditions.

1. **Bidding in lots:**

If the tender is divided into lots, bidders should make every effort to bids for all items within the lot they are interested in. If bidders fail to complete all items within the lot LRCS reserves the right not to award the lot to the bidder. Bidders can bid for as many lots/items as they wish.

1. **Items and Quantity:**

LRCS reserves the right to split up the order between suppliers.

1. **Specifications:**

The detailed specification in respect of each item with packing, marking/ labelling instructions etc. are given in **Annex 3 - Detailed Specifications** which tenderers must adhere to.

**Eligibility:**

* 1. Bidders are solely responsible for ensuring that the full bid is received by LRCS in accordance with the ITB requirements, prior to the specified date and time mentioned above. LRCS will consider only those portions of the bids received prior to the closing date and time.
  2. All responsive Bids shall be Typed on the LRCS Bid Form.
  3. Bids submitted are at the Bidders risk and LRCS takes no responsibility for the receipt of such Bids.
  4. Bidders are solely responsible for ensuring that the full Bid is received by LRCS, in accordance with the ITB requirements:

**Hard Copy:**

Bid shall be placed in an outer sealed envelope, addressed and delivered to:

“Tender reference: **2022-030**. Do not open before **Friday 29 July 2022”** Failure to comply with the above may disqualify the Bid.

* 1. Tenderer(s) must be Manufacturers, accredited Wholesalers, Traders / Suppliers, Agents in their registered countries.
  2. Any unsealed tenders and tenders received after the submission deadline will not be accepted.
  3. Tenderer(s) should have the capacity and capability to supply the items in accordance with the specifications within the prescribed delivery time and the terms & conditions mentioned herein.
  4. Contracts can be awarded individually or jointly.

1. **Price:**
   1. Price should be best and final offer
   2. Include discounts for early payment, if any
   3. All prices should be denominated in the currency that is specified in the **Addendum** attached.
   4. Applicable VAT/duty rates should be clearly stated per item in the offer as to facilitate any tax/ duty exemptions/ reimbursement

4.

1. **I’NCOTERMS:**

DDP INCOTERMS©2021 as defined by the International Chamber of Commerce will be used to govern the terms of delivery/ contract.

1. **Delivery Destinations:**

Details of the consignee and necessary details for the paperwork will be agreed at the time of signing contract with successful Tenderer/s. Tenderer(s) shall be responsible for all costs arising from packing, forwarding and delivering of goods to actual points of delivery including loading, unloading, transport and insurance and clearance costs as per the stated INCOTERMS.

1. **Delivery/Readiness Period:**

The delivery/readiness must be within the agreed timeframe after the of signing the contract by both parties and all the items/quantities must be delivered at the delivery destinations within a maximum period as agreed on the signing of the contract. The successful Tenderer will be required to agree to the Delivery Schedule (as stated, in tranches so they meet the requirements of our consignee)

1. **Packaging:**

All goods must be appropriately packed (if applicable – refer **Annex 3 - Detailed Specifications** suitable for sea/road transportation and loading/unloading including rough handling to final destinations.

1. **Marking/Labelling:**

Marking / labelling instructions are provided in **Annex 3 - Detailed Specifications**

1. **Presentations:**

Bids should be clearly legible. Prices entered in lead pencil will not be considered. All erasures, amendments, or alterations shall be initialed by the signatory to the Bid. Do not submit blank pages of the Bid Form and/or schedules, which are unnecessary for your offer. All documentation shall be written in English. All Bids shall be signed by a duly authorized

1. **Language:**

The documents submitted will be accepted in English language only. The certificate, etc. from local government or local authorities (if applicable) could be provided in actual language All markings and labelling should appear in English only.

1. **Samples:**

Please refer to the **Addendum** if samples are required with the bid submission or not. If required samples of all the items must be submitted together with your Tender documents. Samples must meet the required specifications as per **Annex 3 - Detailed Specifications**. Each sample must be clearly labelled. LRCS reserves the right to reject bids where Tender documents are not accompanied by the samples.

1. **Validity Period:**

Bids shall be valid for at least the minimum number of days specified in the Addendum, and from the date of Bid closure. LRCS reserves the right to determine, at its sole discretion, the validity period in respect of Bids, which do not specify any such maximum or minimum limitation.

If the bid is successful and contracted, the bid will remain valid for the duration of the contract.

1. **Your offer should clearly state the following:**
   1. Country of origin of the goods
   2. Place of manufacture and place of despatch
   3. Unit prices / Total prices, etc. as per **Annex 2 - Bid Form**
   4. Price should be net after deduction of any discount and should be compatible with the appropriate INCOTERMS specified in the **Addendum**.
   5. Firm dates for starting and completion of delivery at delivery points.
   6. Confirmation to comply with the specifications as per **Annex 3 - Detailed Specifications**, if you can meet the specifications. If not, state clearly.
   7. Confirmation to agree to accept the terms and condition as per this tender document and the general terms and conditions, stated within Annex 5 Tender and Award Acknowledge Certificate.
   8. Full packing details (contents, weight and volume)
2. **Award of Contracts:**

This ITB does not commit LRCS to award a contract or pay any costs incurred in the preparation or submission of Bids, or costs incurred in making necessary studies for the preparation thereof, or to procure or contract for services or goods. The Bidder of an offer made by LRCS will regard as an offer made by the Bidder and not as an acceptance any bid submitted.

No contractual relationship will exist except pursuant to a written contract document signed by a duly authorized official of LRCS and the successful Bidder.

LRCS may award contracts for part quantities or individual items. LRCS will notify successful Bidders of its decision with respect to their Bids as soon as possible after the Bids are opened.

LRCS reserves the right to cancel any ITB, to reject any or all Bids in completely or in part, and to award any contract.

Suppliers who do not comply with the contractual terms and conditions including delivering different products and of different origin than stipulated in their Bid and covering contract may be excluded from future LRCS ITBs.

1. Acceptance:

LRCS reserves the right, at its sole discretion, to consider as invalid or unacceptable any Bid which is a) not clear; b) incomplete in any material detail such as specification, terms delivery, quantity etc.; or c) not presented on the Bid Form – and to accept or reject any amendments, withdraws and/or supplementary information submitted after the time and date of the ITB closure.

1. CONFIDENTIALITY:

This ITB or any part hereof, and all copies hereof shall be returned to LRCS upon request. This ITB is confidential and proprietary to LRCS, contains privileged information, part of which may be copyrighted, and is communicated to and received by Bidders on the condition that no part thereof, or any information concerning it may be copied, exhibited, or furnished to

Others without the prior written consent of LRCS, except that Bidders may exhibit the specifications to prospective subcontractors for the sole purpose of obtaining offers from them. Notwithstanding the other provisions of the ITB, Bidders will be bound by the contents of this paragraph whether or not their company submits a Bid or responds in any other way to this ITB.

1. COLLUSIVE BIDDING AND ANTI-COMPETITIVE CONDUCT

Bidders and their employees, officers, advisers, agent or sub-contractors shall not engage in any collusive bidding or other anti-competitive conduct or any other similar conduct, in relations to:

 The preparation of submission of Bids,

 The clarification of Bids,

 The conduct and content of negotiations,

 Including final contract negotiations,

In respect of this ITB or procurement process, or any other procurement process being conducted by LRCS in respect of any of its requirements.

For the purpose of this clause, collusive bidding, other anti-competitive conduct, or any other similar conduct may include, among other things, the disclosure to, exchange or clarification with, any other Bidder, person or entity, of information (in any form), whether or not such information is commercial information confidential to LRCS, any other Bidder, person or entity in order to alter the results of a solicitation exercise in such a way that would lead to an outcome other than that which would have been obtained through a competitive process.

1. IMPROPER ASSISTANCE

Bids that, in the sole opinion of LRCS, have been compiled:

- With the assistance of current or former employees of LRCS, or current or former contractors of LRCS in violation of confidentially obligations or by using information not otherwise available to the general public or which would provide a non-competitive benefit,

- With the utilization of confidential and/or internal LRCS information not made available to the public or to the other Bidders,

In breach of an obligation of confidentially to LRCS, or contrary to these terms and conditions for submission of a Bid, shall be excluded from further consideration Without limiting the operation of the above clause, a Bidder shall not, in the absence of prior written approval from LRCS, permit a person to contribute to, or participate in, any process relating to the preparation of a Bid or the procurement process, if the person has at any time during the 6 months immediately preceding the date of issue of this ITB was an official, agent, functionary, or employee of, or otherwise engaged by LRCS and was engaged directly, or indirectly, in the planning or performance of the requirement, project, or activity to which this ITB relates.

1. CORRUPT PRACTICES

L]RCS has zero tolerance for corruption. The Bidder represents and warrants that neither it nor any of its potential subcontractors are engaged in any form of corruption, defined by LRCS as the misuse of entrusted power for private gain.

This definition is not limited to interactions with public officials and covers both attempted and actual corruption, as well as monetary and non-monetary corruption. The definition includes, but is not limited to, corruption in the form of: facilitation payments, bribery, gifts constituting an undue influence, kickbacks, favoritism, cronyism, nepotism, extortion, embezzlement, misuse of confidential information, theft, and various forms of fraud, such as forgery or falsification of documents, and financial or procurement fraud. No offer, payment, consideration or benefit of any kind, which could be regarded as an illegal or corrupt practice, shall be made, promised, sought or accepted – directly or indirectly – as an inducement or reward in relation to activities funded by LRCS, including tendering, award or execution of core serves the right, without prejudice to any other right or remedy available to it, according to any violation of this clause to immediately reject the submitted offer, and to take such additional action, civil and/or criminal, as may be appropriate.

The Bidder agrees to accurately communicate LRCS policy with regards to Anti- Corruption to Third Parties. The Bidder furthermore, agrees to inform LRCS immediately of any suspicion or information it receives from any source alleging a violation of this policy to the contact details of the specific LRCS country operations

1. CONFLICT OF INTEREST

A Bidder shall not, and shall ensure that its employees, officers, advisers, agents or subcontractors do not place themselves in a position that may, or does, give rise to an actual, potential or perceived conflict of interest between the interests of LRCS and the Bidder’s interests during the procurement process.

If during any stage of the procurement process or performance of any LRCS contract a conflict of interest arises, or appears likely to arise, the Bidder shall notify LRCS immediately in writing, setting out all relevant details of the situation, including those cases in which the interests of the Bidder conflict with the interests of LRCS, or cases in which any LRCS official, employee or person under contract with LRCS may have, or appear to have, an interest of any kind in the Bidder’s business or any kind of economic ties with the Bidder. The Bidder shall take steps as LRCS may reasonably require, to resolve or otherwise deal with the conflict to the satisfaction of LRCS.

1. WITHDRAWAL/MODIFICATION OF BIDS

Requests to withdraw a Bid after the Bid closure time shall not be honored.

Withdrawal of a Bid may result in your suspension or removal from the LRCS suppliers List.

A Bidder may modify its Bid prior to the ITB closure. Any such modification shall be submitted in writing and in a sealed envelope, marked with the original Bid number. No modification shall be allowed after the ITB closure.

1. LATE BIDS

All Bids received after the ITB closure will be rejected.

1. OPENING OF THE ITB

The Tender Opening will take place at the time and location stated within Addendum.

Any attempt by a Bidder to influence the Evaluation Committee in the process of examination, clarification, evaluation and comparison of tenders, to obtain information on how the procedure is progressing or to influence LRCS in its decision concerning the award of the contract will result in the immediate rejection of the tender.

1. CONDITIONS OF CONTRACT

All Bidders shall acknowledge that the LRCS General Conditions, or the Special Conditions of Contract, as applicable, are acceptable.

1. CANCELLATION OF THE ITB

In the event of an ITB cancellation, Bidders will be notified by LRCS. If the ITB is cancelled before the outer envelope of any Bid has been opened, the sealed envelopes will be returned, unopened, to the Bidders.

The ITB may be cancelled in the following situations:

-where no qualitatively or financially worthwhile Bid has been received or there has been no response at all;

-the economic or technical parameters of the project have been fundamentally altered;

- Exceptional circumstances or force majeure renders normal performance of the project impossible;

- All technically compliant Bids exceed the financial resources available; or there have been irregularities in the procedure, in particular where these have prevented fair competition.

LRCS shall not be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of an ITB, even if LRCS has been advised of the possibility of damages. The publication of a procurement notice does not commit LRCS to implement the programme or project announced.

1. QUERIES ABOUT THIS ITB

For queries on this ITB, please contact the Procurement, on the following email: [Hoda.fakih@redcross.org.lb](mailto:Hoda.fakih@redcross.org.lb)

All questions regarding this ITB shall be submitted in writing to the above. On the subject line, please indicate the ITB number.

Bids shall not be sent to the above email.

All questions during the tender period, as well as the associated answers, will be shared with all invited bidders.

1. ITB DOCUMENTS

This ITB document contains the following:

1. This Invitation to Bid.

2. Addendum

3. Annex 1: LRCS Supplier Registration Form.

4. Annex 2: LRCS Bid Form.

5. Annex 3: Detailed Specifications.

6. Annex 4: Past Performance and Reference Check.

7. Annex 5: Tender and Contract Award Acknowledgement Certificate.

8. Annex 6: General Conditions of Procurement Contract.

9. Bidder Checklist.

Bidders shall observe the highest standard of ethics during the procurement and execution Of such contracts. LRCS will reject a Bid if it determines that the Bidder recommended for award, has engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing, the Contract.

Yours sincerely

# Addendum

|  |  |  |
| --- | --- | --- |
| **Bidders Instructions :** | **Item:** | **Specifications:** |
| Price | Currency | USD |
|  | Exchange rate | For evaluation purposes, we will use the following exchange rate: 1USD = LBP1,507.5  No other currencies are acceptable.  **Regarding the payment terms and as mentioned in the Tender Documents LRC is 45 days from the date of invoice and In case of payment in LBP, the value of the Lebanese Pound shall be determined according to the exchange of the US dollar issued by the Beirut Stock Exchange, on the payment's date**  **LRC will pay in Fresh USD – VAT Amount will be paid in Cheque LBP** |
| INCOTERMS© | Terms of delivery | DDP – Beirut Delivery Duty Paid |
| Tender delivery | Delivery address | Lebanese Red Cross  Finance office- 2nd Floor, Head Quarter  Spears Street,Kantari, Beirut, Lebanon |
|  | Delivery email | NA |
| Goods/ services delivery period | Start period |  |
|  | Delivery deadline |  |
| Marking/ labelling |  | 2022-030 |
| 0Language | Tender document language | English |
| Samples | Samples to be delivered with bids? | * datasheets should be submitted with the tender |
| Bid validity for evaluation | Offer to be valid for | To match the validity of FWA |
| Liquidated damages | Damages per calendar day of delay | 0.5% of contract value |
|  | Maximum delay damages | 5% of contract value |
| Payment | Invoice to be raised on delivery of | Each batch/ final delivery |
|  | Payment terms | 45 calendar days after the submission of all required documentation |
|  | **Tender deadline** | **Date: 29 July 2022**  **Time: 3:00:00 PM** |
|  | Bids to be marked | “Tender reference: 2022-030 Do not open before 29/07/2022” |
|  | Deadline for questions | Date: 22/07/2022  Tim0e: 4:00:00 PM |

**Annex 1: Supplier Registration Form (Must be signed and stamped)**

0Please fill in this questionnaire in order to register. Information given in this questionnaire will be handled confidentially. Please attach all other documents requested in the questionnaire. All bidders should completely fill up this form. If found blank then the bidder's tender shall not be included in the Final Evaluation

|  |  |
| --- | --- |
| 1. NAME OF COMPANY: |  |
| Mailing Address |  |
| Country: |
| Contact Person (s) |  |
| Telephone No | Fax: |
| Email |  |
| Website |  |
| Owner(s) Name(s): |  |
|  |
| Nationality: |  |
| VAT Number |  |
| Date of Registration of VAT |  |
| 1. ORGANISATION REGISTRATION: | Year Established: Under the laws of: |
| 1. SIZE OF BUSINESS | No. of Employees: No. of Branches: |
| No. of International Offices: |
| Location of Factories: |
| No. of Plants: |
| No. of Warehouses |
| 1. AFFILIATED/HOLDING/ SUBSIDIARY COMPANIES: | Name Address Nature of Affiliation |
|  |
|  |

## Annex 2 - Bid Form (Must be signed and stamped)

* **LRC will award Framework Agreement to One Bidder or More, reference to the CHEAPEST ACCEPTED ITEMS**
* **This below quantity is just an estimated one based on the foreseen current needs and it is subject to change (increase or decrease), in other words, LRC does not guarantee any volume of orders under Framework Agreements, as all purchases will be based on the needs and activities of LRCS.**
* **BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***
* **PLEASE, FILL UP ALL THE DETAILS REQUESTED IN THE BELOW TABLE.**

**Lot 1: PHC Medical Items**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number** | **Item/Milestone Required** | **Required UOM** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, Packaging, Bank Transfer Fees, installation and Delivery, fees to Arsal/Akkar/Roumieh.  VAT AMOUNT TO BE PAID WITH CHEQUE LBP** | **VAT (%)** | **Unit Price in USD, inclusive VAT, Labor, Packaging, Bank Transfer Fees, Installation and Delivery fees to Arsal/Akkar/Roumieh. VAT AMOUNT TO BE PAID WITH CHEQUE LBP** | **Total Price in USD, inclusive VAT, Labor, Packaging, and Bank Transfer Fees, Installation, and Delivery fees to Arsal/Akkar/Roumieh. VAT AMOUNT TO BE PAID WITH CHEQUE LBP** | **Warranty Period** | **Lead time of Delivery** |
| **1.1** | **Orphée Mythic 18 Hematology Analyzer LCD Display Touch Screen** | **Piece** | **1** |  |  |  |  |  |  |
| **1.2** | **Chem-7 PHOTOMETER/semi auto photometer/spectrophotometer** | **Piece** | **1** |  |  |  |  |  |  |
| **1.3** | **Gesan - Model Clot 1000 - Coagulation System** | **Piece** | **1** |  |  |  |  |  |  |
| **1.4** | **biolight E30 3 channels ecgجهاز تخطيط /** | **Piece** | **1** |  |  |  |  |  |  |
| **1.5** | **sphygmomanometer + stethoscope (Gima Italy) جهاز ضغط مع سماعة** | **Piece** | **6** |  |  |  |  |  |  |
| **1.6** | **AirSep VisionAire 5 LPM Oxygen Concentrator** | **Piece** | **1** |  |  |  |  |  |  |
| **1.7** | **AirSep NewLife Elite Oxygen Concentrator (5LPM)** | **Piece** | **1** |  |  |  |  |  |  |
| **1.8** | **Fujifilm FCR PRIMA Tm Automatic CR System** | **Piece** | **1** |  |  |  |  |  |  |
| **1.9** | **Fujifilm Drypix edge / medical dry laser imager** | **Piece** | **1** |  |  |  |  |  |  |
| **1.10** | **Opthalmic chair unit, Motorized VS-2000** | **Piece** | **1** |  |  |  |  |  |  |
| **1.11** | **Slit Lamp S360** | **Piece** | **1** |  |  |  |  |  |  |
| **1.12** | **Trial lenses set Model JSL-266** | **set** | **1** |  |  |  |  |  |  |
| **1.13** | **Trial Frames, Adult and child. Metal** | **Piece** | **2** |  |  |  |  |  |  |
| **1.14** | **Auto Refractometer AF6000A** | **Piece** | **1** |  |  |  |  |  |  |
| **1.15** | **Digital Lens meter D903** | **Piece** | **1** |  |  |  |  |  |  |
| **1.16** | **Chart Projector ACP 1500** | **Piece** | **1** |  |  |  |  |  |  |
| **1.17** | **Opthalmoscope, Retinoscope, Charger. PE set** | **Piece** | **1** |  |  |  |  |  |  |
| **1.18** | **Bobath table** | **Piece** | **2** |  |  |  |  |  |  |
| **1.19** | **Quadriceps table** | **Piece** | **1** |  |  |  |  |  |  |
| **1.20** | **Treadmill + 1 bench placed between the treadmill carpet** | **Piece** | **1** |  |  |  |  |  |  |
| **1.21** | **Skateboard** | **Piece** | **1** |  |  |  |  |  |  |
| **1.22** | **Adhesive Electrodes** | **Piece** | **24** |  |  |  |  |  |  |
| **1.23** | **Shoulder finger ladder.** | **Piece** | **1** |  |  |  |  |  |  |
| **1.24** | **Shoulder wheel machine** | **Piece** | **1** |  |  |  |  |  |  |
| **1.25** | **Bicycle** | **Piece** | **1** |  |  |  |  |  |  |

**Annex 3: Detailed Specifications**

Any Brand that match the mentioned specifications is accepted

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item Num.** | **Requires Items** | **Quantity** | **Detailed Specifications** | **Photos** |
| **1.1** | Orphée Mythic 18 Hematology Analyzer LCD Display Touch Screen | 1 | Fully automated 20 parameters analyzer Compact sized with simple and easy maintenance Low reagent consumptions Low (< 9,6 μl) blood sample volume per test QVGA touch screen Up to 60 samples/hr |  |
| **1.2** | Chem-7 PHOTOMETER/semi auto photometer/spectrophotometer | 1 | OPTICAL MODULE: Static photometer with photometric range (340-700) 8 interference filters 340, 405, 450, 505, 546, 578, 600 and 670 nm Silicon photodiode detectors Photometric Range from 0 to 3.0 OD Quartz Halogen Lamp of 12V, 20W MEASURING MODULE: Unique Triple Cuvette System • 18 µL Flow cell • 10 mm Square Cuvette • 6 mm round glass tube with adaptor Peltier Temperature Control: 20 °C-40 °C in steps of 1 °C Minimum Aspiration Volume 200 µL ANALYSIS MODES: 1-point linear - Rate non-linear 2-point linear - 1-point sample blank linear 1-point non-linear - 1-point sample blank non-linear 2-point non-linear - Absorbance Rate linear - Coagulation In Mono and Bi-chromatic modes |  |
| **1.3** | Gesan - Model Clot 1000 - Coagulation System | 1 | SAMPLE 16 SAMPLES at 37°c REAGENTS 2 + 2 POSITlONS - 2 at 37°c - 2 at room temperature REACTION VOLUME from 150ul to 450ul max SAMPLE VOLUME MINIMUM 50μl TEMPERATURE CONTROL DIGITAL CONTROLLED PERFORMED TESTS PT, APTT, FIBRINOGEN PHOTOMETER TRIPLE WAVELENGTH 460nm, 510nm, 630nm PHOTOMETER ACCURACY HIGH LINEARITY +/- 0,5% F.S. KEYBOARD ALPHANUMERIC KEYBOARD DISPLAY LCD-Graphic module |  |
| **1.4** | جهاز تخطيط /  biolight E30 3 channels ecg | 1 | 4.3 inch LCD screen color, full touch screen interface Use high-resolution and high-speed data sampling to ensure accurate waveform sampling. Innovative all-digital filter for better performance Innovative quick baseline correction algorithms enable quick baseline stabilization Use of high-precision digital storage to ensure accuracy of follow-up data analysis Use of overall 80 mm roll paper recorder design Support internal data storage, U disk storage Support data dumping, playback, automatic ECG reanalysis. |  |
| **1.5** | sphygmomanometer + stethoscope (Gima Italy) جهاز ضغط مع سماعة | 6 | Measuring range: 0-300mmHg Precision: ±3 mmHg Scale graduation: 2 mmHg |  |
| **1.6** | AirSep VisionAire 5 LPM Oxygen Concentrator | 1 | Lightweight at 30 pounds and small built thus it fits easily into any home; Consumes only 300 watts at all flow settings thus it does not affect the utility costs; Flow delivery rate from 1LPM to 5LPM; Intuitive controls with reactive alarms; absolutely no filters to clean or replace; Units are available with or without an oxygen monitor to alarm for concentrations below 82% oxygen. |  |
| **1.7** | AirSep NewLife Elite Oxygen Concentrator (5LPM) | 1 | Flow Rates: 1.0 – 5.0 LPM  ±10% of indicated setting, or 200ml, whichever is greater Capacity: 5 LPM at 90% oxygen (based on 21°C at sea level) O2 Outlet Pressure: 7 – 9 psig (48 – 62 kPa) Oxygen Concentration: 90% (+5.5% / -3%) Sound Level: 48 dB(A)  Operating Environment: 4° – 40°C (41° – 105°F) at 15% – 95% humidity Maximum Tubing: 15.2m (50 ft) |  |
| **1.8** | Fujifilm FCR PRIMA Tm Automatic CR System | 1 | processing capacity:Up to 73 IPs/hr Reading Specification:10 pixels/mm, 5 pixels/mm, 20 pixels/mm Time to print on DRYPIX : Approx. 155 sec in case of 35 ✕ 43cm Number of Stacker: 1 Time to start on display: 33 sec Time Required for IP load: 49 sec Network:10 Base T/100 Base TX Dimensions:560 ✕ 540 ✕ 392mm weight:39kg Power Supply:Single phase 50-60Hz INCLUDES: 2 Cassette with IP Plate 35\*43cm  1 Cassette with IP Plate 15\*30cm 2 Cassette with IP Plate 24\*30cm (MAMMO) |  |
| **1.9** | Fujifilm Drypix edge / medical dry laser imager |  | FUJI DRYPIX EDGE Laser exposure thermal development system 3 Tray Processing Capacity: Approx. 110 films (14" × 17") / hour Aplicable Fuji Medical Dry Imaging Film: 35.4 × 43.0cm (14" × 17") 100 sheets / pack 20.1 × 25.2cm (8" × 10") 150 sheets / pack 25.2 × 30.3cm (10" × 12") 150 sheets / pack One DICOM network channel Gray Scale:14bits 85 second for first ouput Image memory: 1GB Automatic density correction Made in JAPAN |  |
| **1.10** | Opthalmic chair unit, Motorized VS-2000 | 1 | Base size: Approximate size ( 1000mm x 600mm) Tabletop size: Approximate size (840mm x 405mm) Two rechargeable wells for opthamoscope and retinoscope  Counterbalanced Refractor Arm Table rotation angle around 90º  Chair rotate: ±90º  Recline angle of chair: 165º  Chair height: Approximately (500mm - 640mm) Adjustable range of headrest around (100mm) Fluorescent lamp: 12W with adjustable brightness .  Table fits two additional equipment | Ophthalmic Table Unit VS-2000 |
| **1.11** | Slit Lamp S360 | 1 | Microscope type: Galilean system  Magnification changer: Revolving drum(5 steps)  Total magnification: 6X,10X,16X,25X,40X Ocular magnification: 12.5 X  Ocular field: Ø18mm  Inter pupillary distance: 52mm~78mm  Diopter adjustment: +6D to -6D  Object image field Ø in mm: 34.7(6X),22(10X),13.5(16X),8.5(25X),5.5(40X)  Slit image width: 0~14mm continuous  Slit image length: 1~14mm continuous  Light source: 3v/3w led light bulb  Slit image radial range: 0～180°  Filters: Heat absorption,grey,redfree(green),cobalt blue  Illumination fields Ø in mm: 0.2/1/2/3/5/10/14/1~14mm continuous  Illumination intensity: ≥50KLX | LED Slit Lamp S360 |
| **1.12** | Trial lenses set Model JSL-266 | 1 Set | Lightweight construction approx. 90g  Sturdy aluminum construction   Wide range of P.D adjustment from 48mm ~ 80mm   Variable horizontal and vertical bridge movement and free rocking saddle bridge for comfortable nose fit.   Compatible with trial case lenses specified below  Accommodates up to 5 38mm lenses.   Lenses case:   With approx. 128 convex and concave spheres in 64 pairs. 80 Convex and concave cylinders in 40 pairs 10 Prisms  Frosted glass.   Red maddox.   Green filter.   Red filter.   Gross lines.   Stenopaic slit.   Pinhole disc   Plain glass.   Occluder | Trail Lens Set JSL-266 |
| **1.13** | Trial Frames, Adult and child. Metal | 2 Pcs | Trial Frames that fits Trial Lenses Set | Trail Frame B |
| **1.14** | Auto Refractometer AF6000A | 1 | Enlarged measurement range: It allows you to make measurement over a broad measurement range.This means you can even measure extreme myopia eye. Display screen:The CRT Monitor make the measurement results and setting image display on an easy-to-view screen.  Specification:  Vertex distance(VD) 0.0mm，12.0mm，13.75mm  Spherical surface -20.00～＋20.00(VD=12) 0.12/0.25 steps  Cylinder(CYL) 0.00～±8.00D 0.12D/0.25D steps  Axis 0～180℃（variable：1℃）  Astigmatism identification －，＋，±  Pupil distance(PD) 45～85mm , 1mm steps  Chart Auto fog  Display 5"  Measurable minimum of pupil Φ2.0mm  Data records three times’ records per eye  Built-in printer thermo-sensitive linearity printer  Power supply 100-240V 50Hz  Dimensions 484（L）×282（W）×440（H）mm   Approx. 20kg | Auto Refractometer FA-6800 |
| **1.15** | Digital Lens meter D903 | 1 | Range of measurement  Sphere 0 ~ ±25D 0.01/0.12/0.25D steps  Cylinder 0 ~ ±9.99D 0.01/0.12/0.25D steps  Axis 0 ~ 180º (1º steps)  ADD 0 ~ ±9.99D 0.01/0.12/0.25D steps  Prism Degree 0 ~ 15△ 0.01/0.12/0.25△ steps  Measurement Mode  Cylinder +, +/-, -  Prism X-Y, P-B  Contact lens Soft/hard  Measuring Mode Single/progressive/automatic recognition  Others  Diameter of Lens Ф 20~108mm  PD 40~90mm, 0.5mm steps  Speed of measurement 0.1s  Display TFT LCD (5.6”) 640\*480 | prodcut-image |
| **1.16** | Chart Projector ACP 1500 | 1 | Projection distance 1.5m ~ 7m Projection magnification 30 x (at 5m) Projection size 330mm(W) x270mm(H) (at 5m) Chart Switching speed 0.01~0.02S Mask Number 1 open, 5 horizontal lines,8 vertical lines, 21 single letters, 1 red/green Mask Switching speed One mask per 0.01~0.02s Program 2 sets programs, each program contains up to 30 steps Lamp 6V,20W(halogen lamp) 12V、 Power saving fuction Will automatically standby in 10 min Power source AC 220V ,50Hz or 110V, 60Hz Dimensions 320mm(L) x 218mm(W) x 240mm(H) Net weight 7.2Kg Standard accessories Remote control, Polarized metal screen, halogen lamp, polarized glasses, fuses(2), batteries(2) Optional accessories Floor stand, wall stand |  |
| **1.17** | Opthalmoscope, Retinoscope, Charger. PE set | 1 | Ophthalmoscope ·Imported halogen bulb provides high and adjustable brightness and good color rendering. ·Smart, portable and convenient for mobile inspection. Specifications: Illumination Form  Large Spot, Small Spot, Slit, Net, Red Free Diopter Compensation  0 ±1 ±2 ±3 ±4 ±5 ±6 ±8 ±10 ±12 ±16 ±20 -25 -35D Illumination Source  3.5V/2.8W,Halogen Bulb Input Voltage  AC220V±22V/50Hz±1Hz、AC110V±11V/60Hz±1Hz Power(Main body of Ophthalmoscope)  Li+ Battery Pack 3.7V,Rechargeable  Retinoscope: The well positioned filament can be rotated 360° and move upward and downward. Brightness of the streak can be adjusted. Quickly and precisely measure the astigmatism axis. The light can be converged, radiated and paralleled. Zoom illumination adjustment. Specifications: Illumination Source: 3.5V/2.8W，Halogen Bulb. Power Supply: Charger, AC220V/ 50Hz or AC110V / 60Hz Battery: Lithium battery DC:3.7V. Power Input: 20VA |  |
| **1.18** | Bobath table | 2 | Electrical Bobath Table, 200 x 120 x 44-97 cm, lifting capacity 250 Kg, consumption 2 Amps used to support patients during medical examinations with wheels and safety locks for the wheels & 2 sections of treatment table.  Size tabletop (lxw): 200 x 100 cm   203 x 120 cm  Height adjustment: 44-97 cm Lifting time (min.-max.): approximately 18 sec. Lifting capacity: 250 kg  Current consumption: 2.0 A max. |  |
| **1.19** | Quadriceps table | 1 | Quadriceps & Biceps Table. Supplied with a swinging arm, with 10 weights of 0,5 Kg each,  and 1 x weight of 5 Kg Can be used for lower limb exercises ( quadriceps) and upper limb exercises (Biceps). The maximum movement travel can be selected Removable backrest, and removable, height adjustable arm supports. Backrest can be used as an extension for exercisses from a reclining position. The Quadriceps, and Biceps Bench is a Functional Muscle Exerciser, allowing a large number of exercises to be performed within minimum floor surface. The bench enables the quadriceps exercises in a sitting position (for instance knee stretching) as well as exercises in a reclining position (for instance knee flexion and hip stretching). The adjustment of the seat and back, provides a comfortable and stable position, Used to strenghten thigh muscles. |  |
| **1.20** | Treadmill + 1 bench placed between the treadmill carpet | 1 | Power: 230V Motor: DC motor, 3.5 Hp Motor capacity: 2600 W Min./max. speed: 0.4 - 18 km/hr (in steps of 0.1 km/hr)  Positive slope angle: 0% to +15% (in steps of 0.5%)  Negative slope angle: 0% to -10% (in steps of 0.5%)  Dimensions: 212 x 86 x 148 cm (l x w x h) (Height includes mounted console)  Effective walking surface: 150 x 50 cm Height of side bars: 76 cm – 93.5 cm (distance from the walking surface to the underside  and upper side of the bars respectively)  Weight of treadmill: 140 kg (‘Standard’ type) 155 kg ( ‘Plus’ type)  Max. permissible patient weight: 235 kg Display: LCD/TFT color display (with backlight)  Training profiles (fixed programmers): 14 Training profiles (user-defined): 30 Swedish bench should be 220 x 28 x h 34 cm to be placed between the treadmill to assist the patients. | R |
| **1.21** | Skateboard | 1 | 70-80 cm) long |  |
| **1.22** | Adhesive Electrodes | 24 | 5\*5 cm to be used for every patient in the elctrotherapy |  |
| **1.23** | Shoulder finger ladder. | 1 | Wall-mounted finger and shoulder ladder offers progressive mobility of arm at shoulder, elbow and wrist joints. Dimensions: 160cm x 2.5cm x 5 cm |  |
| **1.24** | Shoulder wheel machine | 1 | wall-mounted device for rehabilitating the strengthening the muscles and joints of the shoulders, arms and wrists ●Quick release knobs for height adjustment ●Quick release clip for different handlebar radius ●Stylish ergonomics-fitted hand grip ●Adjustable resistance control |  |
| **1.25** | Bicycle | 1 | Seat adjust vertically and horizontally Oversize seat is ultra-padded for comfort and stability. Multiple adjustments ensure a precise fit.Maintain your desired heart rate Heart rate-based programming is available at the touch of a button. Clinicians can assign their patients a targeted heart rate zone and the program adjusts the resistance accordingly to stay in the zone. A variety of preset programs gives users a number of choices for the type of exercise they are looking for. |  |

**Annex 4 – Past Performance & Bidder References** **(Must be signed and stamped)**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Description** | **Customer** | **Unit** | **Quantity** | **Contract date** | **Contract value (USD)** |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

Please provide the details of minimum two companies for your reference check. For these companies it is compulsory to attach a scan either / photo copy of the Contract/ Purchase order/ Completion certificate/ or Reference letters as proof.

|  |  |
| --- | --- |
| **Reference 1** |  |
| Company name |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |
| **Reference 2** |  |
| Company name |  |
|  |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |

## Annex 5 Tender and Award Acknowledge Certificate

## This attachment shall be signed and submitted with the Bid (Must be signed and stamped)

|  |  |
| --- | --- |
| 1. In compliance with the ITB Instructions and General Conditions of Procurement Contract, we the undersigned, offer to furnish some or all of the quoted for, at the prices entered in the attached LRCS Bid Form No [ITB/2022-030 delivered to the destination specified therein.  2. We accept the terms and conditions set forth in the ITB Letter, and the following requirements have been noted and will be complied with where applicable:  a. That unless otherwise stated, the Bids per each line item shall be on a DDP- Beirut (Incoterms 2020) basis.  b. We confirm that for any offer made where the  delivery destination is not as requested in the ITB, item shall be on a DDP- Beirut (Incoterms 2020) basis.  c. That conditional Bid cannot be accepted.  d. That the currency of the Bid should be in USD, or LEB, no other currencies will be accepted.  e. LRCS reserves the right, at its own discretion:  i. To award a contract for a lesser or greater  quantity than the total quantity Bid for.  ii. To reject any or all Bids and/or enter a contract with a Bidder other than the lowest Bidder.  f. Successful Bidders who are awarded contracts will be notified by the receipt of the original Purchase Order/Contract and acknowledgement copy. In case of urgency, successful Bidders(s) may also be notified by email.  g. Any samples requested, either with the Bid, or at a later date, will be in accordance with the  specifications of the required item(s). Failure to  comply with this may result in the Bid not being considered  h. We confirm that the validity of this offer match the FWA validity | i. We agree to the terms and conditions set in the LRCS General Conditions of Procurement Contract  j. We certify that the below mentioned company has not engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing any contract.  k. We agree to abide by the LRCS Addendum,  3. We note that LRCS is not bound to proceed with this ITB and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.  We agree to the above terms and conditions.  Submitted by:  Company Name-----------------------------------------  Place-------------------------------------------------------  Date--------------------------------------------------------  Title/Position--------------------------------------------  Print Name----------------------------------------------  Signature-------------------------------------------------  A duly authorized company representative **any Stamp** |

**Annex 6: General conditions of Procurement Contract.**

**Article 1. Terms & conditions on purchasing**

**1.1. Acceptance:** No purchase order shall become effective and no contract shall exist until the

LRCS has received from the Supplier their written acceptance of the conditions which

govern the PO or contract. This can be accomplished by return of the signed Letter of

Authorization and Acknowledgment Form attached.

**1.2. Tax Exemption:** The Supplier’s price shall reflect any tax exemption to which the LRCS is

entitled by reason of any immunities which it enjoys. If it is subsequently determined that

any taxes which have been included in the price are not required to be paid, the LRCS shall

deduct the amount from the contract price or, if it has paid any such taxes, it shall be

refunded.

**1.3. Discount:** Time in connection with any discounts offered will be computed from the date of

receipt by the LRCS of full documentation as specified by the Purchase Order, contract or

Annex thereto.

**1.4. Warranty:** The Supplier warrants the goods or services furnished under this Purchase Order

/ Contract to be fit for their intended use, free from defects in workmanship or materials,

and indemnifies the LRCS against any claims resulting there from. This warranty is without

prejudice to any further guarantees that the Supplier provides to the Purchaser; such

guarantees shall apply to the subject goods of this Purchase Order / Contract.

**1.5. Inspection:** The duly accredited representatives of the LRCS shall have the right to inspect

the goods or services called for under this Purchase Order / Contract at the Supplier’s

stores, during manufacture, in the ports or at places of shipment, and the Supplier shall

cooperate and provide all facilities for such an inspection. The LRCS may issue a written

waiver of inspection at its discretion. Any inspection carried out by representatives of the

LRCS or any waiver thereof shall not prejudice the implementation of any other relevant

provisions of this Purchase Order / Contract concerning obligations subscribed by the

Supplier, such as warranty or specifications.

**1.6. Packing:** The Supplier shall pack all goods appropriately and with every care in accordance

with normal commercial standards of export packing for the type of goods specified herein.

Such packing materials used must be adequate to safeguard the goods while in transit. The

Supplier shall be responsible for any damage or loss which can be shown to have resulted

from faulty or inadequate packing.

**1.7. Export License:** The Purchase Order / Contract is subject to the obtaining of any export

license or other governmental authorization which may be required. It shall be the

responsibility of the Supplier to inform the LRCS beforehand of such restrictions and obtain

such license or authorization, but the LRCS will use its best endeavors to assist. In the

event of refusal thereof, the Purchase Order / Contract will be annulled and all claims

between the parties automatically waived.

**1.8. Force Majeure:** Force majeure, as used herein, shall mean acts of God (involuntary and

unexpected acts), laws or regulations, industrial disturbances, acts of war, explosions and

any other similar cause of equivalent force not caused by, nor within the control of either

party, and which neither party is able to overcome. As soon as possible after the

occurrence of the force majeure and within not more than 15 days, the supplier shall give

notice and full particulars in writing to the LRCS of such force majeure if the Supplier is

thereby rendered unable, wholly or in part, to perform his obligations and meet his

responsibilities under this Purchase Order / Contract. The LRCS shall then have the right to

terminate the Purchase Order / Contract by giving in writing seven days’ notice of

termination to the Supplier, and the Supplier shall return any deposit paid by the LRCS.

**1.9. Default:** In case of default by the Supplier, including but not limited to failure or refusal to

make deliveries within the time limit specified, the LRCS may procure the goods or services

from other sources and hold the Supplier responsible for any excess costs occasioned

thereby. Furthermore, the LRCS may by written notice terminate the right of the Supplier

to proceed with the deliveries, or such parts thereof as to which there has been default.

**1.10. Conformity with Specifications:** In the case of goods purchased on the basis of

specifications the Supplier warrants their conformity. The LRCS shall have the right to reject

the goods or any part thereof if they do not conform to specifications. Any supplies not

found to be in accordance with the specification and requirements will not be accepted and

in that eventuality the supplier shall replace the goods and bear the inspection cost and/or

other losses caused to LRCS, if any, by replacement of the items non–conforming to the

requirements/specification.

**1.11. Liquidated Damages:** Arrival of goods/ completion of services after agreed delivery

schedule will be subject to deduction of damages

**1.12. Disputes-Arbitration:** Any claim or controversy arriving out of this Purchase Order /

Contract, or to the breach, termination or invalidity thereof the parties agree to attempt to

settle it amicably via direct negotiations between the two sides within seven days. In case

of any dispute that cannot be settled in such way, the Lebanese law shall be applicable and

the Lebanese courts will settle any litigation in this regards that was not solved amicably

**1.13. Privileges and Immunities:** Nothing contained in this Purchase Order / Contract

shall be deemed a waiver, express or implied, of any privilege or immunity which the LRCS

may enjoy, whether pursuant to existing conventions or agreements.

**1.14. Assignment:** The Supplier shall not assign, transfer, pledge or make other

disposition of this Purchase Order / Contract or any part thereof or of any of the Supplier’s

rights, claims or obligations under this Purchase Order / Contract except with the prior

written consent of the LRCS.

**1.15. Bankruptcy:** Should the Supplier file any petition for bankruptcy, or should the

Supplier make a general assignment for the benefit of its creditors, or should a receiver be

appointed on account of the Supplier’s insolvency, the LRCS may under the terms of this

Purchase Order / Contract, terminate the same forthwith by giving the Supplier written

notice of such termination.

**1.16. Advertising:** Unless authorized in advance in writing by the LRCS, the Supplier shall

not advertise or otherwise make public the fact that he is a Supplier to the LRCS and / or

any National Red Cross or Red Crescent Society, or use the name, emblem or official seal of

the LRCS and / or any National Red Cross or Red Crescent Society, or any abbreviation of

the name of the LRCS and / or any National Red Cross or Red Crescent Society for

advertising purposes or any other purposes.

**1.17. Officials Not to Benefit:** The supplier represents and warrants that no official of the

LRCS has been, or shall be, admitted by the supplier to any direct or indirect benefit arising

from this contract or the award thereof. The supplier agrees that breach of this provision is

a breach of an essential term of this contract.

**1.18. Amendments:** No changes or modifications to this Purchase Order / Contract shall

be valid unless mutually agreed between both parties and confirmed by an official

amendment.

**1.19. Notice:** Service of any notice shall be deemed to be good if sent by registered mail,

or email to the addresses of both parties, set out in the heading of this Purchase Order /

Contract.

**1.20. Jurisdiction:** This Contract is considered to be concluded as defined in the attached

Addendum.

**Article 2. Labour standards**

**2.1. Employment is freely chosen:** There is no forced, bonded or involuntary prison labour.

Workers are not required to lodge `deposits’ or their identity papers with the employer and

are free to leave their employer after reasonable notice.

**2.2. Freedom of association and the right to collective bargaining are respected:** Workers,

without distinction, have the right to join or form trade unions of their own choosing and to

bargain collectively. The employer adopts an open attitude towards the legitimate activities

of trade unions. Workers representatives are not discriminated against and have access to

carry out their representative functions in the workplace. Where the right to freedom of

association and collective bargaining is restricted under law, the employer facilitates, and

does not hinder, the development of parallel means for independent and free association

and bargaining.

**2.3. Working conditions are safe and hygienic:** A safe and hygienic working environment shall

be provided, bearing in mind the prevailing knowledge of the industry and of any specific

hazards. Adequate steps shall be taken to prevent accidents and injury to health arising out

of, associated with, or occurring in the course of work, by minimising, so far as is reasonably

practicable, the causes of hazards inherent in the working environment. Workers shall

receive regular and recorded health and safety training, and such training shall be repeated

for new or reassigned workers. Access to clean toilet facilities and potable water and, if

appropriate, sanitary facilities for food storage shall be provided. Accommodation, where

provided, shall be clean, safe, and meet the basic needs of the workers. The company

observing the standards shall assign responsibility for health and safety to a senior

management representative.

**2.4. Child Labour shall not be used:** There shall be no new recruitment of child labour.

Companies shall develop or participate in and contribute to policies and programmes,

which provide for the transition of any child found to be performing child labour to enable

her/him to attend and remain in quality education until no longer a child. Children and

young people under 18 years of age shall not be employed at night or in hazardous

conditions. These policies and procedures shall conform to the provisions of the relevant

International Labour Organisation (ILO) standards.

**2.5. Living wages are paid:** Wages and benefits paid for a standard working week meet, at a

minimum, national legal standards or industry benchmarks. In any event wages should

always be high enough to meet basic needs and to provide some discretionary income. All

workers shall be provided with written and understandable information about their

employment conditions in respect to wages before they enter employment, and about the

particulars of their wages for the pay period concerned each time that they are paid.

Deductions from wages as a disciplinary measure shall not be permitted nor shall any

deductions from wages not provided for by national law be permitted without the express

and informed permission of the worker concerned. All disciplinary measures should be

recorded.

**2.6. Working hours are not excessive:** Working hours comply with national laws and benchmark

industry standards, whichever affords greater protection. In any event, workers shall not on

a regular basis be required to work in excess of the local legal working hours. Overtime shall

be voluntary, shall not exceed local legal limits, shall not be demanded on a regular basis

and shall always be compensated at a premium rate.

**2.7. No discrimination is practised:** There is no discrimination in hiring, compensation, access to training, promotion, termination or retirement based on race, caste, national origin,

religion, age, disability, gender, marital status, sexual orientation, union membership or

political affiliation.

**2.8. Regular employment is provided:** To every extent possible work performed must be on the basis of a recognised employment relationship established through national law and

practice. Obligations to employees under labour or social security laws and regulations

arising from the regular employment relationship shall not be avoided through the use of

labour-only contracting, sub-contracting or home-working arrangements, or through

apprenticeship schemes where there is no real intent to impart skills or provide regular

employment, nor shall any such obligations be avoided through the excessive use of fixedterm

contracts of employment.

basis of a recognised employment relationship established through national law and

practice. Obligations to employees under labour or social security laws and regulations

arising from the regular employment relationship shall not be avoided through the use of

labour-only contracting, sub-contracting or home-working arrangements, or through

apprenticeship schemes where there is no real intent to impart skills or provide regular

employment, nor shall any such obligations be avoided through the excessive use of fixedterm

contracts of employment.

**2.9. No harsh or inhumane treatment is allowed:** Physical abuse or discipline, the threat of

physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation

shall be prohibited.

**Article 3. Corporate social responsibility & other requirements**

**3.1. Business ethics:** Suppliers are expected to maintain the highest degree of business ethics

when working or seeking to work with the LRCS.

**3.2. Transparency of information provision:** Suppliers shall not be involved in any fraudulent

activities, misrepresent information or facts for the purpose of influencing the selection and

contract-awarding process in their favour.

**3.3. Fair competition:** Suppliers shall not be involved in any corrupt, collusive or coercive

practices.

**3.4. Conflict of interest:** The supplier shall represent and warrants that no official/

representative/ staff member of the LRCS has been, or shall be, admitted by the supplier to

any direct or indirect benefit arising from the award of the contract.

**3.5. Adherence to IFRC principles:** When performing on behalf of or at any time representing

the LRCS, the supplier and all individuals assigned by it to perform works or services, shall

act in a manner consistent with the fundamental principles of the International Red Cross

and Red Crescent Movement.

**3.6. Misrepresentation:** By participating in the tender, submitting the bid and having being

selected as a Supplier, the supplier acknowledges their acceptance of the above stated

requirements and shall be held responsible and liable for the consequences of any false or

misrepresented information provided

**Article 4. Environmental and carbon reduction policy**

**4.1.** Suppliers should as a minimum comply with all statutory and other legal requirements

relating to the environmental impacts of their business. Detailed performance standards

are a matter for suppliers, but should address at least the following:

**4.1.1. Waste Management:** Waste is minimised and items recycled whenever this is

practicable. Effective controls of waste in respect of ground, air, and water pollution

are adopted. In the case of hazardous materials, emergency response plans are in

place.

**4.1.2. Packaging and Paper:** Undue and unnecessary use of materials is avoided, and

recycled materials used whenever appropriate.

**4.1.3. Conservation:** Processes and activities are monitored and modified as necessary to

ensure that conservation of scarce resources, including water, flora and fauna and

productive land in certain situations.

**4.1.4. Energy Use:** All production and delivery processes, including the use of heating,

ventilation, lighting, IT systems and transportation, are based on the need to maximise

efficient energy use and to minimise harmful emissions.

**4.1.5. Safety precautions for transport and cargo handling:** All transport and cargo

handling processes are based on the need to maximise safety precautions and to

minimise potential injuries to the environment, beneficiaries and staff as well as the

suppliers’ employees or those of its subcontractors.

**Article 5. Ethical procurement**

**5.1.** Supplier’s core business (over 20% turnover) should not:

**5.1.1.** Manufacture or sell arms.

**5.1.2.** Manufacture or sell tobacco

**5.1.3.** Damage the reputation of the Red Cross name and/or emblem

**5.2.** Legal requirements: Suppliers should always work within the laws of their country

**Article 6. Payment.**

6.1. Payment will be made upon approval by LRCS of a completed milestone/deliverable, and receipt of verified original invoice submitted by Contractor to LRCS, within 45 days, and will be new and unused, free from material defects in quality, material, and design under normal use, and free from any right of claim by any third party, including claims of infringement of any intellectual property rights.

**Article 7.** **Tenderers shall be excluded from participation in a procurement procedure if:**

**7.1** They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations. However, tenderers in this situationmay be eligible to participate insofar as the Grant Recipient is able to purchase supplies on particularly advantageous terms from either a supplier which is definitively winding up its business activities, or the receivers or liquidators of a bankruptcy, through an arrangement with creditors, or through a similar procedure under national law;

**7.2** They or persons having powers of representation, decision-making or control over them have been convicted of an offence concerning their professional conduct by a final judgment;

**7.3** They have been guilty of grave professional misconduct; proven by any means which the Grant Recipient can justify;

**7.4** They have not fulfilled obligations relating to the payment of social security contributions or taxes in accordance with the legal provisions of the country in which they are established, or with those of the country of the Grant Recipient or those of the country where the contract is to be performed

**7.5** They or persons having powers of representation, decision-making or control over them have been convicted for fraud, corruption, involvement in a criminal organization or money laundering by a final judgment

**7.6** they make use of child labor or forced labor and/or practice discrimination, and/or do not respect the right to freedom of association and the right to organize and engage in collective bargaining pursuant to the core conventions of the International Labor Organization (ILO).

# Bidder’s checklist

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Description** | **To be filled by bidder** | | To be filled by LRCS committee | | |
|  | **Included?** | | Present & complete? | | Comments |
| Step/ document to be submitted **with** tender | **Yes** | **No** | Yes | No |  |
| **Complete tender package** delivered before the deadline specified - **Compulsory** |  |  |  |  |  |
| **Annex 1** – LRCS Supplier Registration Form – completed, signed & stamped (if it was not submitted before) – **Compulsory** |  |  |  |  |  |
| **Annex 2** - Bid Form – completed, signed & stamped – **Compulsory** |  |  |  |  |  |
| **Annex 4** – Past performance & Bidder references – completed, signed & stamped **Compulsory** |  |  |  |  |  |
| **Annex 5** - Tender Award and Acknowledge Certificate – signed & stamped – **Compulsory** |  |  |  |  |  |
| **Supporting documents (Mandatory):** | | | | | |
| Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية **Compulsory** |  |  |  |  |  |
| Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة – **Compulsory** |  |  |  |  |  |
| Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة – **Compulsory (if VAT registered)** |  |  |  |  |  |
| **اذاعة تجارية** |  |  |  |  |  |
| **IBAN BANK DOCUMENT** |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **To be filled in by LRCS –Tender Opening Committee ONLY** | **Eligible** | **Ineligible** |
| Outcome of administrative check. |  |  |