**Invitation to bid No: 2023-035 Medical Consumables “Framework Agreement for Three Years”**

The Lebanese Red Cross (LRC) hereby invites sealed bids from manufacturers/reputed firms/ registered suppliers for the supply of the following supplies/ services:

|  |  |  |  |
| --- | --- | --- | --- |
| **LOT #** | **Main Category** | **NUMBER OF ITEM IN EACH LOT** | **Delivery of PO** |
| **Lot 1** | **Medical Consumables for EMS** | **84** | **ALL OVER LEBANON** |
| **Lot 2** | **Medical Consumables for DRR** | **4** |
| **Lot 3** | **Medical Consumables for MSS** | **68** |
| **Lot 4** | **Medical Consumables for BTS/MSS/DRR/EMS** | **32** |
| **Lot 5** | **Medical Consumables for BTS** | **124** |

ITENDER DETAILS

The Tender details are as follows:

|  |  |
| --- | --- |
| INCOTERMS | DDP – Beirut Delivery Duty Paid |
| Delivery address of the Bid | Spears – Lebanese Red Cross HQ – Finance Department |
| ITB Published | Friday 18 August 2023 |

*All documents can be downloaded from* [*http://www.redcross.org.lb/*](http://www.redcross.org.lb/) *(Please select “Tender” from the menu at the top right of the page). Tenderers are advised to check the website regularly as any changes or additional information related to this tender will be updated via the website.*

**Tenders must be submitted in a sealed envelope**

|  |  |
| --- | --- |
| **Mailing address for bid submission** | Lebanese Red Cross Head Quarters,  Spears Street, Kantari, Beirut, Lebanon  **Please submit your bid in a SEALED Envelope to FINANCE DEPARTMENT at 1st floor.** |
| **Tender deadline** | **Date: Monday 18 September 2023**  **Time: 4:00 PM** PLEASE NOTE: NO BIDS WILL BE ACCEPTED AFTER THE ABOVE CLOSING TIME AND DATE |
| **Bids to be marked** | “Tender reference: **2023-035** Do not open before  **Monday 18 September 2023**” |
| **Deadline for questions** | Date: **Friday 08 September 2023**,  Time: 4:00:00 PM |

IMPORTANT INFORMATION REGARDING THIS ITB:

**- BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***

**- Please SIGN AND STAMP all the mentioned documents below**

**- THIS TENDER DIVIDED INTO 5 LOTS, LRC HAVE THE RIGHT TO AWARD ONE OR MORE BIDDER AS A BACK UP FOR SAME ITEM**

**- LRC HAVE THE RIGHT TO AWARD PER ITEM BASED ON THE CHEAPEST ACCEPTED PRICES, OR PER LOT BASED ON THE BEST VALUE OF MONEY AND ADMINISTRATIVE WORK, LEAD TIME OF DELIVERY, AVAILABILITY IN STOCK…**

**- THE AWARDED BIDDER WILL BE CONTRACTED FOT THREE YEARS WITH FIXED PRICES AND VARIABLE QUANTITIES.**

**- THE MENTIONED QUANTITIES ARE ESTIMATED REFERENCE TO THE CONSUMPTION OF THE PREVIOUS PROJECTS.**

**- THE QUANTITIES MIGHT INCREASE OR DECREASE REFERENCE TO THE AVAILABILITY OF BUDGET AND NEEDS OF EACH SECTOR.**

**-**For queries on this ITB, please contact the Procurement, on the following email: [**Hoda.fakih@redcross.org.lb**](mailto:Hoda.fakih@redcross.org.lb)

**I. SELECTION AND AWARD CRITERIA**

This tender will be awarded to the lowest cost technically compliant bid. The technical evaluation criteria are as per Annex 3 of Detailed Specifications.

1. **Administrative Evaluation (Sign and Stamp)**

A bid shall pass the administrative evaluation stage before being considered for technical and financial evaluation. Bids thatare deemed administratively non-compliant may be rejected in case the NO answer is not well justified.

|  |  |  |
| --- | --- | --- |
| **LRC Requirements** | **Is bid compliant?** Bidder to complete | **Details - Please insert your comments** |
| Awarded Bidder(s) must commit to Three Years Framework Agreement.  This means that LRC will sign a Long Term Frame work agreement with the awarded bidder. The bidder must commit to a fixed prices for 3 years and variable quantities. | ☐ Yes ☐ No |  |
| Validity of bids **for evaluation** is 90 days | ☐ Yes ☐ No |  |
| The mentioned Quantities are estimated, could be increase of decrease depend on the needs and availability of the budget | ☐ Yes ☐ No |  |
| advanced down payments are not applicable | ☐ Yes ☐ No |  |
| LRC payments terms are 30- 45 days from the date of GRN ( Good Received Note) | ☐ Yes ☐ No |  |
| LRC will pay in Fresh Transfer USD to the awarded bidder fresh account, but VAT amount will be paid in Cheque LBP based on Sayrafa (or any official upcoming memo from the government) | ☐ Yes ☐ No |  |
| A soft copy of the signed and stamped Invitation to bid must be submitted on a USB  A soft copy of the datasheets must be submitted on a USB | ☐ Yes ☐ No |  |

.

**Documents listed below shall be submitted with your bid (BIDDERS WHO MISSED TO SUBMIT ANY OF THE BELOW MENTIONED DOCUMENT, SIGANTURE OR STAMP HAVE THE RIGHT TO RESUBMIT THEM WITHIN 48 WORKING HOURS.**

|  |  |  |  |
| --- | --- | --- | --- |
| # | Annex | Document | Instructions |
| 1 | Annex 1 | LRCS Supplier Registration Form | Complete ALL sections in full, sign, stamp and submit  Mandatory. |
| 2 | Annex 2 | Bid Form | Complete ALL sections in full, sign, stamp and submit  Mandatory. |
| 3 | Annex 4 | Past Performance & Bidder References: Minimum 2 proofs of similar working  experience with an international,  NGO, national NGO, private, or public sector  Provide 2 references (phone and mail) | Mandatory , sign, stamp and submit  Proof of experience shall be a copy of contract/purchase order signed or copy of Job Completion.  Note that the notification of contract award is not a  Proof of experience for LRCS. |
| 4 | Annex 5 | Tender Award and Acknowledge Certificate | Mandatory , sign, stamp and submit |
| 5 |  | Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية | Mandatory |
| 6 |  | Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة | Mandatory |
| 7 |  | Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة | Mandatory |
| 8 |  | اذاعة تجارية | Mandatory |
| 9 |  | IBAN official Document | Mandatory |
| 10 |  | **Soft copy of your offer signed and stamped on (USB) not by email, must be submitted with the bid.**  **Including all the datasheets of the submitted items** | Mandatory |

**B. Technical Evaluation**

To be technically acceptable, the bid shall meet or exceed the stipulated requirements and specifications in the ITB.

A Bid is deemed to meet the criteria if it confirms that it meets all mandatory conditions, procedures and specifications in the ITB without substantially departing from or attaching restrictions with them. If a Bid does not technically comply with the ITB, it will be rejected.

c. All bids that pass the Technical Evaluation will proceed to the Financial Evaluation. Bids that are deemed technically noncompliant will not be financially evaluated.

II. TENDER PROCESS

The following processes will be applied to this Tender:

 Tender Period

 Tender Closing

 Tender Opening

 Administrative Evaluation

 Technical Evaluation

 Financial Evaluation

 Contract Award

 Notification of Contract Award

# Instructions to bidders

Tenderers must meet all the requirements specified in the tender documents and therefore advised to go through the tender documents carefully before submission and be certain that they are able to comply with the specified terms & conditions.

1. **Bidding in lots:**

If the tender is divided into lots, bidders should make every effort to bids for all items within the lot they are interested in. If bidders fail to complete all items within the lot LRCS reserves the right not to award the lot to the bidder. Bidders can bid for as many lots/items as they wish.

1. **Items and Quantity:**

LRCS reserves the right to split up the order between suppliers.

1. **Specifications:**

The detailed specification in respect of each item with packing, marking/ labelling instructions etc. are given in **Annex 3 - Detailed Specifications** which tenderers must adhere to.

**Eligibility:**

* 1. Bidders are solely responsible for ensuring that the full bid is received by LRCS in accordance with the ITB requirements, prior to the specified date and time mentioned above. LRCS will consider only those portions of the bids received prior to the closing date and time.
  2. All responsive Bids shall be Typed on the LRCS Bid Form.
  3. Bids submitted are at the Bidders risk and LRCS takes no responsibility for the receipt of such Bids.
  4. Bidders are solely responsible for ensuring that the full Bid is received by LRCS, in accordance with the ITB requirements:

**Hard Copy:**

Bid shall be placed in an outer sealed envelope, addressed and delivered to:

“Tender reference: **2023-035** Do not open before **18 SEPTEMBER 2023”** Failure to comply with the above may disqualify the Bid.

* 1. Tenderer(s) must be Manufacturers, accredited Wholesalers, Traders / Suppliers, Agents in their registered countries.
  2. Any unsealed tenders and tenders received after the submission deadline will not be accepted.
  3. Tenderer(s) should have the capacity and capability to supply the items in accordance with the specifications within the prescribed delivery time and the terms & conditions mentioned herein.
  4. Contracts can be awarded individually or jointly.

1. **Price:**
   1. Price should be best and final offer
   2. Include discounts for early payment, if any
   3. All prices should be denominated in the currency that is specified in the **Addendum** attached.
   4. Applicable VAT/duty rates should be clearly stated per item in the offer as to facilitate any tax/ duty exemptions/ reimbursement

4.

1. **I’NCOTERMS:**

DDP INCOTERMS©2021 as defined by the International Chamber of Commerce will be used to govern the terms of delivery/ contract.

1. **Delivery Destinations:**

Details of the consignee and necessary details for the paperwork will be agreed at the time of signing contract with successful Tenderer/s. Tenderer(s) shall be responsible for all costs arising from packing, forwarding and delivering of goods to actual points of delivery including loading, unloading, transport and insurance and clearance costs as per the stated INCOTERMS.

1. **Delivery/Readiness Period:**

The delivery/readiness must be within the agreed timeframe after the of signing the contract by both parties and all the items/quantities must be delivered at the delivery destinations within a maximum period as agreed on the signing of the contract. The successful Tenderer will be required to agree to the Delivery Schedule (as stated, in tranches so they meet the requirements of our consignee)

1. **Packaging:**

All goods must be appropriately packed (if applicable – refer **Annex 3 - Detailed Specifications** suitable for sea/road transportation and loading/unloading including rough handling to final destinations.

1. **Marking/Labelling:**

Marking / labelling instructions are provided in **Annex 3 - Detailed Specifications**

1. **Presentations:**

Bids should be clearly legible. Prices entered in lead pencil will not be considered. All erasures, amendments, or alterations shall be initialed by the signatory to the Bid. Do not submit blank pages of the Bid Form and/or schedules, which are unnecessary for your offer. All documentation shall be written in English. All Bids shall be signed by a duly authorized

1. **Language:**

The documents submitted will be accepted in English language only. The certificate, etc. from local government or local authorities (if applicable) could be provided in actual language All markings and labelling should appear in English only.

1. **Samples:**

Please refer to the **Addendum** if samples are required with the bid submission or not. If required samples of all the items must be submitted together with your Tender documents. Samples must meet the required specifications as per **Annex 3 - Detailed Specifications + ANNEXED DOCUMENTS.** Each sample must be clearly labelled. LRCS reserves the right to reject bids where Tender documents are not accompanied by the samples.

1. **Validity Period:**

Bids shall be valid for at least the minimum number of days specified in the Addendum, and from the date of Bid closure. LRCS reserves the right to determine, at its sole discretion, the validity period in respect of Bids, which do not specify any such maximum or minimum limitation.

If the bid is successful and contracted, the bid will remain valid for the duration of the contract.

1. **Your offer should clearly state the following:**
   1. Country of origin of the goods
   2. Place of manufacture and place of despatch
   3. Unit prices / Total prices, etc. as per **Annex 2 - Bid Form**
   4. Price should be net after deduction of any discount and should be compatible with the appropriate INCOTERMS specified in the **Addendum**.
   5. Firm dates for starting and completion of delivery at delivery points.
   6. Confirmation to comply with the specifications as per **Annex 3 - Detailed Specifications** if you can meet the specifications. If not, state clearly.
   7. Confirmation to agree to accept the terms and condition as per this tender document and the general terms and conditions, stated within Annex 5 Tender and Award Acknowledge Certificate.
   8. Full packing details (contents, weight and volume)
2. **Award of Contracts:**

This ITB does not commit LRCS to award a contract or pay any costs incurred in the preparation or submission of Bids, or costs incurred in making necessary studies for the preparation thereof, or to procure or contract for services or goods. The Bidder of an offer made by LRCS will regard as an offer made by the Bidder and not as an acceptance any bid submitted.

No contractual relationship will exist except pursuant to a written contract document signed by a duly authorized official of LRCS and the successful Bidder.

LRCS may award contracts for part quantities or individual items. LRCS will notify successful Bidders of its decision with respect to their Bids as soon as possible after the Bids are opened.

LRCS reserves the right to cancel any ITB, to reject any or all Bids in completely or in part, and to award any contract.

Suppliers who do not comply with the contractual terms and conditions including delivering different products and of different origin than stipulated in their Bid and covering contract may be excluded from future LRCS ITBs.

1. **Acceptance:**

LRCS reserves the right, at its sole discretion, to consider as invalid or unacceptable any Bid which is a) not clear; b) incomplete in any material detail such as specification, terms delivery, quantity etc.; or c) not presented on the Bid Form – and to accept or reject any amendments, withdraws and/or supplementary information submitted after the time and date of the ITB closure.

1. **CONFIDENTIALITY**:

This ITB or any part hereof, and all copies hereof shall be returned to LRCS upon request. This ITB is confidential and proprietary to LRCS, contains privileged information, part of which may be copyrighted, and is communicated to and received by Bidders on the condition that no part thereof, or any information concerning it may be copied, exhibited, or furnished to

Others without the prior written consent of LRCS, except that Bidders may exhibit the specifications to prospective subcontractors for the sole purpose of obtaining offers from them. Notwithstanding the other provisions of the ITB, Bidders will be bound by the contents of this paragraph whether or not their company submits a Bid or responds in any other way to this ITB.

1. **COLLUSIVE BIDDING AND ANTI-COMPETITIVE CONDUCT**

Bidders and their employees, officers, advisers, agent or sub-contractors shall not engage in any collusive bidding or other anti-competitive conduct or any other similar conduct, in relations to:

 The preparation of submission of Bids,

 The clarification of Bids,

 The conduct and content of negotiations,

 Including final contract negotiations,

In respect of this ITB or procurement process, or any other procurement process being conducted by LRCS in respect of any of its requirements.

For the purpose of this clause, collusive bidding, other anti-competitive conduct, or any other similar conduct may include, among other things, the disclosure to, exchange or clarification with, any other Bidder, person or entity, of information (in any form), whether or not such information is commercial information confidential to LRCS, any other Bidder, person or entity in order to alter the results of a solicitation exercise in such a way that would lead to an outcome other than that which would have been obtained through a competitive process.

1. **IMPROPER ASSISTANCE**

Bids that, in the sole opinion of LRCS, have been compiled:

- With the assistance of current or former employees of LRCS, or current or former contractors of LRCS in violation of confidentially obligations or by using information not otherwise available to the general public or which would provide a non-competitive benefit,

- With the utilization of confidential and/or internal LRCS information not made available to the public or to the other Bidders,

In breach of an obligation of confidentially to LRCS, or contrary to these terms and conditions for submission of a Bid, shall be excluded from further consideration Without limiting the operation of the above clause, a Bidder shall not, in the absence of prior written approval from LRCS, permit a person to contribute to, or participate in, any process relating to the preparation of a Bid or the procurement process, if the person has at any time during the 6 months immediately preceding the date of issue of this ITB was an official, agent, functionary, or employee of, or otherwise engaged by LRCS and was engaged directly, or indirectly, in the planning or performance of the requirement, project, or activity to which this ITB relates.

1. **CORRUPT PRACTICES**

L]RCS has zero tolerance for corruption. The Bidder represents and warrants that neither it nor any of its potential subcontractors are engaged in any form of corruption, defined by LRCS as the misuse of entrusted power for private gain.

This definition is not limited to interactions with public officials and covers both attempted and actual corruption, as well as monetary and non-monetary corruption. The definition includes, but is not limited to, corruption in the form of: facilitation payments, bribery, gifts constituting an undue influence, kickbacks, favoritism, cronyism, nepotism, extortion, embezzlement, misuse of confidential information, theft, and various forms of fraud, such as forgery or falsification of documents, and financial or procurement fraud. No offer, payment, consideration or benefit of any kind, which could be regarded as an illegal or corrupt practice, shall be made, promised, sought or accepted – directly or indirectly – as an inducement or reward in relation to activities funded by LRCS, including tendering, award or execution of core serves the right, without prejudice to any other right or remedy available to it, according to any violation of this clause to immediately reject the submitted offer, and to take such additional action, civil and/or criminal, as may be appropriate.

The Bidder agrees to accurately communicate LRCS policy with regards to Anti- Corruption to Third Parties. The Bidder furthermore, agrees to inform LRCS immediately of any suspicion or information it receives from any source alleging a violation of this policy to the contact details of the specific LRCS country operations

1. **CONFLICT OF INTEREST**

A Bidder shall not, and shall ensure that its employees, officers, advisers, agents or subcontractors do not place themselves in a position that may, or does, give rise to an actual, potential or perceived conflict of interest between the interests of LRCS and the Bidder’s interests during the procurement process.

If during any stage of the procurement process or performance of any LRCS contract a conflict of interest arises, or appears likely to arise, the Bidder shall notify LRCS immediately in writing, setting out all relevant details of the situation, including those cases in which the interests of the Bidder conflict with the interests of LRCS, or cases in which any LRCS official, employee or person under contract with LRCS may have, or appear to have, an interest of any kind in the Bidder’s business or any kind of economic ties with the Bidder. The Bidder shall take steps as LRCS may reasonably require, to resolve or otherwise deal with the conflict to the satisfaction of LRCS.

1. **WITHDRAWAL/MODIFICATION OF BIDS**

Requests to withdraw a Bid after the Bid closure time shall not be honored.

Withdrawal of a Bid may result in your suspension or removal from the LRCS suppliers List.

A Bidder may modify its Bid prior to the ITB closure. Any such modification shall be submitted in writing and in a sealed envelope, marked with the original Bid number. No modification shall be allowed after the ITB closure.

1. **LATE BIDS**

All Bids received after the ITB closure will be rejected.

1. **OPENING OF THE ITB**

The Tender Opening will take place at the time and location stated within Addendum.

Any attempt by a Bidder to influence the Evaluation Committee in the process of examination, clarification, evaluation and comparison of tenders, to obtain information on how the procedure is progressing or to influence LRCS in its decision concerning the award of the contract will result in the immediate rejection of the tender.

1. **CONDITIONS OF CONTRACT**

All Bidders shall acknowledge that the LRCS General Conditions, or the Special Conditions of Contract, as applicable, are acceptable.

1. **CANCELLATION OF THE ITB**

In the event of an ITB cancellation, Bidders will be notified by LRCS. If the ITB is cancelled before the outer envelope of any Bid has been opened, the sealed envelopes will be returned, unopened, to the Bidders.

The ITB may be cancelled in the following situations:

-where no qualitatively or financially worthwhile Bid has been received or there has been no response at all;

-the economic or technical parameters of the project have been fundamentally altered;

- Exceptional circumstances or force majeure renders normal performance of the project impossible;

- All technically compliant Bids exceed the financial resources available; or there have been irregularities in the procedure, in particular where these have prevented fair competition.

LRCS shall not be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of an ITB, even if LRCS has been advised of the possibility of damages. The publication of a procurement notice does not commit LRCS to implement the programme or project announced.

1. QUERIES ABOUT THIS ITB

For queries on this ITB, please contact the Procurement, on the following email: [Hoda.fakih@redcross.org.lb](mailto:Hoda.fakih@redcross.org.lb)

All questions regarding this ITB shall be submitted in writing to the above. On the subject line, please indicate the ITB number.

Bids shall not be sent to the above email.

All questions during the tender period, as well as the associated answers, will be shared with all invited bidders.

1. ITB DOCUMENTS

This ITB document contains the following:

1. This Invitation to Bid.

2. Addendum

3. Annex 1: LRCS Supplier Registration Form.

4. Annex 2: LRCS Bid Form.

5. Annex 3: Detailed Specifications.

6. Annex 4: Past Performance and Reference Check.

7. Annex 5: Tender and Contract Award Acknowledgement Certificate.

8. Annex 6: General Conditions of Procurement Contract.

9. Bidder Checklist.

Bidders shall observe the highest standard of ethics during the procurement and execution Of such contracts. LRCS will reject a Bid if it determines that the Bidder recommended for award, has engaged

in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing, the Contract.

Yours sincerely

# Addendum

|  |  |  |
| --- | --- | --- |
| **Bidders Instructions :** | **Item:** | **Specifications:** |
| Price | Currency | USD |
|  | Exchange rate | For evaluation purposes, we will use the following exchange rate: 1USD = LBP1,507.5  No other currencies are acceptable.  **Regarding the payment terms and as mentioned in the Tender Documents LRC is 45 days from the date of invoice and In case of payment in LBP, the value of the Lebanese Pound shall be determined according to the exchange of the US dollar issued by the Beirut Stock Exchange, on the payment's date**  **LRC will pay in Fresh USD**  VAT Amount will be paid in Cheque LBP (sayrafa rate) |
| INCOTERMS© | Terms of delivery | DDP – Beirut Delivery Duty Paid |
| Tender delivery | Delivery address | Lebanese Red Cross  Finance office- 1st Floor, Head Quarter  Spears Street,Kantari, Beirut, Lebanon |
| Goods/ services delivery period | Start period | **UPON REQUEST** |
|  | Delivery deadline | **---** |
| Marking/ labelling |  | 2023-035 |
| 0Language | Tender document language | English |
| Samples | Samples to be delivered with bids? | * **SAMPLES ARE MANDATORY TO BE SUBMITTED MAXIMUM BY 08 SEPTEMBER TO THE PROCUREMENT SECTOR LABELED AS PER THE REFERENCE NUMBER MENTIONED IN THE BELOW TABLE AND EACH LOT IN A SEPARATED BOX** * **DATASHEET ARE MANDATORY TO BE SUBMITTED PRINTED AND LABELED AS PER THE REFERENCE NUMBER MENTIONED IN THE BELOW TABLE** * **NAME OF THE COMPANY MUST NOT BE MENTIONED ON ANY SAMPLE OR DATASHEET** |
| Bid validity | Offer to be valid for | To match the validity of FWA |
| Liquidated damages | Damages per calendar day of delay | 0.5% of contract value |
|  | Maximum delay damages | 5% of contract value |
| Payment | Invoice to be raised on delivery of | Each batch/ final delivery |
|  | Payment terms | 30- 45 calendar days after the submission of all required documentation |
|  | **Tender deadline** | **Date: 18 SEPTEMBER 2023**  **Time: 4:00 PM** |
|  | Bids to be marked | “Tender reference: 2023-035 Do not open before 18 SEPTEMBER 2023 |
|  | Deadline for questions | Date: 08 September 2023  Tim0e: 4:00 PM |

**Annex 1: Supplier Registration Form (Must be signed and stamped)**

Please fill in this questionnaire in order to register. Information given in this questionnaire will be handled confidentially. Please attach all other documents requested in the questionnaire. All bidders should completely fill up this form. If found blank then the bidder's tender shall not be included in the Final Evaluation

|  |  |
| --- | --- |
| 1. **NAME OF COMPANY (Full Legal Name):** |  |
| **Address** | **Company’s Address:** |
| **Country:** |
| **Contact Person (s):** |  |
| **Tele: (Landline – Mobile)** |  |
| **Email** |  |
| **Website** |  |
| **Owner(s) Name(s):** |  |
|  |
| **VAT Number** |  |
| **Date of Registration of VAT** |  |
| 1. **ORGANISATION REGISTRATION:** | **Year Established: Under the laws of:** |
| 1. **SIZE OF BUSINESS** | **No. of Employees: No. of Branches:** |
| **No. of International Offices:** |
| **Location of Factories:** |
| **No. of Plants:** |
| **No. of Warehouses** |
| 1. **AFFILIATED/HOLDING/ SUBSIDIARY COMPANIES:** | **Name Address Nature of Affiliation** |
|  |
|  |

**Bidder must fill up the below:**

|  |  |
| --- | --- |
| **Bank Name** |  |
| **Bank Address** |  |
| **Beneficiary Name** |  |
| **Beneficiary Address** |  |
| **Account#** |  |
| **Currency** |  |
| **IBAN** |  |
| **SWIFT** |  |

## Annex 2 - Bid Form (Must be signed and stamped)

* **BID SHOULD BE SUBMITTED TYPING AND NOT HAND WRITTEN *(written by hand bids will be considered as ineligible)***
* **PLEASE, FILL UP ALL THE DETAILS REQUESTED IN THE BELOW TABLE.**
* **Awarding could be to one Bidder or more.**
* **Supplier must submit his bid on this template (signed and stamped)**
* **Please refer to the Detailed specifications mentioned in Annex 3 and annexed datasheet**

**Lot I: Medical Consumables for EMS:**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number** | **Item** | **Unit** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **Unit Price in USD, Inclusive VAT, labor, packaging ,and all other fees** | **Total Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **LEAD TIME OF DELIVERY from the date of PO for any Quantity** | **Submitted Unit of Measurement** | **submitted brand/reference** |
| 1.1 | Abdominal Bandages (Identical or similar to OLAES modular bandage) | Piece | 1,500 |  |  |  |  |  |  |
| 1.2 | Absorbent Gauze roll | Roll | 5,000 |  |  |  |  |  |  |
| 1.3 | Adult Simple Oxygen Mask | Piece | 40,000 |  |  |  |  |  |  |
| 1.4 | AED patches | Piece | 10,000 |  |  |  |  |  |  |
| 1.5 | Airway Cannula 100 mm | Piece | 5,000 |  |  |  |  |  |  |
| 1.6 | Airway Cannula 110 mm | Piece | 3,000 |  |  |  |  |  |  |
| 1.7 | Airway Cannula 40 mm | Piece | 1,000 |  |  |  |  |  |  |
| 1.8 | Airway Cannula 50 mm | Piece | 1,000 |  |  |  |  |  |  |
| 1.9 | Airway Cannula 60 mm | Piece | 1,000 |  |  |  |  |  |  |
| 1.10 | Airway Cannula 70 mm | Piece | 1,000 |  |  |  |  |  |  |
| 1.11 | Airway Cannula 80 mm | Piece | 2,500 |  |  |  |  |  |  |
| 1.12 | Airway Cannula 90 mm | Piece | 4,000 |  |  |  |  |  |  |
| 1.13 | Bed Pad / Alaise | Piece | 50,000 |  |  |  |  |  |  |
| 1.14 | Betadine 500ml | Bottle | 2,500 |  |  |  |  |  |  |
| 1.15 | Blue Cloth sheet / Thin Blanket | Piece | 1,000 |  |  |  |  |  |  |
| 1.16 | Body Bag | Piece | 1,000 |  |  |  |  |  |  |
| 1.17 | Breathing Circuit | Piece | 1,000 |  |  |  |  |  |  |
| 1.18 | Burn kit | Kit | 200 |  |  |  |  |  |  |
| 1.19 | Chest Seal | Piece | 600 |  |  |  |  |  |  |
| 1.20 | Combat Gauze | Piece | 1,000 |  |  |  |  |  |  |
| 1.21 | Compressive bandage | Piece | 75,000 |  |  |  |  |  |  |
| 1.22 | Disposable blanket | Piece | 200,000 |  |  |  |  |  |  |
| 1.23 | Disposable Thermometer 100/pack | Piece | 20,000 |  |  |  |  |  |  |
| 1.24 | Distilled Water | 5L Gallon | 50 |  |  |  |  |  |  |
| 1.25 | Duct Tape | Piece | 1,500 |  |  |  |  |  |  |
| 1.26 | Elastic roll/Bande Velpo - Small | Piece | 30,000 |  |  |  |  |  |  |
| 1.27 | Elastic roll/Bande Velpo - Large | Piece | 30,000 |  |  |  |  |  |  |
| 1.28 | Elastic roll/Bande Velpo – Medium | Piece | 30,000 |  |  |  |  |  |  |
| 1.29 | Fire Blanket | Piece | 300 |  |  |  |  |  |  |
| 1.30 | Gauze Band - Small | Pack of 12 | 2,500 |  |  |  |  |  |  |
| 1.31 | Gauze Band – Large | Pack of 12 | 5,000 |  |  |  |  |  |  |
| 1.32 | Gauze Band – Medium | Pack of 12 | 5,000 |  |  |  |  |  |  |
| 1.33 | Glucometer Needles (box of 200) | Box of 200 | 1,500 |  |  |  |  |  |  |
| 1.34 | Glucometer Strips | Box of 50 | 7,000 |  |  |  |  |  |  |
| 1.35 | Glucose Gel | Tube of 15 gm | 1,500 |  |  |  |  |  |  |
| 1.36 | heppa filter | Piece | 10,000 |  |  |  |  |  |  |
| 1.37 | High Risk Nitrile Gloves L | Box of 50 | 1,500 |  |  |  |  |  |  |
| 1.38 | High Risk Nitrile Gloves M | Box of 50 | 1,500 |  |  |  |  |  |  |
| 1.39 | High Risk Nitrile Gloves S | Box of 50 | 1,500 |  |  |  |  |  |  |
| 1.40 | High Risk Nitrile Gloves XL | Box of 50 | 1,500 |  |  |  |  |  |  |
| 1.41 | Ice Pack | Piece | 10,000 |  |  |  |  |  |  |
| 1.42 | Junctional tourniquet | Piece | 750 |  |  |  |  |  |  |
| 1.43 | Nasal Cannula Adult | Piece | 30,000 |  |  |  |  |  |  |
| 1.44 | Nasal Cannula Pediatric | Piece | 10,000 |  |  |  |  |  |  |
| 1.45 | Nitrile Gloves X-Large | Box of 100 | 20,000 |  |  |  |  |  |  |
| 1.46 | O ring for oxygen regulator | Piece | 1,500 |  |  |  |  |  |  |
| 1.47 | Obstetrics Kit | Kit | 500 |  |  |  |  |  |  |
| 1.48 | Oxygen connector(nipple) | Piece | 600 |  |  |  |  |  |  |
| 1.49 | Oxygen Mask with Reservoire - Adult | Piece | 35,000 |  |  |  |  |  |  |
| 1.50 | Oxygen Mask with Reservoire - Pediatric | Piece | 3,000 |  |  |  |  |  |  |
| 1.51 | Oxygen Tubing / Rallonge | Piece | 5,000 |  |  |  |  |  |  |
| 1.52 | Paraffin Gauze (pack of 10 or 50) | Piece | 100,000 |  |  |  |  |  |  |
| 1.53 | Pediatric Simple Oxygen Mask | Piece | 15,000 |  |  |  |  |  |  |
| 1.54 | Protective Coverall with Hood L | Piece | 1,000 |  |  |  |  |  |  |
| 1.55 | Protective Coverall with Hood M | Piece | 1,000 |  |  |  |  |  |  |
| 1.56 | Protective Coverall with Hood S | Piece | 1,000 |  |  |  |  |  |  |
| 1.57 | Protective Coverall with Hood XL | Piece | 1,000 |  |  |  |  |  |  |
| 1.58 | Protective Coverall with Hood XXL | Piece | 1,000 |  |  |  |  |  |  |
| 1.59 | Protective Coverall with Hood XXXL | Piece | 500 |  |  |  |  |  |  |
| 1.60 | Protective goggles | Piece | 1,000 |  |  |  |  |  |  |
| 1.61 | Protective overall L | Piece | 1,000 |  |  |  |  |  |  |
| 1.62 | Protective overall M | Piece | 1,000 |  |  |  |  |  |  |
| 1.63 | Protective overall S | Piece | 1,000 |  |  |  |  |  |  |
| 1.64 | Protective overall XL | Piece | 1,000 |  |  |  |  |  |  |
| 1.65 | Protective overall XXL | Piece | 1,000 |  |  |  |  |  |  |
| 1.66 | Protective overall XXXL | Piece | 1,000 |  |  |  |  |  |  |
| 1.67 | Self-Adhering Elastic Bandage | Piece | 5,000 |  |  |  |  |  |  |
| 1.68 | Set of 7 Colored Cannula with Carrying Case | Set of 7 Pieces | 150 |  |  |  |  |  |  |
| 1.69 | Sterilization Paper for Sterile Gauze | Sheet | 200,000 |  |  |  |  |  |  |
| 1.70 | Suction Bottle | Piece | 10,000 |  |  |  |  |  |  |
| 1.71 | Suction Tube 10 for automatic suction | Piece | 500 |  |  |  |  |  |  |
| 1.72 | Suction Tube 14 for automatic suction | Piece | 1,000 |  |  |  |  |  |  |
| 1.73 | Suction Tube 16 for automatic suction | Piece | 1,000 |  |  |  |  |  |  |
| 1.74 | Suction Tube 8 for automatic suction | Piece | 1,000 |  |  |  |  |  |  |
| 1.75 | Suction Tube connector | Piece | 1,500 |  |  |  |  |  |  |
| 1.76 | Suction Tube Rigid | Piece | 1,000 |  |  |  |  |  |  |
| 1.77 | Suction Tube soft | Piece | 1,000 |  |  |  |  |  |  |
| 1.78 | Surgical mask | box of 50 | 30,000 |  |  |  |  |  |  |
| 1.79 | Thermal Blanket | Piece | 2,000 |  |  |  |  |  |  |
| 1.80 | Thick Winter Blanket | Piece | 1,500 |  |  |  |  |  |  |
| 1.81 | Tongue Depressors | Box of 50 | 1,500 |  |  |  |  |  |  |
| 1.82 | Tourniquet - military grade | Piece | 400 |  |  |  |  |  |  |
| 1.83 | Triangular Bandage / Foulard Triangular (pack of 15) | Piece | 25,000 |  |  |  |  |  |  |
| 1.84 | Waste bags yellow - Large (20L) | Piece | 50,000 |  |  |  |  |  |  |
|  | **Grand Total for Lot 1** | | | | |  | | | |

**Lot 2: Medical Consumables for DRR:**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number** | **Item** | **Unit** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **Unit Price in USD, Inclusive VAT, labor, packaging ,and all other fees** | **Total Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **LEAD TIME OF DELIVERY from the date of PO for any Quantity** | **Submitted Unit of Measurement** | **submitted brand/reference** |
| 2.1 | Disinfectant 1L Hand and surface | Piece | 500 |  |  |  |  |  |  |
| 2.2 | Hand sanitizers gel 60ml | Piece | 2000 |  |  |  |  |  |  |
| 2.3 | Hand Sanitizers Spray 500ml | Piece | 2000 |  |  |  |  |  |  |
| 2.4 | Hand Sanitizers liquid 60ml | Piece | 2000 |  |  |  |  |  |  |
|  | **Grand Total for Lot 2** | | | | |  | | | |

**Lot 3: Medical Consumables for MSS:**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number** | **Item** | **Unit** | **Estimated Quantities** | **Unit Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **Unit Price in USD, Inclusive VAT, labor, packaging ,and all other fees** | **Total Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **LEAD TIME OF DELIVERY from the date of PO for any Quantity** | **Submitted Unit of Measurement** | **submitted brand/reference** |
| **Disposable Linen** | | | | | | | | | |
| 3.1 | Exam table roll paper | Roll of 100m | 9300 |  |  |  |  |  |  |
| **Dressings** |  |  |  |  |  |  |  |  |  |
| 3.2 | Compress, Gauze | Piece | 300000 |  |  |  |  |  |  |
| 3.3 | Compress, Gauze (roll) | Roll | 90000 |  |  |  |  |  |  |
| 3.4 | Sterile gauze | Piece | 480000 |  |  |  |  |  |  |
| 3.5 | Cotton rolls | Roll of 500g | 3300 |  |  |  |  |  |  |
| 3.6 | Cotton balls BAG of 50 | bag of 50 piece | 3300 |  |  |  |  |  |  |
| 3.7 | Steri-Strips | Piece | 315000 |  |  |  |  |  |  |
| 3.8 | Band aid | pack of 50 bands | 150 |  |  |  |  |  |  |
| 3.9 | Elastic Bandage (different sizes) | Piece | 37500 |  |  |  |  |  |  |
| **Injections Supplies** | | | | | | | | | |
| 3.10 | Syringes 1ml | Piece | 930000 |  |  |  |  |  |  |
| 3.11 | Syringes 3ml | Piece | 697500 |  |  |  |  |  |  |
| 3.12 | Syringes 5ml | Piece | 619500 |  |  |  |  |  |  |
| 3.13 | Syringes 10ml | Piece | 465000 |  |  |  |  |  |  |
| 3.14 | Needles | Piece | 154500 |  |  |  |  |  |  |
| 3.15 | Alcohol Swab | Piece | 1560000 |  |  |  |  |  |  |
| 3.16 | Sharp containers 1.7L | Piece | 6300 |  |  |  |  |  |  |
| 3.17 | Sharp containers 3L | Piece | 6300 |  |  |  |  |  |  |
| **Sterilization** | | | | | | | | | |
| 3.18 | Chemical Indicator | Piece | 6000 |  |  |  |  |  |  |
| 3.19 | Bowie-Dick indicator | Piece | 6000 |  |  |  |  |  |  |
| 3.20 | Sterilization tape roll | Roll | 3300 |  |  |  |  |  |  |
| 3.21 | Sterilization paper | Piece | 6600 |  |  |  |  |  |  |
| 3.22 | Sterilization pouch | Piece | 6000 |  |  |  |  |  |  |
| **Personal Protective Equipment** | | | | | | | | | |
| 3.23 | Non-surgical masks | Piece | 310500 |  |  |  |  |  |  |
| 3.24 | N 95 masks | Piece | 39000 |  |  |  |  |  |  |
| 3.25 | Non sterile gloves (S) | Piece | 780000 |  |  |  |  |  |  |
| 3.26 | Non sterile gloves (M) | Piece | 780000 |  |  |  |  |  |  |
| 3.27 | Non sterile gloves (L) | Piece | 780000 |  |  |  |  |  |  |
| 3.28 | Sterile Gloves 6.5 | Piece | 156000 |  |  |  |  |  |  |
| 3.29 | Sterile Gloves 7 | Piece | 156000 |  |  |  |  |  |  |
| 3.30 | Sterile Gloves 8 | Piece | 156000 |  |  |  |  |  |  |
| 3.31 | Disposable gowns | Piece | 9300 |  |  |  |  |  |  |
| 3.32 | Face shield | Piece | 2700 |  |  |  |  |  |  |
| 3.33 | Googles | Piece | 21000 |  |  |  |  |  |  |
| **Gynecological Disposable materials** | | | | | | | | | |
| 3.34 | Speculum single use S | Piece | 60000 |  |  |  |  |  |  |
| 3.35 | Speculum single use M | Piece | 90000 |  |  |  |  |  |  |
| 3.36 | Speculum single use L | Piece | 60000 |  |  |  |  |  |  |
| 3.37 | Microscope slides | Piece | 18000 |  |  |  |  |  |  |
| 3.38 | Pap Smear Kit | Kit | 18000 |  |  |  |  |  |  |
| 3.39 | Pregnancy Test | Piece | 15000 |  |  |  |  |  |  |
| 3.40 | Spray (for pap smear) 150ml | Piece | 1500 |  |  |  |  |  |  |
|  | **Other Disposable materials** |  |  |  |  |  |  |  |  |
| 3.41 | Tongue depressor | Piece | 645000 |  |  |  |  |  |  |
| 3.42 | Cups/bowls | Piece | 450 |  |  |  |  |  |  |
| 3.43 | EKG paper 1 | Piece | 1800 |  |  |  |  |  |  |
| 3.44 | EKG paper 2 | Piece | 1800 |  |  |  |  |  |  |
| 3.45 | EKG paper 3 | Piece | 1800 |  |  |  |  |  |  |
| 3.46 | EKG electrodes | Piece | 45000 |  |  |  |  |  |  |
| 3.47 | Ultrasound paper (Gyneco + Echo cardio) 1 | Piece | 21000 |  |  |  |  |  |  |
| 3.48 | Ultrasound paper (Gyneco + Echo cardio) 2 | Piece | 21000 |  |  |  |  |  |  |
| 3.49 | Ultrasound paper (Gyneco + Echocardio) 3 | Piece | 21000 |  |  |  |  |  |  |
| 3.50 | Urine cups | Piece | 186000 |  |  |  |  |  |  |
| 3.51 | Deep stick for urine analysis | Piece | 108000 |  |  |  |  |  |  |
| 3.52 | Hemoglobin meter strips | Piece | 3000 |  |  |  |  |  |  |
| 3.53 | HGT strips | Piece | 6000 |  |  |  |  |  |  |
| 3.54 | Ultrasound gel 250ml | Bottle | 6300 |  |  |  |  |  |  |
| **Disinfection and Environmental Services** | | | | | | | | | |
| 3.55 | Alcoholic hand rub 500ml | Bottle | 6600 |  |  |  |  |  |  |
| 3.56 | Liquid Hand Soap for clinics 500ml | Bottle | 18600 |  |  |  |  |  |  |
| 3.57 | Surface disinfectant (clinical areas) 1 L | Bottle | 1560 |  |  |  |  |  |  |
| 3.58 | Instrument cleaner 1L | Bottle | 1560 |  |  |  |  |  |  |
| 3.59 | High-level disinfectant 1L | Bottle | 1560 |  |  |  |  |  |  |
| 3.60 | Disinfectant wipes | Pack of 50 wipes | 9300 |  |  |  |  |  |  |
| 3.61 | Waste bags Yellow 7L | Piece | 930000 |  |  |  |  |  |  |
| 3.62 | Waste bags Red 7L | Piece | 930000 |  |  |  |  |  |  |
| 3.63 | Detergent plastic bottle 1.25L | Bottle | 1560 |  |  |  |  |  |  |
| **Solutions** | | | | | | | | | |
| 3.64 | Saline solution 10cc | Piece | 30000 |  |  |  |  |  |  |
| 3.65 | Saline solution 100cc | Piece | 30000 |  |  |  |  |  |  |
| 3.66 | Isopropyl alcohol 70% | Bottle | 9300 |  |  |  |  |  |  |
| 3.67 | Betadine | Bottle | 15000 |  |  |  |  |  |  |
| 3.68 | Distilled water | Gallon | 2000 |  |  |  |  |  |  |
| **Grand Total for Lot 3** | | | | | |  | | | |

**Lot 4: Medical Consumables for BTS/MSS/DRR/EMS:**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Item Number** | **Item** | **Unit** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **Unit Price in USD, Inclusive VAT, labor, packaging ,and all other fees** | **Total Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **LEAD TIME OF DELIVERY from the date of PO for any Quantity** | **Submitted Unit of Measurement** | **submitted brand/reference** |
| 4.1 | Band Aid Plaster | BOX of 100 pcs | 3150 |  |  |  |  |  |  |
| 4.2 | Syringe 5ml | pcs | 624500 |  |  |  |  |  |  |
| 4.3 | Vomiting Bag | PCS | 22000 |  |  |  |  |  |  |
| 4.4 | Liquid Concentrate for Equipment | GAL 5 L | 2035 |  |  |  |  |  |  |
| 4.5 | Liquid Concentrate for Floor/Surface- 5 L | GAL 5 L | 2235 |  |  |  |  |  |  |
| 4.6 | Rapid Disinfection Spray 1 L | BTL | 3720 |  |  |  |  |  |  |
| 4.7 | Disposable Gown with EMS Logo | PCS | 9300 |  |  |  |  |  |  |
| 4.8 | Disposable Gown without Logo | PCS | 2900 |  |  |  |  |  |  |
| 4.9 | Shoe Cover | PCS | 3000 |  |  |  |  |  |  |
| 4.10 | Examination Paper Roll | RoLL | 16300 |  |  |  |  |  |  |
| 4.11 | Disposable Face Shield | Piece | 30,000 |  |  |  |  |  |  |
| 4.12 | Betadine 120ml | Bottle | 18,000 |  |  |  |  |  |  |
| 4.13 | Hand Sanitizers | 1L Bottle | 12,000 |  |  |  |  |  |  |
| 4.14 | Hypoallergenic Adhesive Tape – Small | Piece | 347,000 |  |  |  |  |  |  |
| 4.15 | Hypoallergenic Adhesive Tape – medium | Piece | 128,500 |  |  |  |  |  |  |
| 4.16 | KN95 | Piece | 300,000 |  |  |  |  |  |  |
| 4.17 | Latex Glove Large | Box of 100 | 1,000 |  |  |  |  |  |  |
| 4.18 | Latex Glove Medium | Box of 100 | 1,000 |  |  |  |  |  |  |
| 4.19 | Latex Glove Small | Box of 100 | 1,000 |  |  |  |  |  |  |
| 4.20 | NaCl (0.9% Sodium chloride Al) | Bag of 1L | 45,030 |  |  |  |  |  |  |
| 4.21 | Nitrile Gloves Large | Piece | 411,080 |  |  |  |  |  |  |
| 4.22 | Nitrile Gloves Medium | Piece | 411,440 |  |  |  |  |  |  |
| 4.23 | Nitrile Gloves Small | Piece | 410,900 |  |  |  |  |  |  |
| 4.24 | Protective glasses | Piece | 1,000 |  |  |  |  |  |  |
| 4.25 | Sharps Container 10 Litre | Piece | 1,150 |  |  |  |  |  |  |
| 4.26 | Sharps Container 3 Litre | Piece | 1,750 |  |  |  |  |  |  |
| 4.27 | Sterile Gauze 4"x4" 10cm | Box of 100 | 12,050 |  |  |  |  |  |  |
| 4.28 | Sterile Gauze 4"x4" 5cm | Box of 100 | 3,000 |  |  |  |  |  |  |
| 4.29 | Waste bags yellow - Medium (7L) | Piece | 170,000 |  |  |  |  |  |  |
| 4.30 | N95 | Piece | 42,000 |  |  |  |  |  |  |
| 4.31 | Alcohol pads- Swabs | PCK of 100 pcs | 11450 |  |  |  |  |  |  |
| 4.32 | Hand sanitizers gel 500ml | Piece | 2500 |  |  |  |  |  |  |
|  | **Grand Total for Lot 4** | | | | |  | | | |

**Lot 5: Medical Consumables for BTS:**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **ITEM NUMBER** | **Item** | **Unit** | **Estimated Quantity** | **Unit Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **Unit Price in USD, Inclusive VAT, labor, packaging ,and all other fees** | **Total Price in USD, Exclusive VAT, but inclusive labor, packaging ,and all other fees** | **LEAD TIME OF DELIVERY from the date of PO for any Quantity** | **Submitted Unit of Measurement** | **submitted brand/reference** |
| 5.1 | Anti-A monoclonal antibody | VIL of 10 ml | 2000 |  |  |  |  |  |  |
| 5.2 | Anti-B monoclonal antibody | VIL of 10 ml | 2000 |  |  |  |  |  |  |
| 5.3 | Anti-AB monoclonal antibody | VIL of 10 ml | 2000 |  |  |  |  |  |  |
| 5.4 | Anti-D monoclonal antibody | VIL of 10 ml | 2000 |  |  |  |  |  |  |
| **Closed system to Architect Machines Available in BTS Centers** | | | | | | | | | |
| 5.5 | Anti- HCV Reagent | KIT of 100 tests | 610 |  |  |  |  |  |  |
| 5.6 | Anti- HCV Calibrator | KIT | 18 |  |  |  |  |  |  |
| 5.7 | Anti- HCV Control | KIT | 72 |  |  |  |  |  |  |
| 5.8 | HBsAg Qual II Reagent | KIT of 100 tests | 610 |  |  |  |  |  |  |
| 5.9 | HBsAg Qual II Calibrator | KIT | 18 |  |  |  |  |  |  |
| 5.10 | HBsAg Qual II Control | KIT | 72 |  |  |  |  |  |  |
| 5.11 | HIV Ag/Ab Combo Reagent | KIT of 100 tests | 650 |  |  |  |  |  |  |
| 5.12 | HIV Ag/Ab Combo Calibrator | KIT | 18 |  |  |  |  |  |  |
| 5.13 | HIV Ag/Ab Combo Control | KIT | 72 |  |  |  |  |  |  |
| 5.14 | Anti- HBC II Reagent | KIT of 100 tests | 610 |  |  |  |  |  |  |
| 5.15 | Anti- HBC II Calibrator | KIT | 18 |  |  |  |  |  |  |
| 5.16 | Anti- HBC II Control | KIT | 72 |  |  |  |  |  |  |
| 5.17 | Syphilis TP Reagent | KIT of 100 tests | 610 |  |  |  |  |  |  |
| 5.18 | Syphilis TP Calibrator | KIT | 18 |  |  |  |  |  |  |
| 5.19 | Syphilis TP Control | KIT | 72 |  |  |  |  |  |  |
| 5.20 | Probe Conditioning Solution | BTL | 45 |  |  |  |  |  |  |
| 5.21 | Trigger | BOX | 540 |  |  |  |  |  |  |
| 5.22 | Wash Buffer | BOX | 540 |  |  |  |  |  |  |
| 5.23 | Pre-Trigger | BOX | 540 |  |  |  |  |  |  |
| 5.24 | Reaction Vessels | PCK | 360 |  |  |  |  |  |  |
| 5.25 | Septum | PCK | 30 |  |  |  |  |  |  |
| 5.26 | Sample Cups | BOX | 20 |  |  |  |  |  |  |
| **closed System with Sysmex machine** | | | | | | | | | |
| 5.27 | Eight Check 3WP N Blood Cont | TBE | 15 |  |  |  |  |  |  |
| 5.28 | Cell pack Diluent | BOX | 12 |  |  |  |  |  |  |
| 5.29 | Stromatol Yzer-WH | BOX | 12 |  |  |  |  |  |  |
| 5.30 | Cell clean Alkaline Detergent | BTL of 50 ml | 12 |  |  |  |  |  |  |
| **closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge)** | | | | | | | | | |
| 5.31 | ID-DIACELL A1,B cells | KIT | 2160 |  |  |  |  |  |  |
| 5.32 | ID-Internal QC-Immunology | KIT | 216 |  |  |  |  |  |  |
| 5.33 | ID-Card Diaclon ABO/D+Reverse Grouping | CRD | 240500 |  |  |  |  |  |  |
| 5.34 | ID-Card Diaclon Rh-Subgroups + Kell | CRD | 72000 |  |  |  |  |  |  |
| 5.35 | ID-Card Liss Coombs Anti-IgG | CRD | 40200 |  |  |  |  |  |  |
| 5.36 | ID-DIACELL POOL | VIL of 10 ml | 972 |  |  |  |  |  |  |
| 5.37 | Reagent red cells for antibody identification ( 11 cells)- gel technique - Internal Quality Control 5\*4 ml red cells & 3\*3 ml sera | KIT | 72 |  |  |  |  |  |  |
| 5.38 | ID Diluent 2 - Gel technique | BTL of 500 ML | 36 |  |  |  |  |  |  |
| 5.39 | Diacell I, II, III | BTL | 36 |  |  |  |  |  |  |
| 5.40 | ID Diluent 1 - Gel technique | BTL | 6 |  |  |  |  |  |  |
| 5.41 | Anti A1 Lection - Gel Technique | VIL | 72 |  |  |  |  |  |  |
| 5.42 | ID Card Coombs Anti IgG Anti Rabbit | CRD | 72200 |  |  |  |  |  |  |
| 5.43 | ID Diaclon Anti D - Gel Technique | VIL | 720 |  |  |  |  |  |  |
| 5.44 | ID Card Antigen Profile I | CRD | 6 |  |  |  |  |  |  |
| 5.45 | ID Card Antigen Profile II | CRD | 6 |  |  |  |  |  |  |
| 5.46 | ID Card Antigen Profile III & Anti Sera for Profile III | CRD | 6 |  |  |  |  |  |  |
| 5.47 | Anti Sera K | CRD | 3 |  |  |  |  |  |  |
| 5.48 | Anti Sera C | VIL | 3 |  |  |  |  |  |  |
| 5.49 | Anti Sera E | VIL | 3 |  |  |  |  |  |  |
| 5.50 | Anti Sera c | VIL | 3 |  |  |  |  |  |  |
| 5.51 | Anti Sera e | VIL | 3 |  |  |  |  |  |  |
| 5.52 | Anti Sera S | VIL | 3 |  |  |  |  |  |  |
| 5.53 | Anto Sera s | VIL | 3 |  |  |  |  |  |  |
| 5.54 | Anti-Fyₐ | VIL | 3 |  |  |  |  |  |  |
| 5.55 | Anti-Fyꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.56 | Anti-Kpₐ | VIL | 3 |  |  |  |  |  |  |
| 5.57 | Anti-Kpꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.58 | Anti-Jka | VIL | 3 |  |  |  |  |  |  |
| 5.59 | Anti-Jkꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.60 | Anti-Luₐ | VIL | 3 |  |  |  |  |  |  |
| 5.61 | Anti-Luꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.62 | DiaClon Anti-M | VIL | 3 |  |  |  |  |  |  |
| 5.63 | DiaClon Anti-N | VIL | 3 |  |  |  |  |  |  |
| 5.64 | DiaClon Anti-P1 | VIL | 3 |  |  |  |  |  |  |
| 5.65 | DiaClon Anti-Leₐ | VIL | 3 |  |  |  |  |  |  |
| 5.66 | DiaClon Anti-Leꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.67 | DiaClon Anti-Jkₐ | VIL | 3 |  |  |  |  |  |  |
| 5.68 | DiaClon Anti-Jkꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.69 | Anti-Kpₐ | VIL | 3 |  |  |  |  |  |  |
| 5.70 | Anti-Kpꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.71 | Anti-Luₐ | VIL | 3 |  |  |  |  |  |  |
| 5.72 | Anti-Luꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.73 | ID-Card S | VIL | 3 |  |  |  |  |  |  |
| 5.74 | ID-Card s | VIL | 3 |  |  |  |  |  |  |
| 5.75 | ID-Card Fyₐ | VIL | 3 |  |  |  |  |  |  |
| 5.76 | ID-Card Fyꙺ | VIL | 3 |  |  |  |  |  |  |
| 5.77 | DiaClon Coombs-Serum | VIL | 3 |  |  |  |  |  |  |
| 5.78 | Wash A Solution IH | Btle of 100 ml | 7200 |  |  |  |  |  |  |
| 5.79 | ABD Confimrtaion Card for Patients | CRD | 120250 |  |  |  |  |  |  |
| 5.80 | ID Diluent 2 Racks | BOX | 60 |  |  |  |  |  |  |
| 5.81 | IH QC 1 | KIT | 72 |  |  |  |  |  |  |
| 5.82 | IH QC 2 | KIT | 36 |  |  |  |  |  |  |
| 5.83 | IH QC 3 | KIT | 36 |  |  |  |  |  |  |
| 5.84 | IH QC 4 | KIT | 36 |  |  |  |  |  |  |
| 5.85 | IH QC 5 | KIT | 36 |  |  |  |  |  |  |
| 5.86 | IH QC 6 | KIT | 72 |  |  |  |  |  |  |
| 5.87 | | | | | | | | | |
| **other consumables** | Plastic Test Tube | PCK of 500 pcs | 1440 |  |  |  |  |  |  |
| 5.88 | Parafilms | RLL | 10 |  |  |  |  |  |  |
| 5.89 | Povidone Iodine -Betadine Swabs | PCK of 100 pcs | 1850 |  |  |  |  |  |  |
| 5.90 | Pasteur Pipette | PCK of 500 pcs | 1110 |  |  |  |  |  |  |
| 5.91 | Lancets for Blood Confirmation | PCK of 100 pcs | 200000 |  |  |  |  |  |  |
| 5.92 | Yellow Tips 100-1000ul | PCK of 500 pcs | 20 |  |  |  |  |  |  |
| 5.93 | Blue Tips 100-1000ul | PCK of 500 pcs | 20 |  |  |  |  |  |  |
| 5.94 | White Tips 100-1000ul | PCK of 500 pcs | 80 |  |  |  |  |  |  |
| 5.95 | Wooden Applicator | BOX of 1000 pcs | 1000 |  |  |  |  |  |  |
| 5.96 | Consumables for Digital Thermometer | BOX of 25 pcs | 7400 |  |  |  |  |  |  |
| 5.97 | Alcohol de Menthe (50 ml) | BOX | 550 |  |  |  |  |  |  |
| 5.98 | Tourniquet | PCS | 500 |  |  |  |  |  |  |
| 5.99 | Tubes Eppendorf 1.5 ml | PCK of 500 pcs | 100 |  |  |  |  |  |  |
| 5.100 | Cover for plastic tubes 5 cc pack of 500 | PCK of 500 pcs | 400 |  |  |  |  |  |  |
| 5.111 | Tube Rack for Tubes Eppendorf | PCS | 20 |  |  |  |  |  |  |
| 5.112 | Waste Bags yellow L | PCS | 18000 |  |  |  |  |  |  |
| 5.113 | Cotton Swab | PCK of 20 or 50 pcs | 600 |  |  |  |  |  |  |
| 5.114 | Safety Glasses | PCS | 30 |  |  |  |  |  |  |
| 5.115 | Alcohol Spray btle of 500 ml | BTL | 500 |  |  |  |  |  |  |
| 5.116 | Hand Gel for sensor machines | PCK | 200 |  |  |  |  |  |  |
| 5.117 | Disinfecting Spray | BTL of 500 ML | 500 |  |  |  |  |  |  |
| 5.118 | Ice Pack | PCS | 50 |  |  |  |  |  |  |
| 5.119 | Tube Racks- Sponge | PCS | 60 |  |  |  |  |  |  |
| 5.'120 | Waste Basket- Yellow- 35 L | PCS | 20 |  |  |  |  |  |  |
| 5.121 | CHART RECORDER THERMO | PCS | 50 |  |  |  |  |  |  |
| 5.122 | Microcide Solution | BTL | 25 |  |  |  |  |  |  |
| 5.123 | NAOH Solution | GAL | 30 |  |  |  |  |  |  |
| 5.124 | Microscope Cover Glass | PCK | 10 |  |  |  |  |  |  |
|  | **Grand Total for Lot 5** | | | | |  | | | |

|  |  |  |
| --- | --- | --- |
| **Lot Number** | **Total Price Excluding VAT** | **Total Price Including VAT** |
| **Lot 1** |  |  |
| **Lot 2** |  |  |
| **Lot 3** |  |  |
| **Lot 4** |  |  |
| **Lot 5** |  |  |
| **Total Price for Whole Tender** |  |  |

## Annex 3- Detailed Specifications and Technical Requirements

|  |  |  |
| --- | --- | --- |
| ITEM NUMBER | **ITEM** | **DETAILED SPECIFICATIONS FOR LOT 1** |
| 1.1 | Abdominal Bandages (Identical or similar to OLAES modular bandage)  ***CE OR FDA CERTIFIED*** | For haemorrhage control for abdominal and large extremity wounds in prehospital emergency care Details: Sterile, oversized 12” x 12” non-stick pad suitable for applying immediate pressure Easy-open white tear notches for quick access Intermittent hook and loop to prevent pressure dressing from unrolling during application Vacuum sealed to minimize cubic space Bandage: L 70” x W 6” Packaged: L 5 ¼” x W 6” x D 1 ½” For reference, bandages similar to the one found on this link will be accepted: http://www.tytekmedical.com/trauma-bandage |
| 1.2 | Absorbent Gauze roll  ***CE OR FDA CERTIFIED*** | 100% cotton  Absorbent and soft mesh 19x15 Size: 91.44cm (W)x91m (L) or 91.44cm x 100m 17 or more threads Non-Sterile 4ply - Mesh 19x15  1.5 KG/Roll |
| 1.3 | Adult Simple Oxygen Mask  ***CE OR FDA CERTIFIED*** | Constructed of transparent medical grade PVC 100% latex free Elastic band and aluminium adjustable nose clip assures comfortable fit Provide medium oxygen concentrations of 40-60%, with between 6-12 litres per minute flow of oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Adult standard size (more than 14cm length) |
| 1.4 | AED patches  ***CE OR FDA CERTIFIED*** | Adult/Child Electrode Pads Suitable for age 8 years (25kg) and above. Compatible with Physio Control-Stryker, Lifepak 12, Lifepak 15, Lifepak 1000 Defibrillator Conductor Surface area 80 cm2 ±10% Shelf Life at least 18 months at the time of delivery Approx. lead wire length 100 cm ± 10% Certificate: (ISO 10993-1) - ( IEC/EN 60601-1) - (IEC/EN 60601-2-4) CE certificate Origin: Europe, USA, Canada, China Radio Transparent (Optional) Medical foam thickness minimum 1mm CAble length minimum 100cm Number of defibrillation shocks more than 20 @360jouls Duration of pacing (hours) at 100mA, 80 bpm more than 3 hours Operating temperature between 0c and +50c |
| 1.5 | Airway Cannula 100 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 100mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.6 | Airway Cannula 110 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 110mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.7 | Airway Cannula 40 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 40mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.8 | Airway Cannula 50 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 50mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.9 | Airway Cannula 60 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 60mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.10 | Airway Cannula 70 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 70mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.11 | Airway Cannula 80 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 80mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.12 | Airway Cannula 90 mm  ***CE OR FDA CERTIFIED*** | Constructed of medical grade PVC Approximate length 90mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.13 | Bed Pad / Alaise | Single use draw sheet Absorption capacity about 1.5 liters. Size: 60cm(W)x90cm(L) |
| 1.14 | Betadine 500ml | Povidone-iodine, 10% Antiseptic Non-Sterile Solution 500 ml. btl. |
| 1.15 | Blue Cloth sheet / Thin Blanket | Blue cloth sheet Custom made to cover patients length : 220 cm width : 100 cm  with the logo of the red cross on the top |
| 1.16 | Body Bag | Adult size body bag Size: 91.44cm(W)x228.6cm(L)x0.12cm(T) At least 6 x carrying handles 3 x toe tags Leak resistant Individually bagged in clear poly bags Envelope style easy zipper opening Color: Black Comply with OSHA regulation 3130 |
| 1.17 | Breathing Circuit  ***CE OR FDA CERTIFIED*** | Pneumatic Oxygen powered ventilator 2 ventilation modes: mandatory VCV and manual Suitable for adults and children over 10kg Airmix 100% or 50% Oxygen 100% oxygen only version available PEEP-Variable or Fixed Eliminates patient aerosol of contaminated exhaled gas No electrical power source required CE marked and ISO 13485 manufacturer Intubation/LMA device compatible Simple airway pressure indicator ZERO drive gas - This is the most efficient ventilation possible contains:equipment protection filter, HME filter, heppa filter,air tube, PEEP valve, mask) |
| 1.18 | Burn kit  ***CE OR FDA CERTIFIED*** | Burn dressings and fire blankets for large or minor burns gel: 96%water slow to evaporate, remain moist , non stick  also contains medical tea tree oil(natural antibacterial) contains: (1) 36" x 30" burn wrap, (1) 12" x 16" facial burn dressing, (1) 8" x 18" burn dressing, (1) 4" x 16" burn dressing, (3) 4" x 4" burn dressing and (4) 3" roll gauze, (1) pair of scissors, (1) instruction card and (1) soft-sided carrying case |
| 1.19 | Chest Seal  ***CE OR FDA CERTIFIED*** | Latex free Transparent Dual tabs to facilitate placement and removal of dressing Vacuum packed tear and peel pouch Works under extreme heat and cold Dressing and packaging are night vision optimized Elastic for conformity of curved body surfaces Oval shape with thin edge layer that resists lifting or peeling Bio-compatible One-way valve provides for low resistance airflow out of chest cavity while preventing ingress Valve is designed to prevent blockage internally Valve is designed to prevent blockage caused by external items such as a blanket Fast, easy and intuitive to apply. |
| 1.20 | Combat Gauze | Non-woven chitosan gauze, spun directly from chitosan derived from crustaceans or snow crab shells. High-Performance Hemostatic, designed to stop lethal bleeding rapidly.  Works independently from the body's normal clotting processes.  Tear anywhere packaging Z-fold 4in x 4in |
| 1.21 | Compressive bandage | Viscose non-woven non adhesive bandage High absorbency of 2,000 g/m²  Bandage 4 m x 8 cm  Compress 8 x 10 cm Sterile Individually wrapped |
| 1.22 | Disposable blanket | Non woven White 120cmx180cm |
| 1.23 | Disposable Thermometer 100/pack  ***CE OR FDA CERTIFIED*** | Disposable, Used on forehead, Individually wrapped, Estimated result time <30 Seconds. - polyester support 1/10 mm - size cm 9,6 x 2 - 5 temperatures (N-37-38-39--40) - 2 standard colours printing ( N-37 pantone ref. 298 Blue / check 38-39-40 pantone ref. 185 Red) - CE mark printed on the backside - horizontal - not adhesive |
| 1.24 | Distilled Water | Distilled Water |
| 1.25 | Duct Tape | waterproof polyethylene film over cloth scrim backing with a rubber adhesive length 54.8m 96mm Silver or black |
| 1.26 | Elastic roll/Bande Velpo - Small | The weft threads made of cotton The warp threads of false-twisted polyamide and polyurethane High extensible – medium stretch compression bandages With durable elasticity High recoiling force Color: Skin 5.08cm x 4.5m |
| 1.27 | Elastic roll/Bande Velpo - Large | The weft threads made of cotton The warp threads of false-twisted polyamide and polyurethane High extensible – medium stretch compression bandages With durable elasticity High recoiling force Color: Skin 10.16cm x 4.5m |
| 1.28 | Elastic roll/Bande Velpo – Medium | The weft threads made of cotton The warp threads of false-twisted polyamide and polyurethane High extensible – medium stretch compression bandages With durable elasticity High recoiling force Color: Skin 7.62cm x 4.5m |
| 1.29 | Fire Blanket | Woven fibreglass fire resistant fabric with PVC sleeve can effectively put out small fire *Specific features:* Low storage space required The straps on the lower side allow a quick extraction from the case The eyelet on the top allows to hang the device The instructions with symbols on the package allow a simple and intuitive use. *Technical data* Dimensions opened 1,2 x 1,2 m Dimensions packaged 280x150x35 mm Weight 750 ± 20g Operating temperature 550 °C Chemical composition (%) SiO2: 54.1±0.5 Al2O3:14.6±0.4 CaO: 16.6±0.3 MgO:4.6±0.3 B2O3: 8.8±0.5 R2O< 0.8 Fe2O3<0.57 Case material Plastic Single use device with soft holder |
| 1.30 | Gauze Band - Small | Meshe, mixed fibres, slightly elastic White cotton 100% yarn 5.08cm x 4m |
| 1.31 | Gauze Band – Large | Meshe, mixed fibres, slightly elastic White cotton 100% yarn 10.16cmx4m |
| 1.32 | Gauze Band – Medium | Meshe, mixed fibres, slightly elastic White cotton 100% yarn 7.62cmx4m |
| 1.33 | Glucometer Needles (box of 200)  ***CE OR FDA CERTIFIED*** | Sterile, single use lancing devices  Number of depth settings: 1 Protrusion depth: 2.0 mm Needle Diameter: 0.63 mm (23 G) Special Needle Cut: 3 facets, similar to Softclix Sterile: Gamma radiation Automatic retraction of the needle Weight: Max 4 g Lancing time into air: Max. 3 thousandths of a second Material: All comply with relevant ISO standards Needle: Stainless steel Coating of needle: Silicone Dow Corning Medical Fluid Trigger button, sterility cap, casing: Polypropylene Springs: Polypropylene |
| 1.34 | Glucometer Strips  ***CE OR FDA CERTIFIED*** | Provide accurate results in just 5 seconds Require a very small blood sample - 1 μL compatible with Gluco machines Onetouche plus |
| 1.35 | Glucose Gel  ***CE OR FDA CERTIFIED*** | Easy to swallow Fast acting gel for oral use Without chewing Single dose pouch 15g per pouch |
| 1.36 | heppa filter  ***CE OR FDA CERTIFIED*** | Captures 99.97% of airborne particles with a size of 3 microns  Fit on most standard size resuscitation masks or bag valve masks |
| 1.37 | High Risk Nitrile Gloves L  ***CE OR FDA CERTIFIED*** | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers |
| 1.38 | High Risk Nitrile Gloves M  ***CE OR FDA CERTIFIED*** | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers |
| 1.39 | High Risk Nitrile Gloves S  ***CE OR FDA CERTIFIED*** | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers |
| 1.40 | High Risk Nitrile Gloves XL  ***CE OR FDA CERTIFIED*** | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers |
| 1.41 | Ice Pack  ***CE OR FDA CERTIFIED*** | Double wall plastic bag that measures 15cm(W)x15cm(L) Comprised of sodium nitrate and water Remain cold for a minimum of 30 minutes at 2oC single use |
| 1.42 | Junctional tourniquet  ***CE OR FDA CERTIFIED*** | Radiolucent material stainlees steel springs for the buckle composed of: autostop buckle(audible "click"), precision strap, control pump, target compression device(inflates 3.2inches, TCD extender,  Can be applied in under 25 seconds, controlling bleeding and immobilizing pelvic fractures. Xray and CT scan safe packed in durable pouch |
| 1.43 | Nasal Cannula Adult  ***CE OR FDA CERTIFIED*** | Constructed of transparent medical grade PVC 2 prongs fixed on an adjustable harness or support, and connected to 2 tubes(R&L) and an O2 supply tube. Provide low oxygen concentrations of 24-40%, with between 2-4 litres per minute flow of oxygen Sterile by EO, single use(It can be non-sterile, but medically clean) Disposable and individually wrapped Adult standard size |
| 1.44 | Nasal Cannula Pediatric  ***CE OR FDA CERTIFIED*** | Constructed of transparent medical grade PVC 2 prongs fixed on an adjustable harness or support, and connected to 2 tubes(R&L) and an O2 supply tube. Provide low oxygen concentrations of 24-40%, with between 2-4 litres per minute flow of oxygen Sterile by EO, single use(It can be non-sterile, but medically clean) Disposable and individually wrapped Pediatric standard size |
| 1.45 | Nitrile Gloves X-Large  ***CE OR FDA CERTIFIED*** | Hypoallergenic | Premium quality | Resist Fuel & Solvant | Powder free. NFPA certified | Medical grade (not industrial) | Superior strength with better puncture resistance. Single use / Non-sterile | Extended cuffs | Thickness 11mm | Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 | EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 |
| 1.46 | O ring for oxygen regulator  ***CE OR FDA CERTIFIED*** | Reusable O ring for oxygen regulator |
| 1.47 | Obstetrics Kit  ***CE OR FDA CERTIFIED*** | Kit with carrying bag for out of hospital birth 1 under bottock with pouch  2 Under pad 4 Sterile gloves  4 Sterile disposable sheets (1 m X 1 m) 4 Sterile gauze pads 10 Sterile gauze 2 Sterile disposable gown 2 Sterile umbilical clamps 2 Trash bag (pink) 1 Sterile disposable bulb syringe  1 Sterile blanket 1 Isothermic blanket 2 Sterile clamp 1 Sterile scissors |
| 1.48 | Oxygen connector(nipple)  ***CE OR FDA CERTIFIED*** | Nipple and Nut Hose Adaptor For Use With Standard D.I.S.S. Threaded Oxygen Outlet HCPCS A4221 Green or white Threaded Barbed Hose Adaptor UNSPSC Code 42272214 Diameter 14 mm Height 40 mm to 50 mm |
| 1.49 | Oxygen Mask with Reservoire – Adult  ***CE OR FDA CERTIFIED*** | Constructed of transparent medical grade PVC 100% latex free Include oxygen tubing & Reservoir(750cc) Elastic band and aluminium adjustable nose clip assures comfortable fit Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Adult standard size |
| 1.50 | Oxygen Mask with Reservoire - Pediatric  ***CE OR FDA CERTIFIED*** | Constructed of transparent medical grade PVC 100% latex free Include oxygen tubing & Reservoir(750cc) Elastic band and aluminium adjustable nose clip assures comfortable fit Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Pediatric standard size |
| 1.51 | Oxygen Tubing / Rallonge  ***CE OR FDA CERTIFIED*** | 7 Feet tube constructed of crush resistant, kink-free plastic, disposable, outside diameter of tube is 5mm. Vinyl tipped to facilitate connection with oxygen delivery supply and delivery device adult standard size. Able to ensure unimpeded oxygen flow to the patient. |
| 1.52 | Paraffin Gauze (pack of 10 or 50) | Elastic-netting material with large mesh, impregnated with soft paraffin based material Absorbent gauze, 100% cotton Disposable Sterile 10cmx10cm |
| 1.53 | Pediatric Simple Oxygen Mask  ***CE OR FDA CERTIFIED*** | Constructed of transparent medical grade PVC 100% latex free Elastic band and aluminium adjustable nose clip assures comfortable fit Provide medium oxygen concentrations of 40-60%, with between 6-12 litres per minute flow of oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Kids standard size 145mm x 95mm |
| 1.54 | Protective Coverall with Hood L | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted  Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 1.55 | Protective Coverall with Hood M | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted  Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 1.56 | Protective Coverall with Hood S | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted  Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 1.57 | Protective Coverall with Hood XL | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted  Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 1.58 | Protective Coverall with Hood XXL | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted  Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 1.59 | Protective Coverall with Hood XXXL | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted  Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 1.60 | Protective goggles | Clear Plastic , Fog resistant Elastic head strap Side and top protection shields  Against liquid slash |
| 1.61 | Protective overall L | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place  Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest |
| 1.62 | Protective overall M | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place  Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest |
| 1.63 | Protective overall S | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place  Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest |
| 1.64 | Protective overall XL | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place  Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest |
| 1.65 | Protective overall XXL | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place  Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest |
| 1.66 | Protective overall XXXL | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place  Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall  Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest |
| 1.67 | Self-Adhering Elastic Bandage | Provides support and compression. Will not loosen or slip. Thin, lightweight, breathable material. Supports, secures and protects sprains, strains, splints and compresses. Secures dressings, catheters and cold or heat therapy products. Helps protect sensitive skin. Can be cut to desired length. Dimensions: 7.5 CM |
| 1.68 | Set of 7 Colored Cannula with Carrying Case | 7 cannulas: 50mm,60mm,70mm,80mm,90mm,100mm,110mm *Each cannula in this set should be:* Constructed of medical grade PVC Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag |
| 1.69 | Sterilization Paper for Sterile Gauze | Cellulose fiber Paper weight: 60gr/m2 Porosity 50µ maximum. Water repellence, test time: minimum 20 seconds. (should it be like that even if most of our sterilizers are heat not steam?) Tensile strength and drape ability. Color: white, green or blue Size sheet: 90 x 90cm. |
| 1.70 | Suction Bottle | Plastic Canister 300ml Suction container compatible with the Ferno (brand) Manual Aspirator B-Vac (model) |
| 1.71 | Suction Tube 10 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 10 |
| 1.72 | Suction Tube 14 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 14 |
| 1.73 | Suction Tube 16 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 16 |
| 1.74 | Suction Tube 8 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 8 |
| 1.75 | Suction Tube connector | Plastic Clear |
| 1.76 | Suction Tube Rigid | Plastic catether wide bore 13mm Compatible with ferno manual suction unit |
| 1.77 | Suction Tube soft | Plastic catether wide bore 6mm Compatible with ferno manual suction unit |
| 1.78 | Surgical mask  ***CE OR FDA CERTIFIED*** | 3 ply : outer layer: hydrophobic non woven ,middle layer: efficient meltblown filter, inner layer: soft absorbent skin friendly non woven 2 elastic Bands for the ears metalic strip adjustable for the nose breathableWater proof and resistant Anti Bacterial Certificate: FDA & CE |
| 1.79 | Thermal Blanket  ***CE OR FDA CERTIFIED*** | Heat reflective metalised low-density polyethylene(foil) Reusable and tear-resistant material Highly visible and radar reflective Windproof and waterproof Sized to fit 1 or 2 people1.5mx2.1m 2 colors |
| 1.80 | Thick Winter Blanket | 160 cm x 220 cm Winter Blankets |
| 1.81 | Tongue Depressors | Wood Flat, thin Smoothed and rounded at both ends Single use Non-sterile Length: max 155mm |
| 1.82 | Tourniquet - military grade  ***CE OR FDA CERTIFIED*** | auto-lock technology activates locking prongs Durable nylon construction for maximum strength and flexibility Able to bend on smaller extremities without breaking Includes : Time band, precision tab,precision strap, buckle, c hooks, metal windlass rod Extremely fine graduation |
| 1.83 | Triangular Bandage / Foulard Triangular (pack of 15) | Wooven triangular shape Made of bleached white calico cotton (or similar cloths) Disposable Overlocked to reduce fraying Sufficient strength to withstand pressure exerted by a resting arm. Individually wrapped  Color : white  90 cm \* 90 cm \* 130 Cm |
| 1.84 | Waste bags yellow - Large (20L) | waste bags ,yellow color ,25\*35 inch ,logo of clinical waste on the bag   Marked biohazard/ clinical waste |

|  |  |  |  |
| --- | --- | --- | --- |
| Item Number | Item | Unit | **DETAILED SPECIFICATIONS FOR LOT 2** |
| 2.1 | Disinfectant 1L Hand and surface | Piece | Active Ingredients: Ethanol (ò 60%) and a patented molecule based on Alkyl Dimethyl Benzyl Ammonium Chloride that provides long-lasting protection against 99.99% of germs instantly. Inert Ingredients: Moisturizer, Aqua, Fragrance. |
| 2.2 | Hand sanitizers gel 60ml | Piece | Hydro Alcoholic Solution : 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes) |
| 2.3 | Hand Sanitizers Spray 500ml | Piece | Hydro Alcoholic Solution : 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes) |
| 2.4 | Hand Sanitizers liquid 60ml | Piece | Hydro Alcoholic Solution : 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes) |

|  |  |  |  |
| --- | --- | --- | --- |
| ITEM NUMBER | **ITEM** | **UOM** | **DETAILED SPECIFICATIONS FOR LOT 3** |
| **Disposable Linen** | | | |
| 3.1 | Exam table roll paper | Roll of 100m | Absorbent protective barrier  Disposable bed sheet, non-woven fabric, waterproof, precut 50 cm, Length 100 M |
| **Dressings** |  |  |  |
| 3.2 | Compress, Gauze | Piece | Surgical folding: no loose threads appear after folding 10\*10. |
| 3.3 | Compress, Gauze (roll) | Roll | Pure 100% cotton yarn fabric  Absorbency =3-5s, 91cmx5m, Mesh Size:12\*8 . 4ply. Non sterile |
| 3.4 | Sterile gauze | Piece | Bleached, purified textile, plain weave. Absorbent gauze, 100% cotton. Woven. Number of plies: 8-12. Surgical folding. sterile peel pack, single-use. comply with Medical Device Directive 93/42 EEC or equivalent. sizes:10x10cm |
| 3.5 | Cotton rolls | Roll of 500g | 500 g., roll, non-sterile, 100% cotton, surgical grade, purified, bleached, and carded. Water absorbent. |
| 3.6 | Cotton balls BAG of 50 | bag of 50 piece | 100% medical-grade cotton, non sterile BAG OF 50 |
| 3.7 | Steri-Strips | Piece | Reinforced Skin Closure Strips, sterile, hypoallergenic. No latex |
| 3.8 | Band aid | pack of 50 bands | Flexible, waterproof, sterile. |
| 3.9 | Elastic Bandage (different sizes) | Piece | Individually wraped 4m\*6 cm, 4m\*8 cm |
| **Injections Supplies** | | | |
| 3.10 | Syringes 1ml  ***CE OR FDA CERTIFIED*** | Box of 100 syringes | Syringe capacity: 1ml. Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. |
| 3.11 | Syringes 3ml  ***CE OR FDA CERTIFIED*** | Box of 100 syringes | Syringe capacity: 3ml. Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. |
| 3.12 | Syringes 5ml  ***CE OR FDA CERTIFIED*** | Box of 100 syringes | Syringe capacity: 5ml. Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. |
| 3.13 | Syringes 10ml  ***CE OR FDA CERTIFIED*** | Box of 100 syringes | Syringe capacity: 10 ml. Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. |
| 3.14 | Needles | Box of 100 needles | Luer type fitting and complies with ISO standard |
| 3.15 | Alcohol Swab | Box of 100 swabs | Isopropyl alcohol 70%, Paper aluminium bag. Dimensions: approx. 6 x 3 cm, Individually peel-packed, Single use |
| 3.16 | Sharp containers 1.7L | Piece | ISO 23907-1:2019, including needle strip of devices to remove needles from syringes. With the possibility of re-openable closure and non-re-openable after final closure (capable of being sealed). Marked with a horizontal line indicating maximum filling a level no greater than 85 % of the total capacity of the container. Yellow with biohazard symbol. Material: Polypropylene Sizes: according to user need suggested 1.7 L |
| 3.17 | Sharp containers 3L | Piece | ISO 23907-1:2019, including needle strip of devices to remove needles from syringes. With the possibility of re-openable closure and non-re-openable after final closure (capable of being sealed). Marked with a horizontal line indicating maximum filling a level no greater than 85 % of the total capacity of the container. Yellow with biohazard symbol. Material: Polypropylene Sizes: according to user need suggested 3 L |
| **Sterilization** | | | |
| 3.18 | Chemical Indicator  ***CE OR FDA CERTIFIED*** | Piece | Chemical indicators test stripes for vacuum-steam 121/134°C) ISO 11140 - 1: 2005: Class 5 Integrating |
| 3.19 | Bowie-Dick indicator  ***CE OR FDA CERTIFIED*** | Piece | Bowie-Dick tests lead-free and no toxic heavy metals, conforms to EN ISO 11140-4 |
| 3.20 | Sterilization tape roll  ***CE OR FDA CERTIFIED*** | Roll | Autoclave tape. EN ISO 11140-1:2005.  18mm x 55m. Thickness 0.15mm. Adhesion to steel 8.3N/25mm. Color: natural with printed green indicator lines. Indicator: lead free ink. Backing: saturated crepe paper |
| 3.21 | Sterilization paper  ***CE OR FDA CERTIFIED*** | Piece | For steam sterilization. Crepe paper sheets Size to be determined by the user (90\*90 cm-75\*75 cm suggested size) EN 868-1-2 standard. CE, FDA approved |
| 3.22 | Sterilization pouch  ***CE OR FDA CERTIFIED*** | Piece | Tyvec/paper steam sterilization pouch Self seal Size to be determined by the user (135mm x 255mm Suggested size) Minimized printed area in and between the sealed layer of paper and film to prevent any instrument contamination. Thumb notch to assure easy opening of pouch EN 868-5 ISO 11607-1 CE, FDA approved |
|  | **Personal Protective Equipment** |  |  |
| 3.23 | Non surgical masks | Piece | outer layer: polypropylene non-woven fabric-like, middle layer: filter and outer layer: polypropylene non-woven, nose bar, fiber glass free, hypo-allergic. Ear loop. Bacterial filtering efficiency: equal to or greater than 98%. Complies with EN 14683:2019 |
| 3.24 | N 95 masks  ***CE OR FDA CERTIFIED*** | Piece | Material: non-woven filter layer Filtration level: > 95 % for particles from 0.1 to 0.3 micron  Fluid resistant Adjustable noseclip Cushioning nose foam Braided headstraps clear identification of protection provided CE/ FDA approved |
| 3.25 | Non sterile gloves (S) | Box of 50 Pairs | Nitrile, powder free, ambidextrous, latex free, beaded cuff 4mm |
| 3.26 | Non sterile gloves (M) | Box of 50 Pairs | Nitrile, powder free, ambidextrous, latex free, beaded cuff 4mm |
| 3.27 | Non sterile gloves (L) | Box of 50 Pairs | Nitrile, powder free, ambidextrous, latex free, beaded cuff 4mm |
| 3.28 | Sterile Gloves 6.5 | Box of 50 Pairs | Surgical, latex, powder-free, size: 6.5,. sterile, single use, pair. 5mm |
| 3.29 | Sterile Gloves 7 | Box of 50 Pairs | Surgical, latex, powder-free, size: 7,sterile, single use, pair. 5mm |
| 3.30 | Sterile Gloves 8 | Box of 50 Pairs | Surgical, latex, powder-free, size: 8. sterile, single use, pair. 5mm |
| 3.31 | Disposable gowns | Piece | Isolation gown, with long sleeves, a waist tie that binds at the back or front Fabric, non-woven material, Outer layer liquid penetration resistant in critical areas (chest and sleeves). Sleeves finished with double layer cuff, cotton or synthetic, stretchy interlocked jersey, length: 4 - 8 cm, Non-sterile, Single use, disposable,  Length 120cm, Width 140cm, Length of sleeve 58cm . |
| 3.32 | Face shield | Piece | Single use full face length safety shield, fog-resistant. Encloses a wide area of the face ear-to-ear and forehead to chin. |
| 3.33 | Googles | Piece | Translucent soft PVC, wrap-around adjustable elasticated headband, integrated with goggles frame, anti-fog treated/coated |
| **Gynecological Disposable materials** | | | |
| 3.34 | Speculum single use S | Piece | Clear polystyrene one-hand operation. Rounded, smooth edges. Durable plastic construction, Easily locks in variety of positions. Sterile, single use, Size ,S according to user need |
| 3.35 | Speculum single use M | Piece | Clear polystyrene one-hand operation. Rounded, smooth edges. Durable plastic construction, Easily locks in variety of positions. Sterile, single use, Size ,M, according to user need |
| 3.36 | Speculum single use L | Piece | Clear polystyrene one-hand operation. Rounded, smooth edges. Durable plastic construction, Easily locks in variety of positions. Sterile, single use, Size L, according to user need |
| 3.37 | Microscope slides  ***CE OR FDA CERTIFIED*** | Piece | Glass, Size: 76x26mm,  Ground edges |
| 3.38 | Pap Smear Kit  ***CE OR FDA CERTIFIED*** | Kit | 1 Ayres spatula, 1 cervical brush, 1 glass slide and 1 cardboard box to keep the slides. Single use |
| 3.39 | Pregnancy Test  ***CE OR FDA CERTIFIED*** | Piece | HCG pregnancy rapid test cassette. Sample type: urine. Sample volume 3-4 drops. Sensitivity 99.9%. Specificity 99.9%. Reading time: 3 minutes |
| 3.40 | Spray (for papsmear) 150ml  ***CE OR FDA CERTIFIED*** | Piece | Cytology fixative spary, non-aerosol 150ml |
|  | **Other Disposable materials** |  |  |
| 3.41 | Tongue depressor | Piece | Single use, non-sterile, wooden |
| 3.42 | Cups/bowls | Piece | Stainless steel Medical Grade. Diameter :12 CM |
| 3.43 | EKG paper 1 | Piece | Thermal paper roll, 1-3-6... channel color (red/orange), long image durability  Roll 210mmX20m compatible with Biolight Meditec machine |
| 3.44 | EKG paper 2 | Piece | Thermal paper roll, 1-3-6...channel color (red/orange), long image durability  Paper Z-fold 114X70X250 CP50 compatible with Welch Allyn machine |
| 3.45 | EKG paper 3 | Piece | Thermal paper roll, 12 channels color (red/orange), long image durability  Paper Z-fold 210X140X142 compatible with Biocare 1210 machine |
| 3.46 | EKG electrodes | Piece | Single-use, for clip type cable, biocompatible medical grade adhesive, Gelled |
| 3.47 | Ultrasound paper (Gyneco + Echocardio) 1 | Piece | Paper width 110mm, standard paper grade (Glossy for Colored doppler)  UPP-110S Type I - 110MMx20M |
| 3.48 | Ultrasound paper (Gyneco + Echocardio) 2 | Piece | Paper width 110mm, standard paper grade (Glossy for Colored doppler) UPP-110S Type I - 110MMx20M |
| 3.49 | Ultrasound paper (Gyneco + Echocardio) 3 | Piece | Paper width 110mm, standard paper grade (Glossy for Colored doppler) UPP-110HG Type V 110MMX18M |
| 3.50 | Urine cups | Piece | Specimen cup,100 to 130 ml,plastic,with cover. Non-sterile. |
| 3.51 | Deep stick for urine analysis  ***CE OR FDA CERTIFIED*** | Piece | Strip with 10 or 4 reactive pads, which change colour according to the concentration of substances in urine. Colorimetric chart giving **semi-quantitative results**: -,±, +, ++, +++, ++++ and mmol/l and mg/dl  Or  Test strips for urine analysis. Parameters: Glucose: neg, 100, 250, 500, 1000, 2000 mg/dl, or more Protein (Albumin): neg, trace, 30, 100, 300, 2000 mg/dl, or more Colour reference card is water resistant, wet-wipeable. Reading time: Approximately 30 seconds for glucose and 60 seconds for protein. |
| 3.52 | Hemoglobin meter strips  ***CE OR FDA CERTIFIED*** | Piece | Compatible with hemoglobin meter (specify the name of the machine) |
| 3.53 | HGT strips  ***CE OR FDA CERTIFIED*** | Piece | Compatible with the glucometer (specify the name of the machine) |
| 3.54 | Ultrasound gel 250ml | Bottle | Medicated factory ultrasound transmission gel Non-sterile Hypoallergenic. Excellent gliding properties. Does not stain fabrics or damages equipment. Non-greasy. 250 ml bottle |
| **Disinfection and Environmental Services** | | | |
| 3.55 | Alcoholic hand rub 500ml | Bottle | Norm: EN 1500, Ethanol 60%, With emolient Gel formula and liquid formula. With pump 500 ml bottle. Provided with MSDS. |
| 3.56 | Liquid Hand Soap for clinics 500ml | Bottle | Antimicrobial , EN 1499, Chlorhexidine digluconate (2%) 500 ml. with pump |
| 3.57 | Surface disinfectant (clinical areas) 1 L  ***CE OR FDA CERTIFIED*** | Bottle | One step Cleaner-disinfectant Low-level with Antimicrobial activity (broad spectrum efficacy against Gram + and Gram – bacteria, viruses, mycobacterium, pathogenic fungi,bloodborne pathogens) Broad compatibility materials / surfacings No rinsing CE, FDA approved.. |
| 3.58 | Instrument cleaner 1L  ***CE OR FDA CERTIFIED*** | Bottle | Neutral pH : broad compatibility materials/medical devices. Compatibility with stainless steel metals, glass and plastic materials (polycarbonates…) Broad antimicrobial spectrum  Short contact time CE, FDA approved. |
| 3.59 | High-level disinfectant 1L  ***CE OR FDA CERTIFIED*** | Bottle | Bactericide, mycobactericide, fungicide, virucide,  active against HIV-1, HBV and BVDV (surrogate of HCV), sporicide. CE, FDA approved. |
| 3.60 | Disinfectant wipes  ***CE OR FDA CERTIFIED*** | Pack of 50 wipes | Low-level disinfectant, for medical devices, interleaved fold paper.Spectrum of activity: Polio-, Adeno-, Noroviruses, Papova-, Polyomaviruses, SV40  Composition: 0.4 g alkyl(C12-16)dimethylbenzylammonium chloride; 0.2 g didecyldimethylammonium chloride / 100 g solution Alcohol-, aldehyde- and phenol-free |
| 3.61 | Waste bags Yellow 7L | Piece | Material: Polypropylene or Polyethylene Thickness: 70 µm– ISO 7765 2004 (Ministry of public health requirement) tear resistant, water resistant, can be properly sealed Size: 7L  Color: Yellow marked with the bio-hazard sign |
| 3.62 | Waste bags Red 7L | Piece | Material: Polypropylene or Polyethylene Tear resistant, water resistant, can be properly sealed  Thickness: 70 µm– ISO 7765 2004 (Ministry of public health requirement) Size: 7L Color: Red |
| 3.63 | Detergent plastic bottle 1.25L | Bottle | Squeeze bottle (not spray) 1.25L |
| **Solutions** | | | |
| 3.64 | Saline solution 10cc | Piece | 0.9%, plastic bottle, 10 cc- |
| 3.65 | Saline solution 100cc | Piece | 0.9%, plastic bottle, 100 cc |
| 3.66 | Isopropyl alcohol 70% | Bottle | 1 L bottle |
| 3.67 | Betadine | Bottle | IODINE POVIDONE, 10%, solution, 125 ml. btl. |
| 3.68 | Distilled water | Gallon | Gallon of 2L |

|  |  |  |  |
| --- | --- | --- | --- |
| **Item Number** | **Item** | **UOM** | **DETAILED SPECIFICATIONS FOR LOT 4** |
| 4.1 | Band Aid Plaster | BOX of 100 pcs | Waterproof /Hypoallergenic, Antiseptic, Breathe freely adhesive plaster Sterile  Size:7cmx2cm |
| 4.2 | Syringe 5ml  ***CE OR FDA CERTIFIED*** | pcs | Extremely fine graduation Smoothly sliding plunger for critical injection High precision grinded needle for safe puncture Double plunger-stop Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. |
| 4.3 | Vomiting Bag | PCS | Nylon transparent bags | Volume: 1Litre (Should be able to hold the liquid well without leakage) Extra thick plastic transparent bags Waterproof paper+polybag with an anti-regorge valve graded |
| 4.4 | Liquid Concentrate for Equipment  ***CE OR FDA CERTIFIED*** | GAL 5 L | Pre Disinfection / Cleaning, Enzymatic cleaner for instruments, Pump Should be included. Active cleaning & new fragrance facilitate reprocessing  Value preservation of the instruments through neutral pH and coordinated cleaning complex  Very good non-fixing cleaning – ideal for pre-cleaning  Pleasant use, whether in an immersion bath or ultrasound bath The active formula of 3 enzymes and ionic surfactants effectively penetrates a wide range of organic contaminants from coagulated blood to mucus to fat – without fixing 100 g solution contain: 5 – 15 % non-ionic surfactants, preservatives: 2-methyl-2H-isothiazol- 3-one, 1,2-benzylisothiazol-3(2H)-one, enzymes: Protease, amylase, lipase. |
| 4.5 | Liquid Concentrate for Floor/Surface- 5 L  ***CE OR FDA CERTIFIED*** | GAL 5 L | Surface Disinfectant,Gallon of 5L, Both options are considered (not ready to use), Pump should be included Based on modern quaternary ammonium compounds.  Perfume-free No aldehydes nor phenols Disinfection and good cleaning power 100 g solution contain: 3.33 g Didecyldimethylammoniumchloride, 6.66 g Alkyl (C12-16) dimethylbenzyl ammonium chloride |
| 4.6 | Rapid Disinfection Spray 1 L  ***CE OR FDA CERTIFIED*** | BTL | Bottle sprayer of 1L, ready to use.  Alcohol-based rapid disinfectant based on ethanol for gentle disinfection and cleaning of medical devices and medical equipment as well as surfaces of all types Suitable for areas near patients in which a broad spectrum of activity is required Provides effective disinfection within a very short time Good material compatibility and leaves no streaks or visible residues 100g solution cotains 45g ethanol |
| 4.7-4.8 | Disposable Gown | PCS | Fluid resistant ( (chest and sleeves) disposable medical gown, non-sterile Long sleeves, knit cuffs, Tie waste, full back Non wooven-Full back Color:White LRC EMS logo on the upper left side of the chest Isolation gown, with long sleeves, a waist tie that binds at the back or front Sleeves finished with double layer cuff, cotton or synthetic, stretchy interlocked jersey, length: 4 - 8 cm, Non-sterile, Single use, disposable, Universal size. |
| 4.9 | Shoe Cover | PCS | Singe use | Fluid resistant Polypropylene / non woven fabric Single use Fluid resistant Slip resistant Elastic top or 2 straps that can be tied |
| 4.10 | Examination Paper Roll | R0LL | Size: 50cm (W)X80m(L); Material: paper; Color: White; Non-sterile Natural Paper Non-Sterile 1 layer Size: 50cm (W)X80m(L) or 58cm x 70m Color: White |
| 4.11 | Disposable Face Shield | Piece | Made of clear plastic and provides good visibility to both the EMT and the patient  head band to attach firmly around the head and fit snuggly against the forehead with a sponge Fog resistant  Completely covers the sides and length of the face  Quality compliant with standards:  EU standard directive 86/686/EEC, EN 166/2002  ANSI/ISEA Z87.1-2010  Single use full face length safety shield, fog-resistant. Encloses a wide area of the face ear-to-ear and forehead to chin. |
| 4.12 | Betadine 120ml | Bottle | Povidone-iodine, 10% Antiseptic Non-Sterile Solution 120 ml. btl. |
| 4.13 | Hand Sanitizers | 1L Bottle | Hydro Alcoholic Solution, Bottle of 1L, Liquid or Gel High quality emollients for skin care which protect the skin against dehydration 100 g solution contain: 63.14 g (70 % V/V ) 2-propanol. Pump/wall mount should be included Hydro Alcoholic Solution: 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes) |
| 4.14 | Hypoallergenic Adhesive Tape – Small  ***CE OR FDA CERTIFIED*** | Piece | Produced by medical grade materials, which are desensitized and non-irritating and anti-allergic to the skin Made of natural cellulose, the rayon is thin, breathable and easy to tear Long-lasting, stable adhesiveness and soft touch Plastic inner tube The quality is stable and suitable for the climate and temperature of all seasons Size: 2.5cm(W)x 9.14m(L) |
| 4.15 | Hypoallergenic Adhesive Tape – Small  ***CE OR FDA CERTIFIED*** | Piece | Produced by medical grade materials, which are desensitized and non-irritating and anti-allergic to the skin Made of natural cellulose, the rayon is thin, breathable and easy to tear Long-lasting, stable adhesiveness and soft touch Plastic inner tube The quality is stable and suitable for the climate and temperature of all seasons Size: 2.5cm(W)x 9.14m(L) |
| 4.16 | KN95  ***CE OR FDA CERTIFIED*** | Piece | Aerosol Type: Non-Oil No Exhalation Valve: NO 2 Straps for ears Adjustable Nose Clip Color: White Size: Universal KN95 (China GB2626-2006) FDA & CE Certified Non Sterile, Single use |
| 4.17 | Latex Glove Large | Box of 100 | Natural Rubber Latex Ambidextrous Powdered or slightly powdered Non-Sterile-Single use only |
| 4.18 | Latex Glove Medium | Box of 100 | Natural Rubber Latex Ambidextrous Powdered or slightly powdered Non-Sterile-Single use only |
| 4.19 | Latex Glove Small | Box of 100 | Natural Rubber Latex Ambidextrous Powdered or slightly powdered Non-Sterile-Single use only |
| 4.20 | NaCl (0.9% Sodium chloride Al) | Bag of 1L | Each 100 ml contains 0.9g Sodium Chloride USP QS Water for Injection USP pH(4.5-7.0) mEq/L: Sodium 154- Chloride 154 Osmolarity 308 mOsmol/L Isotonic- Sterile- Non Pygrogenic bags or Bottle of 1L |
| 4.21 | Nitrile Gloves Large | Box of 100 | Hypoallergenic | Premium quality | Resist Fuel & Solvant | Powder free. NFPA certified | Medical grade (not industrial) | Superior strength with better puncture resistance. Single use / Non-sterile | Extended cuffs | Thickness 11mm | Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 | EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 |
| 4.22 | Nitrile Gloves Medium | Box of 100 | Hypoallergenic | Premium quality | Resist Fuel & Solvant | Powder free. NFPA certified | Medical grade (not industrial) | Superior strength with better puncture resistance. Single use / Non-sterile | Extended cuffs | Thickness 11mm | Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 | EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 |
| 4.23 | Nitrile Gloves Small | Box of 100 | Hypoallergenic | Premium quality | Resist Fuel & Solvant | Powder free. NFPA certified | Medical grade (not industrial) | Superior strength with better puncture resistance. Single use / Non-sterile | Extended cuffs | Thickness 11mm | Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 | EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 |
| 4.24 | Protective glasses | Piece | Single use Light colours Thumb/ finger loops to anchor sleeves in place  Quality compliant with: Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent |
| 4.25 | Sharps Container 10 Litre | Piece | Contaminated sharps container for clinical waste Yellow colour with biohazard Clinical waste warnings printed on container 10L |
| 4.26 | Sharps Container 3 Litre | Piece | Contaminated sharps container for clinical waste Yellow colour with biohazard Clinical waste warnings printed on container 3L |
| 4.27 | Sterile Gauze 4"x4" 10cm | Box of 100 | Sterile Gauze 16 ply  Size: 10cm(W)x10cm(L) Bleached, purified textile, plain weave. Absorbent gauze, 100% cotton. Woven. Number of plies: 8-12. Surgical folding. sterile peel pack, single-use. comply with Medical Device Directive 93/42 EEC or equivalent. |
| 4.28 | Sterile Gauze 4"x4" 5cm | Box of 100 | Sterile Gauze 16 ply Size: 5cm(W)x5cm(L) Bleached, purified textile, plain weave. Absorbent gauze, 100% cotton. Woven. Number of plies: 8-12. Surgical folding. sterile peel pack, single-use. comply with Medical Device Directive 93/42 EEC or equivalent. |
| 4.29 | Waste bags yellow - Medium (7L) | Piece | waste bags ,yellow color ,48.25 cm \*61 cm ,logo of clinical waste on the bag  Marked biohazard/ clinical waste- with tie |
| 4.30 | N95 | Piece | 3 layers: Outer layer: polypropylene with anti-penetration film, waterproof, polyethylene.  Middle Filter: polypropylene  Inner layer: polyethylene and polyester  Well-ventilated, waterproof and airtight, respirator mask Nose bar: Aluminium, malleable Easy breathing, anti-mist Without a valve Strong elastic polyurethane strap, allows the mask to be secured at the top of head and behind the neck Meets American specification norm N95 Non Sterile, Single use Material: non-woven filter layer Filtration level: > 95 % for particles from 0.1 to 0.3 micron  Fluid resistant Adjustable noseclip Cushioning nose foam Braided headstraps clear identification of protection provided CE/ FDA approved |
| 4.31 | Alcohol pads- Swabs | PCK of 200 pcs | Antiseptic | Single pad saturated with 70% isopropyl alcohol | For skin preparation prior to injection | 1-ply | Size: 6cm(L)x3cm(W) |
| 4.32 | Hand sanitizers gel 500ml | Piece | Hydro Alcoholic Solution : 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes) |

|  |  |  |
| --- | --- | --- |
| **ITEM NUMBER** | **Item** | **DETAILED SPECIFICATIONS FOR LOT 5** |
| 5.1 | Anti-A monoclonal antibody  ***CE OR FDA CERTIFIED*** | Anti-A contains monoclonal, IgM antibody for slide and tube testing.  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.2 | Anti-B monoclonal antibody  ***CE OR FDA CERTIFIED*** | Anti-B contains monoclonal, IgM antibody for slide and tube testing.  Vial of 10 ml |
| 5.3 | Anti-AB monoclonal antibody  ***CE OR FDA CERTIFIED*** | Anti-AB contains monoclonal, IgM antibody for slide and tube testing.  Vial of 10 ml |
| 5.4 | Anti-D monoclonal antibody  ***CE OR FDA CERTIFIED*** | Anti-D contains monoclonal, IgM antibody for slide and tube testing.  Vial of 10 ml |
| **Closed system to Architect Machines Available in BTS Centers** | | |
| 5.5 | Anti- HCV Reagent  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.6 | Anti- HCV Calibrator  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.7 | Anti- HCV Control  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.8 | HBsAg Qual II Reagent ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.9 | HBsAg Qual II Calibrator  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.10 | HBsAg Qual II Control  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.11 | HIV Ag/Ab Combo Reagent  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.12 | HIV Ag/Ab Combo Calibrator  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.13 | HIV Ag/Ab Combo Control  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.14 | Anti- HBC II Reagent  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.15 | Anti- HBC II Calibrator  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.16 | Anti- HBC II Control  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.17 | Syphilis TP Reagent  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.18 | Syphilis TP Calibrator  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.19 | Syphilis TP Control  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.20 | Probe Conditioning Solution  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.21 | Trigger  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.22 | Wash Buffer  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.23 | Pre-Trigger  ***CE OR FDA CERTIFIED*** | Item#3- ANNEXED SPECS closed system to Architect Machines Available in BTS Centers |
| 5.24 | Reaction Vessels  ***CE OR FDA CERTIFIED*** | Designed specifically for use with Abbot Architect Series Analyzers. Globe Scientific Reaction Vessel for Abbot Architect Series Analyzers are produced from polypropylene (PP)- Natural Color closed system to Architect Machines Available in BTS Centers |
| 5.25 | Septum  ***CE OR FDA CERTIFIED*** | For Architect i1000SR, i2000 and i2000SR  closed system to Architect Machines Available in BTS Centers |
| 5.26 | Sample Cups  ***CE OR FDA CERTIFIED*** | Produced from polystyrene (PS) Designed for use with the Architect® Series Analyzers closed system to Architect Machines Available in BTS Centers |
| **closed System with Sysmex machine** | |  |
| 5.27 | Eight Check 3WP N Blood Cont  ***CE OR FDA CERTIFIED*** | closed System with Sysmex machine - Item#7- ANNEXED DATASHEET |
| 5.28 | Cell pack Diluent  ***CE OR FDA CERTIFIED*** | closed System with Sysmex machine - Item#7- ANNEXED DATASHEET |
| 5.29 | Stromatol Yzer-WH  ***CE OR FDA CERTIFIED*** | closed System with Sysmex machine - Item#7- ANNEXED DATASHEET |
| 5.30 | Cell clean Alkaline Detergent  ***CE OR FDA CERTIFIED*** | closed System with Sysmex machine - Item#7- ANNEXED DATASHEET |
| **closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge)** | | |
| 5.31 | ID-DIACELL A1,B cells  ***CE OR FDA CERTIFIED*** | ll ID-DiaCell ABO test cell reagents are of human origin, in a buffered suspension medium at 0.8% (+/- 0.1%). Isoagglutinins (natural occurring antibodies, anti-A, anti-B) are cold reactive antibodies which react best at 4°C. However, they are also reactive at room temperature and may react at 37°C. They involve a mixture of IgM and IgG, with the largest proportion belonging to the IgM class. |
| 5.32 | ID-Internal QC-Immunology  ***CE OR FDA CERTIFIED*** | ID-Internal Quality Control contains 5 vials of 4 mL human red cell reagents from single donors, prepared as a 3–5% suspension in a buffered medium, and 3 vials of 3 mL serum of human origin. To ensure the accuracy and safety of blood group serological results, transfusion guidelines recommend regular checking of test materials, test methods, personnel working procedures and automated equipment and instruments. The control sample should always have the same characteristics as a patient sample and therefore be treated identically.  ID-Internal Quality Control (Set) TWO Different Brands might be required for awarding |
| 5.33 | ID-Card Diaclon ABO/D+Reverse Grouping  ***CE OR FDA CERTIFIED*** | The ID-Card DiaClon ABO/D + Reverse Grouping for Donors allows combined testing of forward and reverse grouping as well as RhD determination for confirmation of previously fully tested samples with established blood group status. The monoclonal anti-D used has been selected so as to react with DVI variant. Configuration: A, B, DVI+, ctl/A1, B  Cell lines: A: A5, B: G1/2, D: ESD-1M, 175-2 closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.34 | ID-Card Diaclon Rh-Subgroups + Kell  ***CE OR FDA CERTIFIED*** | This ID-Card offers a complete profiling of the Rh phenotype including K-typing. Besides the RhD antigen, other important antigens of the Rh system are: C, E, c and e. According to Issit, their frequencies in the Caucasian population are as follows: C: 70% / c: 80% / E: 30% / e: 98% Approximately 9% of the Caucasian population are K positive. The K antigen is strongly immunogenic. Anti-K has been reported as the cause of hemolytic transfusion reactions, both immediate and delayed, and hemolytic disease of the newborn. Configuration: C, c, E, e, K, ctl Cell lines: C: MS-24 / c: MS-33 / E: MS-260 e: MS-16, MS-21, MS-63, K: MS-56 closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.35 | ID-Card Liss Coombs Anti-IgG  ***CE OR FDA CERTIFIED*** | The most important function of the polyspecific AHG reagent is to detect the presence of IgG. The importance of anti-complement in the AHG reagent is debatable since antibodies detectable only by their ability to bind complement are rather rare. However, anti-C3d activity is important for the DAT in the investigation of autoimmune hemolytic anemia (AIHA). Available in a selection of package sizes Configuration: 6 x AHG (Anti-IgG + C3d) tests C3d: cell line C139-9 closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.36 | ID-DIACELL POOL  ***CE OR FDA CERTIFIED*** | ID-DiaCell Pool contains two pooled cells for IAT test donor screening. Vial (Id-n°: 06070): Configuration: R1R1,R2R2 |
| 5.37 | Reagent red cells for antibody identification ( 11 cells)- gel technique - Internal Quality Control 5\*4 ml red cells & 3\*3 ml sera  ***CE OR FDA CERTIFIED*** | The ID-DiaPanel is an excellent primary panel containing a set of 11 (4 mL) vials for IAT and NaCl testing. It features a fixed Rh phenotype pattern and assured presence of cells possessing double-dose antigens throughout. Five cc.ee cells are carefully selected to assure double-dose of significant blood group antigens. It has been tested by serology for HLA Class I antigens. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.38 | ID Diluent 2 - Gel technique  ***CE OR FDA CERTIFIED*** | ID-Diluent 2 is a modified, low-ionic strength solution made for the ID-System. It is used for preparing 5% red cell suspensions for blood grouping as well as 0.8% red cell suspensions for crossmatching, autocontrol, direct anti-human globulin test, blood grouping of newborns and test cells prepared in the laboratory. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.39 | Diacell I, II, III  ***CE OR FDA CERTIFIED*** | ID-DiaCell I-II-III is a 3-cell screening for patients. It contains a set of 3 vials for IAT and NaCl testing, including two RhD positive cells (CCDee, Cw+, ccDEE) and one cell RhD negative (cc.ee), a double dose for Fya, Fyb, Jka, Jkb, M, S and s, and at least one cell positive for K, Lea, Leb, P1 and N. It has been tested by serology for HLA Class I antigens. Vials (Id-n°: 45184): Set of 3 vials for IAT and NaCl test (3 x 10 mL) Configuration: R1WR1, R2R2, rr closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.40 | ID Diluent 1 - Gel technique  ***CE OR FDA CERTIFIED*** | ID-Diluent 1 is a modified Bromelin solution in which the enzyme activity is stabilized for a long period and specially prepared for the ID-System. ID-Diluent 1 is used for preparing suspensions of red cells for blood grouping and as a additive for enzyme tests with untreated red cells for antibody detection and crossmatching. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.41 | Anti A1 Lection - Gel Technique  ***CE OR FDA CERTIFIED*** | Anti-A1 lectin for slide and tube testing closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.42 | ID Card Coombs Anti IgG Anti Rabbit  ***CE OR FDA CERTIFIED*** | The ID-Card Coombs Anti-IgG consists of 6 microtubes containing anti-human globulin anti-IgG (rabbit), within the gel matrix. Some laboratories prefer to use anti-IgG AHG serum because there is no interference from complement components, which may be non-specifically bound to the red cell. Available in a selection of package sizes Configuration: 6 x AHG (Anti-IgG, rabbit) tests closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.43 | ID Diaclon Anti D - Gel Technique  ***CE OR FDA CERTIFIED*** | ID-DiaClon-Anti-D, for confirmation of Dweak by IAT, contains monoclonal IgG anti-D and is supplied as a ready-to-use reagent in vials of 5 mL. The increasing use of monoclonal anti-D from different cell lines can create problems in the interpretation of D antigen testing, in particular the differentation of weak D and partial D. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.44 | ID Card Antigen Profile I  ***CE OR FDA CERTIFIED*** | In the ID-Cards ID-Antigen Profile I, the gel suspensions contain the corresponding antibodies, requiring only the addition of the red cell suspension (in ID-Diluent 1). Configuration: P1, Lea, Leb, Lua, Lub, ctl Cell lines: P1: 650, Lea: P3N20V3+LM112/161, Leb: LM129/181 Lua/Lub human antibodies closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.45 | ID Card Antigen Profile II  ***CE OR FDA CERTIFIED*** | In the ID-Cards ID-Antigen Profile II, the gel suspensions contain the corresponding antibodies, requiring only the addition of the red cell suspension (in ID-Diluent 1). Configuration: k, Kpa, Kpb, Jka, Jkb, ctl Cell lines: Jka: MS-15, Jkb: MS-8 k/Kpa/Kpb human antibodies closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.46 | ID Card Antigen Profile III & Anti Sera for Profile III  ***CE OR FDA CERTIFIED*** | ID-Card: M, N, S, s, Fya, Fyb (Id-n°: 50390) Test serum ID-M, N, S, s, Fya, Fyb test sera (Id-n°: 45140) Test serum ID-M, N, S, s, Fya, Fyb test sera (Id-n°: 45460) M/N monoclonal antibodies: Cell lines: M: LM110/140 (LM-1), N: 1422 C7 S/s/Fya/Fyb human antibodies closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.47 | Anti Sera K  ***CE OR FDA CERTIFIED*** | The ID-Cards Anti-K and Anti-k can be used to determine the antigen status of donor blood prior to crossmatching, for confirmation of the antigen after antibody identification, or for paternal/fetal antigen typing in allo-immunised pregnancies. The antibodies of the Kell system have been associated with transfusion reactions and hemolytic disease of the newborn (HDN). The clinical importance of anti-K has resulted in the systematic determination of the K and Cellano antigens in both donors and patients. Human Configuration: 6 x k closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.48 | Anti Sera C  ***CE OR FDA CERTIFIED*** | DiaClon Anti-C contains monoclonal, IgM antibody for slide and tube testing. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.49 | Anti Sera E  ***CE OR FDA CERTIFIED*** | DiaClon Anti-E contains monoclonal, IgM antibody for slide and tube testing. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.50 | Anti Sera c  ***CE OR FDA CERTIFIED*** | DiaClon Anti-c contains monoclonal, IgM antibody for slide and tube testing. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.51 | Anti Sera e  ***CE OR FDA CERTIFIED*** | DiaClon Anti-e contains monoclonal, IgM antibody for slide and tube testing closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.52 | Anti Sera S  ***CE OR FDA CERTIFIED*** | Anti-S, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.53 | Anto Sera s  ***CE OR FDA CERTIFIED*** | Anti-s, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.54 | Anti-Fyₐ  ***CE OR FDA CERTIFIED*** | Anti-Fya, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.55 | Anti-Fyꙺ  ***CE OR FDA CERTIFIED*** | Anti-Fyb, for anti-human globulin test closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.56 | Anti-Kpₐ  ***CE OR FDA CERTIFIED*** | Anti-Kpa, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.57 | Anti-Kpꙺ  ***CE OR FDA CERTIFIED*** | Anti-Kpb, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.58 | Anti-Jka  ***CE OR FDA CERTIFIED*** | Anti-Jka, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.59 | Anti-Jkꙺ  ***CE OR FDA CERTIFIED*** | Anti-Jkb, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.60 | Anti-Luₐ  ***CE OR FDA CERTIFIED*** | Anti-Lua, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.61 | Anti-Luꙺ  ***CE OR FDA CERTIFIED*** | Anti-Lub, for anti-human globulin test. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.62 | DiaClon Anti-M  ***CE OR FDA CERTIFIED*** | M (MNS1) and N (MNS2) antigenic determinants are carried on glycophorin A (GPA), one of the major sialic acid containing structure of the red cell membrane. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.63 | DiaClon Anti-N  ***CE OR FDA CERTIFIED*** | M (MNS1) and N (MNS2) antigenic determinants are carried on glycophorin A (GPA), one of the major sialic acid containing structure of the red cell membrane. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.64 | DiaClon Anti-P1  ***CE OR FDA CERTIFIED*** | DiaClon Anti-P1 monoclonal (6 x P1) closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.65 | DiaClon Anti-Leₐ  ***CE OR FDA CERTIFIED*** | Lewis antigens are absent or only poorly expressed on red cells from newborns. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.66 | DiaClon Anti-Leꙺ  ***CE OR FDA CERTIFIED*** | Lewis antigens are absent or only poorly expressed on red cells from newborns. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.67 | DiaClon Anti-Jkₐ  ***CE OR FDA CERTIFIED*** | The antibodies of the Kidd system are often associated with severe hemolytic transfusion reactions (HTRs), notably delayed reactions. The transfusion of compatible blood in the Kidd system, where antibodies have previously been detected (or are suspected), is therefore important. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.68 | DiaClon Anti-Jkꙺ  ***CE OR FDA CERTIFIED*** | The antibodies of the Kidd system are often associated with severe hemolytic transfusion reactions (HTRs), notably delayed reactions. The transfusion of compatible blood in the Kidd system, where antibodies have previously been detected (or are suspected), is therefore important. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.69 | Anti-Kpₐ  ***CE OR FDA CERTIFIED*** | Kpa (KEL3), Kpb (KEL4) and Kpc (KEL21) are part of the Kell system (ISBT, number 006). Kpa is present in approximately 2% of the Caucasian population while Kpb is a high frequency (public) antigen. The Kpc antigen has an occurrence of less than 0.01% but up to 0.32% in Japanese. Anti-Kpa and anti-Kpb are less common than anti-K but have similar serological characteristics and are considered to be clinically significant. They may occur after transfusion or by feto-maternal immunization. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.70 | Anti-Kpꙺ  ***CE OR FDA CERTIFIED*** | Kpa (KEL3), Kpb (KEL4) and Kpc (KEL21) are part of the Kell system (ISBT, number 006). Kpa is present in approximately 2% of the Caucasian population while Kpb is a high frequency (public) antigen. The Kpc antigen has an occurrence of less than 0.01% but up to 0.32% in Japanese. Anti-Kpa and anti-Kpb are less common than anti-K but have similar serological characteristics and are considered to be clinically significant. They may occur after transfusion or by feto-maternal immunization. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.71 | Anti-Luₐ  ***CE OR FDA CERTIFIED*** | Antibodies against antigens in the Lutheran system are not often encountered. The antigen-antibody reaction produces small and loose agglutinates in a characteristic mixed-field appearance. The antigens are poorly developed at birth. Allo anti-Lua has not been implicated in transfusion reactions and only rarely as causing mild haemolytic disease of the fetus and newborn (HDFN). Allo anti-Lub has been implicated in mild to moderate transfusion reactions and mild HDFN. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.72 | Anti-Luꙺ  ***CE OR FDA CERTIFIED*** | Antibodies against antigens in the Lutheran system are not often encountered. The antigen-antibody reaction produces small and loose agglutinates in a characteristic mixed-field appearance. The antigens are poorly developed at birth. Allo anti-Lua has not been implicated in transfusion reactions and only rarely as causing mild hemolytic disease of the fetus and newborn (HDFN). Allo anti-Lub has been implicated in mild to moderate transfusion reactions and mild HDFN. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.73 | ID-Card S  ***CE OR FDA CERTIFIED*** | testing products for Antigens S and s. The antigens S (MNS3) and s (MNS4) are carried on the human glycophrin B (GPB) molecule and are part of the MNS system. Ss antibodies are not frequently encountered, however, they have both been implicated in rare cases of severe haemolytic disease ot the newborn and rare cases of mild to moderate haemolytic transfusion reactions, and are therefore clinically important. Antigen typing of paternal or fetal/neonatal or donor bloods may also be appropriate, according to the clinical situation. |
| 5.74 | ID-Card s  ***CE OR FDA CERTIFIED*** | testing products for Antigens S and s. The antigens S (MNS3) and s (MNS4) are carried on the human glycophrin B (GPB) molecule and are part of the MNS system. Ss antibodies are not frequently encountered, however, they have both been implicated in rare cases of severe haemolytic disease ot the newborn and rare cases of mild to moderate haemolytic transfusion reactions, and are therefore clinically important. Antigen typing of paternal or fetal/neonatal or donor bloods may also be appropriate, according to the clinical situation. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.75 | ID-Card Fyₐ  ***CE OR FDA CERTIFIED*** | products for Antigen Fya. Both Duffy antigens are fully developed at birth. Fya frequently causes immunisation while Fyb is rarely the cause of immunisation. Anti-Fya and anti-Fyb are practically always of immune origin. They both cause hemolytic transfusion reactions and can, although not frequently, cause hemolytic disease of the newborn (HDN). closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.76 | ID-Card Fyꙺ  ***CE OR FDA CERTIFIED*** | testing products for Antigen Fya and Fyb. Both Duffy antigens are fully developed at birth. Fya frequently causes immunisation while Fyb is rarely the cause of immunisation. Anti-Fya and anti-Fyb are practically always of immune origin. They both cause haemolytic transfusion reactions and can, although not frequently, cause haemolytic disease of the newborn (HDN).  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.77 | DiaClon Coombs-Serum  ***CE OR FDA CERTIFIED*** | DiaClon Coombs-Serum Uncolored for use with conventional test techniques. It contains polyvalent, anti-IgG (rabbit) with anti-C3d (monoclonal). C3d: cell line C139-9 closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.78 | Wash A Solution IH  ***CE OR FDA CERTIFIED*** | Isotonic Buffer Solution - Preservative :≤ 2% NaN3 closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.79 | ABD Confimrtaion Card for Patients  ***CE OR FDA CERTIFIED*** | ID-Card ˝ DiaClon ABD (DVI-) Confirmation for Patients˝ contains monoclonal anti-A [cell line LM 297 / 628 (LA-2)], anti-B [cell line G½] and anti-D (cell lines TH-28, RUM-1, LDM1] within the gel matrix. closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.80 | ID Diluent 2 Racks  ***CE OR FDA CERTIFIED*** | Dileunt for IH Analyzers- Modified LISS for red cell suspensions closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.81 | IH QC 1  ***CE OR FDA CERTIFIED*** | A1,ddccee, CW-, K+ quality control for IH -500 Machine  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.82 | IH QC 2  ***CE OR FDA CERTIFIED*** | B, DCcEe, Cw-, K- quality control for IH -500 Machine |
| 5.83 | IH QC 3  ***CE OR FDA CERTIFIED*** | AB, DCCee, Cw-, K- quality control for IH -500 Machine  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.84 | IH QC 4  ***CE OR FDA CERTIFIED*** | O, DccEE, Cw-, K- quality control for IH -500 Machine  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.85 | IH QC 5  ***CE OR FDA CERTIFIED*** | A2, Dccee, Cw-, K- quality control for IH -500 Machine  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.86 | IH QC 6  ***CE OR FDA CERTIFIED*** | D Weak quality control for IH -500 Machine  closed System with IH-500 machine and Birad Machines (Incubator, Banjo Reader, Centrifuge) |
| 5.87 | Plastic Test Tube  ***CE OR FDA CERTIFIED*** | Volume: 5ml  Dimensions: 0.12cm(W)x075cm(L) Material: PS |
| 5.88 | Parafilms  ***CE OR FDA CERTIFIED*** | Size: 10.16cm(W)x38.1m(L)  Flexible/ mouldable Self-sealing Odourless Moisture resistant Thermoplastic |
| 5.89 | Povidone Iodine -Betadine Swabs  ***CE OR FDA CERTIFIED*** | Betadine swabs- prepad Skin Swabs- Individually packed- with 10% povidone- iodine solution equivalent to 1% available iodine. |
| 5.90 | Pasteur Pipette  ***CE OR FDA CERTIFIED*** | Length 145mm 1ml transfer pipette |
| 5.91 | Lancets for Blood Confirmation  ***CE OR FDA CERTIFIED*** | Fine gauge Sterile tri-bevel tip for virtually painless sampling Disposable  Consistent Depth Penetration |
| 5.92 | Yellow Tips 100-1000ul  ***CE OR FDA CERTIFIED*** | Yellow tips 100-1000ul  Rnase and Dnase free Polypropylene Autoclavable Graduated For laboratory use |
| 5.93 | Blue Tips 100-1000ul  ***CE OR FDA CERTIFIED*** | Blue tips 100-1000ul  Rnase and Dnase free Polypropylene Autoclavable Graduated For laboratory use |
| 5.94 | White Tips 100-1000ul  ***CE OR FDA CERTIFIED*** | disposable, with sharp points, suitable for ID-Pipetors |
| 5.95 | Wooden Applicator  ***CE OR FDA CERTIFIED*** | wooden stick without head DIA 2.5x150mm |
| 5.96 | Consumables for Digital Thermometer  ***CE OR FDA CERTIFIED*** | Compatible to Plus 692 |
| 5.97 | Alcohol de Menthe (50 ml) ***CE OR FDA CERTIFIED*** | 80% vol for dizziness |
| 5.98 | Tourniquet  ***CE OR FDA CERTIFIED*** | Individual packed in blister pocked |
| 5.99 | Tubes Eppendorf 1.5 ml  ***CE OR FDA CERTIFIED*** | Eppendorf tubes are single use tubes made from polypropylene for mixing, preparing and centrifuging, transporting and storing solid and liquid samplers and reagents. Capacity: 1.5 ml |
| 5.100 | Cover for plastic tubes 5 cc pack of 500  ***CE OR FDA CERTIFIED*** | Cover for plastic tubes 5 cc |
| 5.111 | Tube Rack for Tubes Eppendorf  ***CE OR FDA CERTIFIED*** | Plastic Tube Rack used for Tube Eppendorf Storage capacity 60 Tubes |
| 5.112 | Waste Bags yellow L  ***CE OR FDA CERTIFIED*** | Length 110 cm  Width 80 cm  Color: Yellow Logo of clinical waste on the bag  Waste bag should be without tie Material:Polyethylene  Thickness:1.2 ml |
| 5.113 | Cotton Swab  ***CE OR FDA CERTIFIED*** | Cotton Swab used in weekly maintenance for Lab equipment |
| 5.114 | Safety Glasses  ***CE OR FDA CERTIFIED*** | Covers the eyes, Fog resistant, adjustable arms, side and top protection shields |
| 5.115 | Alcohol Spray btle of 500 ml  ***CE OR FDA CERTIFIED*** | Contains 95% of Ethanol - Safe on skin- |
| 5.116 | Hand Gel for sensor machines  ***CE OR FDA CERTIFIED*** | Advanced instant hand sanitizer, 70% ethanol that can fit the Machine PURELL LTX-12 |
| 5.117 | Disinfecting Spray  ***CE OR FDA CERTIFIED*** | Hydro Alcoholic Solution, Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses |
| 5.118 | Ice Pack  ***CE OR FDA CERTIFIED*** | Double wall plastic bag that measures 15cm(W)x15cm(L) Comprised of sodium nitrate and water Remain cold for a minimum of 30 minutes at 2oC |
| 5.119 | Tube Racks- Sponge  ***CE OR FDA CERTIFIED*** | Length: 16.5 cm  width: 9.9 cm height: 6.5 cm  capacity: 45 tubes Tube diameter: 1.2 cm |
| 5.120 | Waste Basket- Yellow- 35 L  ***CE OR FDA CERTIFIED*** | Pedal Bin Length 43 cm width 41 cm depth 40 cm  capacity 35 l |
| 5.121 | CHART RECORDER THERMO  ***CE OR FDA CERTIFIED*** | inkless chart recorder  diameter 15 cm  suitabel for thermo freezers and fridges  7 days monitoring- Monday to Sunday  temperature range from 30 to -40°C |
| 5.122 | Microcide Solution  ***CE OR FDA CERTIFIED*** | Disinfecation of hard non-porous Surfaces such as couneters, instruments trays, instruments tables, work table, floors, furniture, beds, transportaion cars and similar items. For cleaning of hard surfaces prior to disinfection cleaning of detntal evaculation vaccum lines and for use in ultrasonic cleaning machines. for use in medical sanitary and hospital areas. kills broad spectrum of gram negative and gram pos bacteria and non enveloped viruses including HIV 1, HHBV and HCV. Alkyl, Dimethyl, Benzyl, Ammonium, Chloride, ..22.56gl <5% non ionic surfactants. |
| 5.123 | NAOH Solution  ***CE OR FDA CERTIFIED*** | Sodium Hydroxide 0.5 N MW=40 Volumetric Solution, Ready for use.  Content per liter 20 G Naoh |
| 5.124 | Microscope Cover Glass | Glass material:super white glass Dimensions:25×75mm,1"×3"mm, 26×76mm. Thickness:1.0-1.2mm. Corner:90°corner |

**PLEASE NOTE THAT BIDDERS MUST SUBMIT DATASHEETS AND SAMPLES WITH THE BID (PLEASE NUMBER THE PRINTED DATASHEETS and SAMPLES AS PER THE ITEM NUMBER MENTIONED IN THE ABOVE TABLE)**

**Annex 4 – Past Performance & Bidder References** **(Must be signed and stamped)**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Description** | **Customer** | **Unit** | **Quantity** | **Contract date** | **Contract value (USD)** |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |

Please provide the details of minimum two companies for your reference check. For these companies it is compulsory to attach a scan either / photo copy of the Contract/ Purchase order/ Completion certificate/ or Reference letters as proof.

|  |  |
| --- | --- |
| **Reference 1** |  |
| Company name |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |
| **Reference 2** |  |
| Company name |  |
|  |  |
| Mailing address |  |
| Contact person |  |
| Contact title |  |
| Phone number |  |
| Email address |  |

## Annex 5 Tender and Award Acknowledge Certificate

## This attachment shall be signed and submitted with the Bid (Must be signed and stamped)

|  |  |
| --- | --- |
| 1. In compliance with the ITB Instructions and General Conditions of Procurement Contract, we the undersigned, offer to furnish some or all of the quoted for, at the prices entered in the attached LRCS Bid Form No [ITB/2023-035 delivered to the destination specified therein.  2. We accept the terms and conditions set forth in the ITB Letter, and the following requirements have been noted and will be complied with where applicable:  a. That unless otherwise stated, the Bids per each line item shall be on a DDP- Beirut (Incoterms 2020) basis.  b. We confirm that for any offer made where the  delivery destination is not as requested in the ITB, item shall be on a DDP- Beirut (Incoterms 2020) basis.  c. That conditional Bid cannot be accepted.  d. That the currency of the Bid should be in USD, or LEB, no other currencies will be accepted.  e. LRCS reserves the right, at its own discretion:  i. To award a contract for a lesser or greater  quantity than the total quantity Bid for.  ii. To reject any or all Bids and/or enter a contract with a Bidder other than the lowest Bidder.  f. Successful Bidders who are awarded contracts will be notified by the receipt of the original Purchase Order/Contract and acknowledgement copy. In case of urgency, successful Bidders(s) may also be notified by email.  g. Any samples requested, either with the Bid, or at a later date, will be in accordance with the  specifications of the required item(s). Failure to  comply with this may result in the Bid not being considered  h. We confirm that the validity of this offer match the FWA validity | i. We agree to the terms and conditions set in the LRCS General Conditions of Procurement Contract  j. We certify that the below mentioned company has not engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing any contract.  k. We agree to abide by the LRCS Addendum,  3. We note that LRCS is not bound to proceed with this ITB and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.  We agree to the above terms and conditions.  Submitted by:  Company Name-----------------------------------------  Place-------------------------------------------------------  Date--------------------------------------------------------  Title/Position--------------------------------------------  Print Name----------------------------------------------  Signature-------------------------------------------------  A duly authorized company representative **any Stamp** |

**Annex 6: General conditions of Procurement Contract.**

**Article 1. Terms & conditions on purchasing**

**1.1. Acceptance:** No purchase order shall become effective and no contract shall exist until the

LRCS has received from the Supplier their written acceptance of the conditions which

govern the PO or contract. This can be accomplished by return of the signed Letter of

Authorization and Acknowledgment Form attached.

**1.2. Tax Exemption:** The Supplier’s price shall reflect any tax exemption to which the LRCS is

entitled by reason of any immunities which it enjoys. If it is subsequently determined that

any taxes which have been included in the price are not required to be paid, the LRCS shall

deduct the amount from the contract price or, if it has paid any such taxes, it shall be

refunded.

**1.3. Discount:** Time in connection with any discounts offered will be computed from the date of

receipt by the LRCS of full documentation as specified by the Purchase Order, contract or

Annex thereto.

**1.4. Warranty:** The Supplier warrants the goods or services furnished under this Purchase Order

/ Contract to be fit for their intended use, free from defects in workmanship or materials,

and indemnifies the LRCS against any claims resulting there from. This warranty is without

prejudice to any further guarantees that the Supplier provides to the Purchaser; such

guarantees shall apply to the subject goods of this Purchase Order / Contract.

**1.5. Inspection:** The duly accredited representatives of the LRCS shall have the right to inspect

the goods or services called for under this Purchase Order / Contract at the Supplier’s

stores, during manufacture, in the ports or at places of shipment, and the Supplier shall

cooperate and provide all facilities for such an inspection. The LRCS may issue a written

waiver of inspection at its discretion. Any inspection carried out by representatives of the

LRCS or any waiver thereof shall not prejudice the implementation of any other relevant

provisions of this Purchase Order / Contract concerning obligations subscribed by the

Supplier, such as warranty or specifications.

**1.6. Packing:** The Supplier shall pack all goods appropriately and with every care in accordance

with normal commercial standards of export packing for the type of goods specified herein.

Such packing materials used must be adequate to safeguard the goods while in transit. The

Supplier shall be responsible for any damage or loss which can be shown to have resulted

from faulty or inadequate packing.

**1.7. Export License:** The Purchase Order / Contract is subject to the obtaining of any export

license or other governmental authorization which may be required. It shall be the

responsibility of the Supplier to inform the LRCS beforehand of such restrictions and obtain

such license or authorization, but the LRCS will use its best endeavors to assist. In the

event of refusal thereof, the Purchase Order / Contract will be annulled and all claims

between the parties automatically waived.

**1.8. Force Majeure:** Force majeure, as used herein, shall mean acts of God (involuntary and

unexpected acts), laws or regulations, industrial disturbances, acts of war, explosions and

any other similar cause of equivalent force not caused by, nor within the control of either

party, and which neither party is able to overcome. As soon as possible after the

occurrence of the force majeure and within not more than 15 days, the supplier shall give

notice and full particulars in writing to the LRCS of such force majeure if the Supplier is

thereby rendered unable, wholly or in part, to perform his obligations and meet his

responsibilities under this Purchase Order / Contract. The LRCS shall then have the right to

terminate the Purchase Order / Contract by giving in writing seven days’ notice of

termination to the Supplier, and the Supplier shall return any deposit paid by the LRCS.

**1.9. Default:** In case of default by the Supplier, including but not limited to failure or refusal to

make deliveries within the time limit specified, the LRCS may procure the goods or services

from other sources and hold the Supplier responsible for any excess costs occasioned

thereby. Furthermore, the LRCS may by written notice terminate the right of the Supplier

to proceed with the deliveries, or such parts thereof as to which there has been default.

**1.10. Conformity with Specifications:** In the case of goods purchased on the basis of

specifications the Supplier warrants their conformity. The LRCS shall have the right to reject

the goods or any part thereof if they do not conform to specifications. Any supplies not

found to be in accordance with the specification and requirements will not be accepted and

in that eventuality the supplier shall replace the goods and bear the inspection cost and/or

other losses caused to LRCS, if any, by replacement of the items non–conforming to the

requirements/specification.

**1.11. Liquidated Damages:** Arrival of goods/ completion of services after agreed delivery

schedule will be subject to deduction of damages

**1.12. Disputes-Arbitration:** Any claim or controversy arriving out of this Purchase Order /

Contract, or to the breach, termination or invalidity thereof the parties agree to attempt to

settle it amicably via direct negotiations between the two sides within seven days. In case

of any dispute that cannot be settled in such way, the Lebanese law shall be applicable and

the Lebanese courts will settle any litigation in this regards that was not solved amicably

**1.13. Privileges and Immunities:** Nothing contained in this Purchase Order / Contract

shall be deemed a waiver, express or implied, of any privilege or immunity which the LRCS

may enjoy, whether pursuant to existing conventions or agreements.

**1.14. Assignment:** The Supplier shall not assign, transfer, pledge or make other

disposition of this Purchase Order / Contract or any part thereof or of any of the Supplier’s

rights, claims or obligations under this Purchase Order / Contract except with the prior

written consent of the LRCS.

**1.15. Bankruptcy:** Should the Supplier file any petition for bankruptcy, or should the

Supplier make a general assignment for the benefit of its creditors, or should a receiver be

appointed on account of the Supplier’s insolvency, the LRCS may under the terms of this

Purchase Order / Contract, terminate the same forthwith by giving the Supplier written

notice of such termination.

**1.16. Advertising:** Unless authorized in advance in writing by the LRCS, the Supplier shall

not advertise or otherwise make public the fact that he is a Supplier to the LRCS and / or

any National Red Cross or Red Crescent Society, or use the name, emblem or official seal of

the LRCS and / or any National Red Cross or Red Crescent Society, or any abbreviation of

the name of the LRCS and / or any National Red Cross or Red Crescent Society for

advertising purposes or any other purposes.

**1.17. Officials Not to Benefit:** The supplier represents and warrants that no official of the

LRCS has been, or shall be, admitted by the supplier to any direct or indirect benefit arising

from this contract or the award thereof. The supplier agrees that breach of this provision is

a breach of an essential term of this contract.

**1.18. Amendments:** No changes or modifications to this Purchase Order / Contract shall

be valid unless mutually agreed between both parties and confirmed by an official

amendment.

**1.19. Notice:** Service of any notice shall be deemed to be good if sent by registered mail,

or email to the addresses of both parties, set out in the heading of this Purchase Order /

Contract.

**1.20. Jurisdiction:** This Contract is considered to be concluded as defined in the attached

Addendum.

**Article 2. Labour standards**

**2.1. Employment is freely chosen:** There is no forced, bonded or involuntary prison labour.

Workers are not required to lodge `deposits’ or their identity papers with the employer and

are free to leave their employer after reasonable notice.

**2.2. Freedom of association and the right to collective bargaining are respected:** Workers,

without distinction, have the right to join or form trade unions of their own choosing and to

bargain collectively. The employer adopts an open attitude towards the legitimate activities

of trade unions. Workers representatives are not discriminated against and have access to

carry out their representative functions in the workplace. Where the right to freedom of

association and collective bargaining is restricted under law, the employer facilitates, and

does not hinder, the development of parallel means for independent and free association

and bargaining.

**2.3. Working conditions are safe and hygienic:** A safe and hygienic working environment shall

be provided, bearing in mind the prevailing knowledge of the industry and of any specific

hazards. Adequate steps shall be taken to prevent accidents and injury to health arising out

of, associated with, or occurring in the course of work, by minimising, so far as is reasonably

practicable, the causes of hazards inherent in the working environment. Workers shall

receive regular and recorded health and safety training, and such training shall be repeated

for new or reassigned workers. Access to clean toilet facilities and potable water and, if

appropriate, sanitary facilities for food storage shall be provided. Accommodation, where

provided, shall be clean, safe, and meet the basic needs of the workers. The company

observing the standards shall assign responsibility for health and safety to a senior

management representative.

**2.4. Child Labour shall not be used:** There shall be no new recruitment of child labour.

Companies shall develop or participate in and contribute to policies and programmes,

which provide for the transition of any child found to be performing child labour to enable

her/him to attend and remain in quality education until no longer a child. Children and

young people under 18 years of age shall not be employed at night or in hazardous

conditions. These policies and procedures shall conform to the provisions of the relevant

International Labour Organisation (ILO) standards.

**2.5. Living wages are paid:** Wages and benefits paid for a standard working week meet, at a

minimum, national legal standards or industry benchmarks. In any event wages should

always be high enough to meet basic needs and to provide some discretionary income. All

workers shall be provided with written and understandable information about their

employment conditions in respect to wages before they enter employment, and about the

particulars of their wages for the pay period concerned each time that they are paid.

Deductions from wages as a disciplinary measure shall not be permitted nor shall any

deductions from wages not provided for by national law be permitted without the express

and informed permission of the worker concerned. All disciplinary measures should be

recorded.

**2.6. Working hours are not excessive:** Working hours comply with national laws and benchmark

industry standards, whichever affords greater protection. In any event, workers shall not on

a regular basis be required to work in excess of the local legal working hours. Overtime shall

be voluntary, shall not exceed local legal limits, shall not be demanded on a regular basis

and shall always be compensated at a premium rate.

**2.7. No discrimination is practised:** There is no discrimination in hiring, compensation, access to training, promotion, termination or retirement based on race, caste, national origin,

religion, age, disability, gender, marital status, sexual orientation, union membership or

political affiliation.

**2.8. Regular employment is provided:** To every extent possible work performed must be on the basis of a recognised employment relationship established through national law and

practice. Obligations to employees under labour or social security laws and regulations

arising from the regular employment relationship shall not be avoided through the use of

labour-only contracting, sub-contracting or home-working arrangements, or through

apprenticeship schemes where there is no real intent to impart skills or provide regular

employment, nor shall any such obligations be avoided through the excessive use of fixedterm

contracts of employment.

basis of a recognised employment relationship established through national law and

practice. Obligations to employees under labour or social security laws and regulations

arising from the regular employment relationship shall not be avoided through the use of

labour-only contracting, sub-contracting or home-working arrangements, or through

apprenticeship schemes where there is no real intent to impart skills or provide regular

employment, nor shall any such obligations be avoided through the excessive use of fixedterm

contracts of employment.

**2.9. No harsh or inhumane treatment is allowed:** Physical abuse or discipline, the threat of

physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation

shall be prohibited.

**Article 3. Corporate social responsibility & other requirements**

**3.1. Business ethics:** Suppliers are expected to maintain the highest degree of business ethics

when working or seeking to work with the LRCS.

**3.2. Transparency of information provision:** Suppliers shall not be involved in any fraudulent

activities, misrepresent information or facts for the purpose of influencing the selection and

contract-awarding process in their favour.

**3.3. Fair competition:** Suppliers shall not be involved in any corrupt, collusive or coercive

practices.

**3.4. Conflict of interest:** The supplier shall represent and warrants that no official/

representative/ staff member of the LRCS has been, or shall be, admitted by the supplier to

any direct or indirect benefit arising from the award of the contract.

**3.5. Adherence to IFRC principles:** When performing on behalf of or at any time representing

the LRCS, the supplier and all individuals assigned by it to perform works or services, shall

act in a manner consistent with the fundamental principles of the International Red Cross

and Red Crescent Movement.

**3.6. Misrepresentation:** By participating in the tender, submitting the bid and having being

selected as a Supplier, the supplier acknowledges their acceptance of the above stated

requirements and shall be held responsible and liable for the consequences of any false or

misrepresented information provided

**Article 4. Environmental and carbon reduction policy**

**4.1.** Suppliers should as a minimum comply with all statutory and other legal requirements

relating to the environmental impacts of their business. Detailed performance standards

are a matter for suppliers, but should address at least the following:

**4.1.1. Waste Management:** Waste is minimised and items recycled whenever this is

practicable. Effective controls of waste in respect of ground, air, and water pollution

are adopted. In the case of hazardous materials, emergency response plans are in

place.

**4.1.2. Packaging and Paper:** Undue and unnecessary use of materials is avoided, and

recycled materials used whenever appropriate.

**4.1.3. Conservation:** Processes and activities are monitored and modified as necessary to

ensure that conservation of scarce resources, including water, flora and fauna and

productive land in certain situations.

**4.1.4. Energy Use:** All production and delivery processes, including the use of heating,

ventilation, lighting, IT systems and transportation, are based on the need to maximise

efficient energy use and to minimise harmful emissions.

**4.1.5. Safety precautions for transport and cargo handling:** All transport and cargo

handling processes are based on the need to maximise safety precautions and to

minimise potential injuries to the environment, beneficiaries and staff as well as the

suppliers’ employees or those of its subcontractors.

**Article 5. Ethical procurement**

**5.1.** Supplier’s core business (over 20% turnover) should not:

**5.1.1.** Manufacture or sell arms.

**5.1.2.** Manufacture or sell tobacco

**5.1.3.** Damage the reputation of the Red Cross name and/or emblem

**5.2.** Legal requirements: Suppliers should always work within the laws of their country

**Article 6. Payment.**

6.1. Payment will be made upon approval by LRCS of a completed milestone/deliverable, and receipt of verified original invoice submitted by Contractor to LRCS, within 45 days, and will be new and unused, free from material defects in quality, material, and design under normal use, and free from any right of claim by any third party, including claims of infringement of any intellectual property rights.

**Article 7.** **Tenderers shall be excluded from participation in a procurement procedure if:**

**7.1** They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations. However, tenderers in this situationmay be eligible to participate insofar as the Grant Recipient is able to purchase supplies on particularly advantageous terms from either a supplier which is definitively winding up its business activities, or the receivers or liquidators of a bankruptcy, through an arrangement with creditors, or through a similar procedure under national law;

**7.2** They or persons having powers of representation, decision-making or control over them have been convicted of an offence concerning their professional conduct by a final judgment;

**7.3** They have been guilty of grave professional misconduct; proven by any means which the Grant Recipient can justify;

**7.4** They have not fulfilled obligations relating to the payment of social security contributions or taxes in accordance with the legal provisions of the country in which they are established, or with those of the country of the Grant Recipient or those of the country where the contract is to be performed

**7.5** They or persons having powers of representation, decision-making or control over them have been convicted for fraud, corruption, involvement in a criminal organization or money laundering by a final judgment

**7.6** they make use of child labor or forced labor and/or practice discrimination, and/or do not respect the right to freedom of association and the right to organize and engage in collective bargaining pursuant to the core conventions of the International Labor Organization (ILO).

# Bidder’s checklist

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Description** | **To be filled by bidder** | | To be filled by LRCS committee | | |
|  | **Included?** | | Present & complete? | | Comments |
| Step/ document to be submitted **with** tender | **Yes** | **No** | Yes | No |  |
| **Complete tender package** delivered before the deadline specified - **Compulsory** |  |  |  |  |  |
| **Annex 1** – LRCS Supplier Registration Form – completed, signed & stamped (if it was not submitted before) – **Compulsory** |  |  |  |  |  |
| **Annex 2** - Bid Form – completed, signed & stamped – **Compulsory** |  |  |  |  |  |
| **Annex 4** – Past performance & Bidder references – completed, signed & stamped **Compulsory** |  |  |  |  |  |
| **Annex 5** - Tender Award and Acknowledge Certificate – signed & stamped – **Compulsory** |  |  |  |  |  |
| **Supporting documents (Mandatory):** | | | | | |
| Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية **Compulsory** |  |  |  |  |  |
| Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة – **Compulsory** |  |  |  |  |  |
| Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة – **Compulsory (if VAT registered)** |  |  |  |  |  |
| **اذاعة تجارية** |  |  |  |  |  |
| **IBAN BANK DOCUMENT Compulsory** |  |  |  |  |  |
| **AFD STATEMENT OF INTEGRITY (SIGNED AND STAMPED) Compulsory** |  |  |  |  |  |
| **GRC DECLARATION OF CONFORMITY + DUE DILIGENCE CHECK (SIGNED AND STAMPED) Compulsory** |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **To be filled in by LRCS –Tender Opening Committee ONLY** | **Eligible** | **Ineligible** |
| Outcome of administrative check. |  |  |