Dear Bidders,

Kindly note that LRC modified the technical specifications of item 1.23 as per below details.

Please take into consideration this modified requirements instead of the mentioned ones in the Invitation to bid

Regards

Item Name: Pathogen reduction System (platelets and plasma)

Ⅰ- Specifications:

- System For pathogen inactivation of platelets and plasma

- Using UVA illumination of amotosalen-treated platelet components or riboflavin + UV light to inactivate pathogen.

- The pathogen inactivation system should selectively damage genetic material by preventing the replication of DNA and RNA.

- It should neutralize a broad spectrum of viruses, bacteria and parasites, as well as potentially harmful white blood cells, without interfering with the therapeutic effect of blood components.

- A complete system, with all necessary equipment and consumables to be presented.

Ⅱ- Training:

Demonstration and continued comprehensive training for lab staff and support services until familiarity with the system.

Ⅲ- Documents to be delivered:

- Calibration certificates

- Validation documents

- Warranty

- Installation qualification

- Should provide electronic and hard copies of User Manual (English), Service manual (English) and Complete construction details with respect to material specification.

Ⅳ- Accessories required:

- The list of spare and wearing parts and their frequency of replacement shall be provided in the offer for illustrative purposes.

- Their provision must be guaranteed for a period of ten years as of the date of installation of the devices.

- The supplier shall propose a maintenance solution and its cost in their offer.

Ⅴ – Transport, installation, and setup

Assured by the company.