INVITATION TO BID (ITB) NO: 2024-011 - SUPPLY AND DELIVERY OF EQUIPMENT AND GEAR USED IN ACTIVITIES SUCH AS RESCUE OPERATIONS, CLIMBING, ROPE ACCESS, AND EMERGENCY RESPONSE. FRAMEWORK AGREEMENT FOR TWO YEARS

|  |  |  |  |
| --- | --- | --- | --- |
| **Lot #** | **Lot description** | **Number Of items /Lot** | **Delivery Location** |
| Lot #1 | Winter Equipment for CERT | 7 items | LRC Roumieh Warehouse |
| Lot #2 | Equipment and gear used in activities such as rescue operations, climbing, rope access, and emergency response | 10 items |

The Lebanese Red Cross (LRC) hereby invites sealed bids from eligible vendors manufacturers/reputed firms/ registered with the Lebanese government for the provision of the following supplies/ services

**TENDER DETAILS:** The Tender details are as follows:

|  |  |
| --- | --- |
| **INCOTERMS:** | DDP – Beirut Delivery Duty Paid |
| **Delivery address of the Bid:** | Lebanese Red Cross Head Quarters, Finance Sector, 1st floor, Spears Street, Kantari, Beirut, Lebanon |
| **ITB Published Date:** | March 6, 2024 |
| **Bid Submission deadline:** | March 27 ,2024 / Time: 2:00 p.m. |
| **Deadline for questions:** | March 19 , 2024 / Time: 2:00 p.m. |
| **Bids to be marked:** | Tender reference: **2024-011** Do not open before **March 27, 2024**” |

*All documents can be downloaded from* [*http://www.redcross.org.lb/*](http://www.redcross.org.lb/) *(Please select “Tender” from the menu at the top right of the page). Tenderers are advised to check the website regularly as any changes or additional information related to this tender will be updated via the website.*

#### IMPORTANT INFORMATION REGARDING THIS ITB:

1. Bid should be submitted typing and not hand written *(written by hand bids will be considered as ineligible)*
2. One sealed envelope should be submitted in person and not by email to LRC headquarters in Spears, Finance Department at the 1rst floor with the inscription: **ITB/ 2024-011 Do not open before March 27, 2024”** No other inscription should be included on this envelope.

All interested bidder in this ITB are requested to send an email with subject Reference *INVITATION TO BID (ITB) NO: 2024-011 - SUPPLY AND DELIVERY OF EQUIPMENT AND GEAR USED IN ACTIVITIES SUCH AS RESCUE OPERATIONS, CLIMBING, ROPE ACCESS, AND EMERGENCY RESPONSE. FRAMEWORK AGREEMENT FOR TWO YEARS*

1. To the following email [rim.fares@redcross.org.lb](mailto:rim.fares@redcross.org.lb) indicating the willingness to be a part of this bid, this will enable you to receive any amendments or updates related to this ITB.
2. Bidders are obligated to propose only a single option for each item.
3. Bidders should possess a scanned copy of the Invitation to Bid (ITB) documents that are completed, signed, and stamped. These documents must be readily available to be sent to the Lebanese Red Cross (LRC) via email when requested.
4. The supplier is required to complete print, sign, and stamp all the pages of the invitation to bid.

## SELECTION AND AWARD CRITERIA

The Awarding decision will be based on the lowest cost technically compliant bid per Lot.

The technical evaluation criteria are as per ***Annex 3 of Detailed Specifications***.

## ADMINISTRATIVE EVALUATION *(Sign and Stamp)*

A bid shall pass the administrative evaluation stage before being considered for technical and financial evaluation. Bids thatare deemed administratively non-compliant may be rejected.

**DOCUMENTS LISTED BELOW SHALL BE SUBMITTED WITH YOUR BID:**

|  |  |  |  |
| --- | --- | --- | --- |
| **#** | **ANNEX** | **DOCUMENT** | **INSTRUCTIONS** |
| 1 | Annex 1 | LRC Supplier Registration Form | Complete ALL sections in full, sign, stamp and submit ***Mandatory.*** |
| 2 | Annex 2 | Bid Form | Complete ALL sections in full, sign, stamp and submit ***Mandatory.*** |
| 3 | Annex 3 | Detailed Specification | Complete ALL sections in full, sign, stamp and submit ***Mandatory.*** |
| 4 | Annex 4 | Past Performance & Bidder References: | At least Two Proof of similar working experience with local or international NGO, Public or private sector shall be submitted.  Proof includes a copy of contract/purchase order signed or copy of Job Completion.  ***Note: notification of contract award is not a***  ***Proof of experience for LRC.*** |
| 5 | Annex 5 | Tender Award and Acknowledge Certificate | Mandatory, Signed and Stamped |
| 6 | Annex 6 | General conditions of contract | Mandatory, Signed and Stamped |
| 7 | Annex 7 | Bidder’s checklist | Mandatory, Signed and Stamped |
| 8 |  | Data Sheet of the proposed Items | Each Data Sheet submitted by bidders must be signed and stamped with the corresponding Item # as per the Tender Reference indicated on the upper part of the Data Sheet. This requirement is mandatory, and failure to sign and stamp the documents as specified may result in the bid being considered incomplete or disqualified." |
| 9 |  | Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية | Mandatory |
| 10 |  | Copy of tax registration (Ministry of Finance (وزارة المالية) شهادة تسجيل الشركة | Mandatory |
| 11 |  | Copy of VAT registration (Ministry of Finance)  (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة | If registered |
| 12 |  | اذاعة تجارية | Mandatory |
| 13 |  | IBAN official Document Signed by the Bank | Mandatory |
| 14 |  | GRC Annexes (Certification & due diligence Check) | Mandatory |
| 15 |  | AFD Statement of integrity (Both Arabic and English versions) | Mandatory |

## TECHNICAL EVALUATION

To be technically acceptable, the bid shall meet or exceed the stipulated requirements and specifications in the ITB.

A Bid is deemed to meet the criteria if it confirms that it meets all mandatory conditions, procedures and specifications in the ITB without substantially departing from or attaching restrictions with them. If a Bid does not technically comply with the ITB, it will be rejected.

LRC reserves the right to request alternatives for items that are deemed noncompliant with the technical requirements

All bids that pass the Technical Evaluation will proceed to the Financial Evaluation. Bids that are deemed technically noncompliant will not be financially evaluated.

|  |  |  |
| --- | --- | --- |
| **LRC Essential Requirements *N.B: bidders who do not comply with LRC below Requirement may be disqualified.*** | **Is bid compliant?** Bidder to complete | **Comments if any** |
| Awarded Bidder(s) must commit to Two Years Framework Agreement. | ☐ Yes ☐ No |  |
| **LRC Payment term:**  LRC will pay in Fresh Transfer USD, within 30-45 calendar days after the submission of all required documentation (invoice GRN….)  And the VAT amount will be paid in Cheque LBP *–Sayrafa rate, and the advance payments are not applicable* | ☐ Yes ☐ No |  |
| **Bid validity for evaluation:**  Bids shall remain valid for a period of three (3) calendar months from the deadline for the receipt of bids | ☐ Yes ☐ No |  |
| **Delivery terms:**  The Delivery is Partial and Not Complete | ☐ Yes ☐ No |  |
| **Lead Time Delivery For Lot #1:*(Mandatory)***  The supplier is able to deliver the goods before 31 May 2024 | ☐ Yes ☐ No |  |
| **Lead Time Delivery For Lot #2:*(Mandatory)***  The supplier is able to deliver the goods before April, 30 2024 | ☐ Yes ☐ No |  |
| Bidder are required to confirm their acceptance of partial awarding, rather than per Lot, in case LRC deems it necessary during the Technical and Financial evaluation. | ☐ Yes ☐ No |  |
| The bidder agrees to accept being awarded as a secondary provider (defined as a backup or alternative supplier) rather than a primary one (defined as the main or preferred supplier). | ☐ Yes ☐ No |  |

1. **TENDER PROCESS**

The following processes will be applied to this Tender:

 Tender Period

 Tender Closing

 Tender Opening

 Administrative Evaluation

 Technical Evaluation

 Financial Evaluation

 Contract Award

 Notification of Contract Award

## Instructions to bidders

Tenderers must meet all the requirements specified in the tender documents and therefore advised to go through the tender documents carefully before submission and be certain that they are able to comply with the specified terms & conditions.

1. **Bidding in lots:**

If the tender is divided into lots, bidders should make every effort to bids for all items within the lot they are interested in. If bidders fail to complete all items within the lot LRC reserves the right not to award the lot to the bidder. Bidders can bid for as many lots as they wish.

1. **Items and Quantity:**

LRC reserves the right to split up the order between suppliers if deemed necessarily.

1. **Specifications:**

The detailed specification in respect of requested item with packing, marking/ labelling instructions etc. are given in ***Annex 3 - Detailed Specifications*** which tenderers must adhere to.

**Eligibility:**

* 1. Bidders are solely responsible for ensuring that the full bid is received by LRC in accordance with the ITB requirements, prior to the specified date and time mentioned above. LRC will consider only those portions of the bids received prior to the closing date and time.
  2. All responsive Bids shall be typed on the LRC Bid Form.
  3. Bids submitted are at the Bidders risk and LRC takes no responsibility for the receipt of such Bids.
  4. Bidders are solely responsible for ensuring that the full Bid is received by LRC, in accordance with the ITB requirements:

**Submission of the Hard Copy:**

Bid shall be placed in an outer sealed envelope, addressed and delivered to Lebanese Red Cross Head Quarters, Finance Sector, 1st floor, Spears Street, Kantari, Beirut, Lebanon:

***“Tender reference: 2024-011. Do not open before March 27, 2024”*** Failure to comply with the above may disqualify the Bid.

* 1. Tenderer(s) must be Manufacturers, accredited Wholesalers, Traders / Suppliers, Agents in their registered countries.
  2. Any unsealed tenders and tenders received after the submission deadline will not be accepted.
  3. Tenderer(s) should have the capacity and capability to supply the items in accordance with the specifications within the prescribed delivery time and the terms & conditions mentioned herein.
  4. Contracts can be awarded individually or jointly.

1. **Price:**
   1. Price should be best and final offer
   2. Include discounts for early payment, if any
   3. All prices should be denominated in the currency that is specified in the **Addendum** attached.
   4. Applicable VAT/duty rates should be clearly stated per item in the offer as to facilitate any tax/ duty exemptions/ reimbursement
2. **I’NCOTERMS:**

DDP INCOTERMS©2021 as defined by the International Chamber of Commerce will be used to govern the terms of delivery/ contract.

1. **Delivery Destinations:**

Details of the consignee and necessary details for the paperwork will be agreed at the time of signing contract with successful Tenderer/s. Tenderer(s) shall be responsible for all costs arising from packing, forwarding and delivering of goods to actual points of delivery including loading, unloading, transport and insurance and clearance costs as per the stated INCOTERMS.

1. **Delivery/Readiness Period:**

The delivery/readiness must be within the agreed timeframe after the of signing the contract by both parties and all the items/quantities must be delivered at the delivery destinations within a maximum period as agreed on the signing of the contract. The successful Tenderer will be required to agree to the Delivery Schedule (as stated, in tranches so they meet the requirements of our consignee)

1. **Packaging:**

All goods must be appropriately packed (if applicable – refer **Annex 3 - Detailed Specifications** suitable for sea/road transportation and loading/unloading including rough handling to final destinations.

1. **Marking/Labelling:**

Marking / labelling instructions are provided in **Annex 3 - Detailed Specifications**

1. **Presentations:**

Bids should be clearly legible. Prices entered in lead pencil will not be considered. All erasures, amendments, or alterations shall be initialed by the signatory to the Bid. Do not submit blank pages of the Bid Form and/or schedules, which are unnecessary for your offer. All documentation shall be written in English. All Bids shall be signed by a duly authorized

1. **Language:**

The documents submitted will be accepted in English language only. The certificate, etc. from local government or local authorities (if applicable) could be provided in actual language All markings and labelling should appear in English only.

1. **Samples:**

Please refer to the **Addendum** if samples are required with the bid submission or not. If required samples of all the items must be submitted together with your Tender documents. Samples must meet the required specifications as per **Annex 3 - Detailed Specifications**. Each sample must be clearly labelled. LRC reserves the right to reject bids where Tender documents are not accompanied by the samples.

1. **Validity Period:**

Bids shall be valid for at least the minimum number of days specified in the Addendum, and from the date of Bid closure. LRC reserves the right to determine, at its sole discretion, the validity period in respect of Bids, which do not specify any such maximum or minimum limitation.

If the bid is successful and contracted, the bid will remain valid for the duration of the contract.

1. **Your offer should clearly state the following:**
   1. Country of origin of the goods
   2. Place of manufacture and place of despatch
   3. Unit prices / Total prices, etc. as per **Annex 2 - Bid Form**
   4. Price should be net after deduction of any discount and should be compatible with the appropriate INCOTERMS specified in the **Addendum**.
   5. Firm dates for starting and completion of delivery at delivery points.
   6. Confirmation to comply with the specifications as per **Annex 3 - Detailed Specifications**, if you can meet the specifications. If not, state clearly.
   7. Confirmation to agree to accept the terms and condition as per this tender document and the general terms and conditions, stated within Annex 5 Tender and Award Acknowledge Certificate.
   8. Full packing details (contents, weight and volume)
2. **Award of Contracts:**

This ITB does not commit LRC to award a contract or pay any costs incurred in the preparation or submission of Bids, or costs incurred in making necessary studies for the preparation thereof, or to procure or contract for services or goods. The Bidder of an offer made by LRC will regard as an offer made by the Bidder and not as an acceptance any bid submitted.

No contractual relationship will exist except pursuant to a written contract document signed by a duly authorized official of LRC and the successful Bidder.

LRC may award contracts for part quantities or individual items. LRC will notify successful Bidders of its decision with respect to their Bids as soon as possible after the Bids are opened.

LRC reserves the right to cancel any ITB, to reject any or all Bids in completely or in part, and to award any contract.

Suppliers who do not comply with the contractual terms and conditions including delivering different products and of different origin than stipulated in their Bid and covering contract may be excluded from future LRC ITBs.

1. **ACCEPTANCE:**

LRC reserves the right, at its sole discretion, to consider as invalid or unacceptable any Bid which is a) not clear; b) incomplete in any material detail such as specification, terms delivery, quantity etc.; or c) not presented on the Bid Form – and to accept or reject any amendments, withdraws and/or supplementary information submitted after the time and date of the ITB closure.

1. **CONFIDENTIALITY:**

This ITB or any part hereof, and all copies hereof shall be returned to LRC upon request. This ITB is confidential and proprietary to LRC, contains privileged information, part of which may be copyrighted, and is communicated to and received by Bidders on the condition that no part thereof, or any information concerning it may be copied, exhibited, or furnished to

Others without the prior written consent of LRC, except that Bidders may exhibit the specifications to prospective subcontractors for the sole purpose of obtaining offers from them. Notwithstanding the other provisions of the ITB, Bidders will be bound by the contents of this paragraph whether or not their company submits a Bid or responds in any other way to this ITB.

1. **COLLUSIVE BIDDING AND ANTI-COMPETITIVE CONDUCT**

Bidders and their employees, officers, advisers, agent or sub-contractors shall not engage in any collusive bidding or other anti-competitive conduct or any other similar conduct, in relations to:

 The preparation of submission of Bids,

 The clarification of Bids,

 The conduct and content of negotiations,

 including final contract negotiations,

In respect of this ITB or procurement process, or any other procurement process being conducted by LRC in respect of any of its requirements.

For the purpose of this clause, collusive bidding, other anti-competitive conduct, or any other similar conduct may include, among other things, the disclosure to, exchange or clarification with, any other Bidder, person or entity, of information (in any form), whether or not such information is commercial information confidential to LRC, any other Bidder, person or entity in order to alter the results of a solicitation exercise in such a way that would lead to an outcome other than that which would have been obtained through a competitive process.

1. **IMPROPER ASSISTANCE**

Bids that, in the sole opinion of LRC, have been compiled:

- With the assistance of current or former employees of LRC, or current or former contractors of LRC in violation of confidentially obligations or by using information not otherwise available to the general public or which would provide a non-competitive benefit,

- With the utilization of confidential and/or internal LRC information not made available to the public or to the other Bidders,

In breach of an obligation of confidentially to LRC, or contrary to these terms and conditions for submission of a Bid, shall be excluded from further consideration Without limiting the operation of the above clause, a Bidder shall not, in the absence of prior written approval from LRC, permit a person to contribute to, or participate in, any process relating to the preparation of a Bid or the procurement process, if the person has at any time during the 6 months immediately preceding the date of issue of this ITB was an official, agent, functionary, or employee of, or otherwise engaged by LRC and was engaged directly, or indirectly, in the planning or performance of the requirement, project, or activity to which this ITB relates.

1. **CORRUPT PRACTICES**

LRC has zero tolerance for corruption. The Bidder represents and warrants that neither it nor any of its potential subcontractors are engaged in any form of corruption, defined by LRC as the misuse of entrusted power for private gain.

This definition is not limited to interactions with public officials and covers both attempted and actual corruption, as well as monetary and non-monetary corruption. The definition includes, but is not limited to, corruption in the form of: facilitation payments, bribery, gifts constituting an undue influence, kickbacks, favoritism, cronyism, nepotism, extortion, embezzlement, misuse of confidential information, theft, and various forms of fraud, such as forgery or falsification of documents, and financial or procurement fraud. No offer, payment, consideration or benefit of any kind, which could be regarded as an illegal or corrupt practice, shall be made, promised, sought or accepted – directly or indirectly – as an inducement or reward in relation to activities funded by LRC, including tendering, award or execution of core serves the right, without prejudice to any other right or remedy available to it, according to any violation of this clause to immediately reject the submitted offer, and to take such additional action, civil and/or criminal, as may be appropriate.

The Bidder agrees to accurately communicate LRC policy with regards to Anti- Corruption to Third Parties. The Bidder furthermore, agrees to inform LRC immediately of any suspicion or information it receives from any source alleging a violation of this policy to the contact details of the specific LRC country operations

1. **CONFLICT OF INTEREST**

A Bidder shall not, and shall ensure that its employees, officers, advisers, agents or subcontractors do not place themselves in a position that may, or does, give rise to an actual, potential or perceived conflict of interest between the interests of LRC and the Bidder’s interests during the procurement process.

If during any stage of the procurement process or performance of any LRC contract a conflict of interest arises, or appears likely to arise, the Bidder shall notify LRC immediately in writing, setting out all relevant details of the situation, including those cases in which the interests of the Bidder conflict with the interests of LRC, or cases in which any LRC official, employee or person under contract with LRC may have, or appear to have, an interest of any kind in the Bidder’s business or any kind of economic ties with the Bidder. The Bidder shall take steps as LRC may reasonably require, to resolve or otherwise deal with the conflict to the satisfaction of LRC.

1. **WITHDRAWAL/MODIFICATION OF BIDS**

Requests to withdraw a Bid after the Bid closure time shall not be honored.

Withdrawal of a Bid may result in your suspension or removal from the LRC suppliers List.

A Bidder may modify its Bid prior to the ITB closure. Any such modification shall be submitted in writing and in a sealed envelope, marked with the original Bid number. No modification shall be allowed after the ITB closure.

1. **LATE BIDS**

All Bids received after the ITB closure will be rejected.

1. **OPENING OF THE ITB**

The Tender Opening will take place at the time and location stated within Addendum.

Any attempt by a Bidder to influence the Evaluation Committee in the process of examination, clarification, evaluation and comparison of tenders, to obtain information on how the procedure is progressing or to influence LRC in its decision concerning the award of the contract will result in the immediate rejection of the tender.

1. **CONDITIONS OF CONTRACT**

All Bidders shall acknowledge that the LRC General Conditions, or the Special Conditions of Contract, as applicable, are acceptable.

1. **CANCELLATION OF THE ITB**

In the event of an ITB cancellation, Bidders will be notified by LRC. If the ITB is cancelled before the outer envelope of any Bid has been opened, the sealed envelopes will be returned, unopened, to the Bidders.

The ITB may be cancelled in the following situations:

-where no qualitatively or financially worthwhile Bid has been received or there has been no response at all;

-the economic or technical parameters of the project have been fundamentally altered;

- Exceptional circumstances or force majeure renders normal performance of the project impossible;

- All technically compliant Bids exceed the financial resources available; or there have been irregularities in the procedure, in particular where these have prevented fair competition.

LRC shall not be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of an ITB, even if LRC has been advised of the possibility of damages. The publication of a procurement notice does not commit LRC to implement the programme or project announced.

1. **QUERIES ABOUT THIS ITB**

For queries on this ITB, please contact the Procurement, on the following email: [rim.fares@redcross.org.lb](mailto:rim.fares@redcross.org.lb)

All questions regarding this ITB shall be submitted in writing to the above. On the subject line, please indicate the ITB number.

Bids shall not be sent to the above email.

All questions during the tender period, as well as the associated answers, will be shared with all invited bidders.

1. **ITB DOCUMENTS**

This ITB document contains the following:

1. This Invitation to Bid.

2. Addendum

3. Annex 1: LRC Supplier Registration Form.

4. Annex 2: LRC Bid Form.

5. Annex 3: Detailed Specifications.

6. Annex 4: Past Performance and Reference Check.

7. Annex 5: Tender and Contract Award Acknowledgement Certificate.

8. Annex 6: General Conditions of Procurement Contract.

9. Bidder Checklist.

Bidders shall observe the highest standard of ethics during the procurement and execution of such contracts. LRC will reject a Bid if it determines that the Bidder recommended for award, has engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing, the Contract.

Yours sincerely

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ADDENDUM | | | | | |
| **Bidders Instructions:** | | **Item:** | | **Specific Instruction / Requirements:** | |
| **Language:** | | Tender document language | | English | |
| **Price:** | | Currency of Bid | | United State Dollar USD | |
|  | | Exchange rate | | For evaluation purposes, we will use the following exchange rate  No other currencies are acceptable. | |
| **Payment:** | | Terms | | 30-45 calendar days after the submission of all required documentation (invoice GRN….)  ***In case of payment in LBP, the value of the Lebanese Pound shall be determined according to the exchange of the US dollar issued by the Beirut Stock Exchange, on the payment's date*** | |
| Method | | Bank transfer – VAT Amount will be paid in Cheque LBP (sayrafa rate) | |
| **INCOTERMS©** | | Terms of delivery | | DDP – Beirut Delivery Duty Paid | |
| **Tender delivery** | | Delivery address | | Lebanese Red Cross  Finance office- 1st Floor, Head Quarter  Spears Street,Kantari, Beirut, Lebanon | |
| **Goods/ services delivery period** | |  | | Within the 2 Years FWA | |
| **Delivery terms** | |  | | Complete delivery of the quantity listed in Annex 2: Financial Table is required.  It has emphasized that while most items/quantities listed will be requested to be deliver based on the provided prices, bidders must commit to those quoted prices for a period of two years. This commitment ensures that the quoted prices remain valid in case there is a need to order these items later within the specified timeframe. | |
| **Goods delivery location** | |  | | LRC Roumieh Warehouse | |
| **Marking/ labelling** | |  | | N/A | |
| **Samples** | | **Sample not required to be submitted before deadline only data sheet** | | No samples are required to be submitted before the deadline; however, the bidder must be capable of providing samples if requested later. It is mandatory for the bidder to submit a data sheet for each proposed item. Each data sheet must be clearly labeled with the corresponding Item # as indicated in the tender documentation. | |
| **Bid validity for evaluation** | | 3 calendar months | | Bids shall remain valid for a period of three (3) calendar months from the deadline for the receipt of bids | |
| **Liquidated damages** | | Damages per calendar day of delay | | 0.5% of contract value | |
| Maximum delay damages | | 5% of contract value | |
| **Tender information** | | **ITB Published Date:** | | March 6, 2024 | |
| **Tender Submission deadline:** | | March 27, 2024 / Time: 2:00 p.m. | |
| **Deadline for questions:** | | March 19, 2024 / Time: 2:00 p.m. | |
| **Bids to be marked:** | | Tender reference: 2024-011 Do not open before March 27, 2024 / Time: 2:00 p.m. | |
| Annex 1: Supplier Registration Form (Must be signed and stamped) Please fill in this questionnaire in order to register. Information given in this questionnaire will be handled confidentially. Please attach all other documents requested in the questionnaire. All bidders should completely fill up this form. If found blank then the bidder's tender shall not be included in the Final Evaluation | | | |
| 1. NAME OF COMPANY: | |  | |
| Mailing Address | | Location: | |
| Country: | |
| Contact Person (s) information | | Name:  Position: | |
| Telephone No | | Fax:  Mob:  Tel: | |
| Email | |  | |
| Website | |  | |
| Owner(s) Name(s): | |  | |
|  | |
| Nationality: | |  | |
| VAT Number | |  | |
| Date of Registration of VAT | |  | |
| 1. ORGANISATION REGISTRATION: | | Year Established: Under the laws of: | |
| 1. SIZE OF BUSINESS | | No. of Employees: No. of Branches: | |
| No. of International Offices: | |
| Location of Factories: | |
| No. of Plants: | |
| No. of Warehouses | |
| 1. AFFILIATED/HOLDING/ SUBSIDIARY COMPANIES: | | Name Address Nature of Affiliation | |
|  | |
|  | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ANNEX 2 - BID FORM *(ALL REQUESTED DETAILS TO BE FILLED OUT, SIGNED, AND STAMPED-MANDATORY)* | | | | | | | | |
| * **Submission Format:** All bids must be typed; handwritten bids will not be considered. * **Inclusive Quotes:** Quoted prices should encompass taxes, labor, transportation, bank transfer fees, and delivery charges across Lebanon, and associated fees. * **Awarding Criteria:** Bids will be evaluated based on the lowest cost technically compliant bid per Lot. LRC reserves the right to award per item only if deemed necessary. * **Award Flexibility:** LRC reserves the right to award the tender to one or more suppliers based on Lowest cost technical compliant bid and the availability of the item to meet the LRC lead time delivery * **Information Completeness**: Bidders must provide complete information in the table below; missing information may lead to bid disqualification. | | | | | | | | |
| LOT #1: Supply and delivery of Winter storm Equipment for Community Emergency Response Team (CERT) | | | | | | | | |
| **LRC TO COMPLETE** | | | | **BIDDER TO COMPLETE** *(MANDATORY TO FILL ALL THE REQUIRED DETAILED)* | | | | |
| **ITEM #** | **ITEM/MILESTONE REQUIRED/ KIT**  ***(Refer to Annex 3 detailed Specification)*** | **UOM** | **ESTIMATED QUANTITY** | **UNIT PRICE (USD)**  Exclusive VAT | **VAT 11% (USD)** | **TOTAL PRICE (USD)**  Inclusive VAT | **QUANTITY AVAILABLE IN STOCK** | **Lead Time Delivery (WD)** |
| **1.1** | Headlights | Pcs | 20 |  |  |  |  |  |
| **1.2** | Snowshoe and Poles *The set includes both pairs of snowshoes and pairs of poles* | Set | 20 |  |  |  |  |  |
| **1.3** | Snow Gloves | Pairs | 40 |  |  |  |  |  |
| **1.4** | Towing Rope | Pcs | 8 |  |  |  |  |  |
| **1.5** | Waterproof Jacket | Pcs | 40 |  |  |  |  |  |
| **1.6** | **Snow Chains** For Ambulance: with tire size :LT265/70R18 | Set of 4 Pcs | 1 |  |  |  |  |  |
| **1.7** | **Snow Chains** ForAmbulance with tire size 195/70 R15C 8PR 104/102T | Set of 4 Pcs | 1 |  |  |  |  |  |
| **Total Price (TTC)** | | | | | | USD | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LOT #2: Supply and delivery of equipment and gear used in activities such as rescue operations, climbing, rope access, and emergency response. | | | | | | | | |
| **LRC TO COMPLETE** | | | | **BIDDER TO COMPLETE** *(MANDATORY TO FILL ALL THE REQUIRED DETAILED)* | | | | |
| **ITEM #** | **ITEM/MILESTONE REQUIRED/ KIT**  ***(Refer to Annex 3 detailed Specification)*** | **UOM** | **ESTIMATED QUANTITY** | **UNIT PRICE (USD)**  Exclusive VAT | **VAT 11% (USD)** | **TOTAL PRICE (USD)**  Inclusive VAT | **QUANTITY AVAILABLE IN STOCK** | **Lead Time Delivery (WD)** |
| **2.1** | Double pulley with swivel | Pcs | 1 Pcs |  |  |  |  |  |
| **2.2** | Double lanyard with integrated energy absorber and MGO connectors | Pcs | 1 Pcs |  |  |  |  |  |
| **2.3** | Ball Bearing Swivel | Pcs | 10 Pcs |  |  |  |  |  |
| **2.4** | Efficient double pulley for Tyrolean traverses on rope | Pcs | 1 Pcs |  |  |  |  |  |
| **2.5** | Roller for movement along cable | Pcs | 1 Pcs |  |  |  |  |  |
| **2.6** | Carriage pulley for rescue on a tensioned highline | Pcs | 1 Pcs |  |  |  |  |  |
| **2.7** | Releasable double progress capture pulley for haul systems | Pcs | 1 Pcs |  |  |  |  |  |
| **2.8** | Pulley-carabiner | Pcs | 1 Pcs |  |  |  |  |  |
| **2.9** | Descender | Pcs | 2 Pcs |  |  |  |  |  |
| **2.10** | BABY RESCUE BAG | Pcs | 2 Pcs |  |  |  |  |  |
| **Total Price (TTC)** | | | | | | USD | | |

|  |  |
| --- | --- |
| **BANK ACCOUNT DETAILS:** *(ALL REQUESTED DETAILS TO BE FILLED OUT, SIGNED, AND STAMPED-MANDATORY)* | |
| **SUPPLIER BANK DETAIL:** | |
| Bank Name: |  |
| Bank Address: |  |
| Beneficiary Name: |  |
| Beneficiary Address: |  |
| Account#: |  |
| Currency: |  |
| IBAN : |  |
| SWIFT : |  |

## ANNEX 3: DETAILED SPECIFICATIONS

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **ITEM #** | **ITEM NAME** | **ITEM DESCRIPTION** | **Estimated QTY** | **Sample or data sheet** |
| ***LOT #1: SUPPLY AND DELIVERY OF WINTER STORM EQUIPMENT FOR COMMUNITY EMERGENCY RESPONSE TEAM (CERT)*** | | | | |
| **1.1** | **Headlights** | * Special Feature Adjustable Strap, Rechargeable, Motion Sensor * Color: Black * Power Source: Battery Powered * Light Source Type: ‎LED * Material: Plastic * White Brightness : 260 Lumens * Included Components: Headlamp * Product Dimensions: ‎25.2"D x 1.18"W x 0.63"H * Battery Cell Composition: Lithium Ion * Battery Description: ‎Lithium-Ion * Runtime: ‎8 hours | 20 Pcs | Data sheet |
| **1.2** | **Snowshoe and Poles** | * Size: ‎25 inch * Material: ‎HDPE * Maximum Weight Recommendation: ‎187.4 Pounds * Closure Type: ‎Buckle * Frame Material: ‎Aluminum Alloy AL6061   **The poles** can be adjusted in length from 25.5'' (about 65 cm) to 53'' (around 135 cm)  *The set includes both pairs of snowshoes and pairs of poles* | 20 Set | Data sheet |
| **1.3** | **Snow Gloves** | * Material: polyester * Waterproof: strong * Style: split-finger gloves * Suitable for snow * Size: 4.72\*10.23 in | 40 Pair | Data sheet |
| **1.4** | **Towing Rope** | * Size: 20 FT long, 2 In * Load Capacity: ‎10000 pound * Fastener Material: ‎Stainless Steel * Material: Polyester Webbing | 8 Pcs | Data sheet |
| **1.5** | **Waterproof Jacket** | * Material: Polyester * Sleeve length: Long Sleeve * Gender: Unisex * Highly breathable * Two-way front zipper * Water proof | 40 Pcs | Data sheet |
| **1.6** | **Snow Chains**  For Hrar-Akkar Ambulance: LT265/70R18 | **Snow chains:**   * 3250 Stud Cam Truck Tire Chains, 9/32 (7.14mm) thick cross chains * Includes Cams and Cam Tool * Studded Chains and Extra Long Life Tire chains. * Recommended for off road, over the road, chain law, semi-trucks. * BORON ALLOY 10B21 STEEL LASTS UP TO 83% LONGER THAN STANDARD ROCKWELL 53 STEEL. * Hrar-Akkar Ambulance: LT265/70R18 | Set of 4 Pcs | Data sheet |
| **1.7** | **Snow Chains**  Al Ain-Baalbeck: 195/70 R15C 8PR 104/102T | **Snow chains:**   * 3250 Stud Cam Truck Tire Chains, 9/32 (7.14mm) thick cross chains * Includes Cams and Cam Tool * Studded Chains and Extra Long Life Tire chains. * Recommended for off road, over the road, chain law, semi-trucks. * BORON ALLOY 10B21 STEEL LASTS UP TO 83% LONGER THAN STANDARD ROCKWELL 53 STEEL. * Al Ain-Baalbeck: 195/70 R15C 8PR 104/102T | Set of 4 Pcs | Data sheet |
| ***LOT #2: Supply and delivery of equipment and gear used in activities such as rescue operations, climbing, rope access, and emergency response*** | | | | |
| **2.1** | **Double pulley with swivel** | Openable even when attached to the anchor, a double pulley designed for maximum simplicity when setting up hauling systems or tyroleans. The two parallel-mounted sheaves and auxiliary attachment point allow the pulley to be used for setting up various types of complex haul systems The large diameter sheaves mounted on sealed ball bearings provide excellent efficiency The swivel facilitates handling, allowing the pulley to be oriented under load, and direct connection of carabiners, ropes or slings.  **Description**   * Designed for maximum simplicity when setting up haul systems or tyroleans for work at height or rescue: - triple-action opening of the moving side plate is quick and easy, even with gloves - the rope can be installed with the device connected to the anchor. - red mark provides a visual warning when the moving side plate is unlocked - special side plate design protects the rope path * ***Optimal efficiency:*** - large diameter sheaves mounted on sealed ball bearings for excellent efficiency * Parallel-mounted sheaves and auxiliary attachment point for setting up various types of complex haul systems * ***Easy handling:*** - swivel allows pulley to be oriented under load - swivel accepts up to three carabiners - swivel and auxiliary attachment point allows the use of ropes and slings to facilitate maneuvers. * ***Specifications*** * Weight: 480 g * Material(s): aluminum, stainless steel, nylon * Min. rope diameter: 7 mm * SPIN L2Max. rope diameter: 13 mm * Sheave type: sealed ball bearings * Sheave diameter: 38 mm * Maximum working load: 8 kN (3 kN per strand, more information in the Instructions for Use) * Breaking strength: 36 kN | 1 PCS | Data Sheet |
| **2.2** | **Double lanyard with integrated energy absorber and MGO connectors** | **Description**   * Designed for progression on a vertical structure or horizontal lifeline, and when passing intermediate anchors * Absorbs energy in the event of a fall: - Tearing of the energy absorber webbing limits the impact force on the user - Works with users who weigh between 50 and 140 kg (1) - Progressive tearing reduces the deceleration on lightweight users * Minimal bulk: - Compact energy absorber facilitates handling - FLEX version with 150 cm of elasticized webbing to avoid hindering progression * Durable fabric pouch with opening system at each end, protects the energy absorber from abrasion or contaminants while allowing for regular inspection of the absorber * Two options for installation on the harness, depending on use: - Frequent connection/disconnection: using either a carabiner held in correct position by the STRING positioning accessory (included with the lanyard), or a MICRO SWIVEL to avoid tangling - Semi-permanent connection: using either a RING OPEN gated ring whose circular shape allows optimal positioning, or a SWIVEL OPEN to avoid tangling * Comes with two large-opening MGO connectors for connection to a metal structure, and a Bm’D carabiner with a CAPTIV positioning bar for connection to the harness * Available in two lengths: 80 and 150 cm  Specifications * Material(s): Polyester, nylon, high-modulus polyethylene, aluminium * ABSORBICA®-Y MGO International Version | 1 PCS | Data Sheet |
| **2.3** | **Ball Bearing Swivel** | SWIVEL**Ball bearing swivel**  SWIVEL prevents the rope from twisting when the load is turning. Sealed ball bearings offer excellent performance and reliability.  **Description**   * Prevents the rope from twisting when the load is turning * Excellent performance and reliability due to maintenance-free sealed ball-bearings * **SWIVEL L:** - designed for two-person loads, up to three connectors can be attached in the ends | 10 pcs | Data sheet |
| **2.4** | **Efficient double pulley for Tyrolean traverses on rope** | Double pulley is designed for zip lines or tensioned highlines and has stainless steel sheaves mounted on sealed ball bearings for excellent efficiency. It accepts up to three carabiners to facilitate use.  **Description**   * Stainless steel sheaves for excellent durability * Sheave mounted on sealed ball bearings for excellent efficiency * Accepts up to three carabiners to facilitate use   **Specifications**   * Rope compatibility: Diameter: 13 mm or less * Sheave diameter: 27,5 mm * Ball bearings: Yes * Efficiency: 95 % * Maximum working load: 10 kN * Maximum allowable speed: 20 m/s * Weight: 270 g   TANDEM® SPEED | 1 Pcs | Data Sheet |
| **2.5** | **Roller for movement along cable** | **Roller designed for movement and evacuation along mechanical lift cables.**  **Description**   * Designed for movement and evacuation along mechanical lift cables * Large opening and large diameter sheave for use on cables up to 55 mm in diameter * To be used with a back-up lanyard when moving * ROLLCABSpecifications * Cable compatibility: 55 mm or less * Sheave diameter: 55 mm * Ball bearings: no * Maximum working load: 5 kN * Weight: 1470 g * Height: 47 cm | 1 Pcs | Data Sheet |
| **2.6** | **Carriage pulley for rescue on a tensioned highline** | Combining two pulleys and a rigging plate, the carriage pulley is an integrated solution designed to simplify setting up rescue systems on tensioned highlines. It’s compact design limits the number of connectors and the height of the system. Two large-diameter sheaves mounted on sealed ball bearings provide excellent efficiency when moving. Multiple connection holes to directly attach ropes, slings, or carabiners, allowing for better organization.  **Description**   * An integrated solution designed to simplify setting up rescue systems on tensioned highlines: the pulley limits the number of connectors and the height of the system, thanks to its compact design. * Operations and efficiency are optimized: - Triple-action opening of moving side plates, possible even with gloves - Red indicators provide a visual warning when the side plates are not correctly locked * Two large-diameter sheaves mounted on sealed ball bearings for excellent efficiency - Possible to rig the system before installing it on the main line * Multiple configurations and connections are possible: - System can be made redundant by placing two pulleys side by side (if distance between ropes permits), or by connecting a pulley to the upper connection hole for ropes at a further distance - Pulley can be used in a haul system - Hole design allows ropes or slings to be threaded for direct connection - 19 mm holes allow locking sleeves of most carabiners to pass through - The odd number of attachment holes enables the system to be centered and balanced - Up to three people can be connected at the same time   REEVE | 1 Pcs | Data Sheet |
| **2.7** | **Releasable double progress capture pulley for haul systems** | Releasable, the progress capture pulley is designed to set up 4:1 haul systems for work in confined spaces or for technical rescue. Releasing the cam is possible with the ergonomic handle. The brake integrated into the moving side plate and the main faceted sheave with single-direction rotation, offer additional braking and better control when lowering heavy loads. The two sheaves provide excellent hauling efficiency. The swivel facilitates operations, allowing the pulley to be oriented under load and direct connection of carabiners, ropes, or slings.  **Description**   * Double progress capture pulley with handle to release cam: - Ergonomic handle for easy release of the cam - Brake integrated into main moving side plate allowing comfortable and precise control when lowering heavy loads - Cam can be locked in the open position to easily feed slack - Toothless cam helps preserve the rope and allows for easy transition from lowering to hauling and vice-versa * Efficiency is optimized for 4:1 haul systems: - Large-diameter sheave mounted on sealed ball bearings for excellent hauling efficiency - Main faceted sheave with single-direction rotation provides excellent efficiency when hauling and adds friction zones with the rope for additional braking when lowering heavy loads (more information in the Instructions for Use and in the technical tips at www.petzl.com). - Parallel-mounted sheaves and auxiliary attachment point for setting up various types of complex haul systems * Easy to use: - Triple-action opening of the moving side plates is quick and easy, even with gloves - Red indicators provide a visual warning when the side plates are unlocked - The rope can be installed with the device connected to the anchor - Hole in the handle for installation of a remote control cord * Facilitates operations, thanks to the swivel: - Allows pulley to be oriented under load - Accommodates up to three carabiners - Swivel and auxiliary attachment point allows the use of ropes and slings for easier rigging   **Specifications**   * Weight: 800 g * Material(s): Aluminum, stainless steel, nylon * Certification(s): CE EN 567, CE EN 12278 partial\*, NFPA 2500 Pulley General Use, NFPA 2500 Rope Grab Technical Use, UKCA, XF 494: FZL-H-T 9.5/13, XF 494: FZL-Z-Q 9.5/13 \* Meets performance requirements of the EN 12278 standard * System Certification(s): ANSI Z359.4 Synthetic Rope Tackle Block (more information in the Instructions for Use) * Min. rope diameter: 8 mm * Max. rope diameter: 13 mm * Sheave type: Sealed ball bearings * Faceted Sheave Diameter: 40 mm * Sheave diameter: 38 mm * Efficiency: 95 % * Maximum Working Load: 280 kg * Breaking strength of the auxiliary attachment point: 22 kN * Breaking strength: 36 kN * TWIN RELEASE | 1 Pcs | Data Sheet |
| **2.8** | **Pulley-carabiner** | Pulley-carabiner that facilitates installation of the rope when pulley is connected to the anchor  A pulley-carabiner with a gate opening on the pulley side that facilitates installation of the rope when the pulley is fixed to the anchor. It is available with an automatic TRIACT-LOCK locking system, or without a locking system. may be used with a CAPTIV positioning bar to favor loading of the carabiner along the major axis, to limit the risk of it flipping and to keep it integrated with the device.  **Description**   * Easier handling: - sheave mounted on sealed ball bearings for excellent efficiency - gate opening on the pulley side facilitates installation of the rope when the pulley is fixed to the anchor - may be used with a CAPTIV positioning bar to favor loading of the carabiner along the major axis and to limit the risk of it flipping - Keylock system prevents any accidental snagging of the carabiner when putting the pulley in place * H cross-section of carabiner: - ensures an improved strength-to-weight ratio - protects markings from abrasion * Available in versions with or without TRIACT-LOCK locking system   ROLLCLIP A**Specifications**   * Material(s): aluminum * Min. rope diameter: 7 mm * Max. rope diameter: 13 mm * Sheave diameter: 18 mm * Maximum working load: 2 x 2 = 4 kN * Efficiency: 85 % * Major axis strength: 20 kN * Minor axis strength: 8 kN * Open gate strength: 7 kN | 1 Pcs | Data Sheet |
| **2.9** | **Descender** | Descender with integrated progress-capture pulley for loads up to 250 kg, compatible with 10.5 to 11.5 mm ropes  Descender designed for technical rescue operations. It facilitates manipulation of heavy loads, for lowering or hauling, and may be used in both the primary system or in a back-up belay. This versatility allows rescuers to adapt to any situation they may encounter on the rescue scene. The ergonomic handle and integrated brake allow for comfortably controlled descent. Shifting from lowering position to hauling position is immediate, without the need to transfer the load. The integrated progress-capture pulley has a large diameter sheave mounted on sealed ball bearings, ensuring excellent hauling.  **Description**   * Great versatility, ideal for technical rescue: - locking system with integrated progress-capture pulley allows the same device to be used for descent and hauling - can be used in both a single or twin primary system and in a back-up belay (more information on this technique in the product’s instructions for use and in technical tips at www.petzl.com) - lower connection point can be used to create different types of hauling systems - hole in the handle for installation of a distance control cord * Easy to use: - easy rope installation, thanks to the markings on the device - ergonomic handle allows the rope to be released progressively and enables comfortable control of the descent - immediate shift from lowering position to hauling position without having to transfer the load - AUTO-LOCK system allows the rope to be blocked automatically when the handle is not in use. Once locked, the rope can be taken up without having to manipulate the handle. * Efficient for handling heavy loads: - integrated progress-capture pulley with very large diameter sheave mounted on sealed ball bearings; rotates in only one direction for excellent hauling efficiency - sheave is faceted, creating additional friction zones for the rope and thus additional braking on descents - integrated brake on the device to adjust the friction based on the MAESTRO® Sload and the rope diameter - handling of loads up to 250 kg * Rope compatibility: 10.5 to 11.5 mm diameter * **Specifications** * Material(s): aluminum, stainless steel, nylon * Weight: 1100 g * Min. rope diameter: 10,5 mm * Max. rope diameter: 11,5 mm * Sheave type: faceted, on sealed ball bearings * Maximum working load: 250 kg * Breaking strength: 18 kN x 2 = 36 kN * Efficiency: 86 % | 2 Pcs | Data Sheet |
| **2.10** | **BABY RESCUE BAG** | **BABY RESCUE BAG**  Rescue bag for children evacuation  designed for rescue transporting of children of a height of 40-110 cm and maximum weight 25 kg  safety fixation by 3 belts with velcro and with the safety straps led to cross during the transporting  inner padding is very comfortable and fully removable and washable  top cover with full zipper and ventilation hole  stabilization strap of the top cover to prevent the camber of the cover to the face of the child during the transport by the helicopter  color-coded loops for the carabiner fixation and adjusting the position of the bag  side ventilation holes covered by PVC net  durable material with reflection elements  hygienic inner textile blanket included   * Color red * Weight 3300 g (116.4 oz) * Size 80 x 45 x 35 cm * Material PVC, PAD, PES, PES/cotton * Max. load 25 kg (55 lb)   W8220BR00 / BABY RESCUE BAG | 2 Pcs | Data Sheet |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ANNEX 4 – PAST PERFORMANCE & BIDDER REFERENCES (MUST BE SIGNED AND STAMPED) | | | | | | |
| **No.** | **Description** | **Company name** | **UOM** | **Quantity** | **Contract date** | **Contract value (USD)** |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| Please provide the details of minimum two companies for your reference check. For these companies it is compulsory to attach a scan either / photo copy of the Contract/ Purchase order/ Completion certificate/ or Reference letters as proof. | | | | | | |
| **Reference 1** | | | | | | |
| Company name | |  | | | | |
| Mailing address | |  | | | | |
| Contact person | |  | | | | |
| Contact title | |  | | | | |
| Phone number | |  | | | | |
| Email address | |  | | | | |
| **Reference 2** | | | | | | |
| Company name | |  | | | | |
| Mailing address | |  | | | | |
| Contact person | |  | | | | |
| Contact title | |  | | | | |
| Phone number | |  | | | | |
| Email address | |  | | | | |
| **Reference 3** | | | | | | |
| Company name | |  | | | | |
| Mailing address | |  | | | | |
| Contact person | |  | | | | |
| Contact title | |  | | | | |
| Phone number | |  | | | | |
| Email address | |  | | | | |

## ANNEX 5: TENDER AND AWARD ACKNOWLEDGE CERTIFICATE

## This attachment shall be signed and submitted with the Bid (Must be signed and stamped)

|  |  |
| --- | --- |
| 1. In compliance with the ITB Instructions and General Conditions of Procurement Contract, we the undersigned, offer to furnish some or all of the quoted for, at the prices entered in the attached LRC Bid Form No **ITB/2024-011** delivered to the destination specified therein.  2. We accept the terms and conditions set forth in the ITB Letter, and the following requirements have been noted and will be complied with where applicable:  a. That unless otherwise stated, the Bids per each line item shall be on a DDP- Beirut (Incoterms 2021) basis.  b. We confirm that for any offer made where the delivery destination is not as requested in the ITB, item shall be on a DDP- Beirut (Incoterms 2021) basis.  c. That conditional Bid cannot be accepted.  d. That the currency of the Bid should be in USD, or LEB, no other currencies will be accepted.  e. LRC reserves the right, at its own discretion:  i. To award a contract for a lesser or greater quantity than the total quantity Bid for.  ii. To reject any or all Bids and/or enter a contract with a Bidder other than the lowest Bidder.  f. Successful Bidders who are awarded contracts will be notified by the receipt of the original Purchase Order/Contract and acknowledgement copy. In case of urgency, successful Bidders(s) may also be notified by email.  g. Any samples requested, either with the Bid, or at a later date, will be in accordance with the specifications of the required item(s). Failure to comply with this may result in the Bid not being considered  h. We confirm that the validity of this offer match the FWA validity | i. We agree to the terms and conditions set in the LRC General Conditions of Procurement Contract  j. We certify that the below mentioned company has not engaged in corrupt, fraudulent, collusive, or coercive practices in competing for, or in executing any contract.  k. We agree to abide by the LRC Addendum,  3. We note that LRC is not bound to proceed with this ITB and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.  We agree to the above terms and conditions.  Submitted by:  Company Name-----------------------------------------  Place-------------------------------------------------------  Date--------------------------------------------------------  Title/Position--------------------------------------------  Print Name----------------------------------------------  Signature-------------------------------------------------  A duly authorized company representative **any Stamp** |

|  |
| --- |
| ANNEX 6: GENERAL CONDITIONS OF CONTRACT.ARTICLE 1. TERMS & CONDITIONS ON PURCHASING **1.1. Acceptance:** No purchase order shall become effective and no contract shall exist until the LRC has received from the Supplier their written acceptance of the conditions, which govern the PO or contract. This can be accomplished by return of the signed Letter of Authorization and Acknowledgment Form attached.  **1.2. Tax Exemption:** The Supplier’s price shall reflect any tax exemption to which the LRC is entitled by reason of any immunities which it enjoys. If it is subsequently determined that any taxes which have been included in the price are not required to be paid, the LRC shall deduct the amount from the contract price or, if it has paid any such taxes, it shall be refunded.  **1.3. Discount:** Time in connection with any discounts offered will be computed from the date of receipt by the LRC of full documentation as specified by the Purchase Order, contract or Annex thereto.  **1.4. Warranty:** The Supplier warrants the goods or services furnished under this Purchase Order / Contract to be fit for their intended use, free from defects in workmanship or materials, and indemnifies the LRC against any claims resulting there from. This warranty is without prejudice to any further guarantees that the Supplier provides to the Purchaser; such guarantees shall apply to the subject goods of this Purchase Order / Contract.  **1.5. Inspection:** The duly accredited representatives of the LRC shall have the right to inspect the goods or services called for under this Purchase Order / Contract at the Supplier’s stores, during manufacture, in the ports or at places of shipment, and the Supplier shall cooperate and provide all facilities for such an inspection. The LRC may issue a written waiver of inspection at its discretion. Any inspection carried out by representatives of the LRC or any waiver thereof shall not prejudice the implementation of any other relevant provisions of this Purchase Order / Contract concerning obligations subscribed by the Supplier, such as warranty or specifications.  **1.6. Packing:** The Supplier shall pack all goods appropriately and with every care in accordance with normal commercial standards of export packing for the type of goods specified herein. Such packing materials used must be adequate to safeguard the goods while in transit. The supplier shall be responsible for any damage or loss which can be shown to have resulted from faulty or inadequate packing.  **1.7. Export License:** The Purchase Order / Contract is subject to the obtaining of any export license or other governmental authorization which may be required. It shall be the responsibility of the Supplier to inform the LRC beforehand of such restrictions and obtain such license or authorization, but the LRC will use its best endeavours to assist. In the event of refusal thereof, the Purchase Order / Contract will be annulled and all claims between the parties automatically waived.  **1.8. Force Majeure:** Force majeure, as used herein, shall mean acts of God (involuntary and unexpected acts), laws or regulations, industrial disturbances, acts of war, explosions and any other similar cause of equivalent force not caused by, nor within the control of either party, and which neither party is able to overcome. As soon as possible after the occurrence of the force majeure and within not more than 15 days, the supplier shall give notice and full particulars in writing to the LRC of such force majeure if the Supplier is thereby rendered unable, wholly or in part, to perform his obligations and meet his responsibilities under this Purchase Order / Contract. The LRC shall then have the right to terminate the Purchase Order / Contract by giving in writing seven days’ notice of termination to the Supplier, and the Supplier shall return any deposit paid by the LRC.  **1.9. Default:** In case of default by the Supplier, including but not limited to failure or refusal to make deliveries within the time limit specified, the LRC may procure the goods or services from other sources and hold the Supplier responsible for any excess costs occasioned thereby. Furthermore, the LRC may by written notice terminate the right of the Supplier to proceed with the deliveries, or such parts thereof as to which there has been default.  **1.10. Conformity with Specifications:** In the case of goods purchased on the basis of specifications the supplier warrants their conformity. The LRC shall have the right to reject the goods or any part thereof if they do not conform to specifications. Any supplies not found to be in accordance with the specification and requirements will not be accepted and in that eventuality the supplier shall replace the goods and bear the inspection cost and/or other losses caused to LRC, if any, by replacement of the items non–conforming to the requirements/specification.  **1.11. Liquidated Damages:** Arrival of goods/ completion of services after agreed delivery schedule will be subject to deduction of damages  **1.12. Disputes-Arbitration:** Any claim or controversy arriving out of this Purchase Order / Contract, or to the breach, termination or invalidity thereof the parties agree to attempt to settle it amicably via direct negotiations between the two sides within seven days. In case of any dispute that cannot be settled in such way, the Lebanese law shall be applicable and the Lebanese courts will settle any litigation in this regards that was not solved amicably  **1.13. Privileges and Immunities:** Nothing contained in this Purchase Order / Contract shall be deemed a waiver, express or implied, of any privilege or immunity which the LRC may enjoy, whether pursuant to existing conventions or agreements.  **1.14. Assignment:** The Supplier shall not assign, transfer, pledge or make other disposition of this Purchase Order / Contract or any part thereof or of any of the Supplier’s rights, claims or obligations under this Purchase Order / Contract except with the prior written consent of the LRC.  **1.15. Bankruptcy:** Should the Supplier file any petition for bankruptcy, or should the supplier make a general assignment for the benefit of its creditors, or should a receiver be appointed on account of the Supplier’s insolvency, the LRC may under the terms of this Purchase Order / Contract, terminate the same forthwith by giving the Supplier written notice of such termination.  **1.16. Advertising:** Unless authorized in advance in writing by the LRC, the Supplier shall not advertise or otherwise make public the fact that he is a Supplier to the LRC and / or any National Red Cross or Red Crescent Society, or use the name, emblem or official seal of the LRC and / or any National Red Cross or Red Crescent Society, or any abbreviation of the name of the LRC and / or any National Red Cross or Red Crescent Society for advertising purposes or any other purposes.  **1.17. Officials Not to Benefit:** The supplier represents and warrants that no official of the LRC has been, or shall be, admitted by the supplier to any direct or indirect benefit arising from this contract or the award thereof. The supplier agrees that breach of this provision isa breach of an essential term of this contract.  **1.18. Amendments:** No changes or modifications to this Purchase Order / Contract shall be valid unless mutually agreed between both parties and confirmed by an official amendment.  **1.19. Notice:** Service of any notice shall be deemed to be good if sent by registered mail, or email to the addresses of both parties, set out in the heading of this Purchase Order / Contract.  **1.20. Jurisdiction:** This Contract is considered to be concluded as defined in the attached Addendum. ARTICLE 2. LABOUR STANDARDS **2.1. Employment is freely chosen:** There is no forced, bonded or involuntary prison labour. Workers are not required to lodge `deposits’ or their identity papers with the employer and are free to leave their employer after reasonable notice.  **2.2. Freedom of association and the right to collective bargaining are respected:** Workers, without distinction, have the right to join or form trade unions of their own choosing and to bargain collectively. The employer adopts an open attitude towards the legitimate activities of trade unions.Worker’s representatives are not discriminated against and have access to carry out their representative functions in the workplace. Where the right to freedom of association and collective bargaining is restricted under law, the employer facilitates, and does not hinder, the development of parallel means for independent and free associationand bargaining.  **2.3. Working conditions are safe and hygienic:** A safe and hygienic working environment shall be provided, bearing in mind the prevailing knowledge of the industry and of any specific hazards. Adequate steps shall be taken to prevent accidents and injury to health arising out of, associated with, or occurring in the course of work, by minimizing, so far as is reasonably practicable, the causes of hazards inherent in the working environment. Workers shall receive regular and recorded health and safety training, and such training shall be repeated for new or reassigned workers. Access to clean toilet facilities and potable water and, ifappropriate, sanitary facilities for food storage shall be provided. Accommodation, where provided, shall be clean, safe, and meet the basic needs of the workers. The company observing the standards shall assign responsibility for health and safety to a senior management representative.  **2.4. Child Labour shall not be used:** There shall be no new recruitment of child labor. Companies shall develop or participate in and contribute to policies and programmes, which provide for the transition of any child found to be performing child labor to enable her/him to attend and remain in quality education until no longer a child. Children and young people under 18 years of age shall not be employed at night or in hazardous conditions. These policies and procedures shall conform to the provisions of the relevant International Labour Organisation (ILO) standards.  **2.5. Living wages are paid:** Wages and benefits paid for a standard working week meet, at a minimum, national legal standards or industry benchmarks. In any event wages should always be high enough to meet basic needs and to provide some discretionary income. All workers shall be provided with written and understandable information about their employment conditions in respect to wages before they enter employment, and about the particulars of their wages for the pay period concerned each time that they are paid. Deductions from wages as a disciplinary measure shall not be permitted nor shall any deductions from wages not provided for by national law be permitted without the express and informed permission of the worker concerned. All disciplinary measures should be recorded.  **2.6. Working hours are not excessive:** Working hours comply with national laws and benchmark industry standards, whichever affords greater protection. In any event, workers shall not on a regular basis be required to work in excess of the local legal working hours. Overtime shall be voluntary, shall not exceed local legal limits, shall not be demanded on a regular basis and shall always be compensated at a premium rate.  **2.7. No discrimination is practised:** There is no discrimination in hiring, compensation, access to training, promotion, termination or retirement based on race, caste, national origin, religion, age, disability, gender, marital status, sexual orientation, union membership or political affiliation.  **2.8. Regular employment is provided:** To every extent possible work performed must be on the basis of a recognized employment relationship established through national law and practice. Obligations to employees under labour or social security laws and regulations arising from the regular employment relationship shall not be avoided through the use of labour-only contracting, sub-contracting or home-working arrangements, or through apprenticeship schemes where there is no real intent to impart skills or provide regular employment, nor shall any such obligations be avoided through the excessive use of fixed term contracts of employment. Basis of a recognized employment relationship established through national law and practice. Obligations to employees under labor or social security laws and regulations arising from the regular employment relationship shall not be avoided through the use of labor-only contracting, sub-contracting or home-working arrangements, or through apprenticeship schemes where there is no real intent to impart skills or provide regular employment, nor shall any such obligations be avoided through the excessive use of fixed term contracts of employment.  **2.9. No harsh or inhumane treatment is allowed:** Physical abuse or discipline, the threat of physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation shall be prohibited. ARTICLE 3. CORPORATE SOCIAL RESPONSIBILITY & OTHER REQUIREMENTS **3.1. Business ethics:** Suppliers are expected to maintain the highest degree of business ethics when working or seeking to work with the LRC.  **3.2. Transparency of information provision:** Suppliers shall not be involved in any fraudulent activities, misrepresent information or facts for the purpose of influencing the selection and contract-awarding process in their favor.  **3.3. Fair competition:** Suppliers shall not be involved in any corrupt, collusive or coercive practices.  **3.4. Conflict of interest:** The supplier shall represent and warrants that no official/ representative/ staff member of the LRC has been, or shall be, admitted by the supplier to any direct or indirect benefit arising from the award of the contract.  **3.5. Adherence to IFRC principles:** When performing on behalf of or at any time representing the LRC, the supplier and all individuals assigned by it to perform works or services, shall act in a manner consistent with the fundamental principles of the International Red Cross and Red Crescent Movement.  **3.6. Misrepresentation:** By participating in the tender, submitting the bid and having being selected as a Supplier, the supplier acknowledges their acceptance of the above stated requirements and shall be held responsible and liable for the consequences of any false or misrepresented information provided  **Article 4. Environmental and carbon reduction policy**  **4.1.** Suppliers should as a minimum comply with all statutory and other legal requirements relating to the environmental impacts of their business. Detailed performance standards are a matter for suppliers, but should address at least the following:  **4.1.1. Waste Management:** Waste is minimized and items recycled whenever this is practicable. Effective controls of waste in respect of ground, air, and water pollution are adopted. In the case of hazardous materials, emergency response plans are in place.  **4.1.2. Packaging and Paper:** Undue and unnecessary use of materials is avoided, and recycled materials used whenever appropriate.  **4.1.3. Conservation:** Processes and activities are monitored and modified as necessary to ensure that conservation of scarce resources, including water, flora and fauna and productive land in certain situations.  **4.1.4. Energy Use:** All production and delivery processes, including the use of heating, Ventilation, lighting, IT systems and transportation, are based on the need to maximize efficient energy use and to minimize harmful emissions.  **4.1.5. Safety precautions for transport and cargo handling:** All transport and cargo handling processes are based on the need to maximize safety precautions and to minimize potential injuries to the environment, beneficiaries and staff as well as the suppliers’ employees or those of its subcontractors. ARTICLE 5. ETHICAL PROCUREMENT **5.1.** Supplier’s core business (over 20% turnover) should not:  **5.1.1.** Manufacture or sell arms.  **5.1.2.** Manufacture or sell tobacco  **5.1.3.** Damage the reputation of the Red Cross name and/or emblem  **5.2.4.** Legal requirements: Suppliers should always work within the laws of their country ARTICLE 6. PAYMENT. **6.1.** Payment will be made upon approval by LRC of a completed milestone/deliverable, and receipt of verified original invoice submitted by Contractor to LRC, within 45 days, and will be new and unused, free from material defects in quality, material, and design under normal use, and free from any right of claim by any third party, including claims of infringement of any intellectual property rights. ARTICLE 7. TENDERERS SHALL BE EXCLUDED FROM PARTICIPATION IN A PROCUREMENT PROCEDURE IF: **7.1** They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations. However, tenderers in this situationmay be eligible to participate insofar as the Grant Recipient is able to purchase supplies on particularly advantageous terms from either a supplier which is definitively winding up its business activities, or the receivers or liquidators of a bankruptcy, through an arrangement with creditors, or through a similar procedure under national law;  **7.2** They or persons having powers of representation, decision-making or control over them have been convicted of an offence concerning their professional conduct by a final judgment;  **7.3** They have been guilty of grave professional misconduct; proven by any means which the Grant Recipient can justify;  **7.4** They have not fulfilled obligations relating to the payment of social security contributions or taxes in accordance with the legal provisions of the country in which they are established, or with those of the country of the Grant Recipient or those of the country where the contract is to be performed  **7.5** They or persons having powers of representation, decision-making or control over them have been convicted for fraud, corruption, involvement in a criminal organization or money laundering by a final judgment  **7.6** they make use of child labor or forced labor and/or practice discrimination, and/or do not respect the right to freedom of association and the right to organize and engage in collective bargaining pursuant to the core conventions of the International Labor Organization (ILO) |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Annex 7: Bidder’s checklist ***(Mandatory to filled signed and stamped)*** | | | | | | |
| **Description** | **Bidder to complete** | | | **To be filled by LRC committee** | | |
|  | **Documents Included?** | | **Comments** | **Present & complete?** | | **Comments** |
| Step/ document to be submitted with tender | Yes | No | If the required documents are not included | Yes | No |  |
| **Complete tender package** delivered before the deadline specified - **Compulsory** |  |  |  |  |  |  |
| **Annex 1** **– LRC Supplier Registration Form:** – completed, signed & stamped (if it was not submitted before) – **Compulsory** |  |  |  |  |  |  |
| **Annex 2** **- Bid Form**: completed, signed & stamped – **Compulsory** |  |  |  |  |  |  |
| **Annex 3 - detailed Specification** signed & Stamped**- Compulsory** |  |  |  |  |  |  |
| **Annex 4** **–** **Past performance & Bidder references:** completed, signed & stamped **Compulsory** |  |  |  |  |  |  |
| **Annex 5** - Tender Award and Acknowledge Certificate – signed & stamped – **Compulsory** |  |  |  |  |  |  |
| **ANNEX 6: General conditions of contract.** signed & stamped **Compulsory** |  |  |  |  |  |  |
| Data Sheet For the Proposed items Submitted signed & stamped **Compulsory** |  |  |  |  |  |  |
| **Supporting documents :** | | | | | | |
| Copy of company registration – (Ministry of Justice)- وزارة العدل) ) شهادة تسجيل شركة تجارية **Compulsory** |  |  |  |  |  |  |
| Copy of tax registration (Ministry of Finance( (وزارة المالية) شهادة تسجيل الشركة – **Compulsory** |  |  |  |  |  |  |
| Copy of VAT registration (Ministry of Finance) (وزارة المالية) شهادة تسجيل في الضريبة على القيمة المضافة – **Compulsory (if VAT registered)** |  |  |  |  |  |  |
| **اذاعة تجارية Compulsory** |  |  |  |  |  |  |
| **IBAN BANK DOCUMENT**  *N.B The IBAN should be issued in the company's name, not the owner's.* |  |  |  |  |  |  |
| GRC Annexes (Certification & due diligence Check) **Compulsory** |  |  |  |  |  |  |
| AFD Statement of integrity(Both Arabic and English versions)**Compulsory** |  |  |  |  |  |  |
| **To be filled in by LRC–Tender Opening Committee ONLY** | | | | **Eligible** | | **Ineligible** |
| **Outcome of administrative check.** | | | |  | |  |
| **Bidder's Authorized Signature, Stamp/Seal:** | | | |  | | |