Item Name: Standard Requirements for Equipment Maintenance

- Objective:

To contract a qualified medical equipment maintenance company to ensure the optimal functionality, safety, and compliance of all medical devices and systems used in LRC BTS through scheduled preventive maintenance, timely corrective actions, and technical support in accordance with relevant regulatory standards.

- Specifications:

- Maintenance Services

The maintenance company agrees to provide the following Maintenance Services in respect of the list of Equipment available in BTS Branches. (Annex1)

  - Preventive Maintenance

    - The maintenance company’s engineers shall conduct regular visits to the Lebanese Red Cross (LRC) Blood Transfusion Centers across 13 branches. During these visits, they shall inspect the condition and test the functionality of all equipment, performing any necessary adjustments or repairs to ensure the equipment remains in good working order and is safe for use.

    - All preventive maintenance services shall strictly adhere to the procedures and safety tests outlined in the manufacturer’s service manuals.

    - Preventive Maintenance activities must comply with established maintenance procedures and relevant safety standards at all times.

    - LRC will provide the company with the most recent list of Blood Transfusion Services (BTS) equipment at the beginning of the contract.

    - Preventive Maintenance shall be implemented as follows:

- Annual PM Schedule: A yearly Preventive Maintenance schedule shall be prepared by the maintenance company and submitted to LRC BTS at the beginning of the contract period to be approved.

- Detailed checklists specifying the components and functions to be checked for each type of equipment shall be used. These checklist templates must be submitted to and approved by LRC BTS before implementation.

- The maintenance company must promptly notify the Lebanese Red Cross if it is unable to perform scheduled preventive maintenance on the dates specified in the Schedule.

- Use of Calibrated Tools: All Preventive Maintenance activities must be carried out using calibrated tools. The maintenance company shall ensure that only properly calibrated instruments are used at all times and shall provide valid calibration certificates upon each renewal or when requested by LRC.

- Equipment Tagging: Following each PM visit, the maintenance company shall affix a tag to the serviced equipment. The tag must clearly indicate:

- Name of the maintenance company

- Name of the LRC BTS branch

- Equipment item name, brand, and model

- Date of current PM and Scheduled date of the next preventive maintenance

- Name of the engineer who performed the PM

- The date of the current PM and the scheduled date of the next PM.

  - Corrective Maintenance

    - Upon receipt of a written notification from a designated representative of the LRC BTS, the maintenance company shall assign an engineer to the relevant branch to carry out the necessary repairs, adjustments, and/or part replacements required restoring the equipment to proper operational condition.

    - To facilitate this, the maintenance company shall provide LRC BTS with a 24-hour contact number for submitting corrective maintenance requests at any time, along with the contact details of a designated engineer available for emergencies.

    - Upon receiving a corrective maintenance request, the maintenance company commits to assigning a qualified biomedical engineer to the relevant LRC BTS branch. Repairs or replacements shall be completed within two (2) working days of the request, depending on the criticality of the equipment.

The following are classified as critical equipment:

- Refrigerator

- Freezer

- Precision balance

- Plasma extractor

- Sealer

- Blood bank centrifuge

- Bench top centrifuge

- Semi automated Pipette

    - Any delays in the repair or replacement process must be formally reported and justified in writing to LRC BTS

    - The maintenance company shall notify LRC BTS in advance of any equipment part or component that requires replacement.

    - Only original manufacturer parts may be used for any replacements. Any components or spare parts that are chargeable to LRC must be documented in a detailed service report. This report shall include the part name, reference number, quantity, and justification for replacement. All replaced parts must be returned to LRC BTS. Financial approval shall be approved before any repair.

- Details of each equipment maintenance

- Corrective Maintenance (CM) Reports: For each CM intervention, a detailed service report shall be submitted to the LRC Spears Headquarters within one week of the service date, and must include the following details:

- A description of the reported problem

- Details of the repair performed, if completed during the same visit.

- If not, additional service reports shall be submitted until problem is solved and machine is fully functional

- A list of any spare parts required

- Notes on any required follow-up, if the issue could not be fully resolved during the initial visit.

- Each Preventive Maintenance (PM) visit shall be followed by:

- Service Reports and PM Checklists: After each PM visit, the maintenance company shall submit a service report confirming the completion of the maintenance, along with the completed PM checklist, to the LRC BTS Headquarters. These documents must be submitted no later than one week after the completion of each PM visit.

- Equipment Traceability and Record Management

The maintenance company shall implement a robust system to ensure full traceability of each piece of equipment serviced, enhancing accountability and supporting effective asset management.

This system must include:

- Unique Identification: Each equipment item shall be assigned a unique identifier (example, SN and model for each equipment).

- Centralized Database: A centralized database shall be maintained, linking each unique identifier to detailed records of the equipment's specifications, maintenance history, calibration data, and any other relevant information.

- Access and Retrieval: The maintenance company shall ensure that the equipment history can be easily accessed and retrieved at any time upon request from LRC BTS, facilitating efficient tracking and reporting. An annual Equipment History Report: At the end of each year, the maintenance company shall provide a full maintenance history report for all serviced equipment.

- Integration with Maintenance Activities: The traceability system shall be integrated with all maintenance activities, ensuring that each service event is accurately recorded and associated with the corresponding equipment.

- Qualification Requirements

- Company Qualifications

- The maintenance company shall have a minimum of three years of proven experience in medical equipment maintenance, specifically for blood transfusion equipment.

- The company shall demonstrate previous experience maintaining similar equipment by providing:

  - Documentation of current service contracts with medical facilities, preferably including blood transfusion services.

- The company must possess authorization letters from the original equipment manufacturers for the major equipment brands used in the LRC BTS facilities, certifying their capability to service these specific models.

- Technical Staff Qualifications

- The biomedical engineers assigned to LRC BTS shall have:

- Bachelor's degree in biomedical engineering or equivalent technical qualification.

- Minimum three years of hands-on experience in medical equipment maintenance.

- Specific training certificates for blood bank equipment maintenance.

- Valid certification from equipment manufacturers for most of BTS critical equipment.

- The company shall provide:

- CVs of all technical staff who will be servicing LRC BTS equipment

- Copies of relevant certifications and training records

- Documentation of ongoing professional development and training programs

- At least one senior biomedical engineer with a minimum of five years of experience shall supervise all maintenance operations and be available for consultation on complex technical issues.

- The company shall maintain a minimum staff-to-equipment ratio that ensures adequate coverage for both routine and emergency service needs across all 13 LRC BTS branches.

- Supplier Evaluation and yearly performance

- The company must complete and submit the official LRC BTS Supplier Qualification Form prior to the opening of the tender. This form constitutes a mandatory pre-qualification requirement.

- The LRC BTS will conduct a formal annual performance evaluation of the maintenance company to assess service quality and contract compliance. This evaluation will measure key performance indicators including preventive maintenance schedule adherence, response times for corrective maintenance, equipment uptime rates, quality of documentation, and technical competency of service personnel.

- Based on this evaluation, LRC BTS will determine whether to renew the contract for subsequent periods.

- The maintenance company must achieve a minimum satisfaction score of 80% to qualify for contract renewal.

- Poor performance may result in implementation of a mandatory improvement plan or contract termination as per the terms and conditions specified in the agreement.

- Documents to be delivered:

- Completed LRC BTS Supplier Qualification Form: The official form must be fully completed, signed, and stamped.

- Company Registration Documents: Valid business registration certificate and commercial record in Lebanon.

- Proof of Experience:

- Minimum of three years of proven experience in medical equipment maintenance, specifically for blood transfusion equipment.

- Technical Certifications:

- Proof of technical staff certifications and qualifications

- Technical Proposal: ( to be approved by BTS)

- Detailed methodology for preventive and corrective maintenance services

- Proposed annual maintenance schedule template

- PM Checklist specific for each equipment

- Equipment tagging and traceability system description

- Sample service reports and checklists

- List of calibrated tools with valid calibration certificates

- Staff Qualifications:

- CVs of key technical personnel who will be assigned to this contract.

- Training certificates for biomedical engineers.

- Organizational chart showing the structure of the service team.

Annex 1: List of Equipment

| Halba BTS |  |  |  |
| --- | --- | --- | --- |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Beko | - | 14-100598-11 |
| Refrigerator | Frimed | AF70E | FF1118FMK0617 |
| Refrigerator | Frimed | AF70E | FF1107FMK0617 |
| Freezer | Frimed | CV6 | C00248FMK0116 |
| Freezer | Thermo | ULT1340-9-V40 | O01S-237470-OS |
| Centrifuge | Thermo | Cryofuge 5500i | 42153802 |
| Centrifuge | Thermo | Megafuge 8 | 721119021501 |
| Sealer | SARSTEDT | MS250 | 255139 |
| Plasma Extractor | - | - | HALBA 1 |
| Plasma Extractor | - | - | HALBA 2 |
| Plasma Extractor | Insignia | PE-20X | Halba1 |
| Precision balance | Radwag | WTB Balance | 426987/11 |
| Tripoli BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Concord | VNF2007 | 001-0033-01102013 |
| Refrigerator | Frimed | AF70V | FF0637FMK0714 |
| Refrigerator | Frimed | AF70E | FF1106FMK0617 |
| Refrigerator | Frimed | AF70E | FF0241FMK0116 |
| Freezer | Thermo | Forma 8626 Plasma Freezer | 506262-46 |
| Freezer | Thermo | Revco DxF 8814 Plasma Freezer | 829455-22 |
| Freezer | Frimed | CV6 | C00251FMK0116 |
| Blood Bank Centrifuge | Thermo | Cryofuge 5500i | 42288795 |
| Blood Bank Centrifuge | Thermo | Cryofuge 5500i | 42833131 |
| Centrifuge | Thermo | Medilite 12PLS | R11W-434662-RW Tripoli |
| Centrifuge | Thermo | Megafuge 8 | 721119021905 |
| Sealer | SARSTEDT | MS250 | 255083 |
| Sealer | Sureseal | SE250 | 25260002 |
| Plasma Extractor | Insignia | PE-20X | Tripoli 1 |
| Plasma Extractor | Insignia | PE-20X | Tripoli 2 |
| Plasma Extractor | FENWAL | 4R4414 | 21817 Tripoli |
| Plasma Extractor | - | - | Tripoli 1 |
| Fenwal Shaker | FENWAL | VRN200 | 2784932 Tripoli |
| Precision Balance | AND | SK-5000 | H7073894 Tripoli |
| Jbeil BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Concord | ZNF2007- Type S | 001035011020B |
| Refrigerator | Frimed | AF70E | FF1109FMK0617-Jbeil |
| Plasma Freezer | Thermo | ULT1340-9-V40 | 0128365301090625 Jbeil |
| Balance Shaker | Freseius Kabi | Compoguard | 0CHA6934 |
| Centrifuge | Thermo | Megafuge 8 | 721119043007 |
| Sealer | SARSTEDT | MS250 | 255162 Jbeil |
| Plasma Extractor | Delcon | - | Jbeil 3 |
| Plasma Extractor | Insignia | PE-20X | Jbeil 1 |
| Jounieh BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Frimed | AF70E | FF0243FMK0116 |
| Refrigerator | Frimed | AF70E | FF1112FMK0617 |
| Refrigerator | Beko | - | 14-100628-11 |
| Refrigerator | Frimed | AF70E | FF1117FMK0617 |
| Freezer | Frimed | CL60B | CO1342FMK1214 |
| Freezer | Forma | 8545 | 89668-32 Jounieh |
| Blood Bank Centrifuge | Thermo | Cryofuge 5500i | 41851992 Jounieh |
| Centrifuge | Thermo | Medilite 12PLS | T15U-424987-TU |
| Centrifuge | Gemmy industry corp | PLC-036H | 1414600 |
| Sealer | SureSeal | SE250 | 2528222 |
| Plasma Extractor | Insignia | PE-20X | Jounieh1 |
| Plasma Extractor | Insignia | PE-20X | Jounieh2 |
| Precision Balance | AND | SK-5000 | H7073873 |
| Antelias BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Frimed | AF70E | FF1113FMK0617 |
| Refrigerator | Frimed | FS30V | FF0683FMK1109 |
| Refrigerator | Frimed | AF70V | FF0638FMK0714 |
| Refrigerator | Thermo | TSX2304BV | 1132615601210504 |
| Refrigerator | Thermo | TSX2304BV | 1132553701210428 |
| Freezer | Thermo | TSX2330LV | 1132423701210325 |
| Freezer | Thermo | TSX2330LV | 1132253501210222 |
| Freezer | frimed | CV6 | CO0246FMK0116 |
| Freezer | frimed | CV6 | CO0249FMK0116 |
| Freezer | frimed | CV6 | CO0508FMK0317 |
| Freezer | frimed | CV6 | C00250FMK0116 |
| Freezer | Thermo | TSX2330LV | 1132647601210514 |
| Freezer | Thermo | TSX5030LV | 1141571601211120 |
| Blast Plasma Freezer | Angelantoni Life Science | Plasma Frost | LS21534 |
| Waste Refrigerator | Concord | - | 003-020-231020B |
| Waste Refrigerator | Beko | 140220X | 141005821101 |
| Waste Refrigerator | Beko | 140220X | 141005681101 |
| Blood bank Centrifuge | Thermo | Cryofuge 5500i | 42518096 |
| Blood bank Centrifuge | Thermo | Cryofuge 5500i | 42644307 |
| Sealer | LMB | Sealmatic M | SL4170937 |
| Plasma Extractor | FENWAL | 4R4414 | T24042 ANTELIAS |
| Plasma Extractor | Insignia | PE-20X | Antellias 1 |
| Precision Balance | AND | SK 5000 | H7073893 |
| Bench Top Centrifuge | Thermo | Megafuge | 43118026 |
| Bench Top Centrifuge | Thermo | Megafuge | 43123935 |
| Spears BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Frimed | AF70E | FF1114FMK0614 |
| Refrigerator | Frimed | AF70E | FF1115FMK0617 |
| Refrigerator | Queue | QBR2304U12 | 216D193726ZD |
| Refrigerator | Thermo | - | 1132491801210413 |
| Refrigerator | Frimed | AF70E | FF1563FMK1116 |
| Refrigerator | Frimed | AF70V | FF0636FMK0714 |
| Refrigerator | Frimed | AF70E | FF0240FMK0116 |
| Refrigerator | Frimed | AF70E | FF1108FMK0617 |
| Refrigerator | Beko | - | 14-100558-11 |
| Freezer | Thermo | FFPF2330V | 114776301181214 |
| Freezer | Forma | 8545 | 86776-5 |
| Freezer | Frimed | CV6 | CO0252FMK0116 |
| Blood bank centrifuge | Thermo | Cryofuge 5500i | 42022601 |
| Blood bank centrifuge | Thermo | Cryofuge 5500i | 42288794 |
| Elisa Reader | AMP | Platos W96 | 64001712P |
| Elisa Washer | AMP | Platos R II | 461904001 |
| Centrifuge | Thermo | Megafuge 8 | 721119022007 |
| Microscope | OLYMPUS | CH30RF200 | 7K07456 |
| Sealer | Sureseal | SE250 | 25260573 |
| Sealer | LMP | Sealmatic M | SL4170937 |
| Plasma Extractor | FENWAL | 4R4414 | 23977 |
| Plasma Extractor | FENWAL | BM-1 | 686 |
| Plasma Extractor | Insignia | PE-20X | Spears 1 |
| Precision Balance | AND | SK-5000 | H7073851 |
| Shaker | - | PMS-1000 | B07119030 |
| Vortex | Thermo | Vortex | CCCT82012115 |
| Beiteddine BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Beko | - | 14-100615-11 |
| Refrigerator | Frimed | AF70E | FF1561FMK1116 |
| Refrigerator | Frimed | AF70V | FF0635FMK0714 |
| Freezer | Forma | 8545 | 88484-17 |
| Freezer | Frimed | CV6 | CO1564FMK1116 |
| Blood bank centrifuge | Thermo | Cryofuge 5500i | 42506093 |
| Centrifuge | Thermo | Meditile 12PLS | Z27R-652465-NS |
| Sealer | Teruflex | Tube Sealer ACS-152 | 8806074 |
| Sealer | SARSTEDT | MS250 | 255067 |
| Plasma Extractor | FENWAL | 4R4414 | 927 |
| Plasma Extractor | Insignia | PE-20X | CHOUF 1 |
| Shaker | Grant-Bio | PMS-1000 | BO7 11 90337 |
| Shaker | Gemmy industry corp | VRN200 | 9313262 |
| Precision Balance | AND | EK-1200A | C0285237 |
| Saida BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Beko | - | 14-100601-11 |
| Refrigerator | Frimed | FS30V | FF040FMK0413 |
| Refrigerator | Frimed | AF70E | FF0242FMK0116 |
| Refrigerator | Frimed | FS30V | FF4177FM1208 |
| Freezer | Thermo | - | 114807201190115 |
| Freezer | Frimed | CL60B | CO1343FMK1214 |
| Blood Bank Centrifuge | Thermo | Cryofuge 5500i | 42350906 |
| Heraeus Megafuge 8 Benchtop | Thermo | Megafuge 8 | 721119021902 |
| Sealer | Sarstedt | MS250 | 255089 |
| Sealer | Sureseal | SE250 | 25260569 |
| Plasma Extractor | Insigina | - | SAIDA 1 |
| Plasma Extractor | Insigina | - | SAIDA 2 |
| Precision Balance | Camry | - | EK3130 |
| Tyr BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Armobel | LC 298 | Tyr 1 |
| Refrigerator | Frimed | FS30V | FF0040FMK0111 |
| Refrigerator | Frimed | AF70E | FF1110FMK0617 |
| Refrigerator | Frimed | AF70E | FF0244FMK0116 |
| Freezer | Frimed | CV6 | CO0247FMK0116 |
| Freezer | Thermo | ULT1340-9-V41 | 0129938401110712 |
| Blood Bank Centrifuge | Thermo | Cryofuge 5500i | 42498233 |
| Sealer | SARSTEDT | MS250 | 255215 |
| Plasma Extractor | Insigina | Insignia | Tyr 1 |
| Plasma Extractor | Insigina | - | Tyr 2 |
| Precision balance | Radwag | WTB Balance | 407605/13 |
| Centrifuge | Thermo | Megafuge 8 | 721119021411 |
| Nabatieh BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Frigidaire | FKG371 | 55012065 Nabatieh |
| Refrigerator | Frimed | AF70e | FF1116FMK0617 |
| Refrigerator | Frimed | FS15E | FF0353FMK0413 |
| Freezer | Frimed | CV6 | CO0509FMK0317 |
| Blood bank refrigerated centrifuge | Thermo | Cryofuge 5500 | 41972292 |
| Sealer | Teruflex | ACS152 | 9708008 |
| Fenwel Baxter Plasma Extractor | FENWAL | 4R4414 | 22624 |
| Plasma Extractor | Insignia | PE-20X | Nabatieh 1 |
| Precision Balance | AND | SK-5000 | H7074187 |
| Bench Top Cnetrifuge | Thermo | Medilite | 4590286 |
| Bench Top Cnetrifuge | Gemmy Industry | PLC 036H | 1414601 |
| Rashaya BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Frimed | FS15E | FF0253FMK0412 |
| Refrigerator | Beko | - | 14-100620-11 |
| Refrigerator | Frimed | AF70E | FF1562FMK1116 |
| Freezer | Frimed | CV6 | CO1565FMK1116 |
| Freezer | Frimed | CV6 | CO1339FMK0415 |
| Blood bank Centrifuge | Thermo | Cryofuge 5500i | 42022602 |
| Centrifuge | Thermo | Labofuge 200 | 41815087 |
| Centrifuge | Thermo | Mefafuge | 72119043008 |
| Sealer | centron | SE260 | 2620447 |
| Sealer | centron | SE260 | 2620446 |
| Plasma extractor | Insignia | PE-20X | RASHAYA 1 |
| Plasma extractor | Insignia | PE-20X | RASHAYA 2 |
| Balance | Labomiz | MEB0-21 | 200804003 |
| Zahle BTS |  |  |  |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Beko | - | 14-100606-11 |
| Refrigerator | Helmer | HHB125 | 0965384 |
| Refrigerator | Frimed | AF70E | FF1111FMK0617 |
| Refrigerator | Thermo | TSX-2304BV | 1143577801230525 |
| Freezer | Forma | 8545 | 87448-8 ZAHLE |
| Freezer | Thermo | TSX5030LV | 1141571601211120-double door |
| Freezer | Thermo | TSX2330LV | 1132647301210512 |
| Blood bank Centrifuge | Thermo | Cryofuge 5500i | 41993298 |
| Blood bank Centrifuge | Thermo | Cryofuge 5500i | 42634433 |
| Centrifuge | Thermo | Megafuge 8 | 721119021504 |
| Sealer | SARSTEDT | MS250 | 255088 |
| Plasma Extractor | INSIGNIA | PE-20X | ZAHLE1 |
| Plasma Extractor | Teruflex | ACS-201 | 860106 |
| Plasma Extractor |  |  | to check |
| Precision Balance | Radwag | WTB Balance | 263777 /09 |

| Gemmayze BTS |  |  |  |
| --- | --- | --- | --- |
| Description | Brand | Product Model | Serial Number |
| Refrigerator | Thermo | TSX2304BV | 1132551101210421 |
| Sealer | Fenwal | FDR4360 | 7525 |
| Bench Top Centrifuge | Gemmy Industry Corp | PLC-036H | 1414604 |
| Plasma Extractor | Fenwal | 4R4414 | T22636 |

List of BTS Branches- Locations and contact numbers.

Prepared by: Shirine Karaki	  			Approved by: Dr. Rita Feghali