## Annex 2 – Bid Form completed signed and stamped

- All bids must be typed; handwritten bids will not be considered.

- The contract will be awarded to the lowest-cost technically compliant kit

- The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.

- The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.

- In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without go back to the supplier. The unit price must be provided with no more than two decimal places.

- Only one option is allowed for biding

- Datasheet + Picture for each item must be submitted with the bid

LOT 1:

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 1.1 | Chemical Detector | Piece | 4 |  |  |  |  |  |

## ANNEX 3: DETAILED SPECIFICATIONS

| Lot 1 |  |  |  |
| --- | --- | --- | --- |
| ITEM # | ITEM/MILESTONE REQUIRED | UOM | DESCRIPTION |
| 1.1 | Chemical Detector | Piece | - Detection Technology: Primarily Ion Mobility Spectrometry (IMS) or Fourier Transform Infrared (FTIR) for standoff detection. - Target Agents: Nerve, Blister, Blood, Choking, and Toxic Industrial Chemicals (TICs). - Response Time: Rapid, typically Maximum 10 seconds - Sensitivity: Often at parts-per-million (ppm) to parts-per-billion (ppb) levels. - Operating Conditions: Wide range from roughly -30 to 50 C - Power Supply: Lithium-ion or alkaline battery power, often lasting 40–75 hours. - Weight: Portable units are usually under 500 g to 2 kg. - Interface: Visual screen (showing agent type), audio alarms, and data logging capabilities. - Humidity: Functional from 0 to 90% humidity |