## Annex 2 – Bid Form completed signed and stamped

- All bids must be typed; handwritten bids will not be considered.

- The contract will be awarded to the lowest-cost technically compliant kit

- The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.

- The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.

- In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without go back to the supplier. The unit price must be provided with no more than two decimal places.

- Only one option is allowed for biding

LOT 1: Automotive Batteries

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 1.1 | JIS 40 | Piece | 10 |  |  |  |  |  |
| 1.2 | JIS 45 | Piece | 17 |  |  |  |  |  |
| 1.3 | DIN 55 | Piece | 89 |  |  |  |  |  |
| 1.4 | JIS 55D23 (L/R) | Piece | 3 |  |  |  |  |  |
| 1.5 | DIN 62 | Piece | 50 |  |  |  |  |  |
| 1.6 | DIN 66 | Piece | 65 |  |  |  |  |  |
| 1.7 | DIN 70 | Piece | 75 |  |  |  |  |  |
| 1.8 | JIS 80D26(L/R) | Piece | 92 |  |  |  |  |  |
| 1.9 | DIN 74 | Piece | 54 |  |  |  |  |  |
| 1.10 | DIN 80 | Piece | 4 |  |  |  |  |  |
| 1.11 | JIS 95D31 or 105D31 (L/R) | Piece | 77 |  |  |  |  |  |
| 1.12 | JIS 115D31(L/R) | Piece | 27 |  |  |  |  |  |
| 1.13 | DIN100 | Piece | 160 |  |  |  |  |  |
|  | Total for Lot 1 |  |  |  |  |  |  |  |

LOT 2: Generator Batteries

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 2.1 | JIS 120 | Piece | 2 |  |  |  |  |  |
| 2.2 | JIS 150 | Piece | 1 |  |  |  |  |  |
| 2.3 | JIS 180 | Piece | 1 |  |  |  |  |  |
| 2.4 | JIS 200 | Piece | 2 |  |  |  |  |  |
|  | Total for Lot 2 |  |  |  |  |  |  |  |

LOT 2: AGM Batteries

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 3.1 | DIN 70 | Piece | 2 |  |  |  |  |  |
| 3.2 | DIN 80 | Piece | 2 |  |  |  |  |  |
| 3.2 | DIN 95 | Piece | 1 |  |  |  |  |  |
|  | Total for Lot 3 |  |  |  |  |  |  |  |

## ANNEX 3: DETAILED SPECIFICATIONS

- Background

The Lebanese Red Cross is seeking to procure batteries for its operational needs, including automotive batteries for its fleet vehicles, generator batteries, and AGM batteries used to support emergency response, logistics operations, and field missions across Lebanon.

The purpose of this document is to define the minimum technical specifications and requirements for the supply of batteries compatible with the organization’s operational fleet, generators, and related equipment.

- Scope of Supply

The supplier shall provide:

- Automotive starter batteries suitable for installation in the Lebanese Red Cross fleet vehicles, including SUVs, vans, trucks, and other operational vehicles.

- Generator batteries

- AGM batteries suitable for the required operational and backup applications.

The batteries must comply with the required technical specifications, operational standards, and compatibility requirements indicated within this tender document.

- Technical Specifications

- All supplied batteries must be manufactured within the last 8 months prior to delivery.

- Battery type: Maintenance-free.

- Warranty: Minimum 17 months.

- Batteries must be manufactured in Korea, Europe, Japan, Canada or USA.

- Batteries must be resistant to vibration and shock.

- The supplier must be an authorized dealer in Lebanon for the submitted brand.

- Upon installation of the new batteries, the used batteries shall be collected and purchased by the supplier.

- One sample of the proposed battery must be submitted for evaluation.

- Submission of the technical data sheet is mandatory.

Technical Specifications for Automotive Batteries

| Capacity AH | Series | Minimum CCA | Pole Layout | Minimum Weight |
| --- | --- | --- | --- | --- |
| 40 | JIS | 350 | - + | 10 |
| 45 | JIS | 430 | - + | 12 |
| 55 | DIN | 450 | - + | 14 |
| 55D23 (L/R) | JIS | 440 | - +/+ - | 15 |
| 62 | DIN | 520 | - + | 15 |
| 66 | DIN | 500 | - + | 16 |
| 70 | DIN | 600 | - + | 17 |
| 80D26(L/R) | JIS | 500 | - +/+ - | 16 |
| 74 | DIN | 680 | - + | 17 |
| 80 | DIN | 630 | - + | 18 |
| 95D31 or 105D31 (L/R) | JIS | 680 | - +/+ - | 21 |
| 115D31(L/R) | JIS | 800 | - +/+ - | 22 |
| 100 | DIN | 750 | - + | 22 |

Technical Specifications for Generator Batteries

| Capacity AH | Series | CCA | Weight |
| --- | --- | --- | --- |
| 120 | JIS | 800 | 33 |
| 150 | JIS | 950 | 40 |
| 180 | JIS | 1000 | 42 |
| 200 | JIS | 1050 | 52 |

Technical Specifications for AGM batteries

| Capacity AH | Series | CCA | Pole Layout | Weight |
| --- | --- | --- | --- | --- |
| 70 | DIN | 760 | - + | 19 |
| 80 | DIN | 800 | - + | 23 |
| 95 | DIN | 850 | - + | 25 |

Battery Terminal Condition
The supplier shall inspect the battery terminal poles during installation. If the terminal poles or connectors are found to be damaged, corroded, or in poor condition, the supplier must replace them with new compatible terminals at the time of installation to ensure proper electrical connection.