## Annex 2 – Bid Form completed signed and stamped

- All bids must be typed; handwritten bids will not be considered.

- The contract will be awarded to the lowest-cost technically compliant bid

- The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.

- The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.

- In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without go back to the supplier. The unit price must be provided with no more than two decimal places.

- Only one option is allowed for biding

- Datasheet for each item must be submitted with the bid and labelled reference to each item number

- First order to be delivered before end of June 2026.

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, installation, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 1.1 | Manual bed | Piece | 60 |  |  |  |  |  |
| 1.2 | Water mattress | Piece | 200 |  |  |  |  |  |

## ANNEX 3: DETAILED SPECIFICATIONS

Item 1.1: Manual Bed

| Category | Specification | Allowed Range / Options (Detailed) |
| --- | --- | --- |
| General | Certification | CE Marked / FDA Approved / ISO 13485 Certified |
| General | Bed Type | 2-crank manual / 3-crank manual |
| Dimensions | Overall Bed Size (cm) | Length: 190–210 cm ¦ Width: 90–110 cm |
| Dimensions | Mattress Platform Size (cm) | Length: 180–200 cm ¦ Width: 80–100 cm |
| Structure | Frame Material | Epoxy coated steel |
| Structure | Side Rails | ABS foldable rails / Aluminum rails / Full-length rails |
| Performance | Backrest Adjustment | Minimum 0° to maximum 75° backrest elevation |
| Performance | Knee Rest Adjustment | Minimum 0° to maximum 45° knee elevation |
| Performance | Height Adjustment | Manual crank adjustment / Fixed height |
| Capacity | Max Patient Weight (kg) | Minimum safe working load: 120–300 kg |
| Mobility | Caster Size | 4-inch / 5-inch / 6-inch medical casters |
| Mobility | Braking System | Central locking brake / Individual wheel brake |
| Accessories | IV Pole | Adjustable stainless steel IV pole included or optional |
| Accessories | Mattress (Fit on the platform) | Foam mattress included / Thickness: ≥100–120 mm |
| Hygiene | Cleaning Method | Easy-clean surfaces / Removable ABS panels |
| Warranty | Warranty (years) | Minimum 1 year warranty up to 5 years |

Item 1.2: Water Mattress

| Category | Specification | Allowed Range / Options |
| --- | --- | --- |
| General | Certification | CE / FDA / ISO (specify) |
| Dimensions | Mattress Size (cm) | 200 (L) x 90 (W) x 11.5 Approx |
| Dimensions | Element Size (cm) | 69 x 60 x 11.5 |
| Structure | Frame Type | Air-inflated |
| Material | Air Frame Material | PVC / TPU / Thickness +K75 |
| Material | Water Chamber | 3 pieces |
| Material | Water Chamber Material | Medical-grade, puncture-resistant PVC orTPU, Heat-sealed |
| Performance | Max Weight Capacity (kg) | ≤120 |
| Accessories | Water Hose | Included |
| Accessories | Repair Kit | Included |
| Accessories | Air Pump | Included |