## Annex 2 – Bid Form completed signed and stamped

- All bids must be typed; handwritten bids will not be considered.

- The contract will be awarded to the lowest-cost technically compliant kit

- The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.

- The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.

- In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without go back to the supplier. The unit price must be provided with no more than two decimal places.

- Only one option is allowed for biding

- Datasheet + Picture for each item must be submitted with the bid and labelled reference to each item number

LOT 1: Fire Extinguisher

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, installation, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 1.1 | Fire ext CO2 3KG | PIECE | 100 |  |  |  |  |  |
| 1.2 | Fire ext CO2 5KG | PIECE | 75 |  |  |  |  |  |
| 1.3 | Fire ext powder 1 kg | PIECE | 100 |  |  |  |  |  |
| 1.4 | Fire ext powder 2 kg | PIECE | 200 |  |  |  |  |  |
| 1.5 | Fire ext powder 6kg | PIECE | 500 |  |  |  |  |  |
| 1.6 | Fire ext powder 9kg | PIECE | 300 |  |  |  |  |  |
| 1.7 | Fire ext powder 12 kg | PIECE | 150 |  |  |  |  |  |
| 1.8 | Fire ext powder 25 kg | PIECE | 50 |  |  |  |  |  |
| 1.9 | Automatic fire ext 6 KG | PIECE | 200 |  |  |  |  |  |
| 1.10 | Automatic fire ext 12 KG | PIECE | 100 |  |  |  |  |  |
|  | Total for Lot 1 |  |  |  |  |  | ______________USD |  |

LOT 2: SAFETY SELF PROTECTION

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, installation, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 2.1 | Fire Safety box | BOX | 150 |  |  |  |  |  |
| 2.2 | Fire Face mask | PIECE | 150 |  |  |  |  |  |
| 2.3 | Fire Safety Glasses | PIECE | 200 |  |  |  |  |  |
| 2.4 | Wildland Fire Helmet | PIECE | 150 |  |  |  |  |  |
| 2.5 | Wildland Firefighting Gloves | PIECE | 150 |  |  |  |  |  |
| 2.6 | Short sleeves fire fighting shirt | PIECE | 150 |  |  |  |  |  |
| 2.7 | Wildfire standard suit | PIECE | 150 |  |  |  |  |  |
| 2.8 | Wildfire fighting Boots | PIECE | 150 |  |  |  |  |  |
| 2.9 | Collapsible Backpack Firefighting Pump with Standard Piston Pump/Knapsack water mist | PIECE | 200 |  |  |  |  |  |
|  | Total for Lot 2 |  |  |  |  |  | ______________USD |  |

LOT 3: EMERGENCY EQUIPMENT

| LRC To Complete |  |  |  | Bidder to Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, installation, Bank Transfer Fees, and Delivery fees | VAT (%) | Unit Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Total Price in USD, inclusive VAT, Labor, installation, Bank Transfer Fees, and Delivery and all other fees | Lead time of delivery for any quantity from the date of each purchase order |
| 3.1 | Electric siren | PIECE | 100 |  |  |  |  |  |
| 3.2 | Chopper Axe | PIECE | 200 |  |  |  |  |  |
| 3.3 | Gasoline saws | PIECE | 20 |  |  |  |  |  |
| 3.4 | Pulaski Axe | PIECE | 100 |  |  |  |  |  |
| 3.5 | Folding saw | PIECE | 100 |  |  |  |  |  |
| 3.6 | Metric Diameter Tape | PIECE | 100 |  |  |  |  |  |
| 3.7 | Hydration Water Pack | PIECE | 200 |  |  |  |  |  |
| 3.8 | Brush cutter | PIECE | 50 |  |  |  |  |  |
| 3.9 | Fire Beater | PIECE | 200 |  |  |  |  |  |
| 3.10 | Knapsack water mist/ collapsible backpack fire pump | PIECE | 100 |  |  |  |  |  |
|  | Total for Lot 3 |  |  |  |  |  | ______________USD |  |

## ANNEX 3: DETAILED SPECIFICATIONS

| Item number | Item/Milestone Required | Detailed Specs |
| --- | --- | --- |
| 1.1 | Fire ext CO2 3KG | Cylinder size:D114mmXH560mm Min wall thickness:4.5mm Cylinderweight:>5.6kg CylinderCapacity: 4 . 5L Filling with: >3.0kgCO2 FireextinguisherN.W:9.0kg Using Temperature:-30℃~60℃ Workingpressure:≤15Mpa Test pressure:25MPa Burst pressure:≥40Mpa Discharge time：≥15s Dischargerange:≥2.5m |
| 1.2 | Fire ext CO2 5KG | min wall thickness:5.5mm Cylinderweight:>12.5kg CylinderCapacity: 7.5L Fillingwith:5.0kgCO2 Fire extinguisher N.W:18.5kg FireextinguisherMEAS:22X17X69cm Using Temperature:-30℃~60℃ Workingpressure:≤15Mpa Test pressure:25MPa Burst pressure:≥40Mpa Discharge time：≥15s Discharge range:≥2.5 Cylinder Size :D152mmXH560mm |
| 1.3 | Fire ext powder 1 kg | Certification: BS EN3-7/ ISO 9001 Cylinder Size: D85mmXH280mm Cylinder thickness:1.00mm Min wall thickness:0.75mm Cylinder weight:>680g Cylinder Capacity: 1.30L Filling with: >980g DP Fire extinguisher N.W:1.88kg Fire extinguisher MEAS:9X9X35cm Using Temperature:-30℃~60℃ Working pressure:≤1.8Mpa Test pressure:2.9MPa Safety valve operation pressure: 2.2MPa Burst pressure:≥9.5Mpa Declare Fire Rate: 8A 34B C |
| 1.4 | Fire ext powder 2 kg | Cylinder Size: D110mmXH315mm /ISO 9001 Cylinder thickness:1.00mm Min wall thickness:0.82mm Cylinder weight:>0.93kg Certification: BS EN3-7 Cylinder Capacity: 2.60L Filling with: >1960g DP Fire extinguisher N.W:3.2kg Fire extinguisher MEAS:15X12X40cm Using Temperature:-30℃~60℃ Working pressure:≤1.8Mpa Test pressure:2.9MPa Safety valve operation pressure: 2.2MPa Burst pressure:≥8.5Mpa Declare Fire Rate: 13A 55B C |
| 1.5 | Fire ext powder 6kg | Certification: UL Listed / ISO 9001 Standards: ANSI / UL 299, ANSI / UL 711 Fire rating: Class A, B and C fire Temperature: - 30°C to 6°C Pressure: 195 psi Chemical Agent: ABC powder, ammonium phosphate-based chemicals Hose: Rubber Cylinder: Deep drawn steel Cylinder valve: Aluminum, with pressure gauge and SS handle Wall hook or wall bracket should be included |
| 1.6 | Fire ext powder 9kg | Certification: BS EN3-7/ISO 9001 Cylinder Size: D180mmXH490mm Cylinder thickness:1.50mm Min wall thickness:1.25mm Cylinder weight:>3.1kg Cylinder Capacity: 11.8L Filling with: >8.9kg DP Fire extinguisher N.W: 12.4kg Fire extinguisher MEAS:20X19X60cm Using Temperature:-30℃~60℃ Working pressure:≤1.8Mpa Test pressure:2.9MPa Safety valve operation pressure: 2.2MPa Burst pressure:≥5.5Mpa Fire Rate: 55A 233B C |
| 1.7 | Fire ext powder 12 kg | Cylinder Size: D185mmXH560mm Cylinder thickness:1.80mm Min wall thickness:1.30mm Cylinder weight:>3.7kg Certification :CE0036 Cylinder Capacity: 13.8L Filling with: >11.8kg DP Fire extinguisher N.W: 16.2kg Fire extinguisher MEAS:20X20X65cm Using Temperature:-30℃~60℃ Working pressure:≤1.8Mpa Test pressure:2.9MPa Safety valve operation pressure: 2.2MPa Burst pressure:≥5.5Mpa Fire Rate: 55A 233B C |
| 1.8 | Fire ext powder 25/30 kg | Certification: UL Listed / ISO 9001 Standards: ANSI / UL 299, ANSI / UL 711 Cylinder Size: D320mmXH460mm Cylinder thickness:2.50mm Min wall thickness:2.50mm Cylinder weight:>18kg Cylinder Capacity: 25L Filling with: >24.5kgs DP Fire extinguisher N.W:58kg Product MEAS:63X50X96cm Using Temperature:-30℃~60℃ Working pressure:≤1.8Mpa Test pressure:2.5MPa Burst pressure:≥5.5Mpa Discharge time：≥30s Discharge range: ≥6m |
| 1.9 | Automatic fire ext 6 KG | Cylinder Size: D280mmXH255mm Certification :UL Listed ( UL299 , UL711)/ ISO 9001 Cylinder thickness:1.50mm Min wall thickness:1.35mm Cylinder Capacity: 7.5L Filling with: 6kgs DP Fire extinguisher N.W:8.5kg Fire extinguisher MEAS:28X28X31cm Using Temperature:-30℃~60℃ Operation temperature: 68℃ |
| 1.10 | Automatic fire ext 12 KG | Certification: UL Listed ( UL299 , UL711)/ ISO 9001 Cylinder Size: D320mmXH335mm Cylinder thickness:1.80mm Min wall thickness:1.4mm Cylinder Capacity: 16L Filling with: 12kgs DP Fire extinguisher N.W:17kg Fire extinguisher MEAS:34X34X39cm Using Temperature:-30℃~60℃ Operation temperature: 68℃ |
| 2.1 | Fire Safety box | Material : steel Size : 20*28*57cm Wight :6.5kg Feature : easy operation easy instalation Application : storage case for firefighting products |
| 2.2 | Fire Face mask | Type: Reusable Half Face Respirator Standard : GB2890-2022 Facepiece Material : Thermoplastic Elastomer (TPE) / SILICONE Filter Type : Dual Replaceable activated carbon cartridges Connection Type : 60mm Protection Against : Organic Vapors , acid gases , dust Applications : Painting , Chemical , Handling construction features : Dual Filter system , adjustable head |
| 2.4 | Wildland Fire Helmet | ABS Material with heat resistance High Surface hardness Size Stability Good Chemical resistance |
| 2.5 | Wildland Firefighting Gloves | Type : Red Heat Resistant Safety Leather Working Welding hand Protective Gloves Color : Red Weight :340g Size: 14" Material : AB grade cow split leather , cotton lining on plam and CVC lining on cuff |
| 2.6 | Short sleeves fire fighting shirt | Material : 100% cotton Fit type : Regular Fit Length : Short Fabric Weight : 100Grams Sleeve Type : short sleeve |
| 2.7 | Wildfire standard suit | Certificate : EN469 Standard Out Material : 3 in 1 aramid Fabric 3M Reflected stap Color operation : 4 Grade Color : Navy blue Fire Resistance Performance |
| 2.8 | Wildfire fighting Boots | Lining Material : Cotton Midsole Material : PVC, Rubber Size :42,43,44 Toe Style :Round Toe , Closed Toe |
| 3.1 | Electric siren | Material : Aluminum and steel withstand voltage : 50/60 hz : 1 min Protection Grade : IP44 Voltage : AC110/220V Rated Current :0.65A/A/sound Pressure with 305A5.5:120db |
| 3.2 | Chopper Axe | Axe Type :Flat backed Axe Handle Material : Fiber Glass/Wood Size 600g Color :Black |
| 3.3 | Gasoline saws | Power Source : Petrol/Gasoline Engine Type : air-cooled/two-stroke/Single cylinder Engine Power : 1.9kw/8500rpm Engine Displacement :49.3cc Carburetor pump-film type:Gasoline/2-cycle oil mixing ratio ldling speed :2800r/min |
| 3.4 | Pulaski Axe | Dimension: 36''(length)*4.75''(width) Blade Material: Fiber Glass Handle Material:Fiberglass Head Type: Fireman Blade Length: Approx. 4.75'' Weight: Approx. 2.7 KG Style: Heavy Duty Color: Red-Silver-Yellow |
| 3.5 | Folding saw | Type: Foldable Size; 180mm Blade Material: Stainless Steel |
| 3.6 | Metric Diameter Tape | Description: Length and width: 20m*12.5mm fiberglass measuring tape Model: HFMT8120 with metric and inch, pure material retracting gear with all rubber cover |
| 3.7 | Hydration Water Pack | Designed to keep you hydrated during bike rides lasting up to 1.5 hours.It has a built-in 1 L water bladder and 4 L of bag space. MTB/ Gravel compact hydratation backpack: 4L of storage and 1L of water, ideal for 1.5-hour outdoor outings. |
| 3.8 | Brush cutter | Name: 52 cc Garden 2 stroke gasoline Power desbrozadora string grass trimmer brush cutter Engine Power: 1.6 KWEngine Displacement: 51.7 cc Shaft Diameter: 26mm Handle: Double Bicycle handle Belt: Shoulders belt Blade: 1 PC nylon cutter and metal blade Cutting diameter: 255 mm (brush cutter) 415mm(grass trimmer) Weight : G.w 7.6 KG/N.W 6.8 KG Accessories List: 1.3 teeth blade 2 nylon cutter 3. Fuel Tank 4.Belt 5.Tool Kit 6. Manual Packing Details: Two boxes 165*11*12cm/33*29*26cm |
| 3.9 | Fire Beater | Product Name: Fire Flap/Fire Beater Weight: 2.2 KG Size: 380*300*6mm Handle Dimension: 1500*32mm Handle Material: Fiber Glass Material: Fire-Resistant Rubber |
| 3.10 | Knapsack water mist/ collapsible backpack fire pump | Body Material:Stainless steel 316 Compostite:Carbon fiber cylinder,water tank,Aerosol spray,weasand,water pipe,back-up and so on Tank capacity：12L Jet distance:≥12m Spray distance≥9m water pump volume:≥12L Pulse jet interval of time:≤3S cylinder volume:3L working pressure:0.8Mpa Injection mode: DC or Spray Gas cylinder pressure:30MPa Fire extinguishing media：Water or water mixed solution with additives |