National tender application pack V0.3Lebanese Red Cross 

Tender reference: 2026-056
[bookmark: _Toc459799307]Annex 2 – Bid Form completed signed and stamped
· All bids must be typed; handwritten bids will not be considered.
· The contract will be awarded to the lowest-cost technically compliant bid.
· The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.
· The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.  
· In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without going back to the supplier. The unit price must be provided with no more than two decimal places.
· Only one option is allowed for biding 
· Sample for each item must be submitted with the bid and labelled reference to each item number 
· LRC reserves the right to award the items per LOT.
	LRC To Complete
	Bidder to Complete 

	Item number 
	Item/Milestone Required
	Required UOM
	Estimated Qty
	Unit Price in USD, Exclusive VAT rated at 11%, but inclusive Labor, packing, packaging, Bank Transfer Fees, Delivery and all other fees 
	VAT (%)
	Unit Price in USD, inclusive VAT, Labor, packing, packaging, Bank Transfer Fees, Delivery and all other fees
	Total Price in USD, inclusive VAT, Labor, packing, packaging, Bank Transfer Fees, Delivery and all other fees
	Lead time of delivery for any quantity from the date of each purchase order 

	1.1
	First Aid Kit - Small
	Piece
	3000
	
	
	
	
	

	1.2
	First Aid Kit - Medium
	Piece
	1500
	 
	 
	 
	
	

	1.3
	First Aid Kit - Large
	Piece
	700
	 
	 
	 
	
	

	
	Total 
	
	
	
	
	
	
	








ANNEX 3: DETAILED SPECIFICATIONS 

	Item
	FA Kit Small
	FA Kit Medium
	FA Kit Large
	U.O.M
	Specs
	Image

	Sterilized Compress/ Gauze
	5
	10
	30
	Pcs
	Size: approximately 2 in. × 2 in. (≈5 cm × 5 cm), acceptable range 1.8–2.2 in.
 (≈4.5–5.5 cm) per side, 4-ply – may be packed in units of 2 dressings per pack
	[image: ] 

	Gauze Bandage Small
	1
	1
	3
	Pcs
	Size: approximately 4–5 cm in width,
 acceptable range 3.5–5.5 cm depending on availability.
	[image: ] 

	Gauze Bandage Medium
	1
	1
	3
	Pcs
	Size: approximately 7–8 cm in width, 
acceptable range 6.5–8.5 cm depending on availability.
	[image: ] 

	Gauze Bandage Large
	-
	1
	3
	Pcs
	Size: approximately 9–10 cm in width, 
acceptable range 8.5–10.5 cm depending on availability.
	[image: ] 

	Elastic Bandage Small
	-
	1
	3
	Pcs
	Size: approximately 4–5 cm in width,
 acceptable range 3.5–5.5 cm depending on availability Color: brown or white.
	[image: ] 

	Elastic Bandage Medium
	1
	1
	3
	Pcs
	Width: approximately 7–8 cm (acceptable range 6.5–8.5 cm depending on availability) 
Color: brown or white
	[image: ] 

	Elastic Bandage Large
	-
	1
	3
	Pcs
	Width: approximately 9–10 cm (acceptable range 8.5–10.5 cm depending on availability)
Color: brown or white
	[image: ] 

	Compressive Bandage
	1
	4
	10
	Pcs
	Elastic roll, with sterilized gauze pad, sealed 
	[image: ] 

	Triangular Bandage
	2
	3
	5
	Pcs
	Shape: Triangular
Standard Dimensions: 102 cm × 102 cm × 142 cm (40 in × 40 in × 56 in)
Acceptable Size Range:
Base: 96–110 cm (39–43 in)
Sides: 96–110 cm (39–43 in)
Hypotenuse: 140–150 cm (55–59 in)
	[image: ] 

	Emergency Survival Blanket 
	1
	1
	2
	Pcs
	Material: Metallized thermal foil
Properties: Waterproof and windproof
Minimum Size: 100 cm × 100 cm
Acceptable Size Range: 100–160 cm × 100–210 cm
	[image: ] 

	Ice Pack
	-
	1
	3
	Pcs
	instant cold pack
	[image: ] 

	Scissors
	1
	1
	1
	Pcs
	 Metal, Size: 10-15 cm
	[image: ] 

	Medical Tape
	1
	1
	2
	Pcs
	Standard Size: 5 m × 2.5 cm
Acceptable Size Range:
Length: 4.5–5.5 m
Width: 2.0–3.0 cm
	[image: ] 

	Antiseptic Wipe
	5
	10
	30
	Pcs
	2 ply / absorbent and saturated with chlorhexidine or povidone-iodine
	[image: ] 

	Antiseptic Solution
	-
	125ml
	250ml
	bottle
	chlorhexidine or povidone-iodine
	[image: ] 

	Band Aid
	10
	30
	50
	Pcs
	Sizes Approx:
7cmx2cm
2.2cm ( round 2.2cm diameter )
7cmx5cm
	[image: ] 

	Normal Saline Solution (0.9% NaCl)
	-
	500ml
	500ml
	bottle
	 (0.9% NaCl)
	[image: ] 

	Burn Dressing 
	-
	3
	3
	Pcs
	Standard Size: 10 cm × 10 cm
Acceptable Size Range:
Length: 9–12 cm
Width: 9–12 cm
	[image: ] 

	Safety Pins
	2
	5
	10
	Pcs
	Standard Sizes: 27 mm (Size 0) or 22 mm (Size 00)
Acceptable Size Range:
Length: 20–30 mm
	[image: ] 

	Nitrile Gloves
	4
	4
	12
	pair
	non-sterile
size large
	[image: ] 

	Face Mask
	3
	10
	10
	Pcs
	3 ply, non-woven fabric 
	[image: ] 

	Digital Thermometer
	-
	-
	1
	Pcs
	Auto Shut-Off: Turns off after 5–10 minutes to save battery life.
Waterproof: Allows for easy cleaning and sterilization.
Switchable Units: Allows toggling between Celsius (° C) and Fahrenheit (° F).
Battery type: AAA
	[image: ] 

	First Aid Bag small
	3000
	-
	-
	Pcs
	First aid bag small Fabric
Approx: 22cmx16cmx8cm
	[image: ] 

	First Aid Bag medium
	-
	1500
	-
	Pcs
	First aid bag medium fabric
Bag dimensions approximately 470x240x190mm
Note that the bags must be hand bag with a shoulder strap

	[image: ] 

	First Aid Bag large
	-
	-
	700
	Pcs
	First aid bag large fabric
bag dimensions approximately 470x240x190mm
Note that the bags must be hand bag with a shoulder strap

	[image: ] 
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