## Annex 2 – Bid Form completed signed and stamped

- All bids must be typed; handwritten bids will not be considered.

- The contract will be awarded to the lowest-cost technically compliant complete lot or complete bid.

- The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.

- The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.

- In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without go back to the supplier. The unit price must be provided with no more than two decimal places.

- Only one option is allowed for biding

- The bidder shall price each of the three distribution-line schedules separately. All unit rates shall include labor, materials, equipment, transport, testing, permits, overheads, incidental works, and all obligations necessary for the complete execution and handover of the works.

LOT 1:  Al Ain Village

| LRC To Complete |  |  |  | Bidder To Complete |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT |
| 1 | General |  |  |  |  |  |  |
| The Contractor shall carry out all general works required for the successful execution of the project, including mobilization and demobilization, site inspections, topographic survey and setting out, preparation and submission of shop drawings and as-built drawings, coordination with relevant stakeholders, obtaining necessary approvals and permits, and provision of all labor, equipment, materials, transportation, supervision, health and safety measures, and temporary works required for the completion of the contract. All works shall be carried out in accordance with the specifications, drawings, and Engineer's instructions. |  |  |  |  |  |  |  |
| 1.1 | Topographic Survey and Setting Out Works | LS | 1 |  |  |  |  |
| 1.2 | Preparation and Submission of Shop Drawings and As-Built Drawings | LS | 1 |  |  |  |  |
| 2 | Pipeworks |  |  |  |  |  |  |
| 2.1 | Pipes | Lm | 220 |  |  |  |  |
| 2.2 | Asphalt Cutting | Lm | 220 |  |  |  |  |
| 2.3 | Trench Excavation | Lm | 220 |  |  |  |  |
| 2.4 | Sand bedding and surrounds | Lm | 220 |  |  |  |  |
| 2.5 | Laying of HDPE Pipe | Lm | 220 |  |  |  |  |
| 2.6 | Backfilling of Trenches Including Compaction and Testing | Lm | 220 |  |  |  |  |
| 3 | Road Reinstatement |  |  |  |  |  |  |
| 3.1 | Supply and placement of asphalt to reinstate the road surface over trench areas, 10 cm thickness. Works include surface preparation, priming, laying of base and wearing courses, mechanical compaction, and finishing to restore road conditions to original or as specified by the local authority. | m2 | 88 |  |  |  |  |
| 4 | Valves and Piping Works |  |  |  |  |  |  |
| 4.1 | Connection of a 63 mm OD HDPE pipeline to an existing 6-inch ductile iron pipeline, including all necessary saddles, fittings, adaptors, excavation, tie-in works, testing, and reinstatement, complete in all respects. | Piece | 1 |  |  |  |  |
| 4.2 | SB-01 & SB02 - Supply and installation of a 2-inch gate valve complete with a round ductile iron surface box, including connection to a 63 mm OD HDPE pipe. The works shall include all necessary fittings, supports, sealing gaskets, chamber adjustments, alignment, anchoring, pressure testing, and reinstatement of disturbed areas. | Piece | 2 |  |  |  |  |
| 4.3.1 | 2-inch bronze gate valve, PN16 with wash-out extension pipe inside Manhole | Piece | 1 |  |  |  |  |
| 4.3.2 | 2-inch bronze check valve, PN16 | Piece | 1 |  |  |  |  |
| 4.3.3 | 2-inch bronze gate valve, PN16 for isolation | Piece | 1 |  |  |  |  |
| 4.3.4 | Pressure gauge Ø 100 glycerine-filled, stainless-steel case, pressure range 0–16 bar, bottom outlet with isolating valve | Piece | 1 |  |  |  |  |
| 4.3.5 | 150 cm × 150 cm C25 manhole constructed of precast or cast-in-situ reinforced concrete | Piece | 1 |  |  |  |  |
| 4.4.1 | DN50 Air Release Valve complete with isolation gate valve PN16 | Piece | 1 |  |  |  |  |
| 4.4.2 | 150 cm × 100 cm C25 manhole constructed of precast or cast-in-situ reinforced concrete T10 @20 double layer | Piece | 1 |  |  |  |  |
| 5 | Testing and commissioning of potable water pipes |  |  |  |  |  |  |
| 5.1.1 | Testing and commissioning of 63 mm OD Pipes | Lm | 220 |  |  |  |  |
|  | Total for Lot 1 Excluding VAT |  |  |  |  |  | _____________ USD |
|  | V.A.T 11% |  |  |  |  |  |  |
|  | Total for Lot 1 including VAT |  |  |  |  |  | _____________ USD |
|  | Lead time of Delivery and Implementation |  |  |  |  |  |  |

LOT 2:  Al Jame3 Line

| LRC To Complete |  |  |  | Bidder To Complete |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT |
| 1 | General |  |  |  |  |  |  |
| The Contractor shall carry out all general works required for the successful execution of the project, including mobilization and demobilization, site inspections, topographic survey and setting out, preparation and submission of shop drawings and as-built drawings, coordination with relevant stakeholders, obtaining necessary approvals and permits, and provision of all labor, equipment, materials, transportation, supervision, health and safety measures, and temporary works required for the completion of the contract. All works shall be carried out in accordance with the specifications, drawings, and Engineer's instructions. |  |  |  |  |  |  |  |
| 1.1 | Topographic Survey and Setting Out Works | Ls | 1 |  |  |  |  |
| 1.2 | Preparation and Submission of Shop Drawings and As-Built Drawings | Ls | 1 |  |  |  |  |
| 2 | Pipeworks |  |  |  |  |  |  |
| 2.1 | Pipes | Lm | 1000 |  |  |  |  |
| 2.2 | Asphalt Cutting | Lm | 1000 |  |  |  |  |
| 2.3 | Trench Excavation | Lm | 1000 |  |  |  |  |
| 2.4 | Sand bedding and surrounds | Lm | 1000 |  |  |  |  |
| 2.5 | Laying of HDPE Pipe | Lm | 1000 |  |  |  |  |
| 2.6 | Backfilling of Trenches Including Compaction and Testing | Lm | 1000 |  |  |  |  |
| 3 | Road Reinstatement |  |  |  |  |  |  |
| 3.1 | Supply and placement of asphalt to reinstate the road surface over trench areas, 10 cm thickness. Works include surface preparation, priming, laying of base and wearing courses, mechanical compaction, and finishing to restore road conditions to original or as specified by the local authority. | m2 | 400 |  |  |  |  |
| 4 | Valves and Piping Works |  |  |  |  |  |  |
| 4.1 | Connection of a 63 mm OD HDPE pipeline to an existing 2 inch HDPE pipeline, including all necessary saddles, fittings, adaptors, excavation, tie-in works, testing, and reinstatement, complete in all respects. | Piece | 1 |  |  |  |  |
| 4.2 | SB-01 & SB02 - Supply and installation of a 2-inch gate valve complete with a round ductile iron surface box, including connection to a 63 mm OD HDPE pipe. The works shall include all necessary fittings, supports, sealing gaskets, chamber adjustments, alignment, anchoring, pressure testing, and reinstatement of disturbed areas. | Piece | 2 |  |  |  |  |
| 4.3.1 | 2-inch bronze gate valve, PN16 with wash-out extension pipe inside Manhole | Piece | 4 |  |  |  |  |
| 4.3.2 | Pressure gauge Ø 100 PN 16 with glycerine, bottom outlet with isolating valve | Piece | 1 |  |  |  |  |
| 4.3.3 | 150 cm × 150 cm C25 manhole constructed of precast or cast-in-situ reinforced concrete | Piece | 1 |  |  |  |  |
| 4.4.1 | 2-inch bronze gate valve, PN16 with wash-out extension pipe inside Manhole | Piece | 1 |  |  |  |  |
| 4.4.2 | 150 cm × 100 cm C25 manhole constructed of precast or cast-in-situ reinforced concrete T10 @20 double layer | Piece | 1 |  |  |  |  |
| 5 | Testing and commissioning of potable water pipes |  |  |  |  |  |  |
| 5.1.1 | Testing and commissioning of 63 mm OD Pipes | Lm | 1000 |  |  |  |  |
|  | Total for Lot 2 Excluding VAT |  |  |  |  |  | _____________ USD |
|  | V.A.T 11% |  |  |  |  |  |  |
|  | Total for Lot 2 including VAT |  |  |  |  |  | _____________ USD |
|  | Lead time of Delivery and Implementation |  |  |  |  |  |  |

LOT 3:  Al Fekha, Saydeh Line

| LRC To Complete |  |  |  | Bidder To Complete |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Item number | Item/Milestone Required | Required UOM | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT |
| 1 | General |  |  |  |  |  |  |
| The Contractor shall carry out all general works required for the successful execution of the project, including mobilization and demobilization, site inspections, topographic survey and setting out, preparation and submission of shop drawings and as-built drawings, coordination with relevant stakeholders, obtaining necessary approvals and permits, and provision of all labor, equipment, materials, transportation, supervision, health and safety measures, and temporary works required for the completion of the contract. All works shall be carried out in accordance with the specifications, drawings, and Engineer's instructions. |  |  |  |  |  |  |  |
| 1.1 | Topographic Survey and Setting Out Works | Ls | 1 |  |  |  |  |
| 1.2 | Preparation and Submission of Shop Drawings and As-Built Drawings | Ls | 1 |  |  |  |  |
| 2 | Pipeworks |  |  |  |  |  |  |
| 2.1 | Pipes | Lm | 900 |  |  |  |  |
| 2.2 | Asphalt Cutting | Lm | 900 |  |  |  |  |
| 2.3 | Trench Excavation | Lm | 900 |  |  |  |  |
| 2.4 | Sand bedding and surrounds | Lm | 900 |  |  |  |  |
| 2.5 | Laying of HDPE Pipe | Lm | 900 |  |  |  |  |
| 2.6 | Backfilling of Trenches Including Compaction and Testing | Lm | 900 |  |  |  |  |
| 3 | Road Reinstatement |  |  |  |  |  |  |
| 3.1 | Supply and placement of asphalt to reinstate the road surface over trench areas, 10 cm thickness. Works include surface preparation, priming, laying of base and wearing courses, mechanical compaction, and finishing to restore road conditions to original or as specified by the local authority. | m2 | 360 |  |  |  |  |
| 4 | Valves and Piping Works |  |  |  |  |  |  |
| 4.1 | Connection of a 63 mm OD HDPE pipeline to an existing 4 inch HDPE pipeline, including all necessary saddles, fittings, adaptors, excavation, tie-in works, testing, and reinstatement, complete in all respects. | Piece | 1 |  |  |  |  |
| 4.2 | 2-inch bronze gate valve, PN16 for isolation | Piece | 2 |  |  |  |  |
| 4.3 | Pressure gauge Ø 100 PN 16 with glycerine, bottom outlet with isolating valve | Piece | 1 |  |  |  |  |
| 4.3.1 | 150 cm × 150 cm C25 manhole constructed of precast or cast-in-situ reinforced concrete | Piece | 1 |  |  |  |  |
| 4.3.2 | SB-01 - Supply and installation of a 2-inch gate valve complete with a round ductile iron surface box, including connection to a 63 mm OD HDPE pipe. The works shall include all necessary fittings, supports, sealing gaskets, chamber adjustments, alignment, anchoring, pressure testing, and reinstatement of disturbed areas. | Piece | 1 |  |  |  |  |
| 4.4.1 | 2-inch bronze gate valve, PN16 with wash-out extension pipe inside Manhole | Piece | 1 |  |  |  |  |
| 4.4.2 | 150 cm × 100 cm C25 manhole constructed of precast or cast-in-situ reinforced concrete T10 @20 double layer | Piece | 1 |  |  |  |  |
| 5 | Testing and commissioning of potable water pipes |  |  |  |  |  |  |
| 5.1.1 | Testing and commissioning of 63 mm OD Pipes | Lm | 900 |  |  |  |  |
|  | Total for Lot 1 Excluding VAT |  |  |  |  |  | _____________ USD |
|  | V.A.T 11% |  |  |  |  |  |  |
|  | Total for Lot 1 including VAT |  |  |  |  |  | _____________ USD |
|  | Lead time of Delivery and Implementation |  |  |  |  |  |  |

## ANNEX 3: DETAILED SPECIFICATIONS

As per: 2026-069 Terms of Reference -Al Ain & Fakeha Water Supply Tender