## Annex 2 – Bid Form completed signed and stamped

- All bids must be typed; handwritten bids will not be considered.

- The contract will be awarded to the lowest-cost technically compliant complete lot/items

- The quantities mentioned below are required unless there is a variation within a specified range with proper justification. The LRC reserves the right to increase or decrease the quantities.

- The bidder is not permitted to alter the section labelled “LRC to complete” below. Bidder is not allowed to use any other template.

- In the event of any discrepancy between the unit price and the total price, LRC reserves the right to rely on the unit price as stated in the financial bid, rather than the total price without go back to the supplier. The unit price must be provided with no more than two decimal places.

- Only one option is permitted per item. If a bidder submits more than one option, LRC will consider only the first option submitted For technical and Financial Evaluation.

- LABELED SAMPLES AND DATASHEETS FOR EACH ITEM MUST BE SUBMITTED

Lot 1: BAGS

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 1.1 | Vomiting Bag | Piece | 21,000 |  |  |  |  |  |
| 1.2 | Waste bags Red | Piece | 30,000 |  |  |  |  |  |
| 1.3 | Waste bags yellow - Medium (7L) | Piece | 111,000 |  |  |  |  |  |
| 1.4 | Waste Bags yellow XL (120L) | pcs | 5,000 |  |  |  |  |  |
| 1.5 | Zip Lock bags Large | Piece | 20,000 |  |  |  |  |  |
| 1.6 | Zip Lock bags Medium | Piece | 971,520 |  |  |  |  |  |
| 1.7 | Zip Lock bags Small | Piece | 971,520 |  |  |  |  |  |

Lot 2: BANDS

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 2.1 | Band Aid Plaster (Pack of 100) | Pack of 50 | 25,888 |  |  |  |  |  |
| 2.2 | Bandage Crepe Medium | Piece | 25,000 |  |  |  |  |  |
| 2.3 | Bandage Elastic - Medium | piece | 12,144 |  |  |  |  |  |
| 2.4 | Bandage Elastic - Small | piece | 12,144 |  |  |  |  |  |
| 2.5 | Bandages Abdominal (Identical or similar to OLAES modular bandage) | Piece | 1,000 |  |  |  |  |  |
| 2.6 | Chest Seal | Piece | 500 |  |  |  |  |  |
| 2.7 | Elastic roll/Bande Velpo - Small | Piece | 20,000 |  |  |  |  |  |
| 2.8 | Elastic roll/Bande Velpo - Large | Piece | 20,000 |  |  |  |  |  |
| 2.9 | Elastic roll/Bande Velpo – Medium | Piece | 20,000 |  |  |  |  |  |
| 2.10 | Gauze Band - Small | Pack of 12 | 2,500 |  |  |  |  |  |
| 2.11 | Gauze Band – Large | Pack of 12 | 5,000 |  |  |  |  |  |
| 2.12 | Gauze Band – Medium | Pack of 12 | 5,000 |  |  |  |  |  |
| 2.13 | Self-Adhering Elastic Bandage | Piece | 2,000 |  |  |  |  |  |
| 2.14 | Steri-Strips | box of 50 | 184 |  |  |  |  |  |
| 2.15 | Triangular Bandage / Foulard Triangular (pack of 15) | Piece | 20,000 |  |  |  |  |  |

Lot 3: BLANKETS

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 3.1 | Bed Pad / Alaise | piece | 190,080 |  |  |  |  |  |
| 3.2 | Blue Cloth sheet / Thin Blanket | Piece | 500 |  |  |  |  |  |
| 3.3 | Disposable blanket | Piece | 100,000 |  |  |  |  |  |
| 3.4 | Fire Blanket | Piece | 200 |  |  |  |  |  |
| 3.5 | Thermal Blanket | Piece | 1,500 |  |  |  |  |  |
| 3.6 | Thick Winter Blanket | Piece | 1,000 |  |  |  |  |  |
| 3.7 | Thin Blanket/Disposable Patient Cover Sheet | piece | 12,000 |  |  |  |  |  |

Lot 4: BREATHING

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 4.1 | Airway Cannula 100 mm | Piece | 3,500 |  |  |  |  |  |
| 4.2 | Airway Cannula 110 mm | Piece | 2,500 |  |  |  |  |  |
| 4.3 | Airway Cannula 40 mm | Piece | 1,000 |  |  |  |  |  |
| 4.4 | Airway Cannula 50 mm | Piece | 1,000 |  |  |  |  |  |
| 4.5 | Airway Cannula 60 mm | Piece | 1,000 |  |  |  |  |  |
| 4.6 | Airway Cannula 70 mm | Piece | 1,000 |  |  |  |  |  |
| 4.7 | Airway Cannula 80 mm | Piece | 2,500 |  |  |  |  |  |
| 4.8 | Airway Cannula 90 mm | Piece | 4,000 |  |  |  |  |  |
| 4.9 | Breathing Circuit | Piece | 800 |  |  |  |  |  |
| 4.10 | Nasal Cannula Adult | Piece | 31,000 |  |  |  |  |  |
| 4.11 | Nasal Cannula Pediatric | Piece | 10,000 |  |  |  |  |  |
| 4.12 | O ring for oxygen regulator | Piece | 1,000 |  |  |  |  |  |
| 4.13 | Oxygen connector(nipple) | Piece | 4,000 |  |  |  |  |  |
| 4.14 | Oxygen Tubing / Rallonge | Piece | 5,000 |  |  |  |  |  |
| 4.15 | Set of 7 Colored Cannula with Carrying Case | Set of 7 Pieces | 150 |  |  |  |  |  |
| 4.16 | Suction Bottle | Piece | 5,000 |  |  |  |  |  |
| 4.17 | Suction Tube 10 for automatic suction | Piece | 500 |  |  |  |  |  |
| 4.18 | Suction Tube 14 for automatic suction | Piece | 1,000 |  |  |  |  |  |
| 4.19 | Suction Tube 16 for automatic suction | Piece | 1,000 |  |  |  |  |  |
| 4.20 | Suction Tube 8 for automatic suction | Piece | 1,000 |  |  |  |  |  |
| 4.21 | Suction Tube Rigid | Piece | 1,000 |  |  |  |  |  |
| 4.22 | Suction Tube soft | Piece | 1,000 |  |  |  |  |  |

Lot 5: BTS MEDICAL CONSUMABLES

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 5.1 | Anti- A Diagast (Vial of 10 ml) | Vial | 1,100 |  |  |  |  |  |
| 5.2 | Anti- AB Diagast (Vial of 10 ml) | Vial | 1,100 |  |  |  |  |  |
| 5.3 | Anti- B Diagast (Vial of 10 ml) | Vial | 1,100 |  |  |  |  |  |
| 5.4 | Anti- D Diagast (Vial of 10 ml) | Vial | 1,100 |  |  |  |  |  |
| 5.5 | BD Vacutainer® EST Tubes / Art. no.: 143438 / EAN: 30382903627258 | Tube | 2,000 |  |  |  |  |  |
| 5.6 | Blue Tip | Pack | 10 |  |  |  |  |  |
| 5.7 | Chart Recorder Papers- Frimed Ref | Pcs | 100 |  |  |  |  |  |
| 5.8 | Cover for plastic tubes 5 cc | Pack | 30 |  |  |  |  |  |
| 5.9 | Inkless Chart Recorder Papers- Thermo Freezers | Pcs | 40 |  |  |  |  |  |
| 5.10 | Lancets for Blood Confirmation (pack of 100) | Pack | 3,000 |  |  |  |  |  |
| 5.11 | Liquid Concentrate for surface and Equipment | btle | 200 |  |  |  |  |  |
| 5.12 | Malaria Antibody Confirmatory Elisa Kit | Kit | 20-24 Kits |  |  |  |  |  |
| 5.13 | Parafilms (Roll/4 inc*125 FT) | Roll | 15 |  |  |  |  |  |
| 5.14 | Pasteur Pipette (Box of 500) | Box | 10 |  |  |  |  |  |
| 5.15 | Pens for Chart Recorder- Frimed Ref | Pcs | 100 |  |  |  |  |  |
| 5.16 | Plastic Test Tube 5ml (Pack of 500/12x75mm) | Pack | 10 |  |  |  |  |  |
| 5.17 | Rad Sure Indicator- Spears | Tag | 14,400 |  |  |  |  |  |
| 5.18 | Vacuette Chemistry Tube (Pack of 100/6ml) | Tube | 100,000 |  |  |  |  |  |
| 5.19 | Vacutainer EDTA tube (Pack of 100/3ml) | Tube | 100,000 |  |  |  |  |  |
| 5.20 | Yellow Tips | Pack | 10 |  |  |  |  |  |

Lot 6: DISINFECTANT

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 6.1 | Betadine Swabs - Povidone Iodine | Pack of 100 | 1,200 |  |  |  |  |  |
| 6.2 | Alcohol de Menthe (50 ml) | Bottle | 300 |  |  |  |  |  |
| 6.3 | Alcohol pads- Swabs | Box of 100 swabs | 12,344 |  |  |  |  |  |
| 6.4 | Betadine 120ml | Bottle | 2,500 |  |  |  |  |  |
| 6.5 | Betadine 500ml | Bottle | 12,068 |  |  |  |  |  |
| 6.6 | Disinfectant for instruments | 5L Gallon | 1,000 |  |  |  |  |  |
| 6.7 | Disinfectant for Surfaces | 5L Gallon | 600 |  |  |  |  |  |
| 6.8 | Disinfectant for Surfaces (Spray) | 1L Bottle | 3,000 |  |  |  |  |  |
| 6.9 | Disinfectant wipes | Piece | 14,352 |  |  |  |  |  |
| 6.10 | Hand Sanitizer Gel 1 L | Bottle | 40 |  |  |  |  |  |
| 6.11 | Hand Sanitizer Spray 1 L | Bottle | 300 |  |  |  |  |  |
| 6.12 | Hand Sanitizers | 1L Bottle | 10,000 |  |  |  |  |  |
| 6.13 | Hand sanitizers gel 60ml | piece | 8,832 |  |  |  |  |  |
| 6.14 | Spray (for papsmear) | Piece | 600 |  |  |  |  |  |
| 6.15 | Surface and Floor disinfectant | Gallon | 2,200 |  |  |  |  |  |

Lot 7: EMS Emergency

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 7.1 | Burn kit | Kit | 100 |  |  |  |  |  |
| 7.2 | Glucose Gel | Tube of 15 gm | 1,000 |  |  |  |  |  |
| 7.3 | Ice Pack | Piece | 8,200 |  |  |  |  |  |
| 7.4 | Obstetrics Kit | Kit | 400 |  |  |  |  |  |

Lot 8: Eye, Face Protection & Containers

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 8.1 | Protective glasses | Piece | 1,010 |  |  |  |  |  |
| 8.2 | Protective goggles | Piece | 1,432 |  |  |  |  |  |
| 8.3 | Sharp Box Container 1.8 Litre | pcs | 50 |  |  |  |  |  |
| 8.4 | Sharp Box Container 10 Litre | Piece | 250 |  |  |  |  |  |
| 8.5 | Sharps Box Container 3 Litre | Piece | 5,534 |  |  |  |  |  |

Lot 9: GAUZE

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 9.1 | Combact Gauze | Piece | 800 |  |  |  |  |  |
| 9.2 | Gauze Compress | Piece | 1,700,160 |  |  |  |  |  |
| 9.3 | Gauze Roll Absorbent | Roll | 4,000 |  |  |  |  |  |
| 9.4 | Gauze Sterile 5cm x 5 cm | Box of 100 | 1,500 |  |  |  |  |  |
| 9.5 | Gauze Sterile 10cm x10 cm | Box of 100 | 2,728 |  |  |  |  |  |
| 9.6 | Sterilization Paper for Sterile Gauze | Sheet | 200,000 |  |  |  |  |  |

Lot 10: GLOVES

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 10.1 | High Risk Nitrile Gloves L | Box of 50 | 1,500 |  |  |  |  |  |
| 10.2 | High Risk Nitrile Gloves M | Box of 50 | 1,500 |  |  |  |  |  |
| 10.3 | High Risk Nitrile Gloves S | Box of 50 | 1,500 |  |  |  |  |  |
| 10.4 | High Risk Nitrile Gloves XL | Box of 50 | 1,500 |  |  |  |  |  |
| 10.5 | Nitrile Gloves Large | Box of 100 | 31,568 |  |  |  |  |  |
| 10.6 | Nitrile Gloves Medium | Box of 100 | 47,788 |  |  |  |  |  |
| 10.7 | Nitrile Gloves Small | Box of 100 | 31,568 |  |  |  |  |  |
| 10.8 | Nitrile Gloves X-Large | Box of 100 | 20,000 |  |  |  |  |  |
| 10.9 | Sterile Gloves 7.5 | Box of 50 Pairs | 1,104 |  |  |  |  |  |
| 10.10 | Sterile Gloves 8.5 | Box of 50 Pairs | 184 |  |  |  |  |  |

Lot 11: MASKS

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 11.1 | Adult Simple Oxygen Mask | Piece | 21,000 |  |  |  |  |  |
| 11.2 | Disposable Face Shield | Piece | 1,000 |  |  |  |  |  |
| 11.3 | Face shield | piece | 452 |  |  |  |  |  |
| 11.4 | KN95 | Piece | 200,000 |  |  |  |  |  |
| 11.5 | N95 | Piece | 11,568 |  |  |  |  |  |
| 11.6 | Oxygen Mask with Reservoire - Adult | Piece | 35,000 |  |  |  |  |  |
| 11.7 | Oxygen Mask with Reservoire - Pediatric | Piece | 3,000 |  |  |  |  |  |
| 11.8 | Pediatric Simple Oxygen Mask | Piece | 15,000 |  |  |  |  |  |
| 11.9 | Surgical mask | Box of 50 | 32,100 |  |  |  |  |  |

Lot 12: MSS medical Consumables & Diagnostic Supplies

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 12.1 | Lame / Slide | Piece | 20,000 |  |  |  |  |  |
| 12.2 | Urine dipsticks (protein, glucose, ketones, leukocytes) |  | 30,000 |  |  |  |  |  |
| 12.3 | Bowie-Dick indicator CE OR FDA CERTIFIED | piece | 11,232 |  |  |  |  |  |
| 12.4 | Chemical Indicator CE OR FDA CERTIFIED | piece | 56,160 |  |  |  |  |  |
| 12.5 | Cleaner for hemoglobin photometer | Box | 40 |  |  |  |  |  |
| 12.6 | Control Solution for hemoglobin photometer - Compatible with Diaspect TM machine | Set of 3 | 240 |  |  |  |  |  |
| 12.7 | Control Solution for hemoglobin photometer - Compatible with Hemocue 201 | Piece | 240 |  |  |  |  |  |
| 12.8 | EKG electrodes | piece | 43,200 |  |  |  |  |  |
| 12.9 | Microcuvette for hemoglobin photometer - Compatible with Hemocue 201+ machine | Piece | 5,000 |  |  |  |  |  |
| 12.10 | Microcuvette for hemoglobin photometer - Compatible with Diaspect TM machine | Piece | 5,000 |  |  |  |  |  |
| 12.11 | Spatula | Piece | 20,000 |  |  |  |  |  |
| 12.12 | Sterilization pouch medium | Piece | 20,000 |  |  |  |  |  |
| 12.13 | Sterilization pouch Large | Piece | 12,000 |  |  |  |  |  |
| 12.14 | Pregnancy Test | Piece | 30,000 |  |  |  |  |  |
| 12.15 | Pregnancy test urine cups | Box | 30,000 |  |  |  |  |  |

Lot 13: Paper

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 13.1 | EKG paper - Biolight E30 | Roll | 864 |  |  |  |  |  |
| 13.2 | EKG paper - Biolight E70 | Roll | 864 |  |  |  |  |  |
| 13.3 | Exam paper roll | Roll | 8,124 |  |  |  |  |  |
| 13.4 | Ultrasound paper (Gyneco + Echocardio) | piece | 864 |  |  |  |  |  |

Lot 14: Protective Clothing

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 14.1 | Disposable Gown | Pcs | 26,664 |  |  |  |  |  |
| 14.2 | Gown | Piece | 2,000 |  |  |  |  |  |
| 14.3 | Protective Coverall with Hood L | Piece | 500 |  |  |  |  |  |
| 14.4 | Protective Coverall with Hood M | Piece | 500 |  |  |  |  |  |
| 14.5 | Protective Coverall with Hood S | Piece | 500 |  |  |  |  |  |
| 14.6 | Protective Coverall with Hood XL | Piece | 500 |  |  |  |  |  |
| 14.7 | Protective Coverall with Hood XXL | Piece | 500 |  |  |  |  |  |
| 14.8 | Protective Coverall with Hood XXXL | Piece | 500 |  |  |  |  |  |
| 14.9 | Protective overall L | Piece | 1,000 |  |  |  |  |  |
| 14.10 | Protective overall M | Piece | 1,000 |  |  |  |  |  |
| 14.11 | Protective overall S | Piece | 1,000 |  |  |  |  |  |
| 14.11 | Protective overall XL | Piece | 1,000 |  |  |  |  |  |
| 14.12 | Protective overall XXL | Piece | 1,000 |  |  |  |  |  |
| 14.13 | Protective overall XXXL | Piece | 1,000 |  |  |  |  |  |

Lot 15: Solution

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 15.1 | Distilled Water | 5L Gallon | 884 |  |  |  |  |  |
| 15.2 | NaCl (0.9% Sodium chloride Al) | Bag of 1L | 31,008 |  |  |  |  |  |
| 15.3 | Saline solution 250ml | peice | 57,024 |  |  |  |  |  |
| 15.4 | Ultrasound gel 250ml | Bottle | 720 |  |  |  |  |  |

Lot 16: Speculum

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 16.1 | Ear speculum Medium | Piece | 30 000 |  |  |  |  |  |
| 16.2 | Ear speculum Small | Piece | 100 000 |  |  |  |  |  |
| 16.3 | Speculum single use L | Piece | 5,000 |  |  |  |  |  |
| 16.4 | Speculum single use M | Piece | 5,000 |  |  |  |  |  |
| 16.5 | Speculum single use S | Piece | 5,000 |  |  |  |  |  |

Lot 17: Swabs & Applicators

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 17.1 | Long Cotton Tipped Applicator | Piece | 20,200 |  |  |  |  |  |
| 17.2 | Cervical brush | Bag / 50 pieces | 20,000 |  |  |  |  |  |
| 17.3 | Tongue Depressors | Box of 50 | 16,573 |  |  |  |  |  |
| 17.4 | Wooden Applicator (Pack of 1000) | Pack | 300 |  |  |  |  |  |
| 17.5 | Cotton Swab (Pack of 20) | pack | 100 |  |  |  |  |  |

Lot 18: SYRINGE

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 18.1 | Glucometer Needles (box of 200) | Box of 200 | 1,000 |  |  |  |  |  |
| 18.2 | Needles | Box of 100 needles | 210 |  |  |  |  |  |
| 18.3 | Syringe 5ml | Pcs | 5,000 |  |  |  |  |  |
| 18.4 | Syringes 20ml | Box of 100 syringes | 210 |  |  |  |  |  |

Lot 19: TAPE

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 19.1 | Duct Tape | Piece | 1,000 |  |  |  |  |  |
| 19.2 | Hypoallergenic Adhesive Tape – Medium | Piece | 20,000 |  |  |  |  |  |
| 19.3 | Hypoallergenic Adhesive Tape – Small | Piece | 60,568 |  |  |  |  |  |
| 19.4 | Sterilization Indicator Tap roll | Piece | 10,000 |  |  |  |  |  |

Lot 19: TOURNIQUET

| LRC to Complete (BIDDERS ARE NOTE ALLOWED TO MODIFY THE LRC SECTION) |  |  |  | Bidder To Complete |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Number | Item/Milestone Required | Unit of Measurements | Estimated Qty | Unit Price in USD, Exclusive VAT | VAT (%) | Unit Price in USD, inclusive VAT | Total Price in USD, inclusive VAT | Lead time of Delivery for any Quantity from the date of the purchase order |
| 20.1 | Consumables for Digital Thermometer (Pack of 25) | Pack | 4,000 |  |  |  |  |  |
| 20.1 | Cover for ear thermometer | Piece | 750 000 |  |  |  |  |  |
| 20.2 | Disposable Thermometer 100/pack | Piece | 20,000 |  |  |  |  |  |
| 20.3 | Junctional tourniquet | Piece | 500 |  |  |  |  |  |
| 20.4 | Tourniquet | Pcs | 200 |  |  |  |  |  |
| 20.5 | Tourniquet - military grade | Piece | 400 |  |  |  |  |  |

## ANNEX 3: DETAILED SPECIFICATIONS

| CATEGORY | ITEM # | Item/Milestone Required | DETAILED SPECIFICATIONS | PACKING |
| --- | --- | --- | --- | --- |
| BAGS | 1.1 | Vomiting Bag | Extra thick plastic transparent bags Waterproof paper+polybag with an anti-regorge valve Volume: 1Litre (Should be able to hold the liquid well without leakage) graded | Piece |
| BAGS | 1.2 | Waste bags Red | Material: High Molecular Weight, High-Density (HMHD) Polyethylene or Polypropylene. Colour: Red Size (W) x (L): 79x97cm (31x38’’) (± 25%) Capacity: 100L Thickness: 1.2 mil to 2.0 mil Puncture, tear and leak resistant | Piece |
| BAGS | 1.3 | Waste bags yellow - Medium (7L) | Material: Polypropylene or Polyethylene. Thickness: 70 µm– ISO 7765 2004 tear resistant, water resistant, can be properly sealed Color: Yellow with Tie clinical waste/biohazard symbol | Piece |
| BAGS | 1.4 | Waste Bags yellow XL (120L) | Capacity 120 L Length: 147 cm Width: 59 cm/Thickness: 55 micron Biohazard sign printed on each bag Package can be roll or single bag Manual tie is a plus Material: polyethylene /latex free/spill resistant Color: yellow | pcs |
| BAGS | 1.5 | Zip Lock bags Large | Transparent polyethylene zip-lock bags suitable for transporting urine specimen containers, leak-resistant, with secure resealable closure. Size approximately 15 × 20 cm (or sufficient to accommodate standard urine cups). Durable, single-use, and suitable for safe specimen handling and transport. Supplied in packs of 100 bags. Compliant with applicable laboratory and healthcare standards | Piece |
| BAGS | 1.6 | Zip Lock bags Medium | Reclosable plastic zip lock bags suitable for packaging and organizing medication . durable polyethylene material, lightweight and resistant to tearing under normal use. secure press-to-close sealing system , Transparent design with a space to write Medium size: approximately 7 cm × 10 cm (for sachets or multiple tablets) | Piece |
| BAGS | 1.7 | Zip Lock bags Small | Reclosable plastic zip lock bags suitable for packaging and organizing medication . durable polyethylene material, lightweight and resistant to tearing under normal use. secure press-to-close sealing system , Transparent design with a space to write Small size: approximately 5 cm × 7 cm (for tablets) | Piece |
| BAND | 2.1 | Band Aid Plaster (Pack of 100) | Waterproof /Hypoallergenic, Antiseptic, Breathe freely adhesive plaster Sterile Size:7cmx2cm | Pack of 50 |
| BAND | 2.2 | Bandage Crepe Medium | Crepe bandage intended for securing wound dressings, splints, and medical devices. Made of soft, breathable, and skin-friendly cotton with woven elastic fibers providing uniform stretch and compression. Length: 4–5 m (stretched), widths: 5 cm, 7.5 cm, 10 cm, and 15 cm | Piece |
| BAND | 2.3 | Bandage Elastic - Medium | Individually wraped 4m*8 cm | piece |
| BAND | 2.4 | Bandage Elastic - Small | Individually wraped 4m*6 cm | piece |
| BAND | 2.5 | Bandages Abdominal (Identical or similar to OLAES modular bandage) | For haemorrhage control for abdominal and large extremity wounds in prehospital emergency care Details: Sterile, oversized 12” x 12” non-stick pad suitable for applying immediate pressure Easy-open white tear notches for quick access Intermittent hook and loop to prevent pressure dressing from unrolling during application Vacuum sealed to minimize cubic space Bandage: L 70” x W 6” Packaged: L 5 ¼” x W 6” x D 1 ½” | Piece |
| BAND | 2.6 | Chest Seal | Latex free Transparent Dual tabs to facilitate placement and removal of dressing Vacuum packed tear and peel pouch Works under extreme heat and cold Dressing and packaging are night vision optimized Elastic for conformity of curved body surfaces Oval shape with thin edge layer that resists lifting or peeling Bio-compatible One-way valve provides for low resistance airflow out of chest cavity while preventing ingress Valve is designed to prevent blockage internally Valve is designed to prevent blockage caused by external items such as a blanket Fast, easy and intuitive to apply. | Piece |
| BAND | 2.7 | Elastic roll/Bande Velpo - Small | The weft threads made of cotton The warp threads of false-twisted polyamide and polyurethane High extensible – medium stretch compression bandages With durable elasticity High recoiling force Color: Skin 5.08cm x 4.5m | Piece |
| BAND | 2.8 | Elastic roll/Bande Velpo - Large | The weft threads made of cotton The warp threads of false-twisted polyamide and polyurethane High extensible – medium stretch compression bandages With durable elasticity High recoiling force Color: Skin 10.16cm x 4.5m | Piece |
| BAND | 2.9 | Elastic roll/Bande Velpo – Medium | The weft threads made of cotton The warp threads of false-twisted polyamide and polyurethane High extensible – medium stretch compression bandages With durable elasticity High recoiling force Color: Skin 7.62cm x 4.5m | Piece |
| BAND | 2.10 | Gauze Band - Small | Meshe, mixed fibres, slightly elastic White cotton 100% yarn 5.08cm x 4m | Pack of 12 |
| BAND | 2.11 | Gauze Band – Large | Meshe, mixed fibres, slightly elastic White cotton 100% yarn 10.16cmx4m | Pack of 12 |
| BAND | 2.12 | Gauze Band – Medium | Meshe, mixed fibres, slightly elastic White cotton 100% yarn 7.62cmx4m | Pack of 12 |
| BAND | 2.13 | Self-Adhering Elastic Bandage | Provides support and compression. Will not loosen or slip. Thin, lightweight, breathable material. Supports, secures and protects sprains, strains, splints and compresses. Secures dressings, catheters and cold or heat therapy products. Helps protect sensitive skin. Can be cut to desired length. Dimensions: 7.5 CM | Piece |
| BAND | 2.14 | Steri-Strips | Reinforced Skin Closure Strips, sterile, hypoallergenic. No latex | box of 50 |
| BAND | 2.15 | Triangular Bandage / Foulard Triangular (pack of 15) | Wooven triangular shape Made of bleached white calico cotton (or similar cloths) Disposable Overlocked to reduce fraying Sufficient strength to withstand pressure exerted by a resting arm. Individually wrapped Color : white 90 cm * 90 cm * 130 Cm | Piece |
| BLANKET | 3.1 | Bed Pad / Alaise | Single use draw sheet Absorption capacity about 1.5 liters. Size: 60cm(W)x90cm(L) | piece |
| BLANKET | 3.2 | Blue Cloth sheet / Thin Blanket | Blue cloth sheet Custom made to cover patients length : 220 cm width : 100 cm with the logo of the red cross on the top | Piece |
| BLANKET | 3.3 | Disposable blanket | Non woven White 120cmx180cm | Piece |
| BLANKET | 3.4 | Fire Blanket | Woven fibreglass fire resistant fabric with PVC sleeve can effectively put out small fire Specific features: Low storage space required The straps on the lower side allow a quick extraction from the case The eyelet on the top allows to hang the device The instructions with symbols on the package allow a simple and intuitive use. Technical data Dimensions opened 1,2 x 1,2 m Dimensions packaged 280x150x35 mm Weight 750 ± 20g Operating temperature 550 °C Chemical composition (%) SiO2: 54.1±0.5 Al2O3:14.6±0.4 CaO: 16.6±0.3 MgO:4.6±0.3 B2O3: 8.8±0.5 R2O< 0.8 Fe2O3<0.57 Case material Plastic Single use device with soft holder | Piece |
| BLANKET | 3.5 | Thermal Blanket | Heat reflective metalised low-density polyethylene(foil) Reusable and tear-resistant material Highly visible and radar reflective Windproof and waterproof Sized to fit 1 or 2 people1.5mx2.1m 2 colors | Piece |
| BLANKET | 3.6 | Thick Winter Blanket | 160 cm x 220 cm Winter Blankets | Piece |
| BLANKET | 3.7 | Thin Blanket/Disposable Patient Cover Sheet | Blue disposable non-woven patient cover sheet. Length: 220 cm Width: 100 cm Single-use. Soft, lightweight, fluid-resistant material. Suitable for patient coverage during examination and medical procedures. CE-marked or equivalent. | piece |
| Breathing | 4.1 | Airway Cannula 100 mm | Constructed of medical grade PVC Approximate length 100mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.2 | Airway Cannula 110 mm | Constructed of medical grade PVC Approximate length 110mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.3 | Airway Cannula 40 mm | Constructed of medical grade PVC Approximate length 40mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.4 | Airway Cannula 50 mm | Constructed of medical grade PVC Approximate length 50mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.5 | Airway Cannula 60 mm | Constructed of medical grade PVC Approximate length 60mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.6 | Airway Cannula 70 mm | Constructed of medical grade PVC Approximate length 70mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.7 | Airway Cannula 80 mm | Constructed of medical grade PVC Approximate length 80mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.8 | Airway Cannula 90 mm | Constructed of medical grade PVC Approximate length 90mm Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Piece |
| Breathing | 4.9 | Breathing Circuit | Pneumatic Oxygen powered ventilator 2 ventilation modes: mandatory VCV and manual Suitable for adults and children over 10kg Airmix 100% or 50% Oxygen 100% oxygen only version available PEEP-Variable or Fixed Eliminates patient aerosol of contaminated exhaled gas No electrical power source required CE marked and ISO 13485 manufacturer Intubation/LMA device compatible Simple airway pressure indicator ZERO drive gas - This is the most efficient ventilation possible contains:equipment protection filter, HME filter, heppa filter,air tube, PEEP valve, mask) | Piece |
| Breathing | 4.10 | Nasal Cannula Adult | Constructed of transparent medical grade PVC 2 prongs fixed on an adjustable harness or support, and connected to 2 tubes(R&L) and an O2 supply tube. Provide low oxygen concentrations of 24-40%, with between 2-4 litres per minute flow of oxygen Sterile by EO, single use(It can be non-sterile, but medically clean) Disposable and individually wrapped Adult standard size CE OR FDA CERTIFIED | Piece |
| Breathing | 4.11 | Nasal Cannula Pediatric | Constructed of transparent medical grade PVC 2 prongs fixed on an adjustable harness or support, and connected to 2 tubes(R&L) and an O2 supply tube. Provide low oxygen concentrations of 24-40%, with between 2-4 litres per minute flow of oxygen Sterile by EO, single use(It can be non-sterile, but medically clean) Disposable and individually wrapped Pediatric standard size | Piece |
| Breathing | 4.12 | O ring for oxygen regulator | Reusable O ring for oxygen regulator | Piece |
| Breathing | 4.13 | Oxygen connector(nipple) | Nipple and Nut Hose Adaptor For Use With Standard D.I.S.S. Threaded Oxygen Outlet HCPCS A4221 Green or white Threaded Barbed Hose Adaptor UNSPSC Code 42272214 Diameter 14 mm Height 40 mm to 50 mm | Piece |
| Breathing | 4.14 | Oxygen Tubing / Rallonge | 7 Feet tube constructed of crush resistant, kink-free plastic, disposable, outside diameter of tube is 5mm. Vinyl tipped to facilitate connection with oxygen delivery supply and delivery device adult standard size. Able to ensure unimpeded oxygen flow to the patient. | Piece |
| Breathing | 4.15 | Set of 7 Colored Cannula with Carrying Case | 7 cannulas: 50mm,60mm,70mm,80mm,90mm,100mm,110mm Each cannula in this set should be: Constructed of medical grade PVC Flange: surface is marked with tube length in mm Rigid bite block, straight and reinforced, colour coded according to size Distal end: semi-rigid, transparent and curved, atraumatic soft rounded edges Bite resistant: the lumen must be kept open at all times Not sterile, medically clean, single-use or reusable Packaged in a sealed plastic bag | Set of 7 Pieces |
| Breathing | 4.16 | Suction Bottle | Plastic Canister 300ml Suction container compatible with the Ferno (brand) Manual Aspirator B-Vac (model) | Piece |
| Breathing | 4.17 | Suction Tube 10 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 10 | Piece |
| Breathing | 4.18 | Suction Tube 14 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 14 | Piece |
| Breathing | 4.19 | Suction Tube 16 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 16 | Piece |
| Breathing | 4.20 | Suction Tube 8 for automatic suction | enteral connector to reduce the risk of tubing misconnections Transparent Tube Sterile Disposable DEHP-free size 8 | Piece |
| Breathing | 4.21 | Suction Tube Rigid | Plastic catether wide bore 13mm Compatible with ferno manual suction unit | Piece |
| Breathing | 4.22 | Suction Tube soft | Plastic catether wide bore 6mm Compatible with ferno manual suction unit | Piece |
| BTS CONSUMABELS | 5.1 | Anti- A Diagast (Vial of 10 ml) | Anti-A contains monoclonal, IgM antibody for slide and tube testing. | Vial |
| BTS CONSUMABELS | 5.2 | Anti- AB Diagast (Vial of 10 ml) | Anti-AB contains monoclonal, IgM antibody for slide and tube testing. Vial of 10 ml | Vial |
| BTS CONSUMABELS | 5.3 | Anti- B Diagast (Vial of 10 ml) | Anti-B contains monoclonal, IgM antibody for slide and tube testing. Vial of 10 ml | Vial |
| BTS CONSUMABELS | 5.4 | Anti- D Diagast (Vial of 10 ml) | Anti-D contains monoclonal, IgM antibody for slide and tube testing. Vial of 10 ml | Vial |
| BTS CONSUMABELS | 5.5 | BD Vacutainer® EST Tubes / Art. no.: 143438 / EAN: 30382903627258 | attached | Tube |
| BTS CONSUMABELS | 5.6 | Blue Tip | Blue tips 100-1000ul Rnase and Dnase free Polypropylene Autoclavable Graduated For laboratory use | Pack |
| BTS CONSUMABELS | 5.7 | Chart Recorder Papers- Frimed Ref | Seven Days Chart Recorders Diameters 15.2 cm Ultra low temperature freezers and refrigerators Fits in: Refrigerators: Model AF70V & AF70E Freezers: Model CV6 | Pcs |
| BTS CONSUMABELS | 5.8 | Cover for plastic tubes 5 cc | Cover for plastic tubes 5 cc | Pack |
| BTS CONSUMABELS | 5.9 | Inkless Chart Recorder Papers- Thermo Freezers | inkless chart recorder diameter 15 cm suitabel for thermo freezers and fridges 7 days monitoring- Monday to Sunday temperature range from 30 to -40°C | Pcs |
| BTS CONSUMABELS | 5.10 | Lancets for Blood Confirmation (pack of 100) | Fine gauge Sterile tri-bevel tip for virtually painless sampling Disposable Consistent Depth Penetration | Pack |
| BTS CONSUMABELS | 5.11 | Liquid Concentrate for surface and Equipment | attached | btle |
| BTS CONSUMABELS | 5.12 | Malaria Antibody Confirmatory Elisa Kit | attached | Kit |
| BTS CONSUMABELS | 5.13 | Parafilms (Roll/4 inc*125 FT) | Size: 10.16cm(W)x38.1m(L) Flexible/ mouldable Self-sealing Odourless Moisture resistant Thermoplastic | Roll |
| BTS CONSUMABELS | 5.14 | Pasteur Pipette (Box of 500) | Length 145mm 1ml transfer pipette | Box |
| BTS CONSUMABELS | 5.15 | Pens for Chart Recorder- Frimed Ref | Pen used for chart recorder for frimed refrigerators and freezers Fits in: Refrigerators: Model AF70V & AF70E Freezers: Model CV6 | Pcs |
| BTS CONSUMABELS | 5.16 | Plastic Test Tube 5ml (Pack of 500/12x75mm) | Volume: 5ml Dimensions: 0.12cm(W)x075cm(L) Material: PS | Pack |
| BTS CONSUMABELS | 5.17 | Rad Sure Indicator- Spears | attached | Tag |
| BTS CONSUMABELS | 5.18 | Vacuette Chemistry Tube (Pack of 100/6ml) | attached | Tube |
| BTS CONSUMABELS | 5.19 | Vacutainer EDTA tube (Pack of 100/3ml) | attached | Tube |
| BTS CONSUMABELS | 5.20 | Yellow Tips | Yellow tips 100-1000ul Rnase and Dnase free Polypropylene Autoclavable Graduated For laboratory use | Pack |
| DISINFECTANT | 6.1 | Betadine Swabs - Povidone Iodine | Betadine swabs- prepad Skin Swabs- Individually packed- with 10% povidone- iodine solution equivalent to 1% available iodine. | Pack of 100 |
| DISINFECTANT | 6.2 | Alcohol de Menthe (50 ml) | 80% vol for dizziness | Bottle |
| DISINFECTANT | 6.3 | Alcohol pads- Swabs | Antiseptic ¦ Single pad saturated with 70% isopropyl alcohol ¦ For skin preparation prior to injection ¦ 1-ply ¦ Size: 6cm(L)x3cm(W) | Box of 100 swabs |
| DISINFECTANT | 6.4 | Betadine 120ml | Povidone-iodine, 10% Antiseptic Non-Sterile Solution 120 ml. btl. | Bottle |
| DISINFECTANT | 6.5 | Betadine 500ml | Povidone-iodine, 10% Antiseptic Non-Sterile Solution 500 ml. btl. | Bottle |
| DISINFECTANT | 6.6 | Disinfectant for instruments | Pre Disinfection / Cleaning, Enzymatic cleaner for instruments, Pump Should be included. Active cleaning & new fragrance facilitate reprocessing Value preservation of the instruments through neutral pH and coordinated cleaning complex Very good non-fixing cleaning – ideal for pre-cleaning Pleasant use, whether in an immersion bath or ultrasound bath The active formula of 3 enzymes and ionic surfactants effectively penetrates a wide range of organic contaminants from coagulated blood to mucus to fat – without fixing 100 g solution contain: 5 – 15 % non-ionic surfactants, preservatives: 2-methyl-2H-isothiazol- 3-one, 1,2-benzylisothiazol-3(2H)-one, enzymes: Protease, amylase, lipase. | 5L Gallon |
| DISINFECTANT | 6.7 | Disinfectant for Surfaces | Surface Disinfectant,Gallon of 5L, Both options are considered (not ready to use), Pump should be included Based on modern quaternary ammonium compounds. Perfume-free No aldehydes nor phenols Disinfection and good cleaning power 100 g solution contain: 3.33 g Didecyldimethylammoniumchloride, 6.66 g Alkyl (C12-16) dimethylbenzyl ammonium chloride | 5L Gallon |
| DISINFECTANT | 6.8 | Disinfectant for Surfaces (Spray) | Bottle sprayer of 1L, ready to use. Alcohol-based rapid disinfectant based on ethanol for gentle disinfection and cleaning of medical devices and medical equipment as well as surfaces of all types Suitable for areas near patients in which a broad spectrum of activity is required Provides effective disinfection within a very short time Good material compatibility and leaves no streaks or visible residues 100g solution cotains 45g ethanol | 1L Bottle |
| DISINFECTANT | 6.9 | Disinfectant wipes | Hospital-grade disinfectant wipes for healthcare environmental surfaces and non-invasive medical equipment Ready to use Hydrogen peroxide–based formulation preferred Compatible with healthcare upholstery, faux leather, PU leather, and vinyl medical surfaces Broad-spectrum efficacy against bacteria, mycobacteria (TB), fungi, yeasts, and enveloped viruses Manufacturer-sealed refill pack with hard plastic flip-top lid CE approved | Piece |
| DISINFECTANT | 6.10 | Hand Sanitizer Gel 1 L | Hydro Alcoholic Solution : 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes)- with a pump | btle |
| DISINFECTANT | 6.11 | Hand Sanitizer Spray 1 L | Hydro Alcoholic Solution, Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses - with a pump | btle |
| DISINFECTANT | 6.12 | Hand Sanitizers | Hydro Alcoholic Solution, Bottle of 1L, Liquid or Gel High quality emollients for skin care which protect the skin against dehydration 100 g solution contain: 63.14 g (70 % V/V ) 2-propanol. Pump/wall mount should be included | 1L Bottle |
| DISINFECTANT | 6.13 | Hand sanitizers gel 60ml | Hydro Alcoholic Solution : 60% to 70% Denatured Ethanol Glycerol Water Effective against 99% of corona virus, flu, HIV, Herpes and Hepatitis Viruses (no inclusion of colorants, dyes or perfumes) | piece |
| DISINFECTANT | 6.14 | Spray (for papsmear) | Cytology fixative spary, non-aerosol | Piece |
| DISINFECTANT | 6.15 | Surface and Floor disinfectant | Suitable for cleaning and disinfection of floors, walls, and hard surfaces in healthcare settings. Broad-spectrum efficacy (bactericidal, virucidal, and fungicidal), effective against common healthcare-associated pathogens, including enveloped viruses. Ready-to-use or concentrated solution with clear dilution instructions, effective in the presence of organic matter. Suitable for routine cleaning of high-touch surfaces, examination tables, medical equipment exteriors, countertops, and patient care areas. Supplied in labeled containers 5L) indicating active ingredients, batch number, and expiry date. Pump dispenser included. | Gallon |
| EMS Emergency | 7.1 | Burn kit | Burn dressings and fire blankets for large or minor burns gel: 96%water slow to evaporate, remain moist , non stick also contains medical tea tree oil(natural antibacterial) contains: (1) 36" x 30" burn wrap, (1) 12" x 16" facial burn dressing, (1) 8" x 18" burn dressing, (1) 4" x 16" burn dressing, (3) 4" x 4" burn dressing and (4) 3" roll gauze, (1) pair of scissors, (1) instruction card and (1) soft-sided carrying case | Kit |
| EMS Emergency | 7.2 | Glucose Gel | Easy to swallow Fast acting gel for oral use Without chewing Single dose pouch 15g per pouch | Tube of 15 gm |
| EMS Emergency | 7.3 | Ice Pack | Double wall plastic bag that measures 15cm(W)x15cm(L) Comprised of sodium nitrate and water Remain cold for a minimum of 30 minutes at 2oC single use | Piece |
| EMS Emergency | 7.4 | Obstetrics Kit | Kit with carrying bag for out of hospital birth 1 under bottock with pouch 2 Under pad 4 Sterile gloves 4 Sterile disposable sheets (1 m X 1 m) 4 Sterile gauze pads 10 Sterile gauze 2 Sterile disposable gown 2 Sterile umbilical clamps 2 Trash bag (pink) 1 Sterile disposable bulb syringe 1 Sterile blanket 1 Isothermic blanket 2 Sterile clamp 1 Sterile scissors | Kit |
| Eye & Face Protection | 8.1 | Protective glasses | Single use Light colours Thumb/ finger loops to anchor sleeves in place Quality compliant with: Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Eye & Face Protection &CONTAINER | 8.2 | Protective goggles | Clear Plastic , Fog resistant Elastic head strap Side and top protection shields Against liquid slash | Piece |
| Eye & Face Protection &CONTAINER | 8.3 | Sharp Box Container 1.8 Litre | Contaminated sharps container for clinical waste Yellow colour with biohazard Clinical waste warnings printed on container 1.8 L | pcs |
| Eye & Face Protection &CONTAINER | 8.4 | Sharp Box Container 10 Litre | Contaminated sharps container for clinical waste Yellow colour with biohazard Clinical waste warnings printed on container 10L | Piece |
| Eye & Face Protection &CONTAINER | 8.5 | Sharps Box Container 3 Litre | Contaminated sharps container for clinical waste Yellow colour with biohazard Clinical waste warnings printed on container 3L | Piece |
| Gauze | 9.1 | Combact Gauze | Non-woven chitosan gauze, spun directly from chitosan derived from crustaceans or snow crab shells. High-Performance Hemostatic, designed to stop lethal bleeding rapidly. Works independently from the body's normal clotting processes. Tear anywhere packaging Z-fold 4in x 4in | Piece |
| Gauze | 9.2 | Gauze Compress | Surgical folding: no loose threads appear after folding 5X5cm | Piece |
| Gauze | 9.3 | Gauze Roll Absorbent | 100% cotton Absorbent and soft mesh 19x15 Size: 91.44cm (W)x91m (L) or 91.44cm x 100m 17 or more threads Non-Sterile 4ply - Mesh 19x15 1.5 KG/Roll | Roll |
| Gauze | 9.4 | Gauze Sterile 5cm x 5 cm | Sterile Gauze 16 ply 4"x4" Size: 5cm(W)x5cm(L) | Box of 100 |
| Gauze | 9.5 | Gauze Sterile 10cm x10 cm | Sterile Gauze 16 ply Size: 10cm(W)x10cm(L) Bleached, purified textile, plain weave. Absorbent gauze, 100% cotton. Woven. Number of plies: 8-12. Surgical folding. sterile peel pack, single-use. comply with Medical Device Directive 93/42 EEC or equivalent. | Box of 100 |
| Gauze | 9.6 | Sterilization Paper for Sterile Gauze | Cellulose fiber Paper weight: 60gr/m2 Porosity 50µ maximum. Water repellence, test time: minimum 20 seconds. (should it be like that even if most of our sterilizers are heat not steam?) Tensile strength and drape ability. Color: white, green or blue Size sheet: 90 x 90cm. | Sheet |
| Gloves | 10.1 | High Risk Nitrile Gloves L | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers | Box of 50 |
| Gloves | 10.2 | High Risk Nitrile Gloves M | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers | Box of 50 |
| Gloves | 10.3 | High Risk Nitrile Gloves S | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers | Box of 50 |
| Gloves | 10.4 | High Risk Nitrile Gloves XL | Extra cuff length, extra thickness, puncture-resistant nitrile - all make DASH HRP exam gloves premium protection in high-risk conditions.Thicker glove Extended cuff/ Puncture resistant nitrile Latex free and powder free Textured fingers | Box of 50 |
| Gloves | 10.5 | Nitrile Gloves Large | Hypoallergenic ¦ Premium quality ¦ Resist Fuel & Solvant ¦ Powder free. NFPA certified ¦ Medical grade (not industrial) ¦ Superior strength with better puncture resistance. Single use / Non-sterile ¦ Extended cuffs ¦ Thickness 11mm ¦ Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 ¦ EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 | Box of 100 |
| Gloves | 10.6 | Nitrile Gloves Medium | Hypoallergenic ¦ Premium quality ¦ Resist Fuel & Solvant ¦ Powder free. NFPA certified ¦ Medical grade (not industrial) ¦ Superior strength with better puncture resistance. Single use / Non-sterile ¦ Extended cuffs ¦ Thickness 11mm ¦ Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 ¦ EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 | Box of 100 |
| Gloves | 10.7 | Nitrile Gloves Small | Hypoallergenic ¦ Premium quality ¦ Resist Fuel & Solvant ¦ Powder free. NFPA certified ¦ Medical grade (not industrial) ¦ Superior strength with better puncture resistance. Single use / Non-sterile ¦ Extended cuffs ¦ Thickness 11mm ¦ Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 ¦ EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 | Box of 100 |
| Gloves | 10.8 | Nitrile Gloves X-Large | Hypoallergenic ¦ Premium quality ¦ Resist Fuel & Solvant ¦ Powder free. NFPA certified ¦ Medical grade (not industrial) ¦ Superior strength with better puncture resistance. Single use / Non-sterile ¦ Extended cuffs ¦ Thickness 11mm ¦ Min. 280 mm total length Quality compliant with standards: EU standard directive 93/42/EEC Class I, EN 455 ANSI/ISEA 105-2011 ¦ EU standard directive 89/686/EEC Category III, EN 374-ASTM D6319-10 | Box of 100 |
| Gloves | 10.9 | Sterile Gloves 7.5 | Surgical, latex, powder-free, size: 7.5,sterile, single use, pair. | Box of 50 Pairs |
| Gloves | 10.10 | Sterile Gloves 8.5 | Surgical, latex, powder-free, size: 8.5,sterile, single use, pair. | Box of 50 Pairs |
| MASK | 11.1 | Adult Simple Oxygen Mask | Constructed of transparent medical grade PVC 100% latex free Elastic band and aluminium adjustable nose clip assures comfortable fit Provide medium oxygen concentrations of 40-60%, with between 6-12 litres per minute flow of oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Adult standard size (more than 14cm length) | Piece |
| MASK | 11.2 | Disposable Face Shield | Made of clear plastic and provides good visibility to both the EMT and the patient head band to attach firmly around the head and fit snuggly against the forehead with a sponge Fog resistant Completely covers the sides and length of the face Quality compliant with standards: EU standard directive 86/686/EEC, EN 166/2002 ANSI/ISEA Z87.1-2010 | Piece |
| MASK | 11.3 | Face shield | Single use full face length safety shield, fog-resistant. Encloses a wide area of the face ear-to-ear and forehead to chin. | piece |
| MASK | 11.4 | KN95 | Aerosol Type: Non-Oil No Exhalation Valve: NO 2 Straps for ears Adjustable Nose Clip Color: White Size: Universal KN95 (China GB2626-2006) FDA & CE Certified Non Sterile, Single use | Piece |
| MASK | 11.5 | N95 | 3 layers: Outer layer: polypropylene with anti-penetration film, waterproof, polyethylene. Middle Filter: polypropylene Inner layer: polyethylene and polyester Well-ventilated, waterproof and airtight, respirator mask Nose bar: Aluminium, malleable Easy breathing, anti-mist Without a valve Strong elastic polyurethane strap, allows the mask to be secured at the top of head and behind the neck Meets American specification norm N95 Non Sterile, Single use | Piece |
| MASK | 11.6 | Oxygen Mask with Reservoire - Adult | Constructed of transparent medical grade PVC 100% latex free Include oxygen tubing & Reservoir(750cc) Elastic band and aluminium adjustable nose clip assures comfortable fit Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Adult standard size | Piece |
| MASK | 11.7 | Oxygen Mask with Reservoire - Pediatric | Constructed of transparent medical grade PVC 100% latex free Include oxygen tubing & Reservoir(750cc) Elastic band and aluminium adjustable nose clip assures comfortable fit Provide High oxygen concentrations of 90%, with between 8-10 litres per minute flow of Oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Pediatric standard size | Piece |
| MASK | 11.8 | Pediatric Simple Oxygen Mask | Constructed of transparent medical grade PVC 100% latex free Elastic band and aluminium adjustable nose clip assures comfortable fit Provide medium oxygen concentrations of 40-60%, with between 6-12 litres per minute flow of oxygen Disposable and individually wrapped Include oxygen tubing that meets the standard, Sterile by EO, single use(It can be non-sterile, but medically clean) Kids standard size 145mm x 95mm | Piece |
| MASK | 11.9 | Surgical mask | 3 ply : outer layer: hydrophobic non woven ,middle layer: efficient meltblown filter, inner layer: soft absorbent skin friendly non woven 2 elastic Bands for the ears metalic strip adjustable for the nose breathableWater proof and resistant Anti Bacterial Certificate: FDA & CE | Box of 50 |
| MSS edical Consumables & Diagnostic Supplies | 12.1 | Lame / Slide | Glass, Size: 76x26mm, Ground edges | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.2 | Urine dipsticks (protein, glucose, ketones, leukocytes) | Strip with 10 or 4 reactive pads, which change colour according to the concentration of substances in urine. Colorimetric chart giving semi-quantitative results: -,±, +, ++, +++, ++++ and mmol/l and mg/dl Or Test strips for urine analysis. Parameters: Glucose: neg, 100, 250, 500, 1000, 2000 mg/dl, or more Protein (Albumin): neg, trace, 30, 100, 300, 2000 mg/dl, or more Colour reference card is water resistant, wet-wipeable. Reading time: Approximately 30 seconds for glucose and 60 seconds for protein. |  |
| MSS edical Consumables & Diagnostic Supplies | 12.3 | Bowie-Dick indicator CE OR FDA CERTIFIED | Bowie-Dick tests lead-free and no toxic heavy metals, conforms to EN ISO 11140-4 | piece |
| MSS edical Consumables & Diagnostic Supplies | 12.4 | Chemical Indicator CE OR FDA CERTIFIED | Chemical indicators test stripes for vacuum-steam 121/134°C) ISO 11140 - 1: 2005: Class 5 Integrating | piece |
| MSS edical Consumables & Diagnostic Supplies | 12.5 | Cleaner for hemoglobin photometer | Cleaner made of a lint and fibre-free material, highly absorbent. Use to clean the optical lens. Sponge made of polyvinil acetate, pre-moistened with cleaning solution. Sponge mounted on a plastic holder. Compatible with Hemocue 201+ machine | Box |
| MSS edical Consumables & Diagnostic Supplies | 12.6 | Control Solution for hemoglobin photometer - Compatible with Diaspect TM machine | For checking the accuracy and concentration of the hemoglobin system. Easy evaluation of concentration of the blood sample. IN Vitro diagnostic application. Contents: purified bovine hemolysate - Compatible with Diaspect TM machine - Levels needed low, normal and High | Set of 3 |
| MSS edical Consumables & Diagnostic Supplies | 12.7 | Control Solution for hemoglobin photometer - Compatible with Hemocue 201 | For checking the accuracy and concentration of the hemoglobin system. Easy evaluation of concentration of the blood sample. IN Vitro diagnostic application. Shelf life 30 days after opening (2-8 degres C ) Contents: purified bovine hemolysate - Compatible with Hemocue 201+ machine - Levels needed low, normal and High | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.8 | EKG electrodes | Single-use, for clip type cable, biocompatible medical grade adhesive, Gelled | piece |
| MSS edical Consumables & Diagnostic Supplies | 12.9 | Microcuvette for hemoglobin photometer - Compatible with Hemocue 201+ machine | The disposable microcuvette is made of plastic polysterene. The cavity contains reagents ( sodium deoxycholate, sodium azide, sodium nitrite) deposited on its inner walls and the blood sample is drawn into the cavity by capillary action and spontaneously mixed with the reagents. Compatible with Hemocue 201+ machine | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.10 | Microcuvette for hemoglobin photometer - Compatible with Diaspect TM machine | The disposable microcuvette is made of plastic polysterene. The cavity contains reagents ( sodium deoxycholate, sodium azide, sodium nitrite) deposited on its inner walls and the blood sample is drawn into the cavity by capillary action and spontaneously mixed with the reagents. Compatible with Diaspect TM machine | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.11 | Spatula | Smooth disposable wooden or medical-grade plastic spatula designed for cervical sample collection during Pap smear procedures. Sterile or clean, single-use, with rounded edges to minimize patient discomfort. Individually packed or supplied in bulk packaging. CE-marked or compliant with applicable medical device standards. | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.12 | Sterilzation pouch medium | Tyvec/paper steam sterilization pouch Self seal Size (ranging from 135 to 185 mm x ranging from 255 to 305 mm ) Minimized printed area in and between the sealed layer of paper and film to prevent any instrument contamination. Thumb notch to assure easy opening of pouch EN 868-5 ISO 11607-1 CE, FDA approved | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.13 | Sterilzation pouch Large | Tyvek/paper steam sterilization pouch Self seal Size (ranging from 190 to 240 mm x ranging from 330 to 380 mm) Suitable for uterine sounds (hysterometers) and gynecological instruments used for IUD insertion. Minimized printed area in and between the sealed layer of paper and film to prevent instrument contamination. Thumb notch to assure easy opening of pouch. EN 868-5, ISO 11607-1 CE, FDA approved | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.14 | Pregnancy Test | HCG pregnancy rapid test cassette. Sample type: urine. Sample volume 3-4 drops. Sensitivity 99.9%. Specificity 99.9%. Reading time: 3 minutes | Piece |
| MSS edical Consumables & Diagnostic Supplies | 12.15 | Pregnancy test urine cups | Specimen cup,100 to 130 ml,plastic,with cover. Non-sterile. | Box |
| Paper | 13.1 | EKG paper - Biolight E30 | Thermal graph paper roll, 1-3-6... channel, color (red/orange), long image durability. 80mm X 20M Roll | Roll |
| Paper | 13.2 | EKG paper - Biolight E70 | Thermal graph paper. Length: 295 mm / 280 mm; Width: 210 mm / 216 mm; Paper Type: Z-Fold | Roll |
| Paper | 13.3 | Exam paper roll | Natural Paper Non-Sterile 1 layer Size: 50cm (W)X80m(L)*70cm Color: White | Roll |
| Paper | 13.4 | Ultrasound paper (Gyneco + Echocardio) | Paper width 110mm, standard paper grade (Glossy for Colored doppler) Compatible with ultrasound machie (specify the name of the machine) | piece |
| Protective Clothing | 14.1 | Disposable Gown | made from non-woven, fluid-resistant material, designed with full back coverage, long sleeves, and knit/stretchable double-layer cuffs made of cotton or synthetic interlocked jersey (cuff length: 4-8 cm) for a secure fit. The gown features liquid penetration resistance in critical areas, particularly the chest and sleeves, and includes waist ties and back-neck ties that can be securely fastened. The gown is non-sterile and intended for single-use only. Dimensions are 120 cm length, 140 cm width, and 58 cm sleeve length. Color: White. The gown shall display the LRC EMS logo on the upper left side of the chest. Suitable for healthcare and emergency medical applications requiring protective barrier performance against fluid exposure | Pcs |
| Protective Clothing | 14.2 | Gown | Non wooven Fluid resistant disposable medical gown, non-sterile Long sleeves Knit cuffs Tie waste and back neck Full back Color:White LRC EMS logo on the upper left side of the chest | Piece |
| Protective Clothing | 14.3 | Protective Coverall with Hood L | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Protective Clothing | 14.4 | Protective Coverall with Hood M | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Protective Clothing | 14.5 | Protective Coverall with Hood S | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Protective Clothing | 14.6 | Protective Coverall with Hood XL | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Protective Clothing | 14.7 | Protective Coverall with Hood XXL | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Protective Clothing | 14.8 | Protective Coverall with Hood XXXL | Material:Tyvec Single use Fluid resistant Coverall w/ Resp. Fit Hood, Elastic Wrists and Ankles Adjustable and immovable once adjusted Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Meets or exceeds ISO 16603 class 3 exposure pressure, or equivalent | Piece |
| Protective Clothing | 14.9 | Protective overall L | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest | Piece |
| Protective Clothing | 14.10 | Protective overall M | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest | Piece |
| Protective Clothing | 14.11 | Protective overall S | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest | Piece |
| Protective Clothing | 14.11 | Protective overall XL | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest | Piece |
| Protective Clothing | 14.12 | Protective overall XXL | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest | Piece |
| Protective Clothing | 14.13 | Protective overall XXXL | Material:Non woven Single use Fluid resistant Thumb/ finger loops to anchor sleeves in place Zipper with zipper lock covering all torso Facial opening constructed without elastic, reaching the upper part of the gown or coverall Tested for resistance to blood and body fluid penetration Color: white LRC EMS logo on the upper left side of the chest | Piece |
| Solution | 15.1 | Distilled Water | Distilled Water | 5L Gallon |
| Solution | 15.2 | NaCl (0.9% Sodium chloride Al) | Each 100 ml contains 0.9g Sodium Chloride USP QS Water for Injection USP pH(4.5-7.0) mEq/L: Sodium 154- Chloride 154 Osmolarity 308 mOsmol/L Isotonic- Sterile- Non Pygrogenic bags of 1L | Bag of 1L |
| Solution | 15.3 | Saline solution 250ml | 0.9% sodium chloride. Clear, colourless, odorless liquid, sterile. Bag of 250ml | peice |
| Solution | 15.4 | Ultrasound gel 250ml | Medicated factory ultrasound transmission gel Non-sterile Hypoallergenic. Excellent gliding properties. Does not stain fabrics or damages equipment. Non-greasy. 250 ml bottle | Bottle |
| Speculum | 16.1 | Ear speculum Medium | Single-use disposable ear speculum made of medical-grade, latex-free plastic, compatible with standard otoscopes. Non-toxic, biocompatible material. adult size (4.0 mm ± 0.5 mm) Conical, tapered, atraumatic tip - Snap-fit and twist-lock mechanism to securely attach to the otoscope head. | Piece |
| Speculum | 16.2 | Ear speculum Small | Single-use disposable ear speculum made of medical-grade, latex-free plastic, compatible with standard otoscopes. Non-toxic, biocompatible material. pediatric size ( 2.5 mm ± 0.5 mm) Conical, tapered, atraumatic tip - Snap-fit and twist-lock mechanism to securely attach to the otoscope head. | Piece |
| Speculum | 16.3 | Speculum single use L | Clear polystyrene one-hand operation. Rounded, smooth edges. Durable plastic construction, Easily locks in variety of positions. Sterile, single use, Size L, according to user need | Piece |
| Speculum | 16.4 | Speculum single use M | Clear polystyrene one-hand operation. Rounded, smooth edges. Durable plastic construction, Easily locks in variety of positions. Sterile, single use, Size ,M, according to user need | Piece |
| Speculum | 16.5 | Speculum single use S | Clear polystyrene one-hand operation. Rounded, smooth edges. Durable plastic construction, Easily locks in variety of positions. Sterile, single use, Size ,S according to user need | Piece |
| Swabs & Applicators | 17.1 | Long Cotton Tipped Applicator | Sterile, single-use applicator with absorbent cotton tip and wooden or plastic shaft, length approximately 15–20 cm. Designed for specimen collection, medication application, and clinical examinations. Individually packed or supplied in sterile packs. CE-marked and compliant with applicable medical device standards. | Piece |
| Swabs & Applicators | 17.2 | Cervical brush | Bristle Head Length Approx 15-20mm - Head diameter Tapers from 7 to 3-5 mm - Bristle count approx. 600 nylon bristles - Bristle diameter Approx. 0.06mm - material Nylon (hydrophobic, soft, flexible) with cone form . | Bag / 50 pieces |
| Swabs & Applicators | 17.3 | Tongue Depressors | Wood Flat, thin Smoothed and rounded at both ends Single use Non-sterile Length: max 155mm | Box of 50 |
| Swabs & Applicators | 17.4 | Wooden Applicator (Pack of 1000) | wooden stick without head DIA 2.5x150mm | Pack |
| Swabs & Applicators | 17.5 | Cotton Swab (Pack of 20) | around 15cm Cotton Swab used in weekly maintenance for Lab equipment | pack |
| SYRINGE | 18.1 | Glucometer Needles (box of 200) | Sterile, single use lancing devices Number of depth settings: 1 Protrusion depth: 2.0 mm Needle Diameter: 0.63 mm (23 G) Special Needle Cut: 3 facets, similar to Softclix Sterile: Gamma radiation Automatic retraction of the needle Weight: Max 4 g Lancing time into air: Max. 3 thousandths of a second Material: All comply with relevant ISO standards Needle: Stainless steel Coating of needle: Silicone Dow Corning Medical Fluid Trigger button, sterility cap, casing: Polypropylene Springs: Polypropylene | Box of 200 |
| SYRINGE | 18.2 | Needles | Outer diameter Approx. 1.07mm - Length ranging 25mm to 40 mm - Material Stainless steel - - 18G - Luer type fitting and complies with ISO standard | Box of 100 needles |
| SYRINGE | 18.3 | Syringe 5ml | Extremely fine graduation Smoothly sliding plunger for critical injection High precision grinded needle for safe puncture Double plunger-stop Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. | Pcs |
| SYRINGE | 18.4 | Syringes 20ml | Syringe capacity: 20 ml. Sterile, Luer lock, with needle, disposable. Passed CE and ISO standard. | Box of 100 syringes |
| TAPE | 19.1 | Duct Tape | waterproof polyethylene film over cloth scrim backing with a rubber adhesive length 54.8m 96mm Silver or black | Piece |
| TAPE | 19.2 | Hypoallergenic Adhesive Tape – Medium | Produced by medical grade materials, which are desensitized and non-irritating and anti-allergic to the skin Made of natural cellulose, the rayon is thin, breathable and easy to tear Long-lasting, stable adhesiveness and soft touch Plastic inner tube The quality is stable and suitable for the climate and temperature of all seasons Size: 5cm(W)x 9.14m(L) | Piece |
| TAPE | 19.3 | Hypoallergenic Adhesive Tape – Small | Produced by medical grade materials, which are desensitized and non-irritating and anti-allergic to the skin Made of natural cellulose, the rayon is thin, breathable and easy to tear Long-lasting, stable adhesiveness and soft touch Plastic inner tube The quality is stable and suitable for the climate and temperature of all seasons Size: 2.5cm(W)x 9.14m(L) | Piece |
| TAPE | 19.4 | Sterilization Indicator Tap roll | Crepe paper tape with medical-grade pressure-sensitive adhesive and Class 1 chemical process indicator ink that changes color after exposure to steam or dry heat sterilization cycles. Used for sealing sterilization wraps and identifying processed packs. Width 12–18 mm, length approximately 50 m, compliant with ISO 11140-1 or equivalent | Piece |
| Thermometer | 20.1 | Consumables for Digital Thermometer (Pack of 25) | Compatabile to welch Allyn Themometer 690 | Pack |
| Thermometer | 20.1 | Cover for ear thermometer | Single use - Medical-grade plastic ( polypropylene or polystyrene), BPA-free and latex-free - Conical shape, ultra-thin membrane for accurate infrared readings, transparent or translucent. | Piece |
| Thermometer | 20.1 | Disposable Thermometer 100/pack | Disposable, Used on forehead, Individually wrapped, Estimated result time <30 Seconds. - polyester support 1/10 mm - size cm 9,6 x 2 - 5 temperatures (N-37-38-39--40) - 2 standard colours printing ( N-37 pantone ref. 298 Blue / check 38-39-40 pantone ref. 185 Red) - CE mark printed on the backside - horizontal - not adhesive | Piece |
| Tourniquet | 21.1 | Junctional tourniquet | Radiolucent material stainlees steel springs for the buckle composed of: autostop buckle(audible "click"), precision strap, control pump, target compression device(inflates 3.2inches, TCD extender, Can be applied in under 25 seconds, controlling bleeding and immobilizing pelvic fractures. Xray and CT scan safe packed in durable pouch | Piece |
| Tourniquet | 21.2 | Tourniquet | Individual packed in blister pocked | Pcs |
| Tourniquet | 21.3 | Tourniquet - military grade | auto-lock technology activates locking prongs Durable nylon construction for maximum strength and flexibility Able to bend on smaller extremities without breaking Includes : Time band, precision tab,precision strap, buckle, c hooks, metal windlass rod Extremely fine graduation | Piece |